## AER Summary
Alternative Control Service Summary
Network Service: | Services to supply and connect temporary supply to one or more customers
Pricing mechanism |  | Fixed Fee NT | Fixed Fee OT
Current Fee ($2017/2018 - Excl GST) | Connect / disconnect generator to OH / UG mains. | 2164.86 | -
| Connect / disconnect generator to switchboard or kiosk | 1443.24 | -
| Install & remove HV LL Links | 3608.1 | -
| Break & remake HV bonds | 2706.07 | -
| Break & remake LV bonds | 2164.86 | -
Proposed Fee ($2018/19 - Excl GST) | Connect / disconnect generator to OH / UG mains, switchboard or kiosk | 2340.6821 | 3128.8224
| Install & remove HV LL Links or Bonds | 3542.9064 | 5288.0741
| Break & remake LV bonds | 2940.1989 | 4403.888
| Provision of Generator - [Invoice + Overheads] + Margin | 55.89% | 55.89%
| Overheads rate | 46.59% | 46.59%
| Margin | 6.342% | 6.342%
Fee Methodology Structure Selected | Bottom Up Estimation
Detailed Service Description
Services to supply and connect temporary supply to one or more customers The provision of an MG (Motor Generator) connection to the network or a direct distributor and / or use of HV Line Live / LV Live Techniques when requested by an ASP and / or as prescribed in the design information requirements to maintain a continued but temporary supply to otherwise impacted customers during contestable connection works. Service is in conjunction with, but in addition to access permits and clearance to work. The costs of MG hire are not included as these are commercially available. Hire cost of providing generators are in addition to this service. Note also, there is no allowance for Essential Energy to supply an MG standby technician if required. This would be covered as an additional service.
2019-2024 Pricing Methodology for Service (Summary)
In order to derive unit rates for this ancillary network service, the following methodology was used: - The business units that provide this ancillary network service provided estimates for the amount of time taken to carry out the various tasks and which employee positions carried out these tasks. - For each relevant employee class an hourly rate ($2018/19) was calculated having regard to the base rate plus statutory on-costs and multiplied by the applicable hours to determine the direct unit cost for each task. The direct unit cost of all tasks relevant to the specific service was then totalled to derive the overall direct unit rate for each service. - The forecast unit rate was applied to the volumes forecast for the 2019 - 2024 regulatory period for this ancillary network service, to calculate an estimate for direct operating expenditure for this ancillary network service. - Overheads were applied to the direct costs based on our Cost Allocation Methodology (CAM).
Changes to Service or Pricing since prior Reg period
Service description altered.
OT Fixed Fee's.
Notes:
Historical revenue, costs and volumes | Details of historic revenue, costs and volumes can be found on the 'Details' sheet.
Operating costs | Details of historical operating costs can be found on the "Operating Costs" sheet.
Bottum Up cost estimation | Details of bottom up costs can be found on the "Bottom Up Estimation" sheet.
Forecast revenue, costs and volumes | Details of forecast revenue, costs and volumes can be found on the 'Details' sheet.
Projected Costs for FY2019-24 Regulatory Period
| FY2020 | FY2021 | FY2022 | FY2023 | FY2024 | Total
Total Direct Costs $2018/19 | 5102.0937 | 5102.0937 | 5148.5577 | 5247.3421 | 5394.9029 | 25994.9901
Total Indirect Costs $2018/19 | 3721.6937 | 3721.6937 | 3755.5866 | 3827.6444 | 3935.2817 | 18961.9002
TOTAL COSTS $2018/19 | 8823.7875 | 8823.7875 | 8904.1444 | 9074.9865 | 9330.1846 | 44956.8903
Notes:
Projected Volumes for FY2019-24 Regulatory Period
| FY2020 | FY2021 | FY2022 | FY2023 | FY2024 | Total
Projected Volumes | 3 | 3 | 3 | 3 | 3 | 15

## Service Description
Alternative Control Service - Service Description
Service: | Services to supply and connect temporary supply to one or more customers
Existing Service Description (2014-19)
The provision of an MG (Motor Generator) connection to the network or a direct distributor and / or use of HV Line Live Techniques when required to maintain a continued but temporary supply to otherwise impacted customers during contestable connection works. Service is in conjunction with but in addition to access permits and clearance to work. The costs of MG hire and operation are not included as these are commercially available. Note also, there is no allowance for Essential Energy to supply an MG standby technician if required.
AER Framework and Approach paper 1 July 2019
Access permits, oversight and facilitation Activities include: ·a distributor issuing access permits or clearances to work to a person authorised to work on or near distribution systems including high and low voltage. ·a distributor issuing confined space entry permits and associated safe entry equipment to a person authorised to enter a confined space. ·a distributor providing access to switch rooms, substations and the like to a non-LNSP party who is accompanied and supervised by a distributor's staff member. May also include a distributor providing safe entry equipment (fall-arrest) to enter difficult access areas. ·specialist services (which may involve design related activities and oversight/inspections of works) where the design or construction is non-standard, technically complex or environmentally sensitive and any enquiries related to distributor assets. ·facilitation of generator connection and operation of the network. ·facilitation of activities within clearances of distributor’s assets, including physical and electrical isolation of assets. ·provision of approved materials/equipment to ASPs for connection assets that will become part of the shared distribution network. ·assessing an application from an ASP or manufacturer to consider approval of alternative material and equipment items that are not specified in the distributor’s approved materials list.
Detailed Service Description (2019-24)
Services to supply and connect temporary supply to one or more customers The provision of an MG (Motor Generator) connection to the network or a direct distributor and / or use of HV Line Live / LV Live Techniques when requested by an ASP and / or as prescribed in the design information requirements to maintain a continued but temporary supply to otherwise impacted customers during contestable connection works. Service is in conjunction with, but in addition to access permits and clearance to work. The costs of MG hire are not included as these are commercially available. Hire cost of providing generators are in addition to this service. Note also, there is no allowance for Essential Energy to supply an MG standby technician if required. This would be covered as an additional service.

## Operating Costs
Operating Costs (on IO's, work orders, cost objects, cost centres)
Cost type | Description | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | Total
labour | Field Officer | 0 | 1503.43 | 5425.91 | 3485.22 | 3572.3505 | 13986.9105
stores |  |  | 0 | 0 | 0 | 0 | 0
fleet |  | 0 | 416 | 1686 | 1169.94 | 1199.1885 | 4471.1285
other |  |  | 0 | 0 | 0 | 0 | 0
overhead |  |  | 1818 | 5308 | 2192.54 | 2247.3535 | 11565.8935
Total |  | 0 | 3737.43 | 12419.91 | 6847.7 | 7018.8925 | 30023.9325
Historical Completed Volumes
Volumes | Source | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | Total
Derived | Contestable Works Management System | 0 | 0 | 0 | 0 | 0 | 0
0
Total |  | 0 | 0 | 0 | 0 | 0 | 0
Notes:
Inconsistencies between operating costs and recorded volumes / hrs.
FY14/15 operating costs - N/A
FY15/16 operating costs - Actuals
FY16/17 operating costs - Actuals
FY17/18 operating costs - Pro rata based on YTD Dec17 values
FY18/19 operating costs - Estimated
Operating Costs -
Details on how costs were obtained:
Historical operating costs weere referenced form ANS P&L Report.

## Proposed price
Alternative Control Service - Bottom Up Estimation | [5 empty] | Real $2018-19 | [9 empty] | Alternative Control Service - Bottom Up Estimation
Services to supply temporary supply to one or more customers | [5 empty] | Per service | [9 empty] | Services to supply temporary supply to one or more customers | [5 empty] | Per service
Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service | Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service
Connect / disconnect MG to OH/UG mains, switchboard or kiosk (fixed fee) NT | [15 empty] | Connect / disconnect MG to OH/UG mains, switchboard or kiosk (fixed fee) OT
Review generator request, network configuration and submit NAR | R4 | 3 | 1 | 3 | 0 | 239.515 | 59.1973 |  |  |  | 298.7123 | 139.178 | 47.9068 | 30.8093 | 516.6064 | Review generator request, network configuration and submit NAR | R4 | 3 | 1 | 3 | 0 | 239.515 | 59.1973 |  |  |  | 298.7123 | 139.178 | 47.9068 | 30.8093 | 516.6064
Review protection setting and process NAR request | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917 | Review protection setting and process NAR request | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917
Write switching sheet (pre and approved) | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835 | Write switching sheet (pre and approved) | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835
Complete site assesment in field to verify switching sheet and NECF compliance | R4 | 1 | 1 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021 | Complete site assesment in field to verify switching sheet and NECF compliance | R4 | 1 | 1 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021
Travel to / from site | R4 | 1 | 2 | 2 | 0 | 159.6767 | 39.4649 |  |  |  | 199.1416 | 92.7854 | 31.9378 | 20.5395 | 344.4043 | Travel to / from site | R4 | 1 | 2 | 2 | 1 | 289.8821 | 39.4649 |  |  |  | 329.3469 | 153.4515 | 52.8199 | 33.9689 | 569.5872
Network Operator - run switching sheet for generator connection | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835 | Network Operator - run switching sheet for generator connection | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835
Complete network switching for generator connection | R4 | 1 | 2 | 2 | 0 | 159.6767 | 39.4649 |  |  |  | 199.1416 | 92.7854 | 31.9378 | 20.5395 | 344.4043 | Complete network switching for generator connection | R4 | 1 | 2 | 2 | 1 | 289.8821 | 39.4649 |  |  |  | 329.3469 | 153.4515 | 52.8199 | 33.9689 | 569.5872
Connect generator and complete all tests as required | R4 | 1 | 1 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021 | Connect generator and complete all tests as required | R4 | 1 | 1 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936
Disconnect generator and complete all tests as required | R4 | 1 | 1 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021 | Disconnect generator and complete all tests as required | R4 | 1 | 1 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936
Complete network return switching for generator connection | R4 | 1 | 1 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021 | Complete network return switching for generator connection | R4 | 1 | 1 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936
Provision of Generator - [Invoice + Overheads] + Margin | [11 empty] | 46.59% |  | 6.342% | [Invoice + 46.59% Overheads] + 6.34% Margin | Provision of Generator - [Invoice + Overheads] + Margin | [11 empty] | 46.59% |  | 6.342% | [Invoice + 46.59% Overheads] + 6.34% Margin
Total |  |  |  | 13.5 | 0 | 1136.3733 | 217.0568 | 0 | 0 | 0 | 1353.4301 | 631.065 | 217.0599 | 139.6565 | 2340.6821 | Total |  |  |  | 13.5 | 5 | 1592.0921 | 217.0568 | 0 | 0 | 0 | 1809.1489 | 843.3965 | 290.1469 | 186.6594 | 3128.8224
Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service | Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service
Install & remove HV LL Links / bonds (fixed fee) NT | [15 empty] | Install & remove HV LL Links / bonds (fixed fee) OT
Review HV LL request, network configuration and submit NAR | R4 | 3 | 1 | 3 | 0 | 239.515 | 59.1973 |  |  |  | 298.7123 | 139.178 | 47.9068 | 30.8093 | 516.6064 | Review HV LL request, network configuration and submit NAR | R4 | 3 | 1 | 3 | 0 | 239.515 | 59.1973 |  |  |  | 298.7123 | 139.178 | 47.9068 | 30.8093 | 516.6064
Review protection setting and process NAR request | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917 | Review protection setting and process NAR request | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917
Write switching sheet (pre and approved) | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835 | Write switching sheet (pre and approved) | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835
Complete site assesment in field to verify switching sheet and NECF compliance | R4 | 1 | 1 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021 | Complete site assesment in field to verify switching sheet and NECF compliance | R4 | 1 | 1 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936
Travel to / from site | R4 | 1 | 4 | 4 | 0 | 319.3534 | 78.9297 |  |  |  | 398.2831 | 185.5707 | 63.8757 | 41.079 | 688.8085 | Travel to / from site | R4 | 1 | 4 | 4 | 1 | 579.7641 | 78.9297 |  |  |  | 658.6938 | 306.903 | 105.6397 | 67.9378 | 1139.1744
Network Operator - run switching sheet for Live Line Works | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917 | Network Operator - run switching sheet for Live Line Works | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917
Install / Remove HV LL Links | R4 | 3.5 | 3 | 10.5 | 0 | 838.3026 | 207.1906 |  |  |  | 1045.4932 | 487.1231 | 167.6737 | 107.8324 | 1808.1224 | Install / Remove HV LL Links | R4 | 3.5 | 3 | 10.5 | 1 | 1521.8808 | 207.1906 |  |  |  | 1729.0713 | 805.6204 | 277.3043 | 178.3368 | 2990.3328
Total |  |  |  | 20.5 | 0 | 1683.5306 | 365.0501 | 0 | 0 | 0 | 2048.5807 | 954.4883 | 328.5464 | 211.291 | 3542.9064 | Total |  |  |  | 20.5 | 3 | 2692.6221 | 365.0501 | 0 | 0 | 0 | 3057.6722 | 1424.6508 | 490.3821 | 315.369 | 5288.0741
Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service | Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service
Break & remake LV bonds (fixed fee) NT | [15 empty] | Break & remake LV bonds (fixed fee) OT
Review LV isolation request, network configuration and submit NAR | R4 | 3 | 1 | 2 | 0 | 159.6767 | 39.4649 |  |  |  | 199.1416 | 92.7854 | 31.9378 | 20.5395 | 344.4043 | Review LV isolation request, network configuration and submit NAR | R4 | 3 | 1 | 2 | 0 | 159.6767 | 39.4649 |  |  |  | 199.1416 | 92.7854 | 31.9378 | 20.5395 | 344.4043
Process NAR request | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917 | Process NAR request | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917
Write switching sheet (pre and approved) | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835 | Write switching sheet (pre and approved) | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835
Complete site assesment in field to verify switching sheet and NECF compliance | R4 | 1 | 1 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021 | Complete site assesment in field to verify switching sheet and NECF compliance | R4 | 1 | 1 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936
Travel to / from site | R4 | 1 | 3 | 3 | 0 | 239.515 | 59.1973 |  |  |  | 298.7123 | 139.178 | 47.9068 | 30.8093 | 516.6064 | Travel to / from site | R4 | 1 | 3 | 3 | 1 | 434.8231 | 59.1973 |  |  |  | 494.0204 | 230.1772 | 79.2298 | 50.9534 | 854.3808
Network Operator - run switching sheet for Live LV Works | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917 | Network Operator - run switching sheet for Live LV Works | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917
Make / break LV bridges Links | R4 | 3 | 3 | 9 | 0 | 718.5451 | 177.5919 |  |  |  | 896.137 | 417.5341 | 143.7203 | 92.4278 | 1549.8192 | Make / break LV bridges Links | R4 | 3 | 3 | 9 | 1 | 1304.4692 | 177.5919 |  |  |  | 1482.0612 | 690.5317 | 237.6894 | 152.8601 | 2563.1424
Total |  |  |  | 17 | 0 | 1404.0964 | 295.9865 | 0 | 0 | 0 | 1700.0829 | 792.1139 | 272.6552 | 175.3469 | 2940.1989 | Total |  |  |  | 17 | 3 | 2250.4312 | 295.9865 | 0 | 0 | 0 | 2546.4178 | 1186.4438 | 408.3883 | 262.6381 | 4403.888

## Historical Revenue
Alternative Control Service - Historical Revenue & Costs Workings
Historical Revenue
Project Code | Source | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | Total
ACSCW 30600 - Temp Works HV LL | ANS P&L | 0 | 0 | 0 | 0 | 0 | 0
ACSCW 30610 - Temp Works HV Bonds | ANS P&L | 0 | 0 | 0 | 0 | 0 | 0
ACSCW 30620 - Temp Works LV Bonds | ANS P&L | 0 | 0 | 0 | 0 | 0 | 0
ACSCW 30630 Temp Works Gen to Mains | ANS P&L | 0 | 0 | 0 | 0 | 0 | 0
ACSCW 30640 Temp Works Gen to Kiosk | ANS P&L | 0 | 0 | 0 | 0 | 0 | 0
0
Total |  | 0 | 0 | 0 | 0 | 0 | 0
Historical Completed Volumes
Volumes | Source | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | Total
Derived | Contestable Works Database | 0 | 0 | 0 | 0 | 0 | 0
0
0
Total Projects Charged |  | 0 | 0 | 0 | 0 | 0 | 0
Notes:
No fees were recorded for Temporary Supply Services.
FY14/15 revenue - N/A
FY15/16 revenue - Actuals
FY16/17 revenue - Actuals
FY17/18 revenue - Pro rata based on YTD Dec17 values
FY18/19 revenue - Estimated
Historical Revenue
Details on how costs were obtained:

## Forecasts by year
Labour escalation |  | 100% | 100% | 101.1% | 102.3% | 103.4% |  | 100% | 100% | 101.1% | 102.3% | 103.4%
Contractor rate increase |  | 4% | 4% | 4% | 4% | 4%
Overhead rate |  | 46.59% | 46.59% | 46.59% | 46.59% | 46.59% |  | 46.59% | 46.59% | 46.59% | 46.59% | 46.59%
Average non-system charge |  | 16.04% | 16.04% | 16.04% | 16.04% | 16.04% |  | 16.04% | 16.04% | 16.04% | 16.04% | 16.04%
WACC rate |  | 6.342% | 6.342% | 6.342% | 6.342% | 6.342% |  | 6.342% | 6.342% | 6.342% | 6.342% | 6.342%
|  | ORDINARY LABOUR TIME |  |  |  |  | OVERTIME LABOUR TIME
4.4 Temporary supply services |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Direct Labour Rate (incl on-costs) |  | 4224.0003 | 4224.0003 | 4270.4643 | 4369.2487 | 4516.8095 |  | 0 | 0 | 0 | 0 | 0
Fleet rate |  | 878.0934 | 878.0934 | 878.0934 | 878.0934 | 878.0934 |  | 0 | 0 | 0 | 0 | 0
Materials |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Total before OHDs, non-system & margin |  | 5102.0937 | 5102.0937 | 5148.5577 | 5247.3421 | 5394.9029 |  | 0 | 0 | 0 | 0 | 0
Overheads |  | 2377.2012 | 2377.2012 | 2398.8501 | 2444.8763 | 2513.6288 |  | 0 | 0 | 0 | 0 | 0
Non-system charge |  | 818.2615 | 818.2615 | 825.7133 | 841.5561 | 865.2215 |  | 0 | 0 | 0 | 0 | 0
Profit margin |  | 526.231 | 526.231 | 531.0233 | 541.212 | 556.4314 |  | 0 | 0 | 0 | 0 | 0
Fully Loaded Costs |  | 8823.7875 | 8823.7875 | 8904.1444 | 9074.9865 | 9330.1846 |  | 0 | 0 | 0 | 0 | 0
Forecast revenue (check) |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Connect / disconnect generator to OH / UG mains, switchboard or kiosk |  | Real 2018-19 including escalation | [5 empty] | Real 2018-19 including escalation
Direct Labour Rate (incl on-costs) | 1136.3733 | 1136.3733 | 1136.3733 | 1148.8734 | 1175.4492 | 1215.1471 | 1592.0921 | 1592.0921 | 1592.0921 | 1609.6051 | 1646.8385 | 1702.4564
Fleet rate | 217.0568 | 217.0568 | 217.0568 | 217.0568 | 217.0568 | 217.0568 | 217.0568 | 217.0568 | 217.0568 | 217.0568 | 217.0568 | 217.0568
Materials | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total before OHDs, non-system & margin | 1353.4301 | 1353.4301 | 1353.4301 | 1365.9302 | 1392.506 | 1432.2039 | 1809.1489 | 1809.1489 | 1809.1489 | 1826.6619 | 1863.8953 | 1919.5132
Overheads | 631.065 | 630.5991 | 630.5991 | 636.4232 | 648.8056 | 667.3019 | 843.3965 | 842.9306 | 842.9306 | 851.0904 | 868.4384 | 894.3523
Non-system charge | 217.0599 | 217.0599 | 217.0599 | 219.0646 | 223.3267 | 229.6934 | 290.1469 | 290.1469 | 290.1469 | 292.9556 | 298.927 | 307.8469
Profit margin (WACC FY20) per service | 139.6565 | 139.5931 | 139.5931 | 140.8823 | 143.6234 | 147.7178 | 186.6594 | 186.596 | 186.596 | 188.4023 | 192.2426 | 197.979
Fully Loaded Cost per service | 2340.6821 | 2340.6821 | 2340.6821 | 2362.3004 | 2408.2616 | 2476.917 | 3128.8224 | 3128.8224 | 3128.8224 | 3159.1102 | 3223.5032 | 3319.6914
Forecast volumes |  | 1 | 1 | 1 | 1 | 1 |  | 0 | 0 | 0 | 0 | 0
Forecast revenue |  | 2340.6821 | 2340.6821 | 2362.3004 | 2408.2616 | 2476.917 |  | 0 | 0 | 0 | 0 | 0
Install & remove HV LL Links or Bonds |  | Real 2018-19 including escalation | [5 empty] | Real 2018-19 including escalation
Direct Labour Rate (incl on-costs) | 1683.5306 | 1683.5306 | 1683.5306 | 1702.0494 | 1741.4212 | 1800.2335 | 2692.6221 | 2692.6221 | 2692.6221 | 2722.241 | 2785.2119 | 2879.2756
Fleet rate | 365.0501 | 365.0501 | 365.0501 | 365.0501 | 365.0501 | 365.0501 | 365.0501 | 365.0501 | 365.0501 | 365.0501 | 365.0501 | 365.0501
Materials | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total before OHDs, non-system & margin | 2048.5807 | 2048.5807 | 2048.5807 | 2067.0995 | 2106.4713 | 2165.2836 | 3057.6722 | 3057.6722 | 3057.6722 | 3087.291 | 3150.2619 | 3244.3257
Overheads | 954.4883 | 954.4883 | 954.4883 | 963.1167 | 981.461 | 1008.8632 | 1424.6508 | 1424.6508 | 1424.6508 | 1438.4511 | 1467.7909 | 1511.6177
Non-system charge | 328.5464 | 328.5464 | 328.5464 | 331.5164 | 337.8308 | 347.263 | 490.3821 | 490.3821 | 490.3821 | 495.1323 | 505.2314 | 520.3171
Profit margin (WACC FY20) per service | 211.291 | 211.291 | 211.291 | 213.2011 | 217.2619 | 223.3278 | 315.369 | 315.369 | 315.369 | 318.4239 | 324.9187 | 334.6204
Fully Loaded Cost per service | 3542.9064 | 3542.9064 | 3542.9064 | 3574.9337 | 3643.025 | 3744.7376 | 5288.0741 | 5288.0741 | 5288.0741 | 5339.2982 | 5448.2029 | 5610.8809
Forecast volumes |  | 1 | 1 | 1 | 1 | 1 |  | 0 | 0 | 0 | 0 | 0
Forecast revenue |  | 3542.9064 | 3542.9064 | 3574.9337 | 3643.025 | 3744.7376 |  | 0 | 0 | 0 | 0 | 0
Break & remake LV bonds |  | Real 2018-19 including escalation | [5 empty] | Real 2018-19 including escalation
Direct Labour Rate (incl on-costs) | 1404.0964 | 1404.0964 | 1404.0964 | 1419.5415 | 1452.3783 | 1501.4288 | 2250.4312 | 2250.4312 | 2250.4312 | 2275.186 | 2327.8156 | 2406.4319
Fleet rate | 295.9865 | 295.9865 | 295.9865 | 295.9865 | 295.9865 | 295.9865 | 295.9865 | 295.9865 | 295.9865 | 295.9865 | 295.9865 | 295.9865
Materials | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total before OHDs, non-system & margin | 1700.0829 | 1700.0829 | 1700.0829 | 1715.528 | 1748.3648 | 1797.4154 | 2546.4178 | 2546.4178 | 2546.4178 | 2571.1725 | 2623.8021 | 2702.4184
Overheads | 792.1139 | 792.1139 | 792.1139 | 799.3101 | 814.6097 | 837.4637 | 1186.4438 | 1186.4438 | 1186.4438 | 1197.9777 | 1222.4992 | 1259.1287
Non-system charge | 272.6552 | 272.6552 | 272.6552 | 275.1322 | 280.3985 | 288.2651 | 408.3883 | 408.3883 | 408.3883 | 412.3584 | 420.799 | 433.4073
Profit margin (WACC FY20) per service | 175.3469 | 175.3469 | 175.3469 | 176.9399 | 180.3267 | 185.3858 | 262.6381 | 262.6381 | 262.6381 | 265.1913 | 270.6195 | 278.728
Fully Loaded Cost per service | 2940.1989 | 2940.1989 | 2940.1989 | 2966.9103 | 3023.6998 | 3108.53 | 4403.888 | 4403.888 | 4403.888 | 4446.6999 | 4537.7199 | 4673.6824
Forecast volumes |  | 1 | 1 | 1 | 1 | 1 |  | 0 | 0 | 0 | 0 | 0
Forecast revenue |  | 2940.1989 | 2940.1989 | 2966.9103 | 3023.6998 | 3108.53 |  | 0 | 0 | 0 | 0 | 0

## Forecast Revenue - Costs
Alternative Control Service - Forecast Revenue & Costs Workings
GL Code | Description | FY19/20 | FY20/21 | FY21/22 | FY22/23 | FY23/24 | Total
ACSCW 30630 / 40 - Temp Works Gen to Mains / Kiosk | Connect / disconnect generator to OH / UG mains, switchboard or kiosk | 2340.6821 | 2340.6821 | 2362.3004 | 2408.2616 | 2476.917 | 11928.8433
ACSCW 30600 / 10 - Temp Works HV LL / Bonds | Install & remove HV LL Links or Bonds | 3542.9064 | 3542.9064 | 3574.9337 | 3643.025 | 3744.7376 | 18048.5091
ACSCW 30620 - Temp Works LV Bonds | Break & remake LV bonds | 2940.1989 | 2940.1989 | 2966.9103 | 3023.6998 | 3108.53 | 14979.5379
Total |  | 8823.7875 | 8823.7875 | 8904.1444 | 9074.9865 | 9330.1846 | 44956.8903
Estimated Future Volumes
Volumes | Source | FY19/20 | FY20/21 | FY21/22 | FY22/23 | FY23/24 | Total
| Connect / disconnect generator to OH / UG mains, switchboard or kiosk | 1 | 1 | 1 | 1 | 1 | 5
| Install & remove HV LL Links or Bonds | 1 | 1 | 1 | 1 | 1 | 5
| Break & remake LV bonds | 1 | 1 | 1 | 1 | 1 | 5
Total Projects Charged |  | 3 | 3 | 3 | 3 | 3 | 15
Notes:
Forecast Costs
Details on how costs are estimated:
Estimates have been provided on the work effort that will be required to complete each service. Forecast volumes based on team feedback.
Forecast Cost Breakup |  | Real 2018-19 (including labour escalation)
Cost type | Description | FY19/20 | FY20/21 | FY21/22 | FY22/23 | FY23/24 | Total
Labour |  | 4224.0003 | 4224.0003 | 4270.4643 | 4369.2487 | 4516.8095 | 21604.5231
Fleet |  | 878.0934 | 878.0934 | 878.0934 | 878.0934 | 878.0934 | 4390.4671
Materials |  | 0 | 0 | 0 | 0 | 0 | 0
Total costs before OHDs, non-system and margin |  | 5102.0937 | 5102.0937 | 5148.5577 | 5247.3421 | 5394.9029 | 25994.9901
Overheads |  | 2377.2012 | 2377.2012 | 2398.8501 | 2444.8763 | 2513.6288 | 12111.7577
Non-system charge |  | 818.2615 | 818.2615 | 825.7133 | 841.5561 | 865.2215 | 4169.0137
Profit margin |  | 526.231 | 526.231 | 531.0233 | 541.212 | 556.4314 | 2681.1288
Total |  | 8823.7875 | 8823.7875 | 8904.1444 | 9074.9865 | 9330.1846 | 44956.8903