## AER Summary
Alternative Control Service Summary
Network Service: | Testing & commissioning of streetlights / mains / UG pillars / cables (NEW)
Pricing mechanism |  | Fixed Fee NT | Fixed Fee OT
Current Fee ($2017/2018 - Excl GST) |  | - | -
Proposed Fee ($2018/19 - Excl GST) | UG / OH Streetlights | 86.1011 | 142.3968
| UG / OH Distribution Mains | 2117.4039 | 3130.727
| UG Pillars / Pits | 86.1011 | 142.3968
| UG Cable Test | 749.0793 | 1238.8522
Fee Methodology Structure Selected | Bottom Up Estimation
Detailed Service Description
Testing & commissioning of streetlights / mains / UG pillars / cables The completion of commissioning tests by Essential Energy of new electrical assets which form part of the contestable connection work including: - Overhead and Underground streetlight commissioning; - Overhead and Underground live low voltage connection - connection of Distribution Mains (other than completed under an AP); - Underground pillar box / pit commissioning; - Underground cable tests (IR / VLF Test) Essential Energy will perform the required testing and commissioning activities as per current policies and the subsequent recording in Essential Energy's asset system.
2019-2024 Pricing Methodology for Service (Summary)
In order to derive unit rates for this ancillary network service, the following methodology was used: - The business units that provide this ancillary network service provided estimates for the amount of time taken to carry out the various tasks and which employee positions carried out these tasks. - For each relevant employee class an hourly rate ($2018/19) was calculated having regard to the base rate plus statutory on-costs and multiplied by the applicable hours to determine the direct unit cost for each task. The direct unit cost of all tasks relevant to the specific service was then totalled to derive the overall direct unit rate for each service. - The forecast unit rate was applied to the volumes forecast for the 2019 - 2024 regulatory period for this ancillary network service, to calculate an estimate for direct operating expenditure for this ancillary network service. - Overheads were applied to the direct costs based on our Cost Allocation Methodology (CAM).
Changes to Service or Pricing since prior Reg period
New Service
Commissioning requirements as part of Essential Energy Policy CEOP5125 "Network Asset Testing and Commissioning"
Notes:
Historical revenue, costs and volumes | Details of historic revenue, costs and volumes can be found on the 'Details' sheet.
Operating costs | Details of historical operating costs can be found on the "Operating Costs" sheet.
Bottum Up cost estimation | Details of bottom up costs can be found on the "Bottom Up Estimation" sheet.
Forecast revenue, costs and volumes | Details of forecast revenue, costs and volumes can be found on the 'Details' sheet.
Projected Costs for FY2019-24 Regulatory Period
| FY2020 | FY2021 | FY2022 | FY2023 | FY2024 | Total
Total Direct Costs $2018/19 | 77801.6534 | 77801.6534 | 78522.3538 | 80054.5923 | 82343.3984 | 396523.6513
Total Indirect Costs $2018/19 | 56751.9811 | 56751.9811 | 57277.6919 | 58395.3747 | 60064.9316 | 289241.9604
TOTAL COSTS $2018/19 | 134553.6345 | 134553.6345 | 135800.0457 | 138449.967 | 142408.33 | 685765.6117
Notes:
Projected Volumes for FY2019-24 Regulatory Period
| FY2020 | FY2021 | FY2022 | FY2023 | FY2024 | Total
Projected Volumes | 350 | 350 | 350 | 350 | 350 | 1750

## Service Description
Alternative Control Service - Service Description
Service: | Testing & commissioning of streetlights / mains / UG pillars / cables (NEW)
Existing Service Description (2014 - 19)
New Service
AER Framework and Approach paper 1 July 2019
The commissioning and decommissioning of network equipment associated with ASP Level 1 contestable works. Includes equipment checks, tests and activities associated with setting or resetting network protection systems and the updating of engineering systems.
Detailed Service Description (2019-24)
Testing & commissioning of streetlights / mains / UG pillars / cables The completion of commissioning tests by Essential Energy of new electrical assets which form part of the contestable connection work including: - Overhead and Underground streetlight commissioning; - Overhead and Underground live low voltage connection - connection of Distribution Mains (other than completed under an AP); - Underground pillar box / pit commissioning; - Underground cable tests (IR / VLF Test) Essential Energy will perform the required testing and commissioning activities as per current policies and the subsequent recording in Essential Energy's asset system.

## Operating Costs
Operating Costs (on IO's, work orders, cost objects, cost centres)
Cost type | Description | FY14/15 | FY15/16 | FY16/17 | FY14/16 | FY15/17 | Total
labour | [6 empty] | 0
stores | [6 empty] | 0
fleet |  | 0 | 0 | 0 | 0 | 0 | 0
other | [6 empty] | 0
overhead | [6 empty] | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0
Historical Completed Volumes
Volumes | Source | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | Total
Derived | Contestable Works Management System | [5 empty] | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0
Notes:
New Service. No historical operating costs available.
Operating Costs -
Details on how costs were obtained:

## Proposed price
Alternative Control Service - Bottom Up Estimation | [5 empty] | Real $2018-19 | [9 empty] | Alternative Control Service - Botom Up Estimation | [5 empty] | Real $2018-19 | [9 empty] | Alternative Control Service - Bottom Up Estimation | [5 empty] | Real $2018-19 | [9 empty] | Alternative Control Service - Bottom Up Estimation | [5 empty] | Real $2018-19
Testing & Commissioning of streetlights | [5 empty] | Per service | [9 empty] | Testing & Commissioning of Underground & Overhead distribution mains | [5 empty] | Per service | [9 empty] | Testing & Commissioning of Underground pillars | [5 empty] | Per service | [9 empty] | Testing & Commissioning of Underground Cables | [5 empty] | Per service
Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service | Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service | Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service | Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service
Underground and Overhead streetlights (fixed fee) NT | [15 empty] | Underground and Overhead distribution mains (fixed fee) NT | [15 empty] | Underground pillars (fixed fee) NT | [15 empty] | Underground cable test (fixed fee) NT
Travel to / from site for streetlight commissioning* | R4 | 0.1 | 1 | 0.1 | 0 | 7.9838 | 1.9732 |  |  |  | 9.9571 | 4.6393 | 1.5969 | 1.027 | 17.2202 | Review impacted customers and mail out outage notifications (EE notified) | R1a | 1 | 1 | 1 | 0 | 73.7415 | 0 |  |  |  | 73.7415 | 34.3581 | 11.8265 | 7.6057 | 127.5318 | Travel to / from site for commissioning* | R4 | 0.1 | 1 | 0.1 | 0 | 7.9838 | 1.9732 |  |  |  | 9.9571 | 4.6393 | 1.5969 | 1.027 | 17.2202 | Travel to / from site for cable test | R4 | 0.5 | 2 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021
Review pre commissioning tests / check completed by ASP (pre energisation) | R4 | 0.1 | 1 | 0.1 | 0 | 7.9838 | 1.9732 |  |  |  | 9.9571 | 4.6393 | 1.5969 | 1.027 | 17.2202 | Process network configuration upgrade such as Power On "patches" and GIS maps | R1a | 1 | 1 | 1 | 0 | 73.7415 | 0 |  |  |  | 73.7415 | 34.3581 | 11.8265 | 7.6057 | 127.5318 | Review pre commissioning tests / check completed by ASP (pre energisation) | R4 | 0.1 | 1 | 0.1 | 0 | 7.9838 | 1.9732 |  |  |  | 9.9571 | 4.6393 | 1.5969 | 1.027 | 17.2202 | Review ASP construction | R4 | 0.25 | 1 | 0.25 | 0 | 19.9596 | 4.9331 |  |  |  | 24.8927 | 11.5982 | 3.9922 | 2.5674 | 43.0505
Complete commissioning tests as per Essential Energy's commissioning policy / procedures | R4 | 0.1 | 2 | 0.2 | 0 | 15.9677 | 3.9465 |  |  |  | 19.9142 | 9.2785 | 3.1938 | 2.054 | 34.4404 | Review protection setting and process NAR request | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917 | Complete commissioning tests as per Essential Energy's commissioning policy / procedures | R4 | 0.1 | 2 | 0.2 | 0 | 15.9677 | 3.9465 |  |  |  | 19.9142 | 9.2785 | 3.1938 | 2.054 | 34.4404 | Cancel Construction Access Permit - Issue Test Access Permit | R4 | 0.5 | 2 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021
Update records such as ENMAC schematic and GIS mapping systems | R4 | 0.1 | 1 | 0.1 | 0 | 7.9838 | 1.9732 |  |  |  | 9.9571 | 4.6393 | 1.5969 | 1.027 | 17.2202 | Write switching sheet (pre and approved) | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835 | Update records such as ENMAC schematic and GIS mapping systems | R4 | 0.1 | 1 | 0.1 | 0 | 7.9838 | 1.9732 |  |  |  | 9.9571 | 4.6393 | 1.5969 | 1.027 | 17.2202 | Complete IR cable tests as per Essential Energy's commissioning policy / procedures | R4 | 0.5 | 2 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021
[16 empty] | Travel to / from site for Mains Commissioning | R4 | 1 | 3 | 3 | 0 | 239.515 | 59.1973 |  |  |  | 298.7123 | 139.178 | 47.9068 | 30.8093 | 516.6064 | [16 empty] | Cancel Test Acess Permit - Issue Construction Access Permit | R4 | 0.5 | 2 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021
[16 empty] | Review pre commissioning tests / check completed by ASP (pre energisation) | R4 | 1 | 1 | 1 | 0 | 79.8383 | 19.7324 |  |  |  | 99.5708 | 46.3927 | 15.9689 | 10.2698 | 172.2021 | [16 empty] | Update records such as ENMAC schematic and GIS mapping systems | R4 | 0.1 | 1 | 0.1 | 0 | 7.9838 | 1.9732 |  |  |  | 9.9571 | 4.6393 | 1.5969 | 1.027 | 17.2202
*Travel time reduced as SL commissioning completed as part of group of SL's | [15 empty] | Complete tests as per Essential Energy's commissioning policy / procedures | R4 | 1.5 | 3 | 4.5 | 0 | 359.2726 | 88.796 |  |  |  | 448.0685 | 208.767 | 71.8601 | 46.2139 | 774.9096 | *Travel time reduced as SL commissioning completed as part of group of pillars
[16 empty] | Update records such as ENMAC schematic and GIS mapping systems | R4 | 0.5 | 1 | 0.5 | 0 | 39.9192 | 9.8662 |  |  |  | 49.7854 | 23.1963 | 7.9845 | 5.1349 | 86.1011
Total |  |  |  | 0.5 | 0 | 39.9192 | 9.8662 | 0 | 0 | 0 | 49.7854 | 23.1963 | 7.9845 | 5.1349 | 86.1011 | Update network schematics (patches) and GIS mapping | R2a | 0.25 | 1 | 0.25 | 0 | 25.8151 | 0 |  |  |  | 25.8151 | 12.028 | 4.1402 | 2.6626 | 44.6459 | Total |  |  |  | 0.5 | 0 | 39.9192 | 9.8662 | 0 | 0 | 0 | 49.7854 | 23.1963 | 7.9845 | 5.1349 | 86.1011 | Total |  |  |  | 4.35 | 0 | 347.2968 | 85.8361 | 0 | 0 | 0 | 433.1329 | 201.8081 | 69.4648 | 44.6734 | 749.0793
[16 empty] | Total |  |  |  | 12.75 | 0 | 1046.7341 | 177.5919 | 0 | 0 | 0 | 1224.3261 | 570.4461 | 196.3545 | 126.2772 | 2117.4039
Alternative Control Service - Bottom Up Estimation | [15 empty] | Alternative Control Service - Botom Up Estimation | [15 empty] | Alternative Control Service - Bottom Up Estimation | [15 empty] | Alternative Control Service - Bottom Up Estimation
Testing & Commissioning of streetlights | [15 empty] | Testing & Commissioning of Underground & Overhead distribution mains | [15 empty] | Testing & Commissioning of Underground pillars | [15 empty] | Testing & Commissioning of Underground Cables
Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service | Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service | Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service | Task | Class of Labour | Time on Task (Hours) | Number of Staff | Total Time (Hours) | Overtime loading? 0 = No 1 = Yes | Direct Labour Rate (incl on-costs) | Fleet rate | Materials | Material Price | Material Price Oncost % | Direct cost per service | Overheads | Non-system charge | Profit margin (WACC FY20) per service | FY2019 Fully Loaded Cost per service
Underground and Overhead streetlights (fixed fee) OT | [15 empty] | Underground and Overhead distribution mains (fixed fee) OT | [15 empty] | Underground pillars (fixed fee) OT | [15 empty] | Underground cable test - IR Test (fixed fee) OT
Travel to / from site for streetlight commissioning* | R4 | 0.1 | 1 | 0.1 | 1 | 14.4941 | 1.9732 |  |  |  | 16.4673 | 7.6726 | 2.641 | 1.6984 | 28.4794 | Review impacted customers and mail out outage notifications (EE notified) | R1a | 1 | 1 | 1 | 0 | 73.7415 | 0 |  |  |  | 73.7415 | 34.3581 | 11.8265 | 7.6057 | 127.5318 | Travel to / from site for commissioning* | R4 | 0.1 | 1 | 0.1 | 1 | 14.4941 | 1.9732 |  |  |  | 16.4673 | 7.6726 | 2.641 | 1.6984 | 28.4794 | Travel to / from site for cable test | R4 | 0.5 | 2 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936
Review pre commissioning tests / check completed by ASP (pre energisation) | R4 | 0.1 | 1 | 0.1 | 1 | 14.4941 | 1.9732 |  |  |  | 16.4673 | 7.6726 | 2.641 | 1.6984 | 28.4794 | Process network configuration upgrade such as Power On "patches" and GIS maps | R1a | 1 | 1 | 1 | 0 | 73.7415 | 0 |  |  |  | 73.7415 | 34.3581 | 11.8265 | 7.6057 | 127.5318 | Review pre commissioning tests / check completed by ASP (pre energisation) | R4 | 0.1 | 1 | 0.1 | 1 | 14.4941 | 1.9732 |  |  |  | 16.4673 | 7.6726 | 2.641 | 1.6984 | 28.4794 | Review ASP construction | R4 | 0.25 | 1 | 0.25 | 1 | 36.2353 | 4.9331 |  |  |  | 41.1684 | 19.1814 | 6.6025 | 4.2461 | 71.1984
Complete commissioning tests as per Essential Energy's commissioning policy / procedures | R4 | 0.1 | 2 | 0.2 | 1 | 28.9882 | 3.9465 |  |  |  | 32.9347 | 15.3451 | 5.282 | 3.3969 | 56.9587 | Review protection setting and process NAR request | R2a | 0.5 | 1 | 0.5 | 0 | 51.6303 | 0 |  |  |  | 51.6303 | 24.0559 | 8.2803 | 5.3252 | 89.2917 | Complete commissioning tests as per Essential Energy's commissioning policy / procedures | R4 | 0.1 | 2 | 0.2 | 1 | 28.9882 | 3.9465 |  |  |  | 32.9347 | 15.3451 | 5.282 | 3.3969 | 56.9587 | Cancel Construction Access Permit - Issue Test Access Permit | R4 | 0.5 | 2 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936
Update records such as ENMAC schematic and GIS mapping systems | R4 | 0.1 | 1 | 0.1 | 1 | 14.4941 | 1.9732 |  |  |  | 16.4673 | 7.6726 | 2.641 | 1.6984 | 28.4794 | Write switching sheet (pre and approved) | R2a | 1 | 1 | 1 | 0 | 103.2606 | 0 |  |  |  | 103.2606 | 48.1119 | 16.5607 | 10.6503 | 178.5835 | Update records such as ENMAC schematic and GIS mapping systems | R4 | 0.1 | 1 | 0.1 | 1 | 14.4941 | 1.9732 |  |  |  | 16.4673 | 7.6726 | 2.641 | 1.6984 | 28.4794 | Complete IR cable tests as per Essential Energy's commissioning policy / procedures | R4 | 0.5 | 2 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936
[16 empty] | Travel to / from site for Mains Commissioning | R4 | 1 | 3 | 3 | 1 | 434.8231 | 59.1973 |  |  |  | 494.0204 | 230.1772 | 79.2298 | 50.9534 | 854.3808 | [16 empty] | Cancel Test Acess Permit - Issue Construction Access Permit | R4 | 0.5 | 2 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936
[16 empty] | Review pre commissioning tests / check completed by ASP (pre energisation) | R4 | 1 | 1 | 1 | 1 | 144.941 | 19.7324 |  |  |  | 164.6735 | 76.7257 | 26.4099 | 16.9845 | 284.7936 | [16 empty] | Update records such as ENMAC schematic and GIS mapping systems | R4 | 0.1 | 1 | 0.1 | 1 | 14.4941 | 1.9732 |  |  |  | 16.4673 | 7.6726 | 2.641 | 1.6984 | 28.4794
*Travel time reduced as SL commissioning completed as part of group of SL's | [15 empty] | Complete tests as per Essential Energy's commissioning policy / procedures | R4 | 1.5 | 3 | 4.5 | 1 | 652.2346 | 88.796 |  |  |  | 741.0306 | 345.2659 | 118.8447 | 76.4301 | 1281.5712 | *Travel time reduced as SL commissioning completed as part of group of pillars
[16 empty] | Update records such as ENMAC schematic and GIS mapping systems | R4 | 0.5 | 1 | 0.5 | 1 | 72.4705 | 9.8662 |  |  |  | 82.3367 | 38.3629 | 13.205 | 8.4922 | 142.3968
Total |  |  |  | 0.5 | 4 | 72.4705 | 9.8662 | 0 | 0 | 0 | 82.3367 | 38.3629 | 13.205 | 8.4922 | 142.3968 | Update network schematics (patches) and GIS mapping | R2a | 0.25 | 1 | 0.25 | 0 | 25.8151 | 0 |  |  |  | 25.8151 | 12.028 | 4.1402 | 2.6626 | 44.6459 | Total |  |  |  | 0.5 | 4 | 72.4705 | 9.8662 | 0 | 0 | 0 | 82.3367 | 38.3629 | 13.205 | 8.4922 | 142.3968 | Total |  |  |  | 4.35 | 6 | 630.4935 | 85.8361 | 0 | 0 | 0 | 716.3296 | 333.757 | 114.8832 | 73.8824 | 1238.8522
[16 empty] | Total |  |  |  | 12.75 | 4 | 1632.6582 | 177.5919 | 0 | 0 | 0 | 1810.2502 | 843.4437 | 290.3236 | 186.7096 | 3130.727

## Historical Revenue
Alternative Control Service - Historical Revenue & Costs Workings
Historical Revenue
Project Code | Source | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | Total
New Service | ANS P&L Report | [5 empty] | 0
0
0
0
Total |  | 0 | 0 | 0 | 0 | 0 | 0
Historical Completed Volumes
Volumes | Source | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | Total
Derived | Contestable Works Database | [5 empty] | 0
0
0
Total Projects Charged |  | 0 | 0 | 0 | 0 | 0 | 0
Notes:
New Service. No historical revenue available.
Historical Revenue
Details on how costs were obtained:

## Forecasts by year
Labour escalation |  | 100% | 100% | 101.1% | 102.3% | 103.4% |  | 100% | 100% | 101.1% | 102.3% | 103.4%
Contractor rate increase |  | 4% | 4% | 4% | 4% | 4%
Overhead rate |  | 46.59% | 46.59% | 46.59% | 46.59% | 46.59% |  | 46.59% | 46.59% | 46.59% | 46.59% | 46.59%
Average non-system charge |  | 16.04% | 16.04% | 16.04% | 16.04% | 16.04% |  | 16.04% | 16.04% | 16.04% | 16.04% | 16.04%
WACC rate |  | 6.342% | 6.342% | 6.342% | 6.342% | 6.342% |  | 6.342% | 6.342% | 6.342% | 6.342% | 6.342%
|  | ORDINARY LABOUR TIME |  |  |  |  | OVERTIME
3.2 Testing & Commissioning of S/L's, Cables, Mains & Pillars |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Direct Labour Rate (incl on-costs) |  | 50578.9277 | 50578.9277 | 51135.2959 | 52318.1576 | 54085.0763 |  | 14939.2842 | 14939.2842 | 15103.6163 | 15452.9931 | 15974.8805
Fleet rate |  | 10472.9906 | 10472.9906 | 10472.9906 | 10472.9906 | 10472.9906 |  | 1810.451 | 1810.451 | 1810.451 | 1810.451 | 1810.451
Materials |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Total before OHDs, non-system & margin |  | 61051.9182 | 61051.9182 | 61608.2865 | 62791.1481 | 64558.0669 |  | 16749.7352 | 16749.7352 | 16914.0673 | 17263.4442 | 17785.3315
Overheads |  | 28445.7134 | 28445.7134 | 28704.9401 | 29256.0669 | 30079.3214 |  | 7804.1474 | 7804.1474 | 7880.7141 | 8043.498 | 8286.6592
Non-system charge |  | 9791.3592 | 9791.3592 | 9880.5882 | 10070.2927 | 10353.6669 |  | 2686.2821 | 2686.2821 | 2712.6373 | 2768.6695 | 2852.3685
Profit margin |  | 6296.9078 | 6296.9078 | 6354.2917 | 6476.2923 | 6658.5327 |  | 1727.5712 | 1727.5712 | 1744.5205 | 1780.5553 | 1834.3829
Fully Loaded Costs |  | 105585.8987 | 105585.8987 | 106548.1065 | 108593.8 | 111649.5878 |  | 28967.7359 | 28967.7359 | 29251.9391 | 29856.167 | 30758.7421
Forecast revenue (check) |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
UG / OH Streetlights |  | Real 2018-19 including escalation | [5 empty] | Real 2018-19 including escalation
Direct Labour Rate (incl on-costs) | 39.9192 | 39.9192 | 39.9192 | 40.3583 | 41.2919 | 42.6864 | 72.4705 | 72.4705 | 72.4705 | 73.2677 | 74.9625 | 77.4942
Fleet rate | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662
Materials | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total before OHDs, non-system & margin | 49.7854 | 49.7854 | 49.7854 | 50.2245 | 51.1581 | 52.5526 | 82.3367 | 82.3367 | 82.3367 | 83.1339 | 84.8287 | 87.3604
Overheads | 23.1963 | 23.1963 | 23.1963 | 23.4009 | 23.8359 | 24.4857 | 38.3629 | 38.3629 | 38.3629 | 38.7343 | 39.524 | 40.7035
Non-system charge | 7.9845 | 7.9845 | 7.9845 | 8.0549 | 8.2046 | 8.4283 | 13.205 | 13.205 | 13.205 | 13.3328 | 13.6046 | 14.0107
Profit margin (WACC FY20) per service | 5.1349 | 5.1349 | 5.1349 | 5.1802 | 5.2765 | 5.4203 | 8.4922 | 8.4922 | 8.4922 | 8.5744 | 8.7493 | 9.0104
Fully Loaded Cost per service | 86.1011 | 86.1011 | 86.1011 | 86.8605 | 88.475 | 90.8868 | 142.3968 | 142.3968 | 142.3968 | 143.7755 | 146.7066 | 151.085
Forecast volumes |  | 100 | 100 | 100 | 100 | 100 |  | 20 | 20 | 20 | 20 | 20
Forecast revenue |  | 8610.1067 | 8610.1067 | 8686.0485 | 8847.5038 | 9088.6804 |  | 2847.936 | 2847.936 | 2875.5094 | 2934.1316 | 3021.6995
UG / OH Distribution Mains |  | Real 2018-19 including escalation | [5 empty] | Real 2018-19 including escalation
Direct Labour Rate (incl on-costs) | 1046.7341 | 1046.7341 | 1046.7341 | 1058.2482 | 1082.7276 | 1119.2941 | 1632.6582 | 1632.6582 | 1632.6582 | 1650.6175 | 1688.7996 | 1745.8347
Fleet rate | 177.5919 | 177.5919 | 177.5919 | 177.5919 | 177.5919 | 177.5919 | 177.5919 | 177.5919 | 177.5919 | 177.5919 | 177.5919 | 177.5919
Materials | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total before OHDs, non-system & margin | 1224.3261 | 1224.3261 | 1224.3261 | 1235.8401 | 1260.3195 | 1296.886 | 1810.2502 | 1810.2502 | 1810.2502 | 1828.2094 | 1866.3915 | 1923.4266
Overheads | 570.4461 | 570.4461 | 570.4461 | 575.8108 | 587.2164 | 604.2537 | 843.4437 | 843.4437 | 843.4437 | 851.8114 | 869.6015 | 896.1756
Non-system charge | 196.3545 | 196.3545 | 196.3545 | 198.2011 | 202.127 | 207.9914 | 290.3236 | 290.3236 | 290.3236 | 293.2038 | 299.3274 | 308.4745
Profit margin (WACC FY20) per service | 126.2772 | 126.2772 | 126.2772 | 127.4648 | 129.9896 | 133.7611 | 186.7096 | 186.7096 | 186.7096 | 188.5619 | 192.5 | 198.3826
Fully Loaded Cost per service | 2117.4039 | 2117.4039 | 2117.4039 | 2137.3168 | 2179.6526 | 2242.8923 | 3130.727 | 3130.727 | 3130.727 | 3161.7865 | 3227.8203 | 3326.4594
Forecast volumes |  | 25 | 25 | 25 | 25 | 25 |  | 5 | 5 | 5 | 5 | 5
Forecast revenue |  | 52935.0963 | 52935.0963 | 53432.9202 | 54491.3141 | 56072.3072 |  | 15653.6352 | 15653.6352 | 15808.9327 | 16139.1017 | 16632.2969
UG Pillars / Pits |  | Real 2018-19 including escalation | [5 empty] | Real 2018-19 including escalation
Direct Labour Rate (incl on-costs) | 39.9192 | 39.9192 | 39.9192 | 40.3583 | 41.2919 | 42.6864 | 72.4705 | 72.4705 | 72.4705 | 73.2677 | 74.9625 | 77.4942
Fleet rate | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662 | 9.8662
Materials | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total before OHDs, non-system & margin | 49.7854 | 49.7854 | 49.7854 | 50.2245 | 51.1581 | 52.5526 | 82.3367 | 82.3367 | 82.3367 | 83.1339 | 84.8287 | 87.3604
Overheads | 23.1963 | 23.1963 | 23.1963 | 23.4009 | 23.8359 | 24.4857 | 38.3629 | 38.3629 | 38.3629 | 38.7343 | 39.524 | 40.7035
Non-system charge | 7.9845 | 7.9845 | 7.9845 | 8.0549 | 8.2046 | 8.4283 | 13.205 | 13.205 | 13.205 | 13.3328 | 13.6046 | 14.0107
Profit margin (WACC FY20) per service | 5.1349 | 5.1349 | 5.1349 | 5.1802 | 5.2765 | 5.4203 | 8.4922 | 8.4922 | 8.4922 | 8.5744 | 8.7493 | 9.0104
Fully Loaded Cost per service | 86.1011 | 86.1011 | 86.1011 | 86.8605 | 88.475 | 90.8868 | 142.3968 | 142.3968 | 142.3968 | 143.7755 | 146.7066 | 151.085
Forecast volumes |  | 120 | 120 | 120 | 120 | 120 |  | 30 | 30 | 30 | 30 | 30
Forecast revenue |  | 10332.128 | 10332.128 | 10423.2582 | 10617.0046 | 10906.4165 |  | 4271.904 | 4271.904 | 4313.2641 | 4401.1974 | 4532.5493
UG Cable Test |  | Real 2018-19 including escalation | [5 empty] | Real 2018-19 including escalation
Direct Labour Rate (incl on-costs) | 347.2968 | 347.2968 | 347.2968 | 351.1171 | 359.2391 | 371.3715 | 630.4935 | 630.4935 | 630.4935 | 637.4289 | 652.1739 | 674.1995
Fleet rate | 85.8361 | 85.8361 | 85.8361 | 85.8361 | 85.8361 | 85.8361 | 85.8361 | 85.8361 | 85.8361 | 85.8361 | 85.8361 | 85.8361
Materials | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total before OHDs, non-system & margin | 433.1329 | 433.1329 | 433.1329 | 436.9532 | 445.0752 | 457.2076 | 716.3296 | 716.3296 | 716.3296 | 723.265 | 738.01 | 760.0356
Overheads | 201.8081 | 201.8081 | 201.8081 | 203.5881 | 207.3724 | 213.0252 | 333.757 | 333.757 | 333.757 | 336.9884 | 343.8585 | 354.1208
Non-system charge | 69.4648 | 69.4648 | 69.4648 | 70.0775 | 71.3801 | 73.3259 | 114.8832 | 114.8832 | 114.8832 | 115.9955 | 118.3603 | 121.8927
Profit margin (WACC FY20) per service | 44.6734 | 44.6734 | 44.6734 | 45.0674 | 45.9052 | 47.1565 | 73.8824 | 73.8824 | 73.8824 | 74.5977 | 76.1185 | 78.3902
Fully Loaded Cost per service | 749.0793 | 749.0793 | 749.0793 | 755.6862 | 769.7328 | 790.7152 | 1238.8522 | 1238.8522 | 1238.8522 | 1250.8466 | 1276.3473 | 1314.4393
Forecast volumes |  | 45 | 45 | 45 | 45 | 45 |  | 5 | 5 | 5 | 5 | 5
Forecast revenue |  | 33708.5676 | 33708.5676 | 34005.8797 | 34637.9775 | 35582.1838 |  | 6194.2608 | 6194.2608 | 6254.2329 | 6381.7363 | 6572.1964

## Forecast Revenue - Costs
Alternative Control Service - Forecast Revenue & Costs Workings
Project Code | Description | FY19/20 | FY20/21 | FY21/22 | FY22/23 | FY23/24 | Total
New Service - Test & Commissioning | UG/OH Streetlights | 11458.0427 | 11458.0427 | 11561.5579 | 11781.6355 | 12110.3799 | 58369.6585
| UG/OH Distribution Mains | 68588.7315 | 68588.7315 | 69241.8529 | 70630.4158 | 72704.6041 | 349754.3357
| UG Pillar Pits | 14604.032 | 14604.032 | 14736.5223 | 15018.202 | 15438.9658 | 74401.754
| UG Cable Test | 39902.8284 | 39902.8284 | 40260.1127 | 41019.7138 | 42154.3802 | 203239.8635
Total |  | 134553.6345 | 134553.6345 | 135800.0457 | 138449.967 | 142408.33 | 685765.6117
Estimated Future Volumes
Project Code | Description | FY19/20 | FY20/21 | FY21/22 | FY22/23 | FY23/24 | Total
New Service - Test & Commissioning | UG/OH Streetlights | 120 | 120 | 120 | 120 | 120 | 600
| UG/OH Distribution Mains | 30 | 30 | 30 | 30 | 30 | 150
| UG Pillar Pits | 150 | 150 | 150 | 150 | 150 | 750
| UG Cable Test | 50 | 50 | 50 | 50 | 50 | 250
Total Projects Charged |  | 350 | 350 | 350 | 350 | 350 | 1750
Notes:
New Service Essential Energy estimates 120 S/L commissioning tasks each year.
Forecast Costs
Details on how costs are estimated:
Estimated have been provided on the work effort that will be required to complete each service
Forecast Cost Breakup |  | Real 2018-19 (including labour escalation)
Cost type | Description | FY19/20 | FY20/21 | FY21/22 | FY22/23 | FY23/24 | Total
Labour |  | 65518.2118 | 65518.2118 | 66238.9122 | 67771.1507 | 70059.9568 | 335106.4434
Fleet |  | 12283.4416 | 12283.4416 | 12283.4416 | 12283.4416 | 12283.4416 | 61417.2079
Materials |  | 0 | 0 | 0 | 0 | 0 | 0
Total costs before OHDs, non-system and margin |  | 77801.6534 | 77801.6534 | 78522.3538 | 80054.5923 | 82343.3984 | 396523.6513
Overheads |  | 36249.8608 | 36249.8608 | 36585.6542 | 37299.5649 | 38365.9806 | 184750.9212
Non-system charge |  | 12477.6413 | 12477.6413 | 12593.2255 | 12838.9622 | 13206.0354 | 63593.5056
Profit margin |  | 8024.479 | 8024.479 | 8098.8122 | 8256.8476 | 8492.9156 | 40897.5335
Total |  | ` | 134553.6345 | 135800.0457 | 138449.967 | 142408.33 | 685765.6117