## Pricing Summary
Pricing Scenarios in $2013/14 excl GST
Price by tariff class | 2015/16 | 2016/17 | 2017/18 | 2018/19
Accelerated Depreciation
Residential Anytime | 32.581 | 33.9842 | 33.5356 | 34.5795
Residential TOU | 40.5992 | 41.9367 | 41.3917 | 42.4288
Small Business anytime | 32.581 | 33.9842 | 33.5356 | 34.5795
Small Business TOU | 40.5992 | 41.9367 | 41.3917 | 42.4288
Controlled Load | 11.5425 | 12.2084 | 12.0438 | 12.5218
Solar (Gross meter only) | 39.1504 | 40.3535 | 39.8309 | 40.7754
New Customers (No RAB)
Anytime Customers | 14.2562 | 14.1579 | 14.0612 | 14.1581
TOU Customers | 18.9979 | 18.8562 | 18.7303 | 18.8415
Controlled Load | 4.5441 | 4.5171 | 4.4851 | 4.5234
Solar Additions (assume single phase 2 element) | 18.58 | 18.4393 | 18.3167 | 18.422
Price for New Meters $2013/14 | Per Meter
Single Phase Accumulation | 34.2845
Three Phase Accumulation | 129.5193
Single Phase TOU | 95.4176
Single Phase 2 element (TOU) | 224.4036
Three Phase TOU | 314.2214
Three Phase CT | 447.3901
Metering Exit Fee
Task | Hours | 2015/16 | 2016/17 | 2017/18 | 2018/19
R1 Administrative Officer Grade 16 | 27 | 48.3764 | 48.9812 | 49.5896 | 50.1686
Total Exit Charge $2013/14
All prices to be given annual increases as described in Control mechanism.
That is CPI and X factor (zero) each year

## Price Build Up
Customer Numbers | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | Price per meter | General |  | Meter Reading |  | Assumption
Opening bal for year | Actual | Projected | Projected | Projected | Projected | Projected |  | Weighting |  | Weighting |  | 75% time in getting to premise
25% reading the registers
[12 empty] | to premise | # of registers | weight time to read
Residential Anytime | 702134 | 711610 | 711610 | 711610 | 711610 | 711610 | 76.8656 | 0.1863 |  | 0.14815 |  | 0.75 | 1 | 0.25 | 1
Residential TOU | 13171 | 18839.3 | 18839.3 | 18839.3 | 18839.3 | 18839.3 | 76.8656 | 0.1863 |  | 0.22222 |  | 0.75 | 3 | 0.75 | 1.5
Small Business anytime | 80273 | 79250.49 | 79250.49 | 79250.49 | 79250.49 | 79250.49 | 76.8656 | 0.1863 |  | 0.14815 |  | 0.75 | 1 | 0.25 | 1
Small Business TOU | 11458 | 14113.1 | 14113.1 | 14113.1 | 14113.1 | 14113.1 | 76.8656 | 0.1863 |  | 0.22222 |  | 0.75 | 3 | 0.75 | 1.5
Controlled Load | 492822 | 487584.3 | 481816.9 | 476101.1 | 470436.1 | 464821.5 | 35 | 0.084829 |  | 0.037037 |  | 0 | 1 | 0.25 | 0.25
Solar | 82125 | 113418.433 | 113418.433 | 113418.433 | 113418.433 | 113418.433 | 70.1344 | 0.16998 |  | 0.22222 |  | 0 | 6 | 1.5 | 1.5
Total Customer Numbers | 1406148.627 | 1424815.623 | 1419048.223 | 1413332.423 | 1407667.423 | 1402052.823 | 412.5968 | 1 |  | 1 |  |  |  |  | 6.75
|  | 18666.996 | -5767.4 | -5715.8 | -5665 | -5614.6
New Customers
Anytime Customers |  |  | 3339.509 | 5996.831 | 8773.996 | 11366.913 | 21970.5809 | 0.29693 | 0.1863 | 0.23529 | 0.14815
TOU Customers |  |  | 2110.7 | 3940.2 | 5787.2 | 7653.8 | 915.4375 | 0.29693 | 0.1863 | 0.35294 | 0.22222
Controlled Load |  |  | 1200 | 2400 | 3600 | 4800 | 13227.7889 | 0.13521 | 0.084829 | 0.058824 | 0.037037 | Still need a fee for this for any customers who do put on CL
Solar Additions (assume single phase 2 element) |  |  | 14146.738 | 28366.828 | 40426.728 | 52413.756 | 3150.8324 | 0.27093 | 0.16998 | 0.35294 | 0.22222
Cumulative Customer Growth |  |  | 20796.947 | 40703.859 | 58587.924 | 76234.469 |  |  | 0.62741 |  | 0.62963
Total customer numbers to recover costs |  | 1424815.623 | 1439845.17 | 1454036.282 | 1466255.347 | 1478287.292
Incremental % increase |  | 0% | 1.444% | 2.799% | 3.996% | 5.157%
Recoverable Costs - Existing customers
WACC + Deprec + CoT + Equ |  | 8342979.6741 | 9793732.1621 | 11097669.4973 | 10350901.1986 | 10830507.7197
Metering Costs |  | 5905283.409 | 6156425.713 | 6102309.57 | 6024123.6236 | 6082786.8236
Accellerated Depreciation (5 Years) |  | 2553441.4534 | 3021282.4872 | 3484013.0125 | 3970594.7816 | 4590966.7874
Meter Reading |  | 18728240.2975 | 18135159.5277 | 17963917.99 | 17723734.5252 | 17686523.3397
Recoverable Costs - New customers
Metering Costs |  | 0 | 90225.8691 | 175746.02 | 250727.4739 | 330742.1917
Meter Reading |  | 0 | 265780.9266 | 517359.3792 | 737671.9773 | 961677.5439
General Weighted Existing Customer Numbers
Residential Anytime |  | 132570.9012 | 132570.9012 | 132570.9012 | 132570.9012 | 132570.9012
Residential TOU |  | 3509.7075 | 3509.7075 | 3509.7075 | 3509.7075 | 3509.7075
Small Business anytime |  | 14764.1389 | 14764.1389 | 14764.1389 | 14764.1389 | 14764.1389
Small Business TOU |  | 2629.23 | 2629.23 | 2629.23 | 2629.23 | 2629.23
Controlled Load |  | 41361.083 | 40871.8427 | 40386.9795 | 39906.4256 | 39430.1471
Solar (Gross meter only) |  | 19279.194 | 19279.194 | 19279.194 | 19279.194 | 19279.194
|  | 214114.2547 | 213625.0144 | 213140.1512 | 212659.5973 | 212183.3187
Meter Reading Weighted Existing Customer Numbers
Residential Anytime |  | 105423.7037 | 105423.7037 | 105423.7037 | 105423.7037 | 105423.7037
Residential TOU |  | 4186.5111 | 4186.5111 | 4186.5111 | 4186.5111 | 4186.5111
Small Business anytime |  | 11740.8133 | 11740.8133 | 11740.8133 | 11740.8133 | 11740.8133
Small Business TOU |  | 3136.2444 | 3136.2444 | 3136.2444 | 3136.2444 | 3136.2444
Controlled Load |  | 18058.6778 | 17845.0704 | 17633.3741 | 17423.5593 | 17215.6111
Solar (Gross meter only) |  | 25204.0962 | 25204.0962 | 25204.0962 | 25204.0962 | 25204.0962
|  | 167750.0466 | 167536.4392 | 167324.7429 | 167114.9281 | 166906.9799
General Weighted New Customers
Anytime Customers |  |  | 991.6086 | 1780.6538 | 2605.2842 | 3375.2055
TOU Customers |  |  | 626.7353 | 1169.9733 | 1718.4075 | 2272.6617
Controlled Load Customers |  |  | 162.2464 | 324.4927 | 486.7391 | 648.9854
Solar Customers |  |  | 3832.7726 | 7685.4185 | 10952.8045 | 14200.4474
Total Weighted |  |  | 5613.3629 | 10960.5383 | 15763.2354 | 20497.2999
Meter reading weighted New Customers
Anytime Customers |  |  | 785.7668 | 1411.0191 | 2064.4696 | 2674.5678
TOU Customers |  |  | 744.9529 | 1390.6588 | 2042.5412 | 2701.3412
Controlled Load Customers |  |  | 70.5882 | 141.1765 | 211.7647 | 282.3529
Solar Customers |  |  | 4992.9664 | 10011.8216 | 14268.2569 | 18498.9727
Total Weighted |  |  | 6594.2744 | 12954.676 | 18587.0325 | 24157.2346
Annual cost per existing customer
Residential Anytime |  | 31.1587 | 32.581 | 33.9842 | 33.5356 | 34.5795
Residential TOU |  | 39.4286 | 40.5992 | 41.9367 | 41.3917 | 42.4288
Small Business anytime |  | 31.1587 | 32.581 | 33.9842 | 33.5356 | 34.5795
Small Business TOU |  | 39.4286 | 40.5992 | 41.9367 | 41.3917 | 42.4288
Controlled Load |  | 10.7915 | 11.5425 | 12.2084 | 12.0438 | 12.5218
Solar (Gross meter only) |  | 38.1484 | 39.1504 | 40.3535 | 39.8309 | 40.7754
Annual Cost per New Customer
Anytime Customers |  |  | 14.2562 | 14.1579 | 14.0612 | 14.1581
TOU Customers |  |  | 18.9979 | 18.8562 | 18.7303 | 18.8415
Controlled Load |  |  | 4.5441 | 4.5171 | 4.4851 | 4.5234
Solar Additions (assume single phase 2 element) |  |  | 18.58 | 18.4393 | 18.3167 | 18.422
[15 empty] | 62.5383 | 65.2099 | 67.9003 | 70.3208 | 79.9562
[15 empty] | 53.4121 | 56.0341 | 58.535 | 60.7125 | 70.1267
[15 empty] | 62.5383 | 65.2099 | 67.9003 | 70.3208 | 79.9562
[15 empty] | 20.5727 | 21.7462 | 22.8072 | 23.6989 | 27.8948
1107.3911

## Recoverable Costs Summary
Recoverable Cost Base
2012/13 to 2013/14
CPI conversion rate (if required) |  | 101.8% | 101.8% | 101.8% | 101.8% | 101.8%
Corporate OHDS |  | 24.03% | 21.06% | 19.3% | 17.23% | 15.89%
Divisional OHDS |  | 16.91% | 16.22% | 16.87% | 17.13% | 18.25%
Allocation rate (Total) |  | 40.94% | 37.27% | 36.17% | 34.36% | 34.15%
$2013/14 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
|  | Projected | Projected | Projected | Projected | Projected
RAB additions
Direct meter replacement costs $2013/14 |  | 6345004.4152 | 5446326.8506 | 5622813.1006 | 7634694.2274 | 7497353.3274 | new meters are cap cons from 2015-16 so not part of RAB
Add OHDs |  | 2597493.6773 | 2030067.6751 | 2033819.2145 | 2622956.9996 | 2560268.7525
Fully loaded meter replacement $2013/14 |  | 8942498.0925 | 7476394.5257 | 7656632.3151 | 10257651.2271 | 10057622.0799
Fully loaded meter replacement $2013/14 |  | 9001563.8641 | 7569483.3009 | 7825825.4011 | 10595823.0492 | 10499985.0651
Metering RAB value (Book) |  | 95105986.2328 | 99632811.5688 | 101981806.9345 | 104074939.5324 | 108484918.6856
WACC rate | 8.85%
RAB * WACC |  | 8213452.8737 | 8600187.6513 | 8802950.1813 | 8983626.9366 | 9364291.1742 | as calculated in Metering PTRM and converted to $1314
Depreciation (Accelerated) |  | 2553441.4534 | 3021282.4872 | 3484013.0125 | 3970594.7816 | 4590966.7874 | as calculated in Metering PTRM and converted to $1314
Closing RAB (NBV) |  | 99632811.5688 | 101981806.9345 | 104074939.5324 | 108484918.6856 | 112068204.4007 | as calculated in Metering PTRM and converted to $1314
Tax Building Block |  | 73033.8446 | 1134362.6207 | 2234142.1227 | 1305453.7479 | 1401776.5037 | as calculated in Metering PTRM and converted to $1314
Scheduled Meter Reading Costs $2013/14 |  | 12995364.5032 | 12995364.5032 | 12995364.5032 | 12995364.5032 | 12995364.5032
Cost Escalation - materials only |  | 76209.3073 | 190522.3351 | 355385.8504 | 521200.5471 | 679009.012
Add OHDS |  | 5351190.9691 | 4914916.6717 | 4829079.6994 | 4643718.249 | 4669657.37
Total meter replacement incl escalators $2013/14 |  | 18422764.7796 | 18100803.51 | 18179830.053 | 18160283.2992 | 18344030.8852
Debt rasing costs from Metering PRTM |  | 56492.9558 | 59181.8901 | 60577.1933 | 61820.5141 | 64440.0417
Meter Data Costs $2013/14 |  | 1444530.96 | 1449124.56 | 1432605.96 | 1437648.96 | 1438953.96
Cost Escalation - labour & materials |  | 8471.2286 | 21245.3137 | 39177.6535 | 57659.2849 | 75185.4791
Add OHDS |  | 594824.4873 | 548066.6939 | 532356.6228 | 513724.4676 | 517062.9852
Total meter testing incl escaltors $2013/14 |  | 2047826.6759 | 2018436.5676 | 2004140.2363 | 2009032.7125 | 2031202.4244
Meter Provisioning costs |  | 1520317.31 | 1815324.97 | 1814658.23 | 1733252.23 | 1762612.23
Cost Escalation - labour & materials |  | 8915.666 | 26614.1017 | 49625.6845 | 69514.9421 | 92096.654
Add OHDS |  | 626031.5559 | 686565.6564 | 674327.3125 | 619354.3096 | 633363.9344
Total meter provision incl escalators $2013/14 |  | 2155264.5319 | 2528504.728 | 2538611.2269 | 2422121.4817 | 2488072.8184
Meter Replacement _Emergency Opex $2013/14 |  | 506029.4381 | 509435.1131 | 513187.7578 | 533582.2283 | 537878.53
Labour required |  | 694691.9723 | 710861.8041 | 727247.911 | 785753.6486 | 804057.6229
Cost Escalation - labour & materials |  | 7041.4452 | 17890.5192 | 33922.3486 | 52914.1434 | 70116.2896
Add OHDS |  | 494429.3456 | 461522.8501 | 460946.1093 | 471446.883 | 482201.3299
Total emergency meter opex incl escalators $2013/14 |  | 1702192.2012 | 1699710.2865 | 1735304.1268 | 1843696.9032 | 1894253.7725
Check reads - Network requested |  | 215481.5387 | 215481.5387 | 215481.5387 | 215481.5387 | 215481.5387
Cost Escalation - labour & materials |  | 1263.6582 | 3159.13 | 5892.8005 | 8642.2428 | 11258.9306
Add OHDS |  | 88730.321 | 81496.2756 | 80072.9771 | 76999.4218 | 77429.5292
Total check reads incl escalators $2013/14 |  | 305475.5179 | 300136.9443 | 301447.3162 | 301123.2034 | 304169.9984
Add indirect unallocated opex |  | 0 | 0 | 0 | 0 | 0
Less savings to be made |  | -19873.2421 | -128537.5186 | -292228.3313 | -461518.0752 | -614991.5949
Cost escalation impact |  | -116.5436 | -1884.4618 | -7991.6045 | -18509.9443 | -32133.3684
Add OHDS impact |  | -8183.3421 | -48613.5801 | -108592.0985 | -164917.2601 | -220986.4935
Total |  | -28173.1277 | -179035.5605 | -408812.0343 | -644945.2797 | -868111.4568
Total Opex costs $2013/14 |  | 24605350.5787 | 24468556.4758 | 24350520.9248 | 24091312.3204 | 24193618.4421 | 121709358.7419
Total Recoverable Costs $2013/14 |  | 35529944.8339 | 37462606.6857 | 39341015.469 | 39057753.5803 | 40483204.406 | 191874524.975

## RFM
RAB |  | Source | 2014-02-18
Closing Balance Year | 2013-14
6882.7006
Sub-transmission lines and cables | 874.4719
Distribution lines and cables | 2657.7768
Substations | 1309.8906
Transformers | 445.7961
Low voltage lines and cables | 615.11 |  |  | Percentage of Metering to total System
Customer metering and load control | 104.2025 | 83.87% | 87.3895 | 1.382%
Communications | 25.7537
Land | 64.5896
Easements | 83.4595
RAB adjustment | 26.1257
Deferred depreciation | 115.3291
Emergency spares (major plant, excludes inventory) | 1.7619
Total System | 6324.2673
IT systems | 96.027 | 1.3269
Furniture, fittings, plant and equipment | 133.7424 | 1.8481
Motor vehicles | 129.3548 | 1.7874
Buildings | 79.5023 | 1.0986
Land | 96.6913 | 1.3361
Other non-system assets | 7.9003 | 0.10917
Equity raising costs | 15.2152 | 0.21025
Total non system | 558.4333 |  | 7.7165 | Portion of non system to add to Metering RAB
95.106
Tax RAB
Closing Balance Year | 2013-14
Sub-transmission lines and cables | 605835.5962
Distribution lines and cables | 2403450.6741
Substations | 964898.6459
Transformers | 274115.3638
Low voltage lines and cables | 506173.5784 |  |  | Percentage of Metering to total System
Customer metering and load control | 95809.2205 |  | 80350.4908 | 1.63%
Communications | 35739.6812
Land | 33916.6394
Easements | 54000.6207
RAB adjustment | 0
Deferred depreciation | -45387.5083
Emergency spares (major plant, excludes inventory) | 2254.4503
Total System | 4930806.9622
IT systems | 48100.2593 | 783.8229
Furniture, fittings, plant and equipment | 57303.5202 | 933.7956
Motor vehicles | 214406.0034 | 3493.8759
Buildings | 74465.8386 | 1213.466
Land | 97744.4186 | 1592.8046
Other non-system assets | 6457.5117 | 105.2291
Equity raising costs | 13117.2611 | 213.7537
Total non system | 511594.8128 |  | 8336.7478 | Portion of non system to add to Metering RAB
TOTAL | 5442401.775
| 0 |  | 88687.2386

## Metering AMP
$2013-14
Capex
New Meter Purchases | [6 empty] | cap cons from here out, exclude from RAB
Metering Equipment type | 12/13 | 0 | 13/14 | 0 | 14/15 | 0 | 15/16 | 0 | 16/17 | 0 | 17/18 | 0 | 18/19 | 0
Single phase accumulation meters |  | 0 |  | 0 | 6189.4 | 387580.228 | 3042 | 190490.04 | 2840.25 | 177856.455 | 3347.25 | 209604.795 | 3687 | 230879.94
Single phase one element meters (TOU) | 22337 | 1311628.64 | 24668 | 1448504.96 | 17366 | 1019731.52 | 17493 | 1027188.96 | 58231.5 | 3419353.68 | 20179.5 | 1184940.24 | 17432 | 1023607.04
Single-phase two element meter (TOU) | 2000 | 290000 | 1800 | 261000 | 1800 | 261000 | 1800 | 261000 | 1800 | 261000 | 1800 | 261000 | 1800 | 261000
Three phase accumulation meters |  | 0 |  |  | 3700 | 327450 | 3600 | 318600 | 4200 | 371700 | 3000 | 265500 | 3400 | 300900
Three phase electronic meters (TOU) | 7770 | 1533953.4 | 6500 | 1283230 | 2000 | 394840 | 2500 | 493550 | 2900 | 572518 | 2400 | 473808 | 2500 | 493550
Three phase CT meters |  | 0 | 110 | 23540 | 110 | 23540 | 110 | 23540 | 110 | 23540 | 110 | 23540 | 110 | 23540
Total | 32107 | 3135582.04 | 33078 | 3016274.96 | 31165.4 | 2414141.748 | 28545 | 2314369 | 70081.75 | 4825968.135 | 30836.75 | 2418393.035 | 28929 | 2333476.98
Meter Replacement Program
Metering Equipment Type | 12/13 |  | 13/14 |  | 14/15 |  | 15/16 |  | 16/17 |  | 17/18 |  | 18/19
Single phase accumulation meters | 0 | 0 | 0 | 0 | 30520.2 | 3835218.9172 | 30520.2 | 4203097.5213 | 30520.2 | 4203097.5213 | 30520.2 | 4131465.0674 | 30520.2 | 3994124.1674
Single phase one element meters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single-phase two element meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Three phase whole-current meters | 0 | 0 | 0 | 0 | 0 | 95643.75 | 5101 | 1243229.3293 | 5101 | 1419715.5793 | 14513.6 | 3503229.1601 | 14513.6 | 3503229.1601
Three phase CT meters
Total | 0 | 0 | 0 | 0 | 30520.2 | 3930862.6672 | 35621.2 | 5446326.8506 | 35621.2 | 5622813.1006 | 45033.8 | 7634694.2274 | 45033.8 | 7497353.3274
Total Capex | 32107 | 3135582.04 | 33078 | 3016274.96 | 61685.6 | 6345004.4152 | 64166.2 | 7760695.8506 | 105702.95 | 10448781.2356 | 75870.55 | 10053087.2624 | 73962.8 | 9830830.3074
OPEX $2013/14
Unplanned Failure Meters/Relays |  |  |  | 101.8%
Metering Equipment type | 12/13 | 0 | 13/14 | 0 | 14/15 | 0 | 15/16 | 0 | 16/17 | 0 | 17/18 | 0 | 18/19 | 0
Single phase accumulation meters | 189.0793 | 4254.2834 | 189.0428 | 4253.463 | 189.0063 | 4252.6427 | 190.1636 | 4278.6801 | 190.7136 | 4291.055 | 191.2245 | 4302.5521 | 191.8332 | 4316.247
Single phase one element meters | 515.9936 | 30299.1422 | 640.3159 | 37599.3484 | 777.2104 | 45637.7975 | 871.7229 | 51187.5683 | 966.4204 | 56748.2078 | 1292.6807 | 75906.21 | 1400.2859 | 82224.7855
Single-phase two element meter | 2490.4056 | 361108.8143 | 2479.696 | 359555.9128 | 2464.8525 | 357403.6109 | 2450.3332 | 355298.3119 | 2436.131 | 353238.9891 | 2422.2389 | 351224.6387 | 2408.6502 | 349254.2784
Three phase accumulation meters | 250.5573 | 23489.7476 | 249.7174 | 23411.0099 | 248.8804 | 23332.5362 | 260.4485 | 24417.0505 | 271.6427 | 25466.5046 | 284.8106 | 26700.9909 | 293.9119 | 27554.2392
Three phase whole-current meters | 180.9815 | 35729.3605 | 207.4798 | 40960.6594 | 229.4512 | 45298.2499 | 235.6333 | 46518.7332 | 243.5397 | 48079.6173 | 252.8152 | 49910.7813 | 260.3125 | 51390.8891
Three phase CT meters | 88.54 | 34394.1774 | 87.3384 | 33927.3993 | 77.4975 | 30104.6009 | 71.3969 | 27734.7692 | 65.2923 | 25363.384 | 65.7394 | 25537.0552 | 59.5638 | 23138.0908
TOTAL | 3715.5572 | 489275.5254 | 3853.5902 | 499707.7928 | 3986.8983 | 506029.4381 | 4079.6984 | 509435.1131 | 4173.7397 | 513187.7578 | 4509.5093 | 533582.2283 | 4614.5574 | 537878.53
Labour for Unplanned Failures
Network Ops | 5572.8257 | 971029.8575 | 5789.0656 | 1008708.3024 | 3986.8983 | 694691.9723 | 4079.6984 | 710861.8041 | 4173.7397 | 727247.911 | 4509.5093 | 785753.6486 | 4614.5574 | 804057.6229
Meter Provisioning Projects
Type 5 & 6 Sample Testing - Meters | 12/13 |  | 13/14 |  | 14/15 |  | 15/16 |  | 16/17 |  | 17/18 |  | 18/19
Single phase accumulation meters | 0 | 0 | 1315 | 82345.3 | 800 | 50096 | 0 | 0 | 1300 | 81406 | 0 | 0 | 0 | 0
Single phase one element meters (TOU) | 0 | 0 | 0 | 0 | 0 | 0 | 142 | 8338.24 | 0 | 0 | 0 | 0 | 500 | 29360
Single-phase two element meter (TOU) | 0 | 0 | 0 | 0 | 0 | 0 | 431 | 62495 | 0 | 0 | 0 | 0 | 0 | 0
Three phase whole-current meters | 0 | 0 | 315 | 27877.5 | 500 | 44250 | 127 | 11239.5 | 0 | 0 | 0 | 0 | 0 | 0
Three phase CT meters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 0 | 1630 | 110222.8 | 1300 | 94346 | 700 | 82072.74 | 1300 | 81406 | 0 | 0 | 500 | 29360
Metering Equipment type | 12/13 |  | 13/14 | 0 | 14/15 | 0 | 15/16 | 0 | 16/17 | 0 | 17/18 | 0 | 18/19 | 0
Meter Data Agency (265) | [5 empty] | 1444530.96 |  | 1449124.56 |  | 1432605.96 |  | 1437648.96 |  | 1438953.96
TOTAL | [5 empty] | 1444530.96 | 0 | 1449124.56 | 0 | 1432605.96 | 0 | 1437648.96 | 0 | 1438953.96
Meter Provision Labour | 12/13 |  | 13/14 |  | 14/15 |  | 15/16 |  | 16/17 |  | 17/18 |  | 18/19 | 0
Meter Provision (266) | [5 empty] | 894520.39 |  | 1153487.59 |  | 1153487.59 |  | 1153487.59 |  | 1153487.59
Laboratory Services (267) | [5 empty] | 531450.92 |  | 579764.64 |  | 579764.64 |  | 579764.64 |  | 579764.64
Support Services (268)
Compliance (269)
TOTAL |  |  |  |  | 2800 | 1425971.31 | 2200 | 1733252.23 | 2800 | 1733252.23 | 0 | 1733252.23 | 1200 | 1733252.23
Total Opex | [5 empty] | 2964848.27 |  | 3264449.53 |  | 3247264.19 |  | 3170901.19 |  | 3201566.19

## Meter Reads
Check Reads - Network requested
From total check reads requested over past 6 months of around 700 per month, 400 per month are network requested
| per annum | 4800 | LABOUR RATE | PLANT
Total
|  |  | 70.834 | 18.95 | 89.784
|  |  | Time required | 0.5

## New Meter Pricing
Upfront Metering Purchase Prices
[6 empty] | Add Stores Oncost | Add Overheads | WACC return | Tax Impact | Total excl GST
[6 empty] | 0 | 0 | 0 | 0 | 0
| Interim NNSW contract _L&G |  |  |  | Ave Purchase Price | 1.0725 | 36.58% | 6.193% | 30%
|  | % | Supplier 2 | % | 0
Single Phase Accumulation | 22.5 | 100% |  |  | 22.5 | 24.1313 | 32.9578 | 33.9784 | 0.30615 | 34.2845
Three Phase Accumulation | 85 | 100% |  |  | 85 | 91.1625 | 124.5074 | 128.3627 | 1.1566 | 129.5193
Single Phase TOU | 58.72 | 50% | 66.52 | 50% | 62.62 | 67.1599 | 91.7253 | 94.5656 | 0.85206 | 95.4176
Single Phase 2 element (TOU) | 141.74 | 50% | 152.8 | 50% | 147.27 | 157.9471 | 215.7201 | 222.3997 | 2.0039 | 224.4036
Three Phase TOU | 197.42 | 50% | 215.01 | 50% | 206.215 | 221.1656 | 302.0623 | 311.4155 | 2.8059 | 314.2214
Three Phase CT | 293.61 | 100% |  |  | 293.61 | 314.8967 | 430.0779 | 443.395 | 3.9951 | 447.3901
Note, we have not included acceptance testing as this is part of ongoing maintenance and operating costs.
This testing is only done on random sample of a new type of meter, not to every meter provided to cusoterms.

## Exit fee
Cost Component | Time (mins) | Cost per meter $2013/14
Receive and validate meter change paperwork | 2 | 3.4109
Update billing system with meter removal and the new metering details (for the non-Essential Energy asset) | 8 | 13.6437
Remove meter from MDP system and inactivate basic data streams | 10 | 17.0546
Obtain final reads and enter in MDP system t send NEM13 file to market and billing | 2 | 3.4109
Configure the billing system for interval data streams | 5 | 8.5273
Cost of meter disposal |  | 1.63
Meter Transfer Fee (per meter) | 27 | 47.6774

## Inputs
CPI Factors
This sheet is where the CPI factors for each year are entered. Relevant cumulative CPI factors are calculated from this data.
|  |  | 2013 SCI | 2014 SCI | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Annual expected rise
| Input |  | 3.39% | 1.76% | 2.45% | 2.5% | 2.5% | 2.5% | 2.5%
| CPI rate for $2014 only |  | 3.39% | 1.76% | 0% | 0% | 0% | 0% | 0%
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cumulative impact |  | 103.4% | 105.2% | 107.8% | 110.5% | 113.2% | 116.1% | 119%
| CPI (linked to workings sheets) |  | 3.39% | 5.21% | 7.787% | 10.48% | 13.24% | 16.08% | 18.98%
[5 empty] | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
PTRM
| Weighted Average Cost of Capital |  |  |  | 8.85% | 8.85% | 8.85% | 8.85% | 8.85%
Customer Numbers |  | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
NIEIR forecast |  | Actual | Actual | Actual | Projected | Projected | Projected | Projected | Projected
Residential Anytime |  | 698383 | 702134 | 707638 | 711610 | 715961.3 | 719660.1 | 723368.4 | 727198.8
Residential TOU |  | 10367 | 13171 | 17137 | 18839.3 | 20704.1 | 22289.3 | 23878.6 | 25520.2
Small Business anytime |  | 79697 | 80273 | 79973 | 79250.49 | 78238.699 | 77197.221 | 76266.086 | 75028.603
Small Business TOU |  | 10914 | 11458 | 11425 | 14113.1 | 14359 | 14603.3 | 14861 | 15086
Controlled Load |  | 493193 | 492822 | 492204 | 487584.3 | 483016.9 | 478501.1 | 474036.1 | 469621.5
Solar |  | 65295 | 82125 | 97771.627 | 113418.433 | 127565.171 | 141785.261 | 153845.161 | 165832.189
Totals |  | 1357849 | 1381983 | 1406148.627 | 1424815.623 | 1439845.17 | 1454036.282 | 1466255.347 | 1478287.292
Customer Growth
Residental Anytime |  | 226 | 3751 | 5504 | 3972 | 4351.3 | 3698.8 | 3708.3 | 3830.4
Residential TOU |  |  | 2804 | 3966 | 1702.3 | 1864.8 | 1585.2 | 1589.3 | 1641.6
Small Business Anytime |  | 1183 | 576 | -300 | -722.51 | -1011.791 | -1041.478 | -931.135 | -1237.483
Small Business TOU |  |  | 544 | -33 | 2688.1 | 245.9 | 244.3 | 257.7 | 225
Controlled Load |  |  | -371 | -618 | -4619.7 | -4567.4 | -4515.8 | -4465 | -4414.6
Solar Additions (assume single phase 2 element) |  |  | 16830 | 15646.627 | 15646.806 | 14146.738 | 14220.09 | 12059.9 | 11987.028
Totals |  | 1409 | 24134 | 24165.627 | 18666.996 | 15029.547 | 14191.112 | 12219.065 | 12031.945 | 72138.665
|  |  | 24134 | 24165.627 | 18666.996 | 15029.547 | 14191.112 | 12219.065 | 12031.945 | 72138.665 | excluding removals/reductions
% Growth |  |  | 1.777% | 1.749% | 1.328% | 1.055% | 0.9856% | 0.8404% | 0.8206%
Meter Numbers by Meter Type
Single Phase |  | 430556.83 | 454893.83 | 481361.83 | 506717.23 | 529052.23 | 591923.98 | 617250.73 | 640169.73 | 31%
Single Phase + Load Control |  | 750002.22 | 750002.22 | 750002.22 | 750002.22 | 750002.22 | 750002.22 | 750002.22 | 750002.22 | 54%
Three Phase |  | 111111.44 | 118881.44 | 125381.44 | 131081.44 | 137181.44 | 144281.44 | 149681.44 | 155581.44 | 8%
Three Phase + Load Control |  | 97222.51 | 97222.51 | 97222.51 | 97222.51 | 97222.51 | 97222.51 | 97222.51 | 97222.51 | 7%
|  | 1388893 | 1421000 | 1453968 | 1485023.4 | 1513458.4 | 1583430.15 | 1614156.9 | 1642975.9 | 100%
Forecast Meter Increment** |  |  | 32107 | 32968 | 31055.4 | 28435 | 69971.75 | 30726.75 | 28819
**Based on forecast new meters below |  |  | 2.312% | 2.32% | 2.136% | 1.915% | 4.623% | 1.941% | 1.785%
Historical Purchase Price (Indicative)
Basic Single Phase Meter |  | 2011/12: 76.8656; 2012/13: 65.22; 2013/14: 1388893
Single Phase + Load Control |  | 2011/12: 111.8656
Basic Three Phase Meter |  | 2011/12: 76.8656; 2012/13: 210.79; 2013/14: 111111.44
Three Phase + Load Control |  | 2011/12: 111.8656
Load Control Meter |  | 2011/12: 35
Two element meter (Gross Solar) |  | 2011/12: 147; 2012/13: Note, applicable to customer with gross solar meters only, and also covers their imports - that is only this meter required
|  |  | 76.8656 | 8%
Meters purchased prior to 2014 were all TOU capable meters, only programming determined if continuous or TOU readings
Therefore same cost for all customer and tariff types
Three phase meters are used by both residential and business customers, so cost is spread across them uniformly
These splits used to apportion WACC and Depreciation costs to tariff charges
Material and labour Cost Escalators
Maintenance escalator |  |  |  |  | 0.5864% | 0.8745% | 1.25% | 1.242% | 1.168%
Capex escalator |  |  |  |  | 0.6605% | 0.5808% | 0.9528% | 1.064% | 1.066%
General wages escalator |  |  |  |  | 0.5864% | 0.8745% | 1.25% | 1.242% | 1.168%
Cumulative Escalators
Maintenance escalator |  |  |  |  | 100.6% | 101.5% | 102.7% | 104% | 105.2%
Capex escalator |  |  |  |  | 100.7% | 101.2% | 102.2% | 103.3% | 104.4%
General wages escalator |  |  |  |  | 100.6% | 101.5% | 102.7% | 104% | 105.2%
Note on C51: Catherine Waddell: from Debbie
Note on E58: Catherine Waddell: total meters