## Price List_Excl GST
Essential Energy Interim Network Price List (Excluding GST)
Effective 1 July 2015
Tariff Code | Obsolete tariffs on same rate | Description |  | Network | Energy | Energy | Energy | Energy | Energy | Energy | Energy | Peak | Shoulder | Off-Peak
|  |  |  | Access | All | Block 1 | Block 2 | Block 3 | Peak | Shoulder | Off-Peak | Demand | Demand | Demand
|  |  |  | $/Day | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | $/kVA/M | $/kVA/M | $/kVA/M
Residential Tariffs
BLNN2AU |  | LV Residential Block Tariff |  | 0.7705 | Energy: 9.4654; Energy: 9.1474; Energy: 8.8295
BLNT3AU |  | LV Residential TOU |  | 0.7477 | Energy: 11.7928; Energy: 11.7928; Energy: 4.432
Controlled Load Tariffs
BLNC1AU |  | Controlled Load 1 |  | 0.0847 | Energy: 2.4588
BLNC2AU |  | Controlled Load 2 |  | 0.0847 | Energy: 4.8565
Export Tariffs
BLNE21AU |  | Residential Anytime Export gross metered |  |  | Energy: 0
BLNE23AU |  | Residential Anytime Export net metered |  |  | Energy: 0
BLNE20AU |  | Business Anytime Export gross metered |  |  | Energy: 0
BLNE22AU |  | Business Anytime Export net metered |  |  | Energy: 0
BLNE0AU |  | Ineligible Export |  |  | Energy: 0
BLNE26AU |  | QLD Government Solar Bonus |  |  | Energy: 0
BLNE27AU |  | QLD Government Solar Bonus |  |  | Energy: 0
Business Tariffs
BLNN1AU |  | LV General supply Block Tariff |  | 0.7705 | Energy: 14.2442; Energy: 11.5691
BLNT2AU |  | LV TOU <100MWh |  | 6.1406 | Energy: 12.3964; Energy: 12.3964; Energy: 6.1664
BLNT1AO | BLNT1SR, BLNT1SU | LV TOU <160MWh |  | 6.1406 | Energy: 12.3964; Energy: 12.3964; Energy: 6.1664
BLND3AO |  | LV TOU Demand 3 Rate |  | 13.9081 | Energy: 4.4928; Energy: 4.4928; Energy: 2.8655 | 8.1296 | 8.1296 | 1.8581
BLNS1AO |  | LV TOU avg daily Demand |  | 13.9081 | Energy: 4.221; Energy: 4.221; Energy: 2.7625 | 8.7211 | 8.7211 | 2.1175
BLND3TO |  | LV TOU Demand Alternative tariff |  | 13.9081 | Energy: 11.2939; Energy: 11.2939; Energy: 4.835 | 10.1621
BHND3AO |  | HV TOU mthly Demand |  | 17.1972 | Energy: 3.382; Energy: 3.382; Energy: 2.724 | 7.0746 | 7.0746 | 2.0112
BHNS1AO |  | HV TOU avg daily Demand |  | 17.1972 | Energy: 3.382; Energy: 3.382; Energy: 2.724 | 7.7125 | 7.7125 | 2.1925
BSSD3AO |  | Sub Trans 3 Rate Demand |  | 17.2592 | Energy: 4.9452; Energy: 2.9391; Energy: 2.4574 | 2.8989 | 2.0666 | 0.8238
Unmetered Tariffs
BLNP1AO | BLNN3AO | LV Unmetered NUOS |  | 0.6693 | Energy: 14.9356
BLNP3AO |  | LV Public Street Lighting TOU NUOS |  | 0 | Energy: 14.7761; Energy: 14.7761; Energy: 6.6996
Essential Energy Customer Specific
Customer specific prices |  | Subtransmission or Inter Distributor Transfers |  | Various | Energy: Various; Energy: Various; Energy: Various; Energy: Various | Various | Various | Various
Essential Energy Interim Network Price List (Excluding GST)
Effective 1 July 2015
Obsolete Tariff Code | Description | Network | Energy | Energy | Energy | Demand | Peak | Shoulder | Off-Peak | Capacity | Application
|  | Access | Peak | Shoulder | Off-Peak | Charge | Demand | Demand | Demand | Charge
|  | $/Day | c/kWh | c/kWh | c/kWh | $/kVA/M | $/kVA/M | $/kVA/M | $/kVA/M | $/kVA/M
Obsolete Tariffs - Not applicable to new connections
BLND1CO BLND1NO | LV TOU Demand 1 Rate | 17.9324 | 6.049 | 6.049 | Energy: 3.3089; Energy: 13.3483; Energy: Generally for larger business use whose consumption exceeds 100 MWh per year. The charges include a monthly maximum demand charge. The maximum demand charge is metered on a half hour basis in kVA, which reflects the customer’s power factor. New customers should be connected on BLND3AO.
BLND1SR | LV 1 Rate Demand Sth Rural | 13.9081 | 11.1312 | 11.1312 | Energy: 4.6037; Energy: 8.8058; Energy: 3.2275; Energy: To all premises whose demand exceeds 72 kVA. New customers should be connected on BLND3AO.
BLND1SU | LV 1 Rate Demand Sth Urban | 3.6957 | 12.4404 | 12.4404 | Energy: 5.7757; Energy: 8.8058; Energy: 3.2275; Energy: To all premises whose demand exceeds 72 kVA. New customers should be connected on BLND3AO.
BLND4NO | LV 3 Rate Demand Option 2 Nth | 13.9081 | 4.4928 | 4.4928 | 2.8655 |  | 8.1296 | 8.1296 | 1.8581 |  | To business premises whose consumption exceeds 100 MWh per year and connected to the LV Distribution System. New customers should be connected on BLND3AO.
BHND1CO | HV 1 Rate Demand Cent Urban TOU | 23.6481 | 6.3473 | 6.3473 | Energy: 3.3908; Energy: 9.2581; Energy: For larger business metered at HV Distribution System. The charges include a monthly maximum demand charge. The maximum demand is metered on a half hour basis in kVA, which reflects the customer’s power factor. New customers should be connected on BHND3AO.
BHND1SO BHTD1SO | HV 1 Rate Demand Sth Urban | 17.1972 | 5.9347 | 5.9347 | Energy: 4.4606; Energy: 6.8037; Energy: 2.631; Energy: To business premises whose consumption is connected to the HV Distribution System. New customers should be connected on BHND3AO.
Essential Energy Interim Network Price List (Excluding GST)
Effective 1 July 2015
Obsolete Tariff Code | Description | Network | Energy | Application
|  | Access | All
|  | $/Day | c/kWh
Obsolete Tariffs - Not applicable to new connections
BLNE2AU | NSW Solar Bonus Scheme Net |  | -60 | NSW Solar bonus scheme rebate for net metering introduced by the NSW Government and applicable to residential customers who submitted an application on or before 18th November 2010 and purchased a system on or before 27th October 2010. Refer to Section 1.1 for GST application.
BLNE4AU | NSW Solar Bonus Scheme Gross |  | -60 | NSW Solar bonus scheme rebate for gross metering introduced by the NSW Government and applicable to residential customers who submitted an application on or before 18th November 2010 and purchased a system on or before 27th October 2010. Refer to Section 1.1 for GST application.
BLNE1AU | NSW Solar Bonus Scheme Net |  | -60 | NSW Solar bonus scheme rebate for net metering introduced by the NSW Government and applicable to business customers who submitted an application on or before 18th November 2010 and purchased a system on or before 27th October 2010. Refer to Section 1.1 for GST application.
BLNE3AU | NSW Solar Bonus Scheme Gross |  | -60 | NSW Solar bonus scheme rebate for gross metering introduced by the NSW Government and applicable to business customers who submitted an application on or before 18th November 2010 and purchased a system on or before 27th October 2010. Refer to Section 1.1 for GST application.
BLNE11AU | NSW Solar Bonus Scheme Net |  | -20 | NSW Solar bonus scheme rebate for net metering introduced by the NSW Government and applicable to business customers who joined the scheme after 18th November 2010 or purchased a system after 27th October 2010. Refer to Section 1.1 for GST application. Discontinued from 1 April 2011.
BLNE13AU | NSW Solar Bonus Scheme Gross |  | -20 | NSW Solar bonus scheme rebate for gross metering introduced by the NSW Government and applicable to business customers who joined the scheme after 18th November 2010 or purchased a system after 27th October 2010. Refer to Section 1.1 for GST application. Discontinued from 1 April 2011.
BLNE12AU | NSW Solar Bonus Scheme Net |  | -20 | NSW Solar bonus scheme rebate for net metering introduced by the NSW Government and applicable to residential customers who joined the scheme after 18th November 2010 or purchased a system after 27th October 2010. Refer to Section 1.1 for GST application. Discontinued from 29 April 2011.
BLNE14AU | NSW Solar Bonus Scheme Gross |  | -20 | NSW Solar bonus scheme rebate for gross metering introduced by the NSW Government and applicable to residential customers who joined the scheme after 18th November 2010 or purchased a system after 27th October 2010. Refer to Section 1.1 for GST application. Discontinued from 29 April 2011.
BLNE30AU | NSW Solar Bonus Scheme Retailer Contribution |  | 5.1 | NSW Solar bonus scheme retailer contribution applicable to retailers who have customers on the Solar bonus scheme. Refer to Section 1.1 for GST application. From IPARTs Solar Feed-in Tariffs, dated June 2014. To be confirmed by IPART
BLNE24AU | QLD Government Solar Bonus Scheme |  | -44 | QLD Government Solar bonus scheme rebate for eligible residential customers located in Qld but connected to Essential Energy's Distribution Network. Discontinued 9 July 2012.
BLNE25AU | QLD Government Solar Bonus Scheme |  | -40 | QLD Government Solar bonus scheme rebate for eligible business customers located in Qld but connected to Essential Energy's Distribution Network. Discontinued 9 July 2012.

## Price List_Incl GST
Essential Energy Interim Network Price List (Including GST)
Effective 1 July 2015
Tariff Code | Obsolete tariffs on same rate | Description |  | Network | Energy | Energy | Energy | Energy | Energy | Energy | Energy | Peak | Shoulder | Off-Peak
|  |  |  | Access | All | Block 1 | Block 2 | Block 3 | Peak | Shoulder | Off-Peak | Demand | Demand | Demand
|  |  |  | $/Day | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | $/kVA/M | $/kVA/M | $/kVA/M
Residential Tariffs
BLNN2AU |  | LV Residential Block Tariff |  | 0.84755 | Energy: 10.4119; Energy: 10.0621; Energy: 9.7125
BLNT3AU |  | LV Residential TOU |  | 0.82247 | Energy: 12.9721; Energy: 12.9721; Energy: 4.8752
Controlled Load Tariffs
BLNC1AU |  | Controlled Load 1 |  | 0.09317 | Energy: 2.7047
BLNC2AU |  | Controlled Load 2 |  | 0.09317 | Energy: 5.3422
Export Tariffs
BLNE21AU |  | Residential Anytime Export gross metered |  |  | Energy: 0
BLNE23AU |  | Residential Anytime Export net metered |  |  | Energy: 0
BLNE20AU |  | Business Anytime Export gross metered |  |  | Energy: 0
BLNE22AU |  | Business Anytime Export net metered |  |  | Energy: 0
BLNE0AU |  | Ineligible Export |  |  | Energy: 0
BLNE26AU |  | QLD Government Solar Bonus |  |  | Energy: 0
BLNE27AU |  | QLD Government Solar Bonus |  |  | Energy: 0
Business Tariffs
BLNN1AU |  | LV General supply Block Tariff |  | 0.84755 | Energy: 15.6686; Energy: 12.726
BLNT2AU |  | LV TOU <100MWh |  | 6.7547 | Energy: 13.636; Energy: 13.636; Energy: 6.783
BLNT1AO | BLNT1SR, BLNT1SU | LV TOU <160MWh |  | 6.7547 | Energy: 13.636; Energy: 13.636; Energy: 6.783
BLND3AO |  | LV TOU Demand 3 Rate |  | 15.2989 | Energy: 4.9421; Energy: 4.9421; Energy: 3.1521 | 8.9426 | 8.9426 | 2.0439
BLNS1AO |  | LV TOU avg daily Demand |  | 15.2989 | Energy: 4.6431; Energy: 4.6431; Energy: 3.0388 | 9.5932 | 9.5932 | 2.3293
BLND3TO |  | LV TOU Demand Alternative tariff |  | 15.2989 | Energy: 12.4233; Energy: 12.4233; Energy: 5.3185 | 11.1783
BHND3AO |  | HV TOU mthly Demand |  | 18.9169 | Energy: 3.7202; Energy: 3.7202; Energy: 2.9964 | 7.7821 | 7.7821 | 2.2123
BHNS1AO |  | HV TOU avg daily Demand |  | 18.9169 | Energy: 3.7202; Energy: 3.7202; Energy: 2.9964 | 8.4838 | 8.4838 | 2.4118
BSSD3AO |  | Sub Trans 3 Rate Demand |  | 18.9851 | Energy: 5.4397; Energy: 3.233; Energy: 2.7031 | 3.1888 | 2.2733 | 0.90618
Unmetered Tariffs
BLNP1AO | BLNN3AO | LV Unmetered NUOS |  | 0.73623 | Energy: 16.4292
BLNP3AO |  | LV Public Street Lighting TOU NUOS |  | 0 | Energy: 16.2537; Energy: 16.2537; Energy: 7.3696
Essential Energy Customer Specific
Customer specific prices |  | Subtransmission or Inter Distributor Transfers |  | Various | Energy: Various; Energy: Various; Energy: Various; Energy: Various | Various | Various | Various
Essential Energy Interim Network Price List (Including GST)
Effective 1 July 2015
Obsolete Tariff Code | Description | Network | Energy | Energy | Energy | Energy | Demand | Peak | Shoulder | Off-Peak | Capacity | Application
|  | Access | All | Peak | Shoulder | Off-Peak | Charge | Demand | Demand | Demand | Charge
|  | $/Day | c/kWh | c/kWh | c/kWh | c/kWh | $/kVA/M | $/kVA/M | $/kVA/M | $/kVA/M | $/kVA/M
Obsolete Tariffs - Not applicable to new connections
BLND1CO BLND1NO | LV TOU Demand 1 Rate | 19.7256 |  | 6.6539 | Energy: 6.6539; Energy: 3.6398; Energy: 14.6831 | Generally for larger business use whose consumption exceeds 100 MWh per year. The charges include a monthly maximum demand charge. The maximum demand charge is metered on a half hour basis in kVA, which reflects the customer’s power factor. New customers should be connected on BLND3AO.
BLND1SR | LV 1 Rate Demand Sth Rural | 15.2989 |  | 12.2443 | Energy: 12.2443; Energy: 5.0641; Energy: 9.6864; Energy: 3.5503 | To all premises whose demand exceeds 72 kVA. New customers should be connected on BLND3AO.
BLND1SU | LV 1 Rate Demand Sth Urban | 4.0653 |  | 13.6844 | Energy: 13.6844; Energy: 6.3533; Energy: 9.6864; Energy: 3.5503 | To all premises whose demand exceeds 72 kVA. New customers should be connected on BLND3AO.
BLND4NO | LV 3 Rate Demand Option 2 Nth | 15.2989 |  | 4.9421 | 4.9421 | 3.1521 |  | 8.9426 | 8.9426 | 2.0439 |  | To business premises whose consumption exceeds 100 MWh per year and connected to the LV Distribution System. New customers should be connected on BLND3AO.
BHND1CO | HV 1 Rate Demand Cent Urban TOU | 26.0129 |  | 6.982 | Energy: 6.982; Energy: 3.7299; Energy: 10.1839 | For larger business metered at HV Distribution System. The charges include a monthly maximum demand charge. The maximum demand is metered on a half hour basis in kVA, which reflects the customer’s power factor. New customers should be connected on BHND3AO.
BHND1SO BHTD1SO | HV 1 Rate Demand Sth Urban | 18.9169 |  | 6.5282 | Energy: 6.5282; Energy: 4.9067; Energy: 7.4841; Energy: 2.8941 | To business premises whose consumption is connected to the HV Distribution System. New customers should be connected on BHND3AO.
BLNE25AU | QLD Government Solar Bonus Scheme |  | -44 | [8 empty] | QLD Government Solar bonus scheme rebate for eligible business customers located in Qld but connected to Essential Energy's Distribution Network. Discontinued 9 July 2012. This solar tariff has GST applied, please refer to Section 1.1 for GST application for other solar tariffs.

## Price List_DUOS_Excl GST
Essential Energy Interim Network Price List - DUOS Component (Excluding GST)
Effective 1 July 2015
Tariff | Obsolete tariffs on same rate |  |  | Network | Energy | Energy | Energy | Energy | Energy | Energy | Energy | Peak | Shoulder | Off-Peak
Code |  | Description |  | Access | All | Block 1 | Block 2 | Block 3 | Peak | Shoulder | Off-Peak | Demand | Demand | Demand
|  |  |  | $/Day | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | $/kVA/M | $/kVA/M | $/kVA/M
|  |  |  | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST
Residential Tariffs
BLNN2AU |  | LV Residential Block Tariff |  | 0.77046 | 0 | 6.359 | 6.0411 | 5.7231 | 0 | 0 | 0 | 0 | 0 | 0
BLNT3AU |  | LV Residential TOU |  | 0.74766 | Energy: 0; Energy: 7.936; Energy: 7.936; Energy: 2.0976 | 0 | 0 | 0
Controlled Load Tariffs
BLNC1AU |  | Controlled Load 1 |  | 0.084675 | Energy: 0.1397; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BLNC2AU |  | Controlled Load 2 |  | 0.084675 | Energy: 1.9557; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
Business Tariffs
BLNN1AU |  | LV General supply Block Tariff |  | 0.77046 | 0 | 10.7005 | 8.0254 |  | 0 | 0 | 0 | 0 | 0 | 0
BLNT2AU |  | LV TOU <100MWh |  | 6.1406 | Energy: 0; Energy: 8.1022; Energy: 8.1022; Energy: 3.3946 | 0 | 0 | 0
BLNT1AO | BLNT1SR, BLNT1SU | LV TOU <160MWh |  | 6.1406 | Energy: 0; Energy: 8.1022; Energy: 8.1022; Energy: 3.3946 | 0 | 0 | 0
BLND3AO |  | LV TOU Demand 3 Rate |  | 13.9081 | Energy: 0; Energy: 0.5933; Energy: 0.5933; Energy: 0.1482 | 8.1296 | 8.1296 | 1.8581
BLNS1AO |  | LV TOU avg daily Demand |  | 13.9081 | Energy: 0; Energy: 0.3215; Energy: 0.3215; Energy: 0.0452 | 8.7211 | 8.7211 | 2.1175
BLND3TO |  | LV TOU Demand Alternative tariff |  | 13.9081 | Energy: 0; Energy: 7.3944; Energy: 7.3944; Energy: 2.1177 | 10.1621 |  | 0
BHND3AO |  | HV TOU mthly Demand |  | 17.1972 | Energy: 0; Energy: 0.458; Energy: 0.458; Energy: 0.2239 | 7.0746 | 7.0746 | 2.0112
BHNS1AO |  | HV TOU avg daily Demand |  | 17.1972 | Energy: 0; Energy: 0.458; Energy: 0.458; Energy: 0.2239 | 7.7125 | 7.7125 | 2.1925
BSSD3AO |  | Sub Trans 3 Rate Demand |  | 17.2592 | Energy: 0; Energy: 0.1733; Energy: 0.0999; Energy: 0.0822 | 2.8989 | 2.0666 | 0.8238
Unmetered Tariffs
BLNP1AO | BLNN3AO | LV Public Lighting DUOS |  | 0.66929 | Energy: 11.4051; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BLNP3AO |  | LV Public Lighting TOU DUOS |  | 0 | Energy: 0; Energy: 10.4951; Energy: 10.4951; Energy: 3.941 | 0 | 0 | 0
Essential Energy Customer Specific
Customer specific prices |  | Subtransmission or Inter Distributor Transfers |  | Various | Energy: Various; Energy: Various; Energy: Various; Energy: Various | Various | Various | Various
Obsolete |  | Network | Energy | Energy | Energy: Energy; Energy: Energy; Energy: Demand; Energy: Peak | Shoulder | Off-Peak | Capacity
Tariff | Description | Access | All | Peak | Energy: Shoulder; Energy: Off-Peak; Energy: Charge; Energy: Demand | Demand | Demand | Charge
Code |  | $/Day | c/kWh | c/kWh | Energy: c/kWh; Energy: c/kWh; Energy: $/kVA/M; Energy: $/kVA/M | $/kVA/M | $/kVA/M | $/kVA/M
|  | Excluding GST | Excluding GST | Excluding GST | Energy: Excluding GST; Energy: Excluding GST; Energy: Excluding GST; Energy: Excluding GST | Excluding GST | Excluding GST | Excluding GST
Obsolete Tariffs - Not applicable to new connections
BLND1CO BLND1NO | LV TOU Demand 1 Rate | 17.9324 | 0 | 1.427 | Energy: 1.427; Energy: 0.2609; Energy: 13.3483; Energy: 0 | 0 | 0 | 0
BLND1SR | LV 1 Rate Demand Sth Rural | 13.9081 | 0 | 5.6215 | Energy: 5.6215; Energy: 1.4918; Energy: 8.8058; Energy: 0 | 0 | 0 | 3.2275
BLND1SU | LV 1 Rate Demand Sth Urban | 3.6957 | 0 | 6.9307 | Energy: 6.9307; Energy: 2.6638; Energy: 8.8058; Energy: 0 | 0 | 0 | 3.2275
BLND4NO | LV 3 Rate Demand Option 2 Nth | 13.9081 | 0 | 0.5933 | Energy: 0.5933; Energy: 0.1482; Energy: 0; Energy: 8.1296 | 8.1296 | 1.8581 | 0
BHND1CO | HV 1 Rate Demand Cent Urban TOU | 23.6481 | 0 | 1.7982 | Energy: 1.7982; Energy: 0.4124; Energy: 9.2581; Energy: 0 | 0 | 0 | 0
BHND1SO BHTD1SO | HV 1 Rate Demand Sth Urban | 17.1972 | 0 | 1.3856 | Energy: 1.3856; Energy: 1.4822; Energy: 6.8037; Energy: 0 | 0 | 0 | 2.631

## Price List_TUOS_Excl GST
Essential Energy Interim Network Price List - TUOS Component (Excluding GST)
Effective 1 July 2015
Tariff | Obsolete tariffs on same rate |  |  | Network | Energy | Energy | Energy | Energy | Energy | Energy | Energy | Peak | Shoulder | Off-Peak
Code |  | Description |  | Access | All | Block 1 | Block 2 | Block 3 | Peak | Shoulder | Off-Peak | Demand | Demand | Demand
|  |  |  | $/Day | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | $/kVA/M | $/kVA/M | $/kVA/M
|  |  |  | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST
Residential Tariffs
BLNN2AU |  | LV Residential Block Tariff |  | 0 | 0 | 2.7257 | 2.7257 | 2.7257 | 0 | 0 | 0 | 0 | 0 | 0
BLNT3AU |  | LV Residential TOU |  | 0 | Energy: 0; Energy: 3.4762; Energy: 3.4762; Energy: 1.9537 | 0 | 0 | 0
Controlled Load Tariffs
BLNC1AU |  | Controlled Load 1 |  | 0 | Energy: 1.9384; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BLNC2AU |  | Controlled Load 2 |  | 0 | Energy: 2.5201; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
Business Tariffs
BLNN1AU |  | LV General supply Block Tariff |  | 0 | 0 | 2.7257 | 2.7257 |  | 0 | 0 | 0 | 0 | 0 | 0
BLNT2AU |  | LV TOU <100MWh |  | 0 | Energy: 0; Energy: 3.4762; Energy: 3.4762; Energy: 1.9537 | 0 | 0 | 0
BLNT1AO | BLNT1SR, BLNT1SU | LV TOU <160MWh |  | 0 | Energy: 0; Energy: 3.4762; Energy: 3.4762; Energy: 1.9537 | 0 | 0 | 0
BLND3AO |  | LV TOU Demand 3 Rate |  | 0 | Energy: 0; Energy: 3.0815; Energy: 3.0815; Energy: 1.8992 | 0 | 0 | 0
BLNS1AO |  | LV TOU avg daily Demand |  | 0 | Energy: 0; Energy: 3.0815; Energy: 3.0815; Energy: 1.8993 | 0 | 0 | 0
BLND3TO |  | LV TOU Demand Alternative tariff |  | 0 | Energy: 0; Energy: 3.0815; Energy: 3.0815; Energy: 1.8992 | 0 |  | 0
BHND3AO |  | HV TOU mthly Demand |  | 0 | Energy: 0; Energy: 2.1191; Energy: 2.1191; Energy: 1.6952 | 0 | 0 | 0
BHNS1AO |  | HV TOU avg daily Demand |  | 0 | Energy: 0; Energy: 2.1191; Energy: 2.1191; Energy: 1.6952 | 0 | 0 | 0
BSSD3AO |  | Sub Trans 3 Rate Demand |  | 0 | Energy: 0; Energy: 4.5573; Energy: 2.6246; Energy: 2.1606 | 0 | 0 | 0
Unmetered Tariffs
BLNP1AO | BLNN3AO | LV Public Lighting TUOS |  | 0 | Energy: 2.7257; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BLNP3AO |  | LV Public Lighting TOU TUOS |  | 0 | Energy: 0; Energy: 3.4762; Energy: 3.4762; Energy: 1.9537 | 0 | 0 | 0
Essential Energy Customer Specific
Customer specific prices |  | Subtransmission or Inter Distributor Transfers |  | Various | Energy: Various; Energy: Various; Energy: Various; Energy: Various | Various | Various | Various
Obsolete |  | Network | Energy | Energy | Energy: Energy; Energy: Energy; Energy: Demand; Energy: Peak | Shoulder | Off-Peak | Capacity
Tariff | Description | Access | All | Peak | Energy: Shoulder; Energy: Off-Peak; Energy: Charge; Energy: Demand | Demand | Demand | Charge
Code |  | $/Day | c/kWh | c/kWh | Energy: c/kWh; Energy: c/kWh; Energy: $/kVA/M; Energy: $/kVA/M | $/kVA/M | $/kVA/M | $/kVA/M
|  | Excluding GST | Excluding GST | Excluding GST | Energy: Excluding GST; Energy: Excluding GST; Energy: Excluding GST; Energy: Excluding GST | Excluding GST | Excluding GST | Excluding GST
Obsolete Tariffs - Not applicable to new connections
BLND1CO BLND1NO | LV TOU Demand 1 Rate | 0 | 0 | 3.804 | Energy: 3.804; Energy: 2.2299; Energy: 0; Energy: 0 | 0 | 0 | 0
BLND1SR | LV 1 Rate Demand Sth Rural | 0 | 0 | 4.6916 | Energy: 4.6916; Energy: 2.2938; Energy: 0; Energy: 0 | 0 | 0 | 0
BLND1SU | LV 1 Rate Demand Sth Urban | 0 | 0 | 4.6916 | Energy: 4.6916; Energy: 2.2938; Energy: 0; Energy: 0 | 0 | 0 | 0
BLND4NO | LV 3 Rate Demand Option 2 Nth | 0 | 0 | 3.0815 | Energy: 3.0815; Energy: 1.8992; Energy: 0; Energy: 0 | 0 | 0 | 0
BHND1CO | HV 1 Rate Demand Cent Urban TOU | 0 | 0 | 3.7442 | Energy: 3.7442; Energy: 2.1735; Energy: 0; Energy: 0 | 0 | 0 | 0
BHND1SO BHTD1SO | HV 1 Rate Demand Sth Urban | 0 | 0 | 3.7442 | Energy: 3.7442; Energy: 2.1735; Energy: 0; Energy: 0 | 0 | 0 | 0

## Price List_CCL_Excl GST
Essential Energy Interim Network Price List - CCL Component (Excluding GST)
Effective 1 July 2015
Tariff | Obsolete tariffs on same rate |  |  | Network | Energy | Energy | Energy | Energy | Energy | Energy | Energy | Peak | Shoulder | Off-Peak
Code |  | Description |  | Access | All | Block 1 | Block 2 | Block 3 | Peak | Shoulder | Off-Peak | Demand | Demand | Demand
|  |  |  | $/Day | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | $/kVA/M | $/kVA/M | $/kVA/M
|  |  |  | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST
Residential Tariffs
BLNN2AU |  | LV Residential Block Tariff |  | 0 | 0 | 0.36748 | 0.36748 | 0.36748 | 0 | 0 | 0 | 0 | 0 | 0
BLNT3AU |  | LV Residential TOU |  | 0 | Energy: 0; Energy: 0.36748; Energy: 0.36748; Energy: 0.36748 | 0 | 0 | 0
Controlled Load Tariffs
BLNC1AU |  | Controlled Load 1 |  | 0 | Energy: 0.36748; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BLNC2AU |  | Controlled Load 2 |  | 0 | Energy: 0.36748; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
Business Tariffs
BLNN1AU |  | LV General supply Block Tariff |  | 0 | 0 | 0.80487 | 0.80487 |  | 0 | 0 | 0 | 0 | 0 | 0
BLNT2AU |  | LV TOU <100MWh |  | 0 | Energy: 0; Energy: 0.80487; Energy: 0.80487; Energy: 0.80487 | 0 | 0 | 0
BLNT1AO | BLNT1SR, BLNT1SU | LV TOU <160MWh |  | 0 | Energy: 0; Energy: 0.80487; Energy: 0.80487; Energy: 0.80487 | 0 | 0 | 0
BLND3AO |  | LV TOU Demand 3 Rate |  | 0 | Energy: 0; Energy: 0.80487; Energy: 0.80487; Energy: 0.80487 | 0 | 0 | 0
BLNS1AO |  | LV TOU avg daily Demand |  | 0 | Energy: 0; Energy: 0.80487; Energy: 0.80487; Energy: 0.80487 | 0 | 0 | 0
BLND3TO |  | LV TOU Demand Alternative tariff |  | 0 | Energy: 0; Energy: 0.80487; Energy: 0.80487; Energy: 0.80487 | 0 |  | 0
BHND3AO |  | HV TOU mthly Demand |  | 0 | Energy: 0; Energy: 0.80487; Energy: 0.80487; Energy: 0.80487 | 0 | 0 | 0
BHNS1AO |  | HV TOU avg daily Demand |  | 0 | Energy: 0; Energy: 0.80487; Energy: 0.80487; Energy: 0.80487 | 0 | 0 | 0
BSSD3AO |  | Sub Trans 3 Rate Demand |  | 0 | Energy: 0; Energy: 0.21456; Energy: 0.21456; Energy: 0.21456 | 0 | 0 | 0
Unmetered Tariffs
BLNP1AO | BLNN3AO | LV Public Lighting CCF |  | 0 | Energy: 0.80487; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BLNP3AO |  | LV Public Lighting TOU CCF |  | 0 | Energy: 0; Energy: 0.80487; Energy: 0.80487; Energy: 0.80487 | 0 | 0 | 0
Essential Energy Customer Specific
Customer specific prices |  | Subtransmission or Inter Distributor Transfers |  | Various | Energy: Various; Energy: Various; Energy: Various; Energy: Various | Various | Various | Various
Obsolete |  | Network | Energy | Energy | Energy: Energy; Energy: Energy; Energy: Demand; Energy: Peak | Shoulder | Off-Peak | Capacity
Tariff | Description | Access | All | Peak | Energy: Shoulder; Energy: Off-Peak; Energy: Charge; Energy: Demand | Demand | Demand | Charge
Code |  | $/Day | c/kWh | c/kWh | Energy: c/kWh; Energy: c/kWh; Energy: $/kVA/M; Energy: $/kVA/M | $/kVA/M | $/kVA/M | $/kVA/M
|  | Excluding GST | Excluding GST | Excluding GST | Energy: Excluding GST; Energy: Excluding GST; Energy: Excluding GST; Energy: Excluding GST | Excluding GST | Excluding GST | Excluding GST
Obsolete Tariffs - Not applicable to new connections
BLND1CO BLND1NO | LV TOU Demand 1 Rate | 0 | 0 | 0.80487 | Energy: 0.80487; Energy: 0.80487; Energy: 0; Energy: 0 | 0 | 0 | 0
BLND1SR | LV 1 Rate Demand Sth Rural | 0 | 0 | 0.80487 | Energy: 0.80487; Energy: 0.80487; Energy: 0; Energy: 0 | 0 | 0 | 0
BLND1SU | LV 1 Rate Demand Sth Urban | 0 | 0 | 0.80487 | Energy: 0.80487; Energy: 0.80487; Energy: 0; Energy: 0 | 0 | 0 | 0
BLND4NO | LV 3 Rate Demand Option 2 Nth | 0 | 0 | 0.80487 | Energy: 0.80487; Energy: 0.80487; Energy: 0; Energy: 0 | 0 | 0 | 0
BHND1CO | HV 1 Rate Demand Cent Urban TOU | 0 | 0 | 0.80487 | Energy: 0.80487; Energy: 0.80487; Energy: 0; Energy: 0 | 0 | 0 | 0
BHND1SO BHTD1SO | HV 1 Rate Demand Sth Urban | 0 | 0 | 0.80487 | Energy: 0.80487; Energy: 0.80487; Energy: 0; Energy: 0 | 0 | 0 | 0

## Price List_QSS_Excl GST
Essential Energy Interim Network Price List - QSS Component (Excluding GST)
Effective 1 July 2015
Tariff | Obsolete tariffs on same rate |  |  | Network | Energy | Energy | Energy | Energy | Energy | Energy | Energy | Peak | Shoulder | Off-Peak
Code |  | Description |  | Access | All | Block 1 | Block 2 | Block 3 | Peak | Shoulder | Off-Peak | Demand | Demand | Demand
|  |  |  | $/Day | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | c/kWh | $/kVA/M | $/kVA/M | $/kVA/M
|  |  |  | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST | Excluding GST
Residential Tariffs
BLNN2AU |  | LV Residential Block Tariff |  | 0 | 0 | 0.013198 | 0.013198 | 0.013198 | 0 | 0 | 0 | 0 | 0 | 0
BLNT3AU |  | LV Residential TOU |  | 0 | Energy: 0; Energy: 0.013198; Energy: 0.013198; Energy: 0.013198 | 0 | 0 | 0
Controlled Load Tariffs
BLNC1AU |  | Controlled Load 1 |  | 0 | Energy: 0.013198; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BLNC2AU |  | Controlled Load 2 |  | 0 | Energy: 0.013198; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
Business Tariffs
BLNN1AU |  | LV General supply Block Tariff |  | 0 | 0 | 0.013198 | 0.013198 |  | 0 | 0 | 0 | 0 | 0 | 0
BLNT2AU |  | LV TOU <100MWh |  | 0 | Energy: 0; Energy: 0.013198; Energy: 0.013198; Energy: 0.013198 | 0 | 0 | 0
BLNT1AO | BLNT1SR, BLNT1SU | LV TOU <160MWh |  | 0 | Energy: 0; Energy: 0.013198; Energy: 0.013198; Energy: 0.013198 | 0 | 0 | 0
BLND3AO |  | LV TOU Demand 3 Rate |  | 0 | Energy: 0; Energy: 0.013198; Energy: 0.013198; Energy: 0.013198 | 0 | 0 | 0
BLNS1AO |  | LV TOU avg daily Demand |  | 0 | Energy: 0; Energy: 0.013198; Energy: 0.013198; Energy: 0.013198 | 0 | 0 | 0
BLND3TO |  | LV TOU Demand Alternative tariff |  | 0 | Energy: 0; Energy: 0.013198; Energy: 0.013198; Energy: 0.013198 | 0 |  | 0
BHND3AO |  | HV TOU mthly Demand |  | 0 | Energy: 0; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BHNS1AO |  | HV TOU avg daily Demand |  | 0 | Energy: 0; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BSSD3AO |  | Sub Trans 3 Rate Demand |  | 0 | Energy: 0; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
Unmetered Tariffs
BLNP1AO | BLNN3AO | LV Public Lighting CCF |  | 0 | Energy: 0; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BLNP3AO |  | LV Public Lighting TOU CCF |  | 0 | Energy: 0; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
Essential Energy Customer Specific
Customer specific prices |  | Subtransmission or Inter Distributor Transfers |  | Various | Energy: Various; Energy: Various; Energy: Various; Energy: Various | Various | Various | Various
Obsolete |  | Network | Energy | Energy | Energy: Energy; Energy: Energy; Energy: Demand; Energy: Peak | Shoulder | Off-Peak | Capacity
Tariff | Description | Access | All | Peak | Energy: Shoulder; Energy: Off-Peak; Energy: Charge; Energy: Demand | Demand | Demand | Charge
Code |  | $/Day | c/kWh | c/kWh | Energy: c/kWh; Energy: c/kWh; Energy: $/kVA/M; Energy: $/kVA/M | $/kVA/M | $/kVA/M | $/kVA/M
|  | Excluding GST | Excluding GST | Excluding GST | Energy: Excluding GST; Energy: Excluding GST; Energy: Excluding GST; Energy: Excluding GST | Excluding GST | Excluding GST | Excluding GST
Obsolete Tariffs - Not applicable to new connections
BLND1CO BLND1NO | LV TOU Demand 1 Rate | 0 | 0 | 0.013198 | Energy: 0.013198; Energy: 0.013198; Energy: 0; Energy: 0 | 0 | 0 | 0
BLND1SR | LV 1 Rate Demand Sth Rural | 0 | 0 | 0.013198 | Energy: 0.013198; Energy: 0.013198; Energy: 0; Energy: 0 | 0 | 0 | 0
BLND1SU | LV 1 Rate Demand Sth Urban | 0 | 0 | 0.013198 | Energy: 0.013198; Energy: 0.013198; Energy: 0; Energy: 0 | 0 | 0 | 0
BLND4NO | LV 3 Rate Demand Option 2 Nth | 0 | 0 | 0.013198 | Energy: 0.013198; Energy: 0.013198; Energy: 0; Energy: 0 | 0 | 0 | 0
BHND1CO | HV 1 Rate Demand Cent Urban TOU | 0 | 0 | 0 | Energy: 0; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0
BHND1SO BHTD1SO | HV 1 Rate Demand Sth Urban | 0 | 0 | 0 | Energy: 0; Energy: 0; Energy: 0; Energy: 0 | 0 | 0 | 0

## Explanatory Notes
EXPLANATION OF NETWORK TARIFFS
Tariff | Explanation
BLNN2AU LV Residential Block Tariff | Premises wholly used as a private dwelling where consumption does not exceed 160 MWh per year. A three step pricing structure applies;
> Step 1 applies to the first 1,000kWh per 91 days,
> Step 2 applies to the consumption greater than 1,000kWh and less than 1,750kWh per 91 days
> Step 3 applies to all consumption in excess of Step 2
BLNT3AU LV Residential TOU | Premises wholly used as a private dwelling where consumption does not exceed 160 MWh per year and they have a TOU capable meter.
BLNC1AU Controlled Load 1 | To all residential and business premises where the premise has another primary metering point present at the same metering point as the secondary load and the load is remotely controlled. Applicable to loads such as water heating, swimming pool pumps etc. Loads must be permanently connected or on a dedicated power circuit with indicators to show when supply is available. Supply will be made available for 5 to 9 hours overnight on weekdays and extra hours on weekends except where the load is controlled by a time clock. Note: This tariff is not available for the top boost element of a two element water heater for new connections.
BLNC2AU Controlled Load 2 | To all residential and business premises where the premise has another primary metering point present and at the same metering point as the secondary load and the load is remotely controlled. Applicable to loads such as water heating, swimming pool pumps, heat pumps etc. Loads must be permanently connected or on a dedicated power circuit with indicators to show when supply is available. Supply will be made available for 10 to 18 hours per day on weekdays and all hours on weekends except where the load is controlled by a time clock.
BLNE21AU Anytime Export Gross metered | Residential premises with a gross metered export tariff and no rebate applicable
BLNE23AU Anytime Export Net metered | Residential premises with a net metered export tariff and no rebate applicable
BLNE20AU Anytime Export Gross metered | Business premises with a gross metered export tariff and no rebate applicable
BLNE22AU Anytime Export Net metered | Business premises with a net metered export tariff and no rebate applicable
BLNE0AU Ineligible Export | Where application to connect to grid has not yet been approved.
BLNE26AU QLD Government Solar Bonus | QLD Government Solar bonus scheme for eligible residential customers located in Qld but connected to Essential Energy's Distribution Network.
BLNE27AU QLD Government Solar Bonus | QLD Government Solar bonus scheme for eligible business customers located in Qld but connected to Essential Energy's Distribution Network.
BLNN1AU LV General Supply Block Tariff | Business premises whose consumption does not exceed 100 MWh per year. A two step pricing structure applies;
> Step 1 applies to the first 5,000kWh per 91 days,
> Step 2 applies to all consumption in excess of Step 1
BLNT2AU LV TOU <100MWh | Business premises whose consumption does not exceed 100 MWh per year and they have a TOU capable meter.
BLNT1AO LV TOU <160MWh | Only available to business premises whose consumption does not exceed 160 MWh per year.
BLND3AO LV TOU Demand 3 Rate | Business premises whose consumption exceeds 160MWh per year and connected to the LV Distribution System.
BLNS1AO LV TOU Avg daily Demand | Available to customers who have a monthly load factor greater than 60% for at least 4 of the most recent 12 months coinciding with a minimum on season anytime monthly demand of 1500 kVA. This is intended for customers with a seasonal demand. Demand Charges will be calculated as follows:
1. The daily kVA maximum demand in each of the Peak, Shoulder and Off Peak periods will be metered for each day of the month.
2. The metered kVA Demand for each day of the Peak, Shoulder and Off-Peak periods will be summed for the month and divided by the number of days in the month when the load occurs. This means that Peak and Shoulder Demand will be divided by the number of week days, and Off Peak Demand by the total number of days.
3. The average TOU Demand calculated above will be multiplied by the TOU Demand rates.
4. No adjustments to billable demand shall be made for pre-season “test runs”.
BLND3TO LV TOU Demand Alternative Tariff | The Demand Charge is based on the highest measured half-hour kVA demand registered in either the peak or shoulder periods during the month.
BHND3AO HV TOU Mthly Demand | Business premises whose consumption is connected to the HV Distribution System and metered at HV.
BHNS1AO HV TOU Avg daily Demand | Business premises whose consumption is connected to the HV Distribution System and metered at HV. Available to customers who have a monthly load factor greater than 60% for at least 4 of the most recent 12 months coinciding with a minimum on season anytime monthly demand of 1500 kVA. (The minimum demand and load factor requirements will be waived where a generator supports a substantial part of the load on the load side of the meter.) This is intended for customers with a seasonal demand. Demand Charges will be calculated as follows:
1. The daily kVA maximum demand in each of the Peak, Shoulder and Off Peak periods will be metered for each day of the month.
2. The metered kVA Demand for each day of the Peak, Shoulder and Off-Peak periods will be summed for the month and divided by the number of days in the month when the load occurs. This means that Peak and Shoulder Demand will be divided by the number of week days. Off Peak Demand by the total number of days.
3. The average TOU Demand calculated above will be multiplied by the TOU Demand rates.
4. No adjustments to billable demand shall be made for pre-season “test runs”.
BSSD3AO Sub Trans 3 Rate Demand | Applicable to connections at a subtransmission voltage as defined by Essential Energy. Please note that this tariff is not applicable for connection to dual purpose subtransmission/distribution circuits
BLNP1AO LV Unmetered NUOS | Refer to Unmetered Supply section 2 Definitions. All new unmetered supply connections will have this tariff applied.
BLNP3AO LV Public Street Lighting TOU NUOS | Refer to Unmetered Supply section 2 Definitions. All new public street lighting connections will have this tariff applied.
Customer specific prices | Refer Explanatory Notes 1.7 Customer Specific (cost reflective network prices)
Subtransmission or Inter Distributor Transfers