## Measures and targets
Table 1 - Unplanned minutes off supply (SAIDI) - Actual, target and proposed reliability
|  | Actual |  |  |  |  | AER FD targets |  | Proposed target
Unplanned minutes off supply (SAIDI) |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-2022 | 2022-23 | 2023-24
Total sustained minutes off supply | CBD
| Urban | Actual 2012-13: 27.349; Actual 2013-14: 25.098; Actual 2014-15: 37.165; Actual 2015-16: 35.751; Actual 2016-17: 40.339
| Short rural | Actual 2012-13: 29.172; Actual 2013-14: 35.157; Actual 2014-15: 23.297; Actual 2015-16: 33.665; Actual 2016-17: 37.766
Long rural
| Total | Actual 2012-13: 27.9199; Actual 2013-14: 28.2491; Actual 2014-15: 32.8202; Actual 2015-16: 35.0977; Actual 2016-17: 39.5327
Total value of excluded events* *see 3.3 of STPIS | CBD
| Urban | Actual 2012-13: 0; Actual 2013-14: 0; Actual 2014-15: 0; Actual 2015-16: 0; Actual 2016-17: 0
| Short rural | Actual 2012-13: 0; Actual 2013-14: 0; Actual 2014-15: 0; Actual 2015-16: 0; Actual 2016-17: 0
Long rural
| Total | Actual 2012-13: 0; Actual 2013-14: 0; Actual 2014-15: 0; Actual 2015-16: 0; Actual 2016-17: 0
Total sustained minutes off supply after removing excluded events | CBD | Actual 2012-13: 0; Actual 2013-14: 0; Actual 2014-15: 0; Actual 2015-16: 0; Actual 2016-17: 0
| Urban | 27.349 | 25.098 | 37.165 | 35.751 | 40.339 | 30.32 | 30.32 | 33.1404 | 33.1404 | 33.1404 | 33.1404 | 33.1404
| Short rural | 29.172 | 35.157 | 23.297 | 33.665 | 37.766 | 46.86 | 46.86 | 31.8114 | 31.8114 | 31.8114 | 31.8114 | 31.8114
Long rural
| Total | Actual 2012-13: 27.9199; Actual 2013-14: 28.2491; Actual 2014-15: 32.8202; Actual 2015-16: 35.0977; Actual 2016-17: 39.5327
Table 2 - Unplanned interruptions to supply (SAIFI) - Actual, target and proposed reliability
|  | Actual |  |  |  |  | AER FD targets |  | Proposed target
Unplanned interruptions to supply (SAIFI) |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-2022 | 2022-23 | 2023-24
Total sustained customer interruptions | CBD
| Urban | Actual 2012-13: 0.5305; Actual 2013-14: 0.4647; Actual 2014-15: 0.6793; Actual 2015-16: 0.7415; Actual 2016-17: 0.6732
| Short rural | Actual 2012-13: 0.713; Actual 2013-14: 0.602; Actual 2014-15: 0.442; Actual 2015-16: 0.5311; Actual 2016-17: 0.7262
Long rural
| Total | Actual 2012-13: 0.5877; Actual 2013-14: 0.50772; Actual 2014-15: 0.60493; Actual 2015-16: 0.67559; Actual 2016-17: 0.68983
Total value of excluded events* *see 3.3 of STPIS | CBD
| Urban | Actual 2012-13: 0; Actual 2013-14: 0; Actual 2014-15: 0; Actual 2015-16: 0; Actual 2016-17: 0
| Short rural | Actual 2012-13: 0; Actual 2013-14: 0; Actual 2014-15: 0; Actual 2015-16: 0; Actual 2016-17: 0
Long rural
| Total | Actual 2012-13: 0; Actual 2013-14: 0; Actual 2014-15: 0; Actual 2015-16: 0; Actual 2016-17: 0
Total sustained customer interruptions after removing excluded events | CBD
| Urban | 0.5305 | 0.4647 | 0.6793 | 0.7415 | 0.6732 | 0.585 | 0.585 | 0.61784 | 0.61784 | 0.61784 | 0.61784 | 0.61784
| Short rural | 0.713 | 0.602 | 0.442 | 0.5311 | 0.7262 | 0.895 | 0.895 | 0.60286 | 0.60286 | 0.60286 | 0.60286 | 0.60286
Long rural
| Total | Actual 2012-13: 0.5877; Actual 2013-14: 0.50772; Actual 2014-15: 0.60493; Actual 2015-16: 0.67559; Actual 2016-17: 0.68983
Table 3 - Customer Service (telephone answering) - Actual, target and proposed reliability
|  | Actual |  |  |  |  | AER FD targets |  | Proposed target
Telephone answering |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-2022 | 2022-23 | 2023-24
Telephone answering | Number of calls received | Actual 2012-13: 33150; Actual 2013-14: 31627; Actual 2014-15: 25383; Actual 2015-16: 24213; Actual 2016-17: 25265
| Number of calls answered within 30 seconds | Actual 2012-13: 25596; Actual 2013-14: 26157; Actual 2014-15: 20224; Actual 2015-16: 18001; Actual 2016-17: 18798
| Percentage of calls answered within 30 seconds | 77.21% | 82.7% | 79.68% | 74.34% | 74.4% |  |  | 77.67% | 77.67% | 77.67% | 77.67% | 77.67%
Source: Annual RIN Reporting, various years

## Reset RIN 19.1 (c)
1.9 Provide ActewAGL Distribution's detailed methodology for calculating the following parameters used in the STPIS;
(c) daily SAIDI, SAIFl and MAIFl and customer service performance derived from the individual interruption data under paragraph 19.3;
Evoenergy confirms reliability calculations are made in accordance with the Electricity Distribution Service Target Performance Incentive Scheme, November 2009.
Evoenergy has also applied the requirements and definitions (as per Category Analysis RIN issued by the AER to ActewAGL 7th March 2014) relating to sustained interruptions to supply for Worksheets 6.1 and 6.2 to its calculation methodology and data provided in CA RIN 6.3.1. As such all methodologies, definitions and application to calculations are linked to table Annual RIN 3.6.8 or CA RIN 6.3.1 as specified. These have been applied by Evoenergy in accordance with requirements of the Category Analysis RIN (stated above).
Methodology for calculating SAIDI
SAIDI is the sum of the duration of each unplanned sustained interruption (in minutes) divided by the total number of distribution customers. SAIDI excludes momentary interruptions (one minute or less).
The number of distribution customer used to derive SAIDI reflect the relevant network type and the average of the number of customer at the beginning of the reporting period and the number of customers at the end of the reporting period.
Whole Network – Total Distribution customers (from Velocity)
Network Classification (Urban): Total Urban Customers (using ratio obtained from ArcFM extracts)
Network Classification (Short Rural): Total Short Rural Customers (using ratio obtained from ArcFM extracts)
Individual Feeder – Customers on that Feeder (count of Active NMI per feeder obtained from ArcFM extracts)
Methodology for calculating SAIFI
SAIFI is the total number of each unplanned sustained interruption divided by the total number of distribution customers. SAIFI excluded momentary interruption (one minute or less)). SAIFI is expressed per 1 interruption.
The number of distribution customer used to derive SAIFI reflect the relevant network type and the average of the number of customer at the beginning of the reporting period and the number of customers at the end of the reporting period.
Whole Network – Total Distribution customers (from Velocity)
Network Classification (Urban): Total Urban Customers (using ratio obtained from ArcFM extracts)
Network Classification (Short Rural): Total Short Rural Customers (using ratio obtained from ArcFM extracts)
Note: The underlying data extracted from ArcFM for feeder classifications (e.g. rural, urban) is actual and allowed Evonergy to determine the network classification ratio of distribution customers. Evoenergy considers this reasonable as it is consistent with legislation (Category Analysis RIN issued by the AER to Evonergy (then ActewAGL Distribution) 7th March 2014) and previous years methodologies. Evoenergy also considers this reliable as there exists sufficient and appropriate supporting documentation to present in support of the methodology, and the information itself was prepared by competent, capable and objective Evoenergy staff (role: Operational Information Controller).
Evoenergy has applied the requirements and definitions (as per Category Analysis RIN issued by the AER to Evonergy (then ActewAGL Distribution), 7th March 2014) relating to planned interruptions, multi vs single premise, MED, average duration of sustained customer interruption and SAIDI to its calculation methodology, excluding momentary interruptions (one minute or less). As shown above this is inclusive of Whole Network, and Network Classification.
[ADMS Distribution Management System - premise outages extract] manipulated in spreadsheet to produce incidents list (Actual)] - Irrelevant records (Customer fault and Cancelled incidents, IT System Error, etc) are zeroed in the incidents list. Planned statistics are sum of Incidents with "Planned" Cause where average duration is > 1 minute. Unplanned statistics are sum of Incidents with Cause of anything other than "Planned" where the average duration is > 1 minute.
Due to a bug in ADMS introduced around December 2016, during the period between December 2016 and June 2017, Unplanned incidents under certain circumstances would lose all the customer interruption data for that incident. For incidents affected by the bug, instead of the approach above, the Customer Minutes Off Supply for each incident is calculated based on the timing of the System Log in ADMS. This bug was resolved in June 2017.
[ArcFM extract (PremiseInfo, Meter and ServicePoint tables) manipulated in spreadsheet to estimate the ratio of Urban vs Rural customers; and extract of HV cables and conductors manipulated in spreadsheet to calculate OH and UG feeder lengths] - Premise Info table is first joined to Meter table using PremiseInfoUID. The resulting table is then joined to Service Point table using ServicePointUID. A Pivot table is then constructed to count the number of NMIs (number of customers) for each HV feeder. This process is automated using SQL report called "Customer Count by Feeder"
Methodology for calculating MAIFI
Calculation of MAIFI performance has not been undertaken as no accurate or suitably complete data are available. MAIFI data has not been provided to the AER as part of the Annual RIN Reporting responses.
Methodology for calculating reliability performance for each supply reliability area
Feeder classification is based on definition specified in Appendix A of the STPIS guideline.
Urban feeder is a feeder, which is not a CBD feeder, with actual maximum demand per total feeder route length greater than 0.3 MVA/km.
Short Rural feeder is a feeder which is not a CBD or urban feeder with a total feeder route length less than 200 km.
Feeder maximum demand and route length are calculated based on 2016-17 RIN data.
For the purpose of setting reliability targets for 2019-24, the feeder classification used is based on the ratio which existed at the end of the 2016-17 regulatory year. This classification is to use to disaggregate network reliability data into the two network types, which are then used for the 5 year average and as a basis for the current STPIS targets.
Methodology for calculating daily customer service performance
Telephone answering information is reported as per the definitions in Appendix A of the STPIS guideline, that is excluding:
• calls to payment lines and automated interactive services
• calls abandoned by the customer within 30 seconds of the call being queued for response by a human operator (where the time in which a telephone call is abandoned is not measured, then an estimate of the number of calls abandoned within 30 seconds will be determined by taking 20 per cent of all calls abandoned).
The excluded events to be removed from the data refer only to events listed in clause 5.4 of the STPIS with respect to customer service parameters.
IMPORTANT NOTE: On 01/04/2017, Evoenergy moved to a new phone software system.
Due to this, two reporting systems were used for this reporting period. Both reports were generated by accessing the two platforms for specific contact centre reports for the specified date range in CISCO historical reporting platform (01/07/2016 to 01/04/2017) and CISCO Finesse reporting platform (01/04/2017-30/06/2017). The reports show all categories required in this table (e.g. calls to fault line - average waiting time before call answered), consistent with the previous years experience/calculation methodology.
Raw data is reviewed; any other excluded events and MED data is removed. Telephone answering figures are then calculated based on the raw data and is consistent with definitions as described in legislation and the previous years experience/calculation methodology.

## AER 2015 Final Decision
Table 11-1 | The proposed performance targets for ActewAGL's reliability of supply component
Year | 2015/16 | 2016/17 | 2017/18 | 2018/19
Unplanned SAIDI
Urban | 30.32 | 30.32 | 30.32 | 30.32
Short rural | 46.86 | 46.86 | 46.86 | 46.86
Unplanned SAIFI
Urban | 0.585 | 0.585 | 0.585 | 0.585
Short rural | 0.895 | 0.895 | 0.895 | 0.895
Source: FINAL DECISION ActewAGL distribution determination 2015−16 to 2018−19 Attachment 11 – Service target performance incentive scheme April 2015, page 11-8

## Historical reliability data
Recast SAIDI and SAIFI based on the new feeder classification
isOnMEDDay | FALSE
isPlanned | FALSE
isExcluded | FALSE
isMomentary1Min | FALSE
isMomentary3Min | (All)
Sum of SAIDI Feeder | Column Labels |  |  |  |  | Average
Row Labels | 2013 | 2014 | 2015 | 2016 | 2017
Urban | 27.349 | 25.098 | 37.165 | 35.751 | 40.339 | 33.14
Short Rural | 29.172 | 35.157 | 23.297 | 33.665 | 37.766 | 31.811
Sum of SAIDI Network | 27.9199 | 28.2491 | 32.8202 | 35.0977 | 39.5327 | 32.7239
isOnMEDDay | FALSE
isPlanned | FALSE
isExcluded | FALSE
isMomentary1Min | FALSE
isMomentary3Min | (All)
Sum of SAIFI Feeder | Column Labels |  |  |  |  | Average
Row Labels | 2013 | 2014 | 2015 | 2016 | 2017
Urban | 0.5305 | 0.4647 | 0.6793 | 0.7415 | 0.6732 | 0.618
Short Rural | 0.713 | 0.602 | 0.442 | 0.5311 | 0.7262 | 0.603
Sum of SAIFI Network | 0.5877 | 0.50772 | 0.60493 | 0.67559 | 0.68983 | 0.61316