## Assumptions
Parameters and Assumptions
| Value | Comments
Starting financial Year | 2018
Pre-tax real WACC | 4.535% | Real or nominal depends on inputs
Assumed asset life (years) | 45 | Consistent with RIN table 3.3.4 Note D Pankhurst advised 50-60 years in practice
Capitalised overhead proportion | 26% | Email from C Walker dated 9 November 2017
Opex per cent of capex | 2% | Consistent with previous approach
Power Factor (residential) | 0.9 | Confirmed by D Pankhurst (12/12/17)
Power Factor (commercial) | 0.95 | Confirmed by D Pankhurst (12/12/17)
LV res contribution to MD | 42.01% | Based on analysis of FY16 and FY17 years
LV com contribution to MD | 47.94% | Based on analysis of FY16 and FY17 years
HV com contribution to MD | 10.05% | Based on analysis of FY16 and FY17 years

## LRMC Calculation
LV Residential | [13 empty] | Summary
| Unit | NPV | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 |  | Tariff Class | LRMC ($/KW p.a)
Capital Expenditure | 2018 $ |  | 11682373.1503 | 9248963.9513 | 13532090.3125 | 16555745.3065 | 18697810.5434 | 10388499.4004 | 10952273.3082 | 35520316.5519 | 17837692.0256 | 24766250.0404 |  | LV Residential | 171.7182
Annualised capex | 2018 $ |  | 613164.8942 | 485444.1755 | 710249.7598 | 868950.3141 | 981379.4574 | 545254.2093 | 574844.6328 | 1864331.0617 | 936234.9929 | 1299889.5763 |  | LV Commercial | 103.2347
Cumulative annualised | 2018 $ | 30517315.4452 | 613164.8942 | 1098609.0697 | 1808858.8295 | 2677809.1436 | 3659188.601 | 4204442.8103 | 4779287.4431 | 6643618.5049 | 7579853.4977 | 8879743.0741 |  | HV | 25.9502
Operating expenditure | 2018 $ | 2581755.887 | 233647.463 | 184979.279 | 270641.8063 | 331114.9061 | 373956.2109 | 207769.988 | 219045.4662 | 710406.331 | 356753.8405 | 495325.0008
Incremental demand | KW |  | 6647.2169 | 4481.7851 | 4708.2685 | 7932.0154 | 4524.1121 | 2401.9824 | 1058.4646 | -845.6138 | 6409.296 | 3608.1327
Cumulative demand | KW | 192752.2828 | 6647.2169 | 11129.002 | 15837.2705 | 23769.2858 | 28293.3979 | 30695.3804 | 31753.8449 | 30908.2311 | 37317.5271 | 40925.6597
LRMC | $/KW p.a. | 171.7182
| S/kVA p.a. | 154.5464
LV Commercial
|  | NPV | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
Capital Expenditure | 2018 $ |  | 9033969.2246 | 7464439.5261 | 8864716.2627 | 12821276.9847 | 7654663.3111 | 7145460.3272 | 6761698.6787 | 12820898.8382 | 17425548.653 | 16564864.6583
Annualised capex | 2018 $ |  | 474159.8913 | 391781.0374 | 465276.4245 | 672941.7768 | 401765.1858 | 375038.9898 | 354896.7493 | 672921.9293 | 914603.0997 | 869428.9554
Cumulative annualised | 2018 $ | 19875915.9951 | 474159.8913 | 865940.9287 | 1331217.3532 | 2004159.13 | 2405924.3158 | 2780963.3056 | 3135860.0549 | 3808781.9842 | 4723385.0839 | 5592814.0394
Operating expenditure | 2018 $ | 1636919.4566 | 180679.3845 | 149288.7905 | 177294.3253 | 256425.5397 | 153093.2662 | 142909.2065 | 135233.9736 | 256417.9768 | 348510.9731 | 331297.2932
Incremental demand | KW |  | 7186.4168 | 4845.3325 | 5090.1874 | 8575.4338 | 4891.0929 | 2596.8232 | 1144.3237 | -914.2072 | 6929.1966 | 3900.8123
Cumulative demand | KW | 208387.7008 | 7186.4168 | 12031.7493 | 17121.9367 | 25697.3705 | 30588.4634 | 33185.2866 | 34329.6102 | 33415.403 | 40344.5996 | 44245.4118
LRMC | $/KW p.a. | 103.2347
| S/kVA p.a. | 98.0729
HV Commercial
|  | NPV | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
Capital Expenditure | 2018 $ |  | 174762.5719 | 333941.4559 | 528085.387 | 736246.3011 | 0 | 148052.7973 | 148391.6621 | 879727.2823 | 2727633.6621 | 2198647.4826
Annualised capex | 2018 $ |  | 9172.646 | 17527.3615 | 27717.264 | 38642.8664 | 0 | 7770.748 | 7788.5338 | 46173.6566 | 143163.4809 | 115398.9377
Cumulative annualised | 2018 $ | 963928.839 | 9172.646 | 26700.0076 | 54417.2715 | 93060.138 | 93060.138 | 100830.886 | 108619.4197 | 154793.0763 | 297956.5572 | 413355.4949
Operating expenditure | 2018 $ | 112631.8446 | 3495.2514 | 6678.8291 | 10561.7077 | 14724.926 | 0 | 2961.0559 | 2967.8332 | 17594.5456 | 54552.6732 | 43972.9497
Incremental demand | KW |  | 1430.6667 | 964.6054 | 1013.3509 | 1707.1913 | 973.7153 | 516.9737 | 227.8111 | -181.9997 | 1379.4595 | 776.5709 | Assumed Power Factor = 1
Cumulative demand | KW | 41485.6755 | 1430.6667 | 2395.2721 | 3408.623 | 5115.8143 | 6089.5296 | 6606.5033 | 6834.3144 | 6652.3147 | 8031.7742 | 8808.3452
LRMC | $/KW p.a. | 25.9502
Demand check |  |  | Okay | Okay | Okay | Okay | Okay | Okay | Okay | Okay | Okay | Okay

## Capex
Low voltage residential
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
Capacity | 3579769.5372 | 1569266.5798 | 5795135.226 | 8364951.1161 | 10141762.9486 | 1823558.3422 | 2356956.0988 | 25403914.1918 | 7355088.8412 | 14800364.108
Connections | 10372246.1436 | 9519959.176 | 9666709.2149 | 10221340.532 | 10654855.1308 | 10665955.5412 | 10704858.4053 | 12607638.3676 | 13065269.375 | 12443492.6853
Renewal
Capital Contributions | -2269642.5304 | -1840261.8045 | -1929754.1284 | -2030546.3416 | -2098807.536 | -2101014.483 | -2109541.1959 | -2491236.0075 | -2582666.1906 | -2477606.7529
Total | 11682373.1503 | 9248963.9513 | 13532090.3125 | 16555745.3065 | 18697810.5434 | 10388499.4004 | 10952273.3082 | 35520316.5519 | 17837692.0256 | 24766250.0404
Low voltage commercial
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
Capacity | 2108007.8054 | 1876833.7033 | 3214277.9959 | 6754463.3089 | 1581850.4588 | 876048.4943 | 855450.6593 | 5852828.8825 | 10212414.7072 | 9217604.0075
Connections | 12148695.9804 | 9915778.131 | 10078306.6883 | 10784301.9814 | 10761174.158 | 11111310.3655 | 10465233.9013 | 12347407.0131 | 12782474.6406 | 13097120.7581
Renewal
Capital Contributions | -5222734.5612 | -4328172.3082 | -4427868.4215 | -4717488.3055 | -4688361.3057 | -4841898.5326 | -4558985.882 | -5379337.0574 | -5569340.6948 | -5749860.1073
Total | 9033969.2246 | 7464439.5261 | 8864716.2627 | 12821276.9847 | 7654663.3111 | 7145460.3272 | 6761698.6787 | 12820898.8382 | 17425548.653 | 16564864.6583
High voltage commercial
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
Capacity | 174762.5719 | 333941.4559 | 528085.387 | 736246.3011 | 0 | 148052.7973 | 148391.6621 | 879727.2823 | 2727633.6621 | 2198647.4826
Connections
Renewal
Capital Contributions
Total | 174762.5719 | 333941.4559 | 528085.387 | 736246.3011 | 0 | 148052.7973 | 148391.6621 | 879727.2823 | 2727633.6621 | 2198647.4826

## Demand
Incremental demand (substations where demand is growing) | 14240.2579 | 9601.2779 | 10086.4706 | 16992.6672 | 9691.9544 | 5145.7399 | 2267.5367 | -1811.549 | 13730.5626 | 7729.662
Cumulative demand | 14240.2579 | 23841.5357 | 33928.0063 | 50920.6735 | 60612.6279 | 65758.3678 | 68025.9046 | 66214.3556 | 79944.9182 | 87674.5802