## Cost Drivers for Materials
ActewAGL Cost Escalation Factors
Date | 2017-09-25
Based on material and labour data provided by BIS Oxford Economics
Annual average real AUD price forecast
Cost Drivers | Annual average year-to-June real AUD price
| 2018-06-01 | 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01
Aluminium | 2174.7162 | 2236.197 | 2146.4599 | 2108.7051 | 2066.5988 | 2032.5116 | 2175.7904 | Provided by ActewAGL
Copper | 6617.296 | 6952.8522 | 6936.3325 | 6903.3593 | 6614.2953 | 6367.3147 | 6678.9487 | Provided by ActewAGL
Steel | 594.2373 | 578.2728 | 564.1588 | 570.934 | 587.4157 | 606.222 | 613.2835 | Based on index provided and 2013 cost
Oil | 64.9776 | 68.919 | 69.4787 | 69.4673 | 66.5917 | 64.1362 | 67.3068 | Provided by ActewAGL
Annual average real index factor forecast
Cost Drivers | 2018-06-01: Annual average year-to-June real index factor
| 2018-06-01 | 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01
Construction Index | 0.99051 | 0.9946 | 0.98248 | 0.99107 | 0.98654 | 0.98782 | 1.0022 | Provided by ActewAGL, Construction (Non-hydro electricity) IPD: Australia, 2017
TWI | 1.0011 | 1.0011 | 1.0011 | 1.0011 | 1.0011 | 1.0011 | 1.0011 | Trade Weighted Index was not provided by ActewAGL, but is used in the material asset aggregation calculation. Historic data based on RBA, Forecast based on RBA outlook policy
CPI | [7 empty] | No change in factor as it is in real terms (i.e. no inflation) | bar: 2018-06-01 to 2024-06-01
Annual average real cost escalation forecast (without consideration for Australian carbon pricing scheme)
Cost Drivers | 2018-06-01: Annual average year-to-June real % change
| 2018-06-01 | 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01
Aluminium | 1.882% | 2.827% | -4.013% | -1.759% | -1.997% | -1.649% | 7.049%
Copper | 1.738% | 5.071% | -0.2376% | -0.4754% | -4.187% | -3.734% | 4.894%
Steel | 0.4258% | -2.687% | -2.441% | 1.201% | 2.887% | 3.202% | 1.165%
Oil | 7.625% | 6.066% | 0.8121% | -0.0165% | -4.139% | -3.687% | 4.943%
Construction Index | -0.9487% | -0.5399% | -1.752% | -0.8926% | -1.346% | -1.218% | 0.2222%
TWI | 0.1094% | 0.1094% | 0.1094% | 0.1094% | 0.1094% | 0.1094% | 0.1094%
CPI | [7 empty] | No change in factor as it is in real terms (i.e. no inflation) | bar: 2018-06-01 to 2024-06-01
Annual average real cost escalation forecast
Scenario: With continuation of carbon pricing scheme
Cost Drivers | 2018-06-01: Real annual average year-to-June % change
| 2013-06-01 | 2014-06-01 | 2015-06-01 | 2016-06-01 | 2017-06-01 | 2018-06-01 | 2019-06-01
Aluminium |  | -0.01354% | 3.653% | 6.067% | 5.214% | 4.469% | 3.884% | Output of SKM model. % change in annual average price after considering real carbon price forecast, EITE assistance level forecast, emission intensity of production, and assumption of carbon cost pass-through proportion
Copper |  | -0.7868% | -0.9086% | 1.137% | 0.3123% | -0.3293% | -0.7295% | Output of SKM model. % change in annual average price after considering real carbon price forecast, EITE assistance level forecast, emission intensity of production, and assumption of carbon cost pass-through proportion
Steel |  | -0.002705% | 0.3956% | 3.285% | 0.7633% | 0.4294% | 0.04035% | Output of SKM model. % change in annual average price after considering real carbon price forecast, EITE assistance level forecast, emission intensity of production, and assumption of carbon cost pass-through proportion
Oil |  | 18.81% | -0.5308% | 2.831% | 2.566% | 2.137% | 1.751%
Construction Index |  | 0.4772% | 0.4843% | 0.7475% | 0.4511% | 0.4024% | 0.06451%
TWI |  | -0.9787% | 0% | 0% | 0% | 0% | 0%
CPI | bar: 2014-06-01 to 2019-06-01
Scenario: With discontinuation of carbon pricing scheme from July 2014
Cost Drivers | 2013-06-01: Real annual year-to-June % change
| 2018-06-01 | 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01
Aluminium | 1.882% | 2.827% | -4.013% | -1.759% | -1.997% | -1.649% | 7.049%
Copper | 1.738% | 5.071% | -0.2376% | -0.4754% | -4.187% | -3.734% | 4.894%
Steel | 0.4258% | -2.687% | -2.441% | 1.201% | 2.887% | 3.202% | 1.165%
Oil | 7.625% | 6.066% | 0.8121% | -0.0165% | -4.139% | -3.687% | 4.943%
Construction Index | -0.9487% | -0.5399% | -1.752% | -0.8926% | -1.346% | -1.218% | 0.2222%
TWI | 0.1094% | 0.1094% | 0.1094% | 0.1094% | 0.1094% | 0.1094% | 0.1094%
CPI | [7 empty] | No change in factor as it is in real terms (i.e. no inflation) | bar: 2018-06-01 to 2024-06-01

## Materials
Annual average real cost escalation forecast aggregated at material assets level and after considering assets origin
ActewAGL Asset Type | Annual average year-to-June real cost escalation factor
| 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01
Transmission Overhead | 1.0007 | 0.98464 | 1.0017 | 1.0037 | 1.0058 | 1.0216
Transmission Underground (Cu) | 1.0274 | 1.0028 | 1.0041 | 0.98769 | 0.98996 | 1.0285
Distribution Overhead Lines | 1.0127 | 0.99667 | 1.0098 | 1.0096 | 1.0116 | 1.0295
Distribution Underground Lines (AI) | 1.0221 | 0.99865 | 1.0045 | 0.9982 | 0.99984 | 1.0319
Zone Substation Switchgear | 1.0166 | 1.0059 | 1.0115 | 1.008 | 1.0093 | 1.0235
Zone Substation Transformer | 1.0155 | 0.99871 | 1.009 | 1.0051 | 1.0072 | 1.0281
Zone Substation Electronics/Other | 1.0301 | 1.0239 | 1.0241 | 1.0194 | 1.0201 | 1.0307
Zone Substation Civils | 0.9946 | 0.98248 | 0.99107 | 0.98654 | 0.98782 | 1.0022
Distribution Substations | 1.0203 | 1.0096 | 1.0153 | 1.0117 | 1.013 | 1.0273
Meters | 1.0301 | 1.0239 | 1.0241 | 1.0194 | 1.0201 | 1.0307
Relays (Protection & Control) | 1.0301 | 1.0239 | 1.0241 | 1.0194 | 1.0201 | 1.0307
IT & Communication Systems (Networks) | 1.0224 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025
Other Non-System Assets (Corporate) | bar: 2019-06-01 to 2024-06-01
Other Non-System Assets (Networks) | bar: 2019-06-01 to 2024-06-01
Motor Vehicles | bar: 2019-06-01 to 2024-06-01

## Labour Cost Escalators
Annual average real labour cost escalation index forecast provided by ActewAGL (supplied September 2017)
Labour | Annual average year-to-June real % change
| 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01
General labour | 0.7382% | 0.5667% | 1.113% | 1.548% | 1.492% | 1.249% | ACT electricity wage prce index
Utility sector labour | 0.9458% | 0.7785% | 1.268% | 1.637% | 1.728% | 1.433% | Australia wide electricity wage price index
Professional services | 0.3273% | 0.09414% | 0.7701% | 1.209% | 1.27% | 0.8799% | Wage Price Index Australia wide

## Asset Breakdown
Asset material and labour cost component breakdown supplied by ActewAGL
ActewAGL asset class | MATERIAL cost % proportion | LABOUR cost % proportion |  |  | Total completed asset cost
|  | General labour | Utility sector labour | Professional services
Transmission Overhead | 70.45% | 0% | 29.55% | 0% | 100%
Transmission Underground (Cu.) | 38% | 10% | 32% | 20% | 100%
Distribution Overhead Lines | 17.28% | 0% | 79.6% | 3.128% | 100%
Distribution Underground Lines (AI.) | 15.7% | 0% | 81.17% | 3.128% | 100%
Zone Substation Switchgear | 70% | 0% | 30% | 0% | 100%
Zone Substation Civils | 79% | 0% | 9% | 12% | 100%
Distribution Substations | 67.12% | 0% | 29.75% | 3.128% | 100%
Meters | 39.59% | 0% | 60.41% | 0% | 100%
Other Non-System Assets (Corporate) | 100% | 0% | 0% | 0% | 100%
IT & Communication Systems (Networks) | 48.77% | 24.4% | 0% | 26.83% | 100%
Motor Vehicles | 100% | 0% | 0% | 0% | 100%
Other Non-System Assets (Networks) | 100% | 0% | 0% | 0% | 100%
Zone Substation Transformer | 95% | 0% | 5% | 0% | 100%
Relays (Protection & Control) | 23.08% | 0% | 73.79% | 3.128% | 100%
Zone Substation Electronics/Other | 77% | 0% | 23% | 0% | 100%

## Complete Asset
Annual average real cost escalation forecast aggregated at complete assets (material + labour) level
ActewAGL Asset Type | Annual average year-to-June real cost escalation factor | [23 empty] | Material and labour breakdown % proportion |  |  |  | Annual average year-to-June real cost escalation factor
| Material | [5 empty] | Labour | [17 empty] | Material cost component | Labour cost component |  |  | For complete asset
[7 empty] | General labour | [5 empty] | Utility sector labour | [5 empty] | Professional services | [6 empty] | General labour | Utility sector labour | Professional services | Proportionally weighted for material and labour
| 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01 | 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01 | 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01 | 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01 |  |  |  |  | 2019-06-01 | 2020-06-01 | 2021-06-01 | 2022-06-01 | 2023-06-01 | 2024-06-01
Transmission Overhead | 1.0007 | 0.98464 | 1.0017 | 1.0037 | 1.0058 | 1.0216 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 70.45% | 0% | 29.55% | 0% | 1.0033 | 0.99148 | 1.0049 | 1.0075 | 1.0092 | 1.0194
Transmission Underground (Cu) | 1.0274 | 1.0028 | 1.0041 | 0.98769 | 0.98996 | 1.0285 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 38% | 10% | 32% | 20% | 1.0148 | 1.0043 | 1.0083 | 1.0045 | 1.0057 | 1.0184
Distribution Overhead Lines | 1.0127 | 0.99667 | 1.0098 | 1.0096 | 1.0116 | 1.0295 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 17.28% | 0% | 79.6% | 3.128% | 1.0098 | 1.0057 | 1.012 | 1.0151 | 1.0162 | 1.0168
Distribution Underground Lines (Al) | 1.0221 | 0.99865 | 1.0045 | 0.9982 | 0.99984 | 1.0319 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 15.7% | 0% | 81.17% | 3.128% | 1.0112 | 1.0061 | 1.0112 | 1.0134 | 1.0144 | 1.0169
Zone Substation Switchgear | 1.0166 | 1.0059 | 1.0115 | 1.008 | 1.0093 | 1.0235 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 70% | 0% | 30% | 0% | 1.0144 | 1.0065 | 1.0119 | 1.0105 | 1.0117 | 1.0208
Zone Substation Transformer | 1.0155 | 0.99871 | 1.009 | 1.0051 | 1.0072 | 1.0281 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 95% | 0% | 5% | 0% | 1.0152 | 0.99917 | 1.0092 | 1.0057 | 1.0077 | 1.0274
Zone Substation Electronics/Other | 1.0301 | 1.0239 | 1.0241 | 1.0194 | 1.0201 | 1.0307 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 77% | 0% | 23% | 0% | 1.0254 | 1.0202 | 1.0215 | 1.0187 | 1.0194 | 1.0269
Zone Substation Civils | 0.9946 | 0.98248 | 0.99107 | 0.98654 | 0.98782 | 1.0022 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 79% | 0% | 9% | 12% | 0.99698 | 0.98697 | 0.99501 | 0.99229 | 0.99346 | 1.0041
Distribution Substations | 1.0203 | 1.0096 | 1.0153 | 1.0117 | 1.013 | 1.0273 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 67.12% | 0% | 29.75% | 3.128% | 1.0166 | 1.0088 | 1.0143 | 1.0131 | 1.0143 | 1.0229
Meters | 1.0301 | 1.0239 | 1.0241 | 1.0194 | 1.0201 | 1.0307 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 39.59% | 0% | 60.41% | 0% | 1.0176 | 1.0142 | 1.0172 | 1.0176 | 1.0184 | 1.0208
Relays (Protection & Control) | 1.0301 | 1.0239 | 1.0241 | 1.0194 | 1.0201 | 1.0307 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 23.08% | 0% | 73.79% | 3.128% | 1.014 | 1.0113 | 1.0152 | 1.0169 | 1.0178 | 1.0179
IT & Communication Systems (Networks) | 1.0224 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 48.77% | 24.4% | 0% | 26.83% | 1.0136 | 1.0138 | 1.017 | 1.0192 | 1.0192 | 1.0176
Other Non-System Assets (Corporate) | 1 | 1 | 1 | 1 | 1 | 1 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 100% | 0% | 0% | 0% | 1 | 1 | 1 | 1 | 1 | 1
Other Non-System Assets (Networks) | 1 | 1 | 1 | 1 | 1 | 1 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 100% | 0% | 0% | 0% | 1 | 1 | 1 | 1 | 1 | 1
Motor Vehicles | 1 | 1 | 1 | 1 | 1 | 1 | 1.0074 | 1.0057 | 1.0111 | 1.0155 | 1.0149 | 1.0125 | 1.0095 | 1.0078 | 1.0127 | 1.0164 | 1.0173 | 1.0143 | 1.0033 | 1.0009 | 1.0077 | 1.0121 | 1.0127 | 1.0088 | 100% | 0% | 0% | 0% | 1 | 1 | 1 | 1 | 1 | 1
Formulas:
Utility sector labour = [Labour]
Professional services = [Utility sector labour]

## CAPEX Tables Real
Standard Control | [6 empty] | Standard Control
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Asset renewal/replacement | 21766890.1715 | 22222048.695 | 20553384.074 | 21457034.553 | 28994993.8585 | 114994351.352 | Asset renewal/replacement | 22202227.9749 | 22666489.6689 | 20964451.7555 | 21886175.244 | 29574893.7357 | 117294238.379
Customer initiated | 20279132.7983 | 21542508.6388 | 21953673.6184 | 22315468.9752 | 21710281.2622 | 107801065.2928 | Customer initiated | 20684715.4542 | 21973358.8116 | 22392747.0908 | 22761778.3547 | 22144486.8874 | 109957086.5986
Augmentation | 13889005.4214 | 17313583.8014 | 13699367.3853 | 7129418.6969 | 7254634.7399 | 59286010.0449 | Augmentation | 14166785.5298 | 17659855.4775 | 13973354.733 | 7272007.0708 | 7399727.4347 | 60471730.2458
Reliability and Quality Improvements | 1557240.6105 | 1562074.1596 | 1565511.247 | 1565554.1149 | 1563035.7041 | 7813415.836 | Reliability and Quality Improvements | 1588385.4227 | 1593315.6428 | 1596821.4719 | 1596865.1972 | 1594296.4181 | 7969684.1527
Demand Side Management | 0 | 0 | 0 | 0 | 0 | 0 | Demand Side Management | 0 | 0 | 0 | 0 | 0 | 0
Network IT Systems | 2820876.4809 | 2829632.2537 | 18166453.4282 | 15942559.4034 | 3704068.9862 | 43463590.5524 | Network IT Systems | 2877294.0105 | 2886224.8988 | 18529782.4968 | 16261410.5915 | 3778150.3659 | 44332862.3635
Less Capital Contributions | -6357622.5499 | -6748034.6471 | -6787168.8417 | -6942913.0156 | -6668527.0779 | -33504266.1323 | Less Capital Contributions | -6484775.0009 | -6882995.3401 | -6922912.2185 | -7081771.2759 | -6801897.6195 | -34174351.4549
Less Disposals | -154047 | -247362 | -157887 | -225783 | -250944 | -1036023 | Less Disposals | -157127.94 | -252309.24 | -161044.74 | -230298.66 | -255962.88 | -1056743.46
Non-system assets | 7029502.32 | 3747927.14 | 3426174.98 | 2498978.56 | 3055348.75 | 19757931.75 | Non-system assets | 7170092.3664 | 3822885.6828 | 3494698.4796 | 2548958.1312 | 3116455.725 | 20153090.385
Corporate Services Business Support | 314390.9598 | 1763484.0587 | 2024600.6082 | 553583.4206 | 52703.8242 | 4708762.8714 | Corporate Services Business Support | 320678.779 | 1798753.7399 | 2065092.6204 | 564655.089 | 53757.9007 | 4802938.1289
Total Capital Expenditure | 61145369.2124 | 63985862.1001 | 74444109.4994 | 64293901.7084 | 59415596.0471 | 323284838.5673 | Total Capital Expenditure | 62368276.5967 | 65265579.3421 | 75932991.6894 | 65579779.7425 | 60603907.968 | 329750535.3387
Alternative Control Metering Services | [6 empty] | Alternative Control Metering Services
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Meter Installation | 0 | 0 | 0 | 0 | 0 | 0 | Meter Installation | 0 | 0 | 0 | 0 | 0 | 0
Less Capital Contributions | 0 | 0 | 0 | 0 | 0 | 0 | Less Capital Contributions | 0 | 0 | 0 | 0 | 0 | 0
Meter Replacement | 0 | 0 | 0 | 0 | 0 | 0 | Meter Replacement | 0 | 0 | 0 | 0 | 0 | 0
Total Capital Expenditure | 0 | 0 | 0 | 0 | 0 | 0 | Total Capital Expenditure | 0 | 0 | 0 | 0 | 0 | 0
Alternative Control Quoted Services | [6 empty] | Alternative Control Quoted Services
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Relocations | 3390984.6882 | 3409260.8234 | 3413556.7301 | 3417215.8666 | 3431380.4429 | 17062398.5512 | Relocations | 3458804.3819 | 3477446.0399 | 3481827.8647 | 3485560.184 | 3500008.0517 | 17403646.5222
Less Capital Contributions | -3730083.157 | -3750186.9058 | -3754912.4031 | -3758937.4533 | -3774518.4872 | -18768638.4063 | Less Capital Contributions | -3804684.8201 | -3825190.6439 | -3830010.6511 | -3834116.2024 | -3850008.8569 | -19144011.1744
Replacement | 93003.9773 | 93529.4956 | 93618.0392 | 93721.0569 | 94144.5571 | 468017.1261 | Replacement | 94864.0568 | 95400.0855 | 95490.4 | 95595.4781 | 96027.4483 | 477377.4686
Less Capital Contributions | -102304.375 | -102882.4452 | -102979.8431 | -103093.1626 | -103559.0128 | -514818.8387 | Less Capital Contributions | -104350.4625 | -104940.0941 | -105039.44 | -105155.0259 | -105630.1931 | -525115.2155
Total Capital Expenditure | -348398.8665 | -350279.0319 | -350717.4769 | -351093.6924 | -352552.5 | -1753041.5677 | Total Capital Expenditure | -355366.8439 | -357284.6125 | -357731.8265 | -358115.5662 | -359603.55 | -1788102.3991
CPI
2%
1.02
Customer Initiated | [6 empty] | Customer Initiated
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Commercial and Industrial Developments | 8230802.7005 | 8864037.4111 | 8783183.3056 | 9131235.1957 | 8477740.1741 | 43486998.7871 | Commercial and Industrial Developments | 8395418.7545 | 9041318.1593 | 8958846.9717 | 9313859.8997 | 8647294.9776 | 44356738.7628
Community and Associated Developments | 6179.5423 | 6217.6192 | 6211.8024 | 6219.3661 | 6273.4263 | 31101.7564 | Community and Associated Developments | 6303.1332 | 6341.9716 | 6336.0384 | 6343.7535 | 6398.8949 | 31723.7915
New Urban Development | 5604620.671 | 5903537.4593 | 6107657.8635 | 6114005.1562 | 6136564.9007 | 29866386.0507 | New Urban Development | 5716713.0844 | 6021608.2085 | 6229811.0208 | 6236285.2594 | 6259296.1987 | 30463713.7718
Rural Developments | 116372.4557 | 117014.0001 | 117198.2722 | 117322.9599 | 117720.2812 | 585627.9691 | Rural Developments | 118699.9048 | 119354.2801 | 119542.2376 | 119669.4191 | 120074.6869 | 597340.5285
Services | 2008912.7522 | 2168638.1643 | 2344140.8762 | 2346517.141 | 2351849.723 | 11220058.6568 | Services | 2049091.0073 | 2212010.9276 | 2391023.6937 | 2393447.4839 | 2398886.7175 | 11444459.8299
Special Customer Requests | 705473.9742 | 709438.2268 | 710221.0415 | 710996.8252 | 714231.5337 | 3550361.6013 | Special Customer Requests | 719583.4537 | 723626.9913 | 724425.4623 | 725216.7617 | 728516.1643 | 3621368.8334
Urban Infill | 3072653.8071 | 3236759.6327 | 3347416.1274 | 3350969.2625 | 3365712.2676 | 16373511.0973 | Urban Infill | 3134106.8832 | 3301494.8253 | 3414364.45 | 3417988.6477 | 3433026.513 | 16700981.3192
Embedded Generation | 534116.8951 | 536866.1253 | 537644.3296 | 538203.0685 | 540188.9555 | 2687019.374 | Embedded Generation | 544799.233 | 547603.4479 | 548397.2162 | 548967.1298 | 550992.7346 | 2740759.7615
Total Customer Initiated | 20279132.7983 | 21542508.6388 | 21953673.6184 | 22315468.9752 | 21710281.2622 | 107801065.2928 | Total Customer Initiated | 20684715.4542 | 21973358.8116 | 22392747.0908 | 22761778.3547 | 22144486.8874 | 109957086.5986
Reliability and Quality Improvements | [6 empty] | Reliability and Quality Improvements
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Zone Substation | 0 | 0 | 0 | 0 | 0 | 0 | Zone Substation | 0 | 0 | 0 | 0 | 0 | 0
Secondary Systems | 1557240.6105 | 1562074.1596 | 1565511.247 | 1565554.1149 | 1563035.7041 | 7813415.836 | Secondary Systems | 1588385.4227 | 1593315.6428 | 1596821.4719 | 1596865.1972 | 1594296.4181 | 7969684.1527
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | Distribution | 0 | 0 | 0 | 0 | 0 | 0
Transmission | 0 | 0 | 0 | 0 | 0 | 0 | Transmission | 0 | 0 | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0 | 0 | 0 | Metering | 0 | 0 | 0 | 0 | 0 | 0
Total Reliability and Quality Improvements | 1557240.6105 | 1562074.1596 | 1565511.247 | 1565554.1149 | 1563035.7041 | 7813415.836 | Total Reliability and Quality Improvements | 1588385.4227 | 1593315.6428 | 1596821.4719 | 1596865.1972 | 1594296.4181 | 7969684.1527
Demand Side Management | [6 empty] | Demand Side Management
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Zone Substation | 0 | 0 | 0 | 0 | 0 | 0 | Zone Substation | 0 | 0 | 0 | 0 | 0 | 0
Secondary Systems | 0 | 0 | 0 | 0 | 0 | 0 | Secondary Systems | 0 | 0 | 0 | 0 | 0 | 0
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | Distribution | 0 | 0 | 0 | 0 | 0 | 0
Transmission | 0 | 0 | 0 | 0 | 0 | 0 | Transmission | 0 | 0 | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0 | 0 | 0 | Metering | 0 | 0 | 0 | 0 | 0 | 0
Total Reliability and Quality Improvements | 0 | 0 | 0 | 0 | 0 | 0 | Total Reliability and Quality Improvements | 0 | 0 | 0 | 0 | 0 | 0
Augmentation capital expenditure programs | [6 empty] | Augmentation capital expenditure programs
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Zone Substation | 832258.2753 | 0 | 7936042.7719 | 0 | 0 | 8768301.0472 | Zone Substation | 848903.4408 | 0 | 8094763.6273 | 0 | 0 | 8943667.0681
Secondary Systems | 1453400.8278 | 1457923.0754 | 1461114.9131 | 1800358.3334 | 1406756.1335 | 7579553.2831 | Secondary Systems | 1482468.8444 | 1487081.5369 | 1490337.2113 | 1836365.5 | 1434891.2562 | 7731144.3488
Distribution | 9829454.2469 | 15855660.7261 | 3787570.6355 | 5329060.3635 | 5847878.6064 | 40649624.5784 | Distribution | 10026043.3318 | 16172773.9406 | 3863322.0483 | 5435641.5708 | 5964836.1785 | 41462617.07
Transmission | 1773892.0714 | 0 | 514639.0648 | 0 | 0 | 2288531.1362 | Transmission | 1809369.9128 | 0 | 524931.8461 | 0 | 0 | 2334301.7589
Metering | 0 | 0 | 0 | 0 | 0 | 0 | Metering | 0 | 0 | 0 | 0 | 0 | 0
Total Augmentation capital expenditure | 13889005.4214 | 17313583.8014 | 13699367.3853 | 7129418.6969 | 7254634.7399 | 59286010.0449 | Total Augmentation capital expenditure | 14166785.5298 | 17659855.4775 | 13973354.733 | 7272007.0708 | 7399727.4347 | 60471730.2458
Replacement and renewal capital expenditure programs | [6 empty] | Replacement and renewal capital expenditure programs
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Distribution | 17961405.7562 | 18157419.9921 | 16578711.8978 | 17486827.8082 | 21480665.7561 | 91665031.2104 | Distribution | 18320633.8713 | 18520568.392 | 16910286.1358 | 17836564.3643 | 21910279.0713 | 93498331.8346
Zone Substations | 292256.8362 | 773390.4461 | 532682.1258 | 593114.8993 | 4323329.2652 | 6514773.5726 | Zone Substations | 298101.9729 | 788858.255 | 543335.7683 | 604977.1972 | 4409795.8505 | 6645069.044
Transmission | 132772.9751 | 134574.4552 | 134912.9926 | 135142.238 | 136514.4548 | 673917.1157 | Transmission | 135428.4347 | 137265.9443 | 137611.2524 | 137845.0828 | 139244.7439 | 687395.458
Secondary Systems | 3380454.604 | 3156663.8016 | 3307077.0577 | 3241949.6075 | 3054484.3824 | 16140629.4533 | Secondary Systems | 3448063.696 | 3219797.0776 | 3373218.5989 | 3306788.5997 | 3115574.0701 | 16463442.0424
Remote Area Power Supply | 0 | 0 | 0 | 0 | 0 | 0 | Remote Area Power Supply | 0 | 0 | 0 | 0 | 0 | 0
Total Replacement and renewal capital expenditure | 21766890.1715 | 22222048.695 | 20553384.074 | 21457034.553 | 28994993.8585 | 114994351.352 | Total Replacement and renewal capital expenditure | 22202227.9749 | 22666489.6689 | 20964451.7555 | 21886175.244 | 29574893.7357 | 117294238.379
Network OT capital expenditure program | [6 empty] | Network OT capital expenditure program
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Network OT systems | 2820876.4809 | 2829632.2537 | 18166453.4282 | 15942559.4034 | 3704068.9862 | 43463590.5524 | Network OT systems | 2877294.0105 | 2886224.8988 | 18529782.4968 | 16261410.5915 | 3778150.3659 | 44332862.3635
Total Network OT capital expenditure | 2820876.4809 | 2829632.2537 | 18166453.4282 | 15942559.4034 | 3704068.9862 | 43463590.5524 | Total Network OT capital expenditure | 2877294.0105 | 2886224.8988 | 18529782.4968 | 16261410.5915 | 3778150.3659 | 44332862.3635
Non network capital expenditure programs | [6 empty] | Non network capital expenditure programs
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Facilities | 3833600 | 652800 | 480000 | 313600 | 294400 | 5574400 | Facilities | 3910272 | 665856 | 489600 | 319872 | 300288 | 5685888
Non System Assets | 500000 | 500000 | 500000 | 500000 | 500000 | 2500000 | Non System Assets | 510000 | 510000 | 510000 | 510000 | 510000 | 2550000
Finance Lease Assets | 2695902.32 | 2595127.14 | 2446174.98 | 1685378.56 | 2260948.75 | 11683531.75 | Finance Lease Assets | 2749820.3664 | 2647029.6828 | 2495098.4796 | 1719086.1312 | 2306167.725 | 11917202.385
Corporate Services Business Support | 314390.9598 | 1763484.0587 | 2024600.6082 | 553583.4206 | 52703.8242 | 4708762.8714 | Corporate Services Business Support | 320678.779 | 1798753.7399 | 2065092.6204 | 564655.089 | 53757.9007 | 4802938.1289
Total Non network capital expenditure | 7343893.2798 | 5511411.1987 | 5450775.5882 | 3052561.9806 | 3108052.5742 | 24466694.6214 | Total Non network capital expenditure | 7490771.1454 | 5621639.4227 | 5559791.1 | 3113613.2202 | 3170213.6257 | 24956028.5139
Customer Initiated Capital Contributions | [6 empty] | Customer Initiated Capital Contributions
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Commercial and Industrial Developments | -3609478.3657 | -3887172.665 | -3851715.4739 | -4004347.7035 | -3717768.5898 | -19070482.7978 | Commercial and Industrial Developments | -3681667.9331 | -3964916.1183 | -3928749.7833 | -4084434.6575 | -3792123.9616 | -19451892.4538
Community and Associated Developments | -726.0363 | -730.51 | -729.8265 | -730.7152 | -737.0668 | -3654.1548 | Community and Associated Developments | -740.557 | -745.1202 | -744.4231 | -745.3295 | -751.8081 | -3727.2379
New Urban Development | -1023698.9501 | -1078296.9007 | -1115580.0382 | -1116739.3882 | -1120859.9858 | -5455175.263 | New Urban Development | -1044172.9291 | -1099862.8387 | -1137891.639 | -1139074.176 | -1143277.1856 | -5564278.7683
Rural Developments | -45388.718 | -45638.9393 | -45710.8109 | -45759.4428 | -45914.41 | -228412.3211 | Rural Developments | -46296.4923 | -46551.7181 | -46625.0272 | -46674.6317 | -46832.6982 | -232980.5675
Services | 0 | 0 | 0 | 0 | 0 | 0 | Services | 0 | 0 | 0 | 0 | 0 | 0
Special Customer Requests | -664835.2133 | -668571.1054 | -669308.8261 | -670039.9209 | -673088.2943 | -3345843.3601 | Special Customer Requests | -678131.9175 | -681942.5275 | -682695.0027 | -683440.7193 | -686550.0602 | -3412760.2273
Urban Infill | -1013495.2666 | -1067624.5268 | -1104123.866 | -1105295.8449 | -1110158.7312 | -5400698.2355 | Urban Infill | -1033765.1719 | -1088977.0173 | -1126206.3433 | -1127401.7618 | -1132361.9058 | -5508712.2002
Embedded Generation | 0 | 0 | 0 | 0 | 0 | 0 | Embedded Generation | 0 | 0 | 0 | 0 | 0 | 0
Total Customer Initiated | -6357622.5499 | -6748034.6471 | -6787168.8417 | -6942913.0156 | -6668527.0779 | -33504266.1323 | Total Customer Initiated | -6484775.0009 | -6882995.3401 | -6922912.2185 | -7081771.2759 | -6801897.6195 | -34174351.4549

## CAPEX Tables Real Ex CO
Standard Control | [6 empty] | Standard Control
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Asset renewal/replacement | 17005382.9465 | 17360975.543 | 16057331.3078 | 16763308.2445 | 22652338.952 | 89839336.9938 | Asset renewal/replacement | 17345490.6054 | 17708195.0538 | 16378477.934 | 17098574.4094 | 23105385.731 | 91636123.7336
Customer initiated | 15843072.4986 | 16830084.874 | 17151307.5144 | 17433960.1369 | 16961157.2361 | 84219582.26 | Customer initiated | 16159933.9486 | 17166686.5715 | 17494333.6647 | 17782639.3396 | 17300380.3808 | 85903973.9052
Augmentation | 10850785.4855 | 13526237.3449 | 10702630.7697 | 5569858.357 | 5667683.3905 | 46317195.3476 | Augmentation | 11067801.1952 | 13796762.0918 | 10916683.3851 | 5681255.5241 | 5781037.0583 | 47243539.2545
Reliability and Quality Improvements | 1216594.227 | 1220370.4372 | 1223055.6617 | 1223089.1523 | 1221121.6438 | 6104231.1219 | Reliability and Quality Improvements | 1240926.1115 | 1244777.8459 | 1247516.7749 | 1247550.9353 | 1245544.0767 | 6226315.7443
Demand Side Management | 0 | 0 | 0 | 0 | 0 | 0 | Demand Side Management | 0 | 0 | 0 | 0 | 0 | 0
Network IT Systems | 2203809.7507 | 2210650.1982 | 14192541.7408 | 12455124.5339 | 2893803.8955 | 33955930.1191 | Network IT Systems | 2247885.9457 | 2254863.2022 | 14476392.5756 | 12704227.0246 | 2951679.9734 | 34635048.7215
Less Capital Contributions | -4966892.6171 | -5271902.0681 | -5302475.6576 | -5424150.7934 | -5209786.7796 | -26175207.9158 | Less Capital Contributions | -5066230.4695 | -5377340.1094 | -5408525.1707 | -5532633.8093 | -5313982.5152 | -26698712.0742
Less Capitalised overheads capcons | -1390729.9328 | -1476132.5791 | -1484693.1841 | -1518762.2222 | -1458740.2983 | -7329058.2164 | Less Capital Contributions | -1418544.5315 | -1505655.2306 | -1514387.0478 | -1549137.4666 | -1487915.1043 | -7475639.3808
Less Disposals | -154047 | -247362 | -157887 | -225783 | -250944 | -1036023 | Less Disposals | -157127.94 | -252309.24 | -161044.74 | -230298.66 | -255962.88 | -1056743.46
Non-system assets | 6190902.32 | 3605127.14 | 3321174.98 | 2430378.56 | 2990948.75 | 18538531.75 | Non-system assets | 6314720.3664 | 3677229.6828 | 3387598.4796 | 2478986.1312 | 3050767.725 | 18909302.385
Corporate Services Business Support | 314390.9598 | 1763484.0587 | 2024600.6082 | 553583.4206 | 52703.8242 | 4708762.8714 | Corporate Services Business Support | 320678.779 | 1798753.7399 | 2065092.6204 | 564655.089 | 53757.9007 | 4802938.1289
Capitalised Overheads | 14032100.5743 | 14464329.1512 | 16716522.7584 | 15033295.3189 | 13895309.433 | 74141557.2358 | Capitalised Overheads | 14312742.5858 | 14753615.7343 | 17050853.2136 | 15333961.2252 | 14173215.6216 | 75624388.3806
Total Capital Expenditure | 61145369.2124 | 63985862.1001 | 74444109.4994 | 64293901.7084 | 59415596.0471 | 323284838.5673 | Total Capital Expenditure | 62368276.5967 | 65265579.3421 | 75932991.6894 | 65579779.7425 | 60603907.968 | 329750535.3387
Alternative Control Metering Services | [6 empty] | Alternative Control Metering Services
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Meter Installation | 0 | 0 | 0 | 0 | 0 | 0 | Meter Installation | 0 | 0 | 0 | 0 | 0 | 0
Less Capital Contributions | 0 | 0 | 0 | 0 | 0 | 0 | Less Capital Contributions | 0 | 0 | 0 | 0 | 0 | 0
Meter Replacement | 0 | 0 | 0 | 0 | 0 | 0 | Meter Replacement | 0 | 0 | 0 | 0 | 0 | 0
Total Capital Expenditure | 0 | 0 | 0 | 0 | 0 | 0 | Total Capital Expenditure | 0 | 0 | 0 | 0 | 0 | 0
Alternative Control Quoted Services | [6 empty] | Alternative Control Quoted Services
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Relocations | 2649206.7876 | 2663485.0183 | 2666841.1954 | 2669699.8958 | 2680765.971 | 13329998.8681 | Relocations | 2702190.9234 | 2716754.7187 | 2720178.0193 | 2723093.8937 | 2734381.2904 | 13596598.8455
Less Capital Contributions | -2914127.4664 | -2929833.5201 | -2933525.3149 | -2936669.8854 | -2948842.5681 | -14662998.7549 | Less Capital Contributions | -2972410.0157 | -2988430.1905 | -2992195.8212 | -2995403.2831 | -3007819.4195 | -14956258.73
Replacement | 72659.3572 | 73069.9184 | 73139.0931 | 73219.5757 | 73550.4353 | 365638.3798 | Replacement | 74112.5444 | 74531.3168 | 74601.875 | 74683.9672 | 75021.444 | 372951.1474
Less Capital Contributions | -79925.293 | -80376.9103 | -80453.0024 | -80541.5333 | -80905.4788 | -402202.2177 | Less Capital Contributions | -81523.7988 | -81984.4485 | -82062.0625 | -82152.364 | -82523.5884 | -410246.2621
Total Capital Expenditure | -272186.6145 | -273655.4937 | -273998.0288 | -274291.9472 | -275431.6406 | -1369563.7248 | Total Capital Expenditure | -277630.3468 | -279128.6035 | -279477.9894 | -279777.7861 | -280940.2734 | -1396954.9993
CPI
2%
1.02
Customer Initiated | [6 empty] | Customer Initiated
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Commercial and Industrial Developments | 6430314.6098 | 6925029.2274 | 6861861.9575 | 7133777.4967 | 6623234.511 | 33974217.8024 | Commercial and Industrial Developments | 6558920.902 | 7063529.812 | 6999099.1967 | 7276453.0466 | 6755699.2012 | 34653702.1584
Community and Associated Developments | 4827.7674 | 4857.515 | 4852.9706 | 4858.8798 | 4901.1143 | 24298.2472 | Community and Associated Developments | 4924.3228 | 4954.6653 | 4950.03 | 4956.0574 | 4999.1366 | 24784.2121
New Urban Development | 4378609.8992 | 4612138.6401 | 4771607.7059 | 4776566.5283 | 4794191.3286 | 23333114.1021 | New Urban Development | 4466182.0972 | 4704381.4129 | 4867039.86 | 4872097.8589 | 4890075.1552 | 23799776.3842
Rural Developments | 90915.981 | 91417.1876 | 91561.1501 | 91658.5624 | 91968.9697 | 457521.8509 | Rural Developments | 92734.3006 | 93245.5313 | 93392.3731 | 93491.7337 | 93808.3491 | 466672.2879
Services | 1569463.0877 | 1694248.5659 | 1831360.0595 | 1833216.5164 | 1837382.5961 | 8765670.8256 | Services | 1600852.3494 | 1728133.5372 | 1867987.2607 | 1869880.8468 | 1874130.248 | 8940984.2421
Special Customer Requests | 551151.5424 | 554248.6147 | 554860.1886 | 555466.2697 | 557993.3857 | 2773720.0011 | Special Customer Requests | 562174.5732 | 565333.587 | 565957.3924 | 566575.5951 | 569153.2534 | 2829194.4011
Urban Infill | 2400510.7868 | 2528718.463 | 2615168.8496 | 2617944.7363 | 2629462.7091 | 12791805.5447 | Urban Infill | 2448521.0025 | 2579292.8323 | 2667472.2265 | 2670303.631 | 2682051.9632 | 13047641.6556
Embedded Generation | 417278.8243 | 419426.6604 | 420034.6325 | 420471.1472 | 422022.6215 | 2099233.886 | Embedded Generation | 425624.4008 | 427815.1936 | 428435.3251 | 428880.5702 | 430463.0739 | 2141218.5637
Total Customer Initiated | 15843072.4986 | 16830084.874 | 17151307.5144 | 17433960.1369 | 16961157.2361 | 84219582.26 | Total Customer Initiated | 16159933.9486 | 17166686.5715 | 17494333.6647 | 17782639.3396 | 17300380.3808 | 85903973.9052
Reliability and Quality Improvements | [6 empty] | Reliability and Quality Improvements
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Zone Substation | 0 | 0 | 0 | 0 | 0 | 0 | Zone Substation | 0 | 0 | 0 | 0 | 0 | 0
Secondary Systems | 1216594.227 | 1220370.4372 | 1223055.6617 | 1223089.1523 | 1221121.6438 | 6104231.1219 | Secondary Systems | 1240926.1115 | 1244777.8459 | 1247516.7749 | 1247550.9353 | 1245544.0767 | 6226315.7443
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | Distribution | 0 | 0 | 0 | 0 | 0 | 0
Transmission | 0 | 0 | 0 | 0 | 0 | 0 | Transmission | 0 | 0 | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0 | 0 | 0 | Metering | 0 | 0 | 0 | 0 | 0 | 0
Total Reliability and Quality Improvements | 1216594.227 | 1220370.4372 | 1223055.6617 | 1223089.1523 | 1221121.6438 | 6104231.1219 | Total Reliability and Quality Improvements | 1240926.1115 | 1244777.8459 | 1247516.7749 | 1247550.9353 | 1245544.0767 | 6226315.7443
Demand Side Management | [6 empty] | Demand Side Management
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Zone Substation | 0 | 0 | 0 | 0 | 0 | 0 | Zone Substation | 0 | 0 | 0 | 0 | 0 | 0
Secondary Systems | 0 | 0 | 0 | 0 | 0 | 0 | Secondary Systems | 0 | 0 | 0 | 0 | 0 | 0
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | Distribution | 0 | 0 | 0 | 0 | 0 | 0
Transmission | 0 | 0 | 0 | 0 | 0 | 0 | Transmission | 0 | 0 | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0 | 0 | 0 | Metering | 0 | 0 | 0 | 0 | 0 | 0
Total Reliability and Quality Improvements | 0 | 0 | 0 | 0 | 0 | 0 | Total Reliability and Quality Improvements | 0 | 0 | 0 | 0 | 0 | 0
Augmentation capital expenditure programs | [6 empty] | Augmentation capital expenditure programs
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Zone Substation | 650201.7776 | 0 | 6200033.4155 | 0 | 0 | 6850235.1931 | Zone Substation | 663205.8131 | 0 | 6324034.0838 | 0 | 0 | 6987239.897
Secondary Systems | 1135469.3967 | 1139002.4026 | 1141496.0258 | 1406529.9479 | 1099028.2293 | 5921526.0024 | Secondary Systems | 1158178.7847 | 1161782.4507 | 1164325.9464 | 1434660.5469 | 1121008.7939 | 6039956.5225
Distribution | 7679261.1304 | 12387234.9422 | 2959039.559 | 4163328.409 | 4568655.1612 | 31757519.2019 | Distribution | 7832846.353 | 12634979.6411 | 3018220.3502 | 4246594.9772 | 4660028.2645 | 32392669.5859
Transmission | 1385853.1808 | 0 | 402061.7694 | 0 | 0 | 1787914.9501 | Transmission | 1413570.2444 | 0 | 410103.0047 | 0 | 0 | 1823673.2491
Metering | 0 | 0 | 0 | 0 | 0 | 0 | Metering | 0 | 0 | 0 | 0 | 0 | 0
Total Augmentation capital expenditure | 10850785.4855 | 13526237.3449 | 10702630.7697 | 5569858.357 | 5667683.3905 | 46317195.3476 | Total Augmentation capital expenditure | 11067801.1952 | 13796762.0918 | 10916683.3851 | 5681255.5241 | 5781037.0583 | 47243539.2545
Replacement and renewal capital expenditure programs | [6 empty] | Replacement and renewal capital expenditure programs
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Distribution | 14032348.247 | 14185484.3688 | 12952118.6702 | 13661584.2251 | 16781770.122 | 71613305.6331 | Distribution | 14312995.2119 | 14469194.0562 | 13211161.0436 | 13934815.9096 | 17117405.5244 | 73045571.7458
Zone Substations | 228325.6533 | 604211.286 | 416157.9108 | 463371.015 | 3377600.9884 | 5089666.8536 | Zone Substations | 232892.1664 | 616295.5117 | 424481.069 | 472638.4353 | 3445153.0082 | 5191460.1907
Transmission | 103728.8868 | 105136.2931 | 105400.7755 | 105579.8734 | 106651.9178 | 526497.7466 | Transmission | 105803.4646 | 107239.019 | 107508.791 | 107691.4709 | 108784.9561 | 537027.7016
Secondary Systems | 2640980.1593 | 2466143.595 | 2583653.9514 | 2532773.1309 | 2386315.9238 | 12609866.7604 | Secondary Systems | 2693799.7625 | 2515466.4669 | 2635327.0304 | 2583428.5935 | 2434042.2423 | 12862064.0956
Remote Area Power Supply | 0 | 0 | 0 | 0 | 0 | 0 | Remote Area Power Supply | 0 | 0 | 0 | 0 | 0 | 0
Total Replacement and renewal capital expenditure | 17005382.9465 | 17360975.543 | 16057331.3078 | 16763308.2445 | 22652338.952 | 89839336.9938 | Total Replacement and renewal capital expenditure | 17345490.6054 | 17708195.0538 | 16378477.934 | 17098574.4094 | 23105385.731 | 91636123.7336
Network OT capital expenditure program | [6 empty] | Network OT capital expenditure program
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Network OT systems | 2203809.7507 | 2210650.1982 | 14192541.7408 | 12455124.5339 | 2893803.8955 | 33955930.1191 | Network OT systems | 2247885.9457 | 2254863.2022 | 14476392.5756 | 12704227.0246 | 2951679.9734 | 34635048.7215
Total Network OT capital expenditure | 2203809.7507 | 2210650.1982 | 14192541.7408 | 12455124.5339 | 2893803.8955 | 33955930.1191 | Total Network OT capital expenditure | 2247885.9457 | 2254863.2022 | 14476392.5756 | 12704227.0246 | 2951679.9734 | 34635048.7215
Non network capital expenditure programs | [6 empty] | Non network capital expenditure programs
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Facilities | 2995000 | 510000 | 375000 | 245000 | 230000 | 4355000 | Facilities | 3054900 | 520200 | 382500 | 249900 | 234600 | 4442100
Non System Assets | 500000 | 500000 | 500000 | 500000 | 500000 | 2500000 | Non System Assets | 510000 | 510000 | 510000 | 510000 | 510000 | 2550000
Finance Lease Assets | 2695902.32 | 2595127.14 | 2446174.98 | 1685378.56 | 2260948.75 | 11683531.75 | Finance Lease Assets | 2749820.3664 | 2647029.6828 | 2495098.4796 | 1719086.1312 | 2306167.725 | 11917202.385
Corporate Services Business Support | 314390.9598 | 1763484.0587 | 2024600.6082 | 553583.4206 | 52703.8242 | 4708762.8714 | Corporate Services Business Support | 320678.779 | 1798753.7399 | 2065092.6204 | 564655.089 | 53757.9007 | 4802938.1289
Total Non network capital expenditure | 6505293.2798 | 5368611.1987 | 5345775.5882 | 2983961.9806 | 3043652.5742 | 23247294.6214 | Total Non network capital expenditure | 6635399.1454 | 5475983.4227 | 5452691.1 | 3043641.2202 | 3104525.6257 | 23712240.5139
Customer Initiated Capital Contributions | [6 empty] | Customer Initiated Capital Contributions
Year ending 30 June (Real 2017/18 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total | Year ending 30 June (Real 2018/19 Dollars) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Total
| $’m | $’m | $’m | $’m | $’m | $’m |  | $’m | $’m | $’m | $’m | $’m | $’m
Commercial and Industrial Developments | -2819904.9732 | -3036853.6445 | -3009152.714 | -3128396.6433 | -2904506.7108 | -14898814.6858 | Commercial and Industrial Developments | -2876303.0727 | -3097590.7174 | -3069335.7682 | -3190964.5762 | -2962596.845 | -15196790.9795
Community and Associated Developments | -567.2159 | -570.7109 | -570.177 | -570.8713 | -575.8334 | -2854.8084 | Community and Associated Developments | -578.5602 | -582.1251 | -581.5805 | -582.2887 | -587.3501 | -2911.9046
New Urban Development | -799764.8048 | -842419.4536 | -871546.9049 | -872452.647 | -875671.8639 | -4261855.6742 | New Urban Development | -815760.1009 | -859267.8427 | -888977.843 | -889901.7 | -893185.3012 | -4347092.7877
Rural Developments | -35459.9359 | -35655.4214 | -35711.571 | -35749.5647 | -35870.6328 | -178447.1258 | Rural Developments | -36169.1346 | -36368.5298 | -36425.8025 | -36464.556 | -36588.0455 | -182016.0683
Services | 0 | 0 | 0 | 0 | 0 | 0 | Services | 0 | 0 | 0 | 0 | 0 | 0
Special Customer Requests | -519402.5104 | -522321.1761 | -522897.5204 | -523468.6882 | -525850.2299 | -2613940.1251 | Special Customer Requests | -529790.5606 | -532767.5996 | -533355.4708 | -533938.062 | -536367.2345 | -2666218.9276
Urban Infill | -791793.177 | -834081.6615 | -862596.7703 | -863512.3789 | -867311.5087 | -4219295.4965 | Urban Infill | -807629.0405 | -850763.2948 | -879848.7057 | -880782.6264 | -884657.7389 | -4303681.4064
Embedded Generation | 0 | 0 | 0 | 0 | 0 | 0 | Embedded Generation | 0 | 0 | 0 | 0 | 0 | 0
Total Customer Initiated | -4966892.6171 | -5271902.0681 | -5302475.6576 | -5424150.7934 | -5209786.7796 | -26175207.9158 | Total Customer Initiated | -5066230.4695 | -5377340.1094 | -5408525.1707 | -5532633.8093 | -5313982.5152 | -26698712.0742

## Asset breakup
Expenditure |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Distribution | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Transmission | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24
[7 empty] | Capex | [7 empty] | Capex
Zone Subsations | [6 empty] | Opening Distribution Assets |  |  | 0 | 0 | 0 | 0 | 0 | Opening Distribution Assets |  |  | 0 | 0 | 0 | 0 | 0
| Zone Substation Civils | 529443.896 | 479374.9426 | 3646207.8308 | 367848.9747 | 2675528.4521 | Sub-transmission Overhead |  |  | 0 | 0 | 0 | 0 | 0 | Sub-transmission Overhead |  |  | 1.9513 | 0.25447 | 0.69445 | 0.19882 | 0.29885
| Zone Substation Transformer | 121669.9074 | 91253.4479 | 825059.0013 | 73561.9784 | 448819.4448 | Sub-transmission Underground |  |  | 0 | 0 | 0 | 0 | 0 | Sub-transmission Underground |  |  | 0.11394 | 0 | 1.0865 | 0 | 0
| Zone Substation Switchgear | 96206.1385 | 19632.8099 | 858957.7498 | 15106.7244 | 108762.4251 | Zone Substation |  |  | 0.087598 | 0.063346 | 0.60597 | 0.047371 | 0.32708 | Zone Substation |  |  | 0.94477 | 0.6832 | 6.5356 | 0.51091 | 3.5276
| Zone Substation Electronics/Other | 285048.0683 | 156288.0036 | 1811348.2803 | 101763.1243 | 621598.235 | Distribution Substations |  |  | 11.166 | 11.7939 | 11.6111 | 11.8618 | 11.1321 | Distribution Substations |  |  | 0 | 0 | 0 | 0 | 0
Transmission | Transmission Overhead | 1951270.7528 | 254474.2899 | 694453.5681 | 198824.6063 | 298853.4784 | Distribution Overhead Lines |  |  | 11.7736 | 12.6481 | 10.5953 | 11.0488 | 11.529 | Distribution Overhead Lines |  |  | 0 | 0 | 0 | 0 | 0
| Transmission Underground (Cu.) | 113940.4019 | 0 | 1086484.7244 | 0 | 0 | Distribution Underground Lines |  |  | 25.0667 | 31.0009 | 20.301 | 22.1817 | 26.5033 | Distribution Underground Lines |  |  | 0 | 0 | 0 | 0 | 0
[7 empty] | IT & Communication Systems (Networks) |  |  | 7.5538 | 7.4035 | 20.1029 | 18.5051 | 8.1279 | IT & Communication Systems (Networks) |  |  | 1.6554 | 1.6225 | 4.4056 | 4.0554 | 1.7812
Distribution | [6 empty] | Motor Vehicles |  |  | 2.2113 | 2.1286 | 2.0065 | 1.3824 | 1.8545 | Motor Vehicles |  |  | 0.48461 | 0.46649 | 0.43972 | 0.30296 | 0.40642
| Distribution Substations | 11156406.6647 | 11772140.8841 | 11583218.9166 | 11845152.9693 | 11010733.0917 | Other Non-System Assets (Networks) |  |  | 0.41012 | 0.41012 | 0.41012 | 0.41012 | 0.41012 | Other Non-System Assets (Networks) |  |  | 0.089879 | 0.089879 | 0.089879 | 0.089879 | 0.089879
| Distribution Overhead Lines | 11773648.542 | 12648068.0166 | 10595324.3343 | 11048822.6371 | 11528969.1425 | IT Systems (Corporate) |  |  | 0.20968 | 1.1393 | 1.5585 | 0.36193 | 0.028046 | IT Systems (Corporate) |  |  | 0.045952 | 0.24969 | 0.34155 | 0.079318 | 0.0061464
| Distribution Underground Lines (AI.) | 25066707.4402 | 31000851.0494 | 20301001.7722 | 22181689.3951 | 26503250.6656 | Telecommunications (Corporate) |  |  | 1.7111e-07 | 1.6584e-07 | 1.6867e-07 | 1.7156e-07 | 1.7829e-07 | Telecommunications (Corporate) |  |  | 3.75e-08 | 3.6344e-08 | 3.6963e-08 | 3.7597e-08 | 3.9073e-08
| Relays (Protection & Control) | 9596.8855 | 21747.5829 | 27849.9994 | 16689.8242 | 121344.3609 | Other Non-System Assets (Corporate) |  |  | 0.048198 | 0.30714 | 0.10213 | 0.092142 | 0.015184 | Other Non-System Assets (Corporate) |  |  | 0.010563 | 0.06731 | 0.022382 | 0.020193 | 0.0033276
| Meters | 0 | 0 | 0 | 0 | 0 | Land |  |  | 0 | 0 | 0 | 0 | 0 | Land |  |  | 0 | 0 | 0 | 0 | 0
| Other Non-System Assets (Networks) | 500000 | 500000 | 500000 | 500000 | 500000 | Buildings |  |  | 3.1445 | 0.53545 | 0.39372 | 0.25723 | 0.24148 | Buildings |  |  | 0.68912 | 0.11735 | 0.086283 | 0.056372 | 0.052921
| Motor Vehicles | 2695902.32 | 2595127.14 | 2446174.98 | 1685378.56 | 2260948.75 | Contributions | [7 empty] | Contributions
| IT & Communication Systems (Networks) | 9209206.5765 | 9026016.3196 | 24508483.3701 | 22560575.3005 | 9909155.0375 | Opening Distribution Assets |  |  | 0 | 0 | 0 | 0 | 0 | Opening Distribution Assets |  |  | 0 | 0 | 0 | 0 | 0
| Land | 0 | 0 | 0 | 0 | 0 | Sub-transmission Overhead |  |  | 0 | 0 | 0 | 0 | 0 | Sub-transmission Overhead |  |  | 0.020834 | 0.020951 | 0.020974 | 0.020997 | 0.021093
| Buildings | 3833600 | 652800 | 480000 | 313600 | 294400 | Sub-transmission Underground |  |  | 0 | 0 | 0 | 0 | 0 | Sub-transmission Underground |  |  | 0 | 0 | 0 | 0 | 0
[7 empty] | Zone Substation |  |  | 0.00048674 | 0.00051457 | 0.00052523 | 0.00053111 | 0.00052266 | Zone Substation |  |  | 0.0052497 | 0.0055498 | 0.0056648 | 0.0057282 | 0.0056371
Corporate | [6 empty] | Distribution Substations |  |  | 3.0705 | 3.2768 | 3.2738 | 3.3717 | 3.193 | Distribution Substations |  |  | 0 | 0 | 0 | 0 | 0
| Other Non-System Assets (Corporate) | 58760.1689 | 374450.9717 | 124513.3436 | 112335.2166 | 18511.3601 | Distribution Overhead Lines |  |  | 0.22911 | 0.239 | 0.23889 | 0.2435 | 0.23566 | Distribution Overhead Lines |  |  | 0 | 0 | 0 | 0 | 0
| IT & Communication Systems (Corporate) | 255631.2081 | 1389033.4914 | 1900087.6758 | 441248.6223 | 34192.8988 | Distribution Underground Lines |  |  | 3.0315 | 3.2052 | 3.2473 | 3.3004 | 3.2127 | Distribution Underground Lines |  |  | 0 | 0 | 0 | 0 | 0
| Telecommunication | 0.20861 | 0.20218 | 0.20563 | 0.20916 | 0.21737 | IT & Communication Systems (Networks) |  |  | 0 | 0 | 0 | 0 | 0 | IT & Communication Systems (Networks) |  |  | 0 | 0 | 0 | 0 | 0
[7 empty] | Motor Vehicles |  |  | 0 | 0 | 0 | 0 | 0 | Motor Vehicles |  |  | 0 | 0 | 0 | 0 | 0
Proof |  | 0 | 0 | 0 | 0 | 0 | Other Non-System Assets (Networks) |  |  | 0 | 0 | 0 | 0 | 0 | Other Non-System Assets (Networks) |  |  | 0 | 0 | 0 | 0 | 0
[7 empty] | IT Systems (Corporate) |  |  | 0 | 0 | 0 | 0 | 0 | IT Systems (Corporate) |  |  | 0 | 0 | 0 | 0 | 0
Contribution |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | Telecommunications (Corporate) |  |  | 0 | 0 | 0 | 0 | 0 | Telecommunications (Corporate) |  |  | 0 | 0 | 0 | 0 | 0
[7 empty] | Other Non-System Assets (Corporate) |  |  | 0 | 0 | 0 | 0 | 0 | Other Non-System Assets (Corporate) |  |  | 0 | 0 | 0 | 0 | 0
Zone Subsations | [6 empty] | Land |  |  | 0 | 0 | 0 | 0 | 0 | Land |  |  | 0 | 0 | 0 | 0 | 0
| Zone Substation Civils | 107.6934 | 108.357 | 108.2556 | 108.3874 | 109.3295 | Buildings |  |  | 0 | 0 | 0 | 0 | 0 | Buildings |  |  | 0 | 0 | 0 | 0 | 0
| Zone Substation Transformer | 4024.6754 | 4234.2524 | 4374.9904 | 4379.6521 | 4399.4124 | Disposals | [7 empty] | Disposals
| Zone Substation Switchgear | 25.1564 | 25.3114 | 25.2877 | 25.3185 | 25.5386 | Opening Distribution Assets |  |  | 0 | 0 | 0 | 0 | 0 | Opening Distribution Assets |  |  | 0 | 0 | 0 | 0 | 0
| Zone Substation Electronics/Other | 1578.906 | 1696.4961 | 1681.4732 | 1745.9869 | 1625.4633 | Sub-transmission Overhead |  |  | 0 | 0 | 0 | 0 | 0 | Sub-transmission Overhead |  |  | 0 | 0 | 0 | 0 | 0
Subtransmission | Transmission Overhead | 20834.151 | 20951.2238 | 20974.342 | 20997.2526 | 21092.7804 | Sub-transmission Underground |  |  | 0 | 0 | 0 | 0 | 0 | Sub-transmission Underground |  |  | 0 | 0 | 0 | 0 | 0
| Transmission Underground (Cu.) | 0 | 0 | 0 | 0 | 0 | Zone Substation |  |  | 0 | 0 | 0 | 0 | 0 | Zone Substation |  |  | 0 | 0 | 0 | 0 | 0
[7 empty] | Distribution Substations |  |  | 0 | 0 | 0 | 0 | 0 | Distribution Substations |  |  | 0 | 0 | 0 | 0 | 0
Distribution | [6 empty] | Distribution Overhead Lines |  |  | 0 | 0 | 0 | 0 | 0 | Distribution Overhead Lines |  |  | 0 | 0 | 0 | 0 | 0
| Distribution Substations | 3070478.7457 | 3276822.0288 | 3273772.0851 | 3371719.7605 | 3192953.9204 | Distribution Underground Lines |  |  | 0 | 0 | 0 | 0 | 0 | Distribution Underground Lines |  |  | 0 | 0 | 0 | 0 | 0
| Distribution Overhead Lines | 229105.3493 | 239003.0034 | 238893.518 | 243500.138 | 235658.5884 | IT & Communication Systems (Networks) |  |  | 0 | 0 | 0 | 0 | 0 | IT & Communication Systems (Networks) |  |  | 0 | 0 | 0 | 0 | 0
| Distribution Underground Lines (AI.) | 3031462.0922 | 3205188.158 | 3247333.079 | 3300430.7018 | 3212656.1765 | Motor Vehicles |  |  | 0.12563 | 0.20173 | 0.12876 | 0.18413 | 0.20465 | Motor Vehicles |  |  | 0.028419 | 0.045634 | 0.029127 | 0.041653 | 0.046295
| Relays (Protection & Control) | 5.7806 | 5.8162 | 5.8108 | 5.8179 | 5.8684 | Other Non-System Assets (Networks) |  |  | 0 | 0 | 0 | 0 | 0 | Other Non-System Assets (Networks) |  |  | 0 | 0 | 0 | 0 | 0
| Meters | 0 | 0 | 0 | 0 | 0 | IT Systems (Corporate) |  |  | 0 | 0 | 0 | 0 | 0 | IT Systems (Corporate) |  |  | 0 | 0 | 0 | 0 | 0
| Other Non-System Assets (Networks) | 0 | 0 | 0 | 0 | 0 | Telecommunications (Corporate) |  |  | 0 | 0 | 0 | 0 | 0 | Telecommunications (Corporate) |  |  | 0 | 0 | 0 | 0 | 0
| Motor Vehicles | 0 | 0 | 0 | 0 | 0 | Other Non-System Assets (Corporate) |  |  | 0 | 0 | 0 | 0 | 0 | Other Non-System Assets (Corporate) |  |  | 0 | 0 | 0 | 0 | 0
| IT & Communication Systems (Networks) | 0 | 0 | 0 | 0 | 0 | Land |  |  | 0 | 0 | 0 | 0 | 0 | Land |  |  | 0 | 0 | 0 | 0 | 0
| Land | 0 | 0 | 0 | 0 | 0 | Buildings |  |  | 0 | 0 | 0 | 0 | 0 | Buildings |  |  | 0 | 0 | 0 | 0 | 0
| Buildings | 0 | 0 | 0 | 0 | 0
Corporate
| Other Non-System Assets (Corporate) | 0 | 0 | 0 | 0 | 0
| IT & Communication Systems (Corporate) | 0 | 0 | 0 | 0 | 0
| Telecommunication | 0 | 0 | 0 | 0 | 0
Proof |  | 0 | 0 | 0 | 0 | 0
Net |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24
[7 empty] | Zone substation allocation | 2017/18: 2017/18; 2018/19: 2018/19
Zone Subsations | [6 empty] | % Distribution | 2017/18: 8.485%
| Zone Substation Civils | 529336.2026 | 479266.5856 | 3646099.5752 | 367740.5873 | 2675419.1226 | % Transmission | 2017/18: 91.51%
| Zone Substation Transformer | 117645.2321 | 87019.1955 | 820684.0109 | 69182.3263 | 444420.0324
| Zone Substation Switchgear | 96180.9822 | 19607.4985 | 858932.4621 | 15081.4059 | 108736.8865 | Direct asset allocation
| Zone Substation Electronics/Other | 283469.1623 | 154591.5075 | 1809666.8071 | 100017.1374 | 619972.7717 | Distribution | 2017/18: 81.55%; 2018/19: 82.02%
Subtransmission | Transmission Overhead | 1930436.6018 | 233523.0661 | 673479.2261 | 177827.3537 | 277760.698 | Transmission | 2017/18: 18.45%; 2018/19: 17.98%
| Transmission Underground (Cu.) | 113940.4019 | 0 | 1086484.7244 | 0 | 0
Distribution
| Distribution Substations | 8085927.919 | 8495318.8553 | 8309446.8315 | 8473433.2088 | 7817779.1713
| Distribution Overhead Lines | 11544543.1927 | 12409065.0131 | 10356430.8163 | 10805322.4991 | 11293310.5541
| Distribution Underground Lines (AI.) | 22035245.3481 | 27795662.8914 | 17053668.6932 | 18881258.6933 | 23290594.4891
| Relays (Protection & Control) | 9591.1049 | 21741.7667 | 27844.1887 | 16684.0063 | 121338.4924
| Meters | 0 | 0 | 0 | 0 | 0
| Other Non-System Assets (Networks) | 500000 | 500000 | 500000 | 500000 | 500000
| Motor Vehicles | 2695902.32 | 2595127.14 | 2446174.98 | 1685378.56 | 2260948.75
| IT & Communication Systems (Networks) | 9209206.5765 | 9026016.3196 | 24508483.3701 | 22560575.3005 | 9909155.0375
| Land | 0 | 0 | 0 | 0 | 0
| Buildings | 3833600 | 652800 | 480000 | 313600 | 294400
Corporate
| Other Non-System Assets (Corporate) | 58760.1689 | 374450.9717 | 124513.3436 | 112335.2166 | 18511.3601
| IT & Communication Systems (Corporate) | 255631.2081 | 1389033.4914 | 1900087.6758 | 441248.6223 | 34192.8988
| Telecommunication | 0.20861 | 0.20218 | 0.20563 | 0.20916 | 0.21737
Disposals |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24
Zone Subsations
| Zone Substation Civils | 0 | 0 | 0 | 0 | 0
| Zone Substation Transformer | 0 | 0 | 0 | 0 | 0
| Zone Substation Switchgear | 0 | 0 | 0 | 0 | 0
| Zone Substation Electronics/Other | 0 | 0 | 0 | 0 | 0
Subtransmission | Transmission Overhead | 0 | 0 | 0 | 0 | 0
| Transmission Underground (Cu.) | 0 | 0 | 0 | 0 | 0
Distribution
| Distribution Substations | 0 | 0 | 0 | 0 | 0
| Distribution Overhead Lines | 0 | 0 | 0 | 0 | 0
| Distribution Underground Lines (AI.) | 0 | 0 | 0 | 0 | 0
| Relays (Protection & Control) | 0 | 0 | 0 | 0 | 0
| Meters | 0 | 0 | 0 | 0 | 0
| Other Non-System Assets (Networks) | 0 | 0 | 0 | 0 | 0
| Motor Vehicles | 154047 | 247362 | 157887 | 225783 | 250944
| IT & Communication Systems (Networks) | 0 | 0 | 0 | 0 | 0
| Land | 0 | 0 | 0 | 0 | 0
| Buildings | 0 | 0 | 0 | 0 | 0
Corporate
| Other Non-System Assets (Corporate) | 0 | 0 | 0 | 0 | 0
| IT & Communication Systems (Corporate) | 0 | 0 | 0 | 0 | 0
| Telecommunication | 0 | 0 | 0 | 0 | 0