## Run Extract (hidden)
[12 empty] | 1 | 2 | 3 | 4 | 5 | 6
[12 empty] | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
[10 empty] | Address | Value Metric | 1: Option 1: Complaint driven corrective works of poor power quality (Steady Progress); 2: Option 2: Complaint driven corrective works of poor power quality (Step Change); 3: Option 3: Complaint driven corrective works of poor power quality (Reduced Scope)
[11 empty] | Direct Financial Risk | 1: 251013.2737; 2: 251013.2737; 3: 215444.139
[11 empty] | Safety & People - Worker | 1: 6956.0946; 2: 6956.0946; 3: 5970.4007
Notes | [10 empty] | Environment & Community - Fire Risk | 1: 708334.9477; 2: 708334.9477; 3: 607962.3227
Need to open the .xlsm Investment Summary report from Copperleaf in the Trusted folder Save in the preferred location as an .xlsx Need to test environment - other and when two of the same value models have been selected with a different name | [10 empty] | Safety & People - Public | 1: 14345408.592; 2: 14345408.592; 3: 7562089.2786
[11 empty] | Terminal Value | 1: 892295.8098; 2: 1072241.6014; 3: 954608.1939
[11 empty] | Total Investment Cost | 1: 2849602.4044; 2: 3424270.5268; 3: 2602167.3115
Options
| Option | 2025 | 2026 | 2027 | 2028 | 2029
| Baseline | 1197793.1 | 1197793.1 | 1197793.1 | 1197793.1 | 1197793.1
| Option 1: Complaint driven corrective works of poor power quality (Steady Progress) | 990394.411 | 782995.722 | 575597.033 | 368198.344 | 160799.655
| Option 2: Complaint driven corrective works of poor power quality (Step Change) | 990394.411 | 782995.722 | 575597.033 | 368198.344 | 160799.655
| Option 3: Complaint driven corrective works of poor power quality (Reduced Scope) | 1131578.7555 | 1065364.411 | 999150.0665 | 932935.722 | 866721.3775
Option Breakdown | [7 empty] | Folder and File Paths
| Option 1 |  |  |  |  | Greater 0 | (Multiple Items)
| Recommended Option - Value | [6 empty] | This File Path | \\TNAD.tasnetworks.com.au\user$\user_folders\browningr\My Documents\Trusted\InvestmentTemplate.xlsm
| Value Function Measure | Value | Value in % | Greater 0 |  | Row Labels | Sum of Value in % | Folder Path | N:\NWITSolutions\Oracle\AIP Queries\Copperleaf\Investment Summary Reports\
Option 1 | Direct Financial Risk | 251.0133 | 1.32% | 1 | K20 | Direct Financial Risk | 1.32% | File Name | InvestmentSummary_R24_D_PQ_PQTXV_Power_Quality_LV_Tformers.xlsx
Option 1 | Safety & People - Worker | 6.9561 | 0.04% | 1 | K21 | Environment & Community - Fire Risk | 3.72% | File Path | N:\NWITSolutions\Oracle\AIP Queries\Copperleaf\Investment Summary Reports\InvestmentSummary_R24_D_PQ_PQTXV_Power_Quality_LV_Tformers.xlsx
Option 1 | Environment & Community - Fire Risk | 708.3349 | 3.72% | 1 | K22 | Safety & People - Public | 75.29%
Option 1 | Safety & People - Public | 14345.4086 | 75.29% | 1 | K23 | Safety & People - Worker | 0.04%
Option 1 | Terminal Value | 892.2958 | 4.68% | 1 | K24 | Terminal Value | 4.68%
Option 1 | Total Investment Cost | -2849.6024 | 14.96% | 1 | K25 | Total Investment Cost | 14.96%
Option 1 |  |  |  | 0 | K26
Option 1 |  |  |  | 0 | K27
Option 1 |  |  |  | 0 | K28
Option 1 |  |  |  | 0 | K29
Option 1 |  |  |  | 0 | K30 |  |  | 1 | InvestmentSummary_R24_D_ND_PRHVR_Augment_HV_Fdr_TRIP.xlsx
Option 1 |  |  |  | 0 | K31 |  |  | 2 | InvestmentSummary_R24_D_OH_REPOL_Basic Fleet Pole Replacement.xlsx
Option 1 |  |  |  | 0 | K32 |  |  | 3 | InvestmentSummary_R24_T_ND_AUGSB_W Coast Reliability Improvement.xlsx
Option 1 |  |  |  | 0 | K33 |  |  | 4 | InvestmentSummary_R24_T_ND_AUGSB_Upper Derwent 110 kV Losses.xlsx
| Total | 13354.4063 | 100% |  |  |  |  | 5 | InvestmentSummary_R24_D_OH_SIWES_Bird_Mitigation.xlsx
[8 empty] | 6 | InvestmentSummary_R24_D_SB_REGMS_GMS_Replacement of GMS.xlsx
[8 empty] | 7 | InvestmentSummary_R24_D_OH_REPOL_Complex Design.xlsx
Start | Option 1 |  |  |  |  | Greater 0 | 1 | 8 | InvestmentSummary_R24_D_PQ_PQTXV_Power_Quality_LV_Tformers.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 9 | InvestmentSummary_R24_D_ND_PQLVV_Aug_HV_LV_Conductor.xlsx
Option 1 | Direct Financial Risk | 251.0133 | 1.32% | 1 | K20 | Row Labels | Sum of Value in % | 10 | InvestmentSummary_R24_D_CA_SOLCP_Crossover_Extension_OH.xlsx
Option 1 | Safety & People - Worker | 6.9561 | 0.04% | 1 | K21 | Direct Financial Risk | 1.32% | 11 | InvestmentSummary_R24_D_CI_SOIRR_Irrigation_Supply.xlsx
Option 1 | Environment & Community - Fire Risk | 708.3349 | 3.72% | 1 | K22 | Environment & Community - Fire Risk | 3.72% | 12 | InvestmentSummary_R24_D_AMIPD_AM Improvement Program.xlsx
Option 1 | Safety & People - Public | 14345.4086 | 75.29% | 1 | K23 | Safety & People - Public | 75.29% | 13 | InvestmentSummary_R24_D_CI_SOPOR_Permanent_Residence_OH.xlsx
Option 1 | Terminal Value | 892.2958 | 4.68% | 1 | K24 | Safety & People - Worker | 0.04% | 14 | InvestmentSummary_R24_D_CI_SUPOR_Permanent_Residence_UG.xlsx
Option 1 | Total Investment Cost | -2849.6024 | 14.96% | 1 | K25 | Terminal Value | 4.68% | 15 | InvestmentSummary_R24_D_CI_SOGSI_General_Supply_OH.xlsx
Option 1 |  |  |  | 0 | K26 | Total Investment Cost | 14.96% | 16 | InvestmentSummary_R24_D_CI_SUGSI_General_Supply_UG.xlsx
Option 1 |  |  |  | 0 | K27 |  |  | 17 | InvestmentSummary_R24_D_CI_SUSBD_Subdivision_UG.xlsx
Option 1 |  |  |  | 0 | K28 |  |  | 18 | InvestmentSummary_R24_D_CI_SOSDI_Subdivision_OH.xlsx
Option 1 |  |  |  | 0 | K29 |  |  | 19 | InvestmentSummary_R24_D_CI_SUSUB_Augment_Dist_Substations.xlsx
Option 1 |  |  |  | 0 | K30 |  |  | 20 | InvestmentSummary_R24_T_ND_LAEMP_SELA.xlsx
Option 1 |  |  |  | 0 | K31 |  |  | 21 | InvestmentSummary_R24_D_CA_DESDB_Prelim_Drive_by_Design.xlsx
Option 1 |  |  |  | 0 | K32 |  |  | 22 | InvestmentSummary_R24_D_CI_SUMPR_Major_Commercial.xlsx
Option 1 |  |  |  | 0 | K33 |  |  | 23 | InvestmentSummary_R24_D_CI_EASEN_Easements_Non_Major_Comm.xlsx
| Total | 13354.4063 | 100% |  |  |  |  | 24
25
26
27
| Option 2 |  |  |  |  | Greater 0 | 1 | 28
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 29
Option 2 | Direct Financial Risk | 251.0133 | 1.27% | 1 | K20 | Row Labels | Sum of Value in %
Option 2 | Safety & People - Worker | 6.9561 | 0.04% | 1 | K21 | Direct Financial Risk | 1.27%
Option 2 | Environment & Community - Fire Risk | 708.3349 | 3.58% | 1 | K22 | Environment & Community - Fire Risk | 3.58%
Option 2 | Safety & People - Public | 14345.4086 | 72.42% | 1 | K23 | Safety & People - Public | 72.42%
Option 2 | Terminal Value | 1072.2416 | 5.41% | 1 | K24 | Safety & People - Worker | 0.04%
Option 2 | Total Investment Cost | -3424.2705 | 17.29% | 1 | K25 | Terminal Value | 5.41%
Option 2 |  |  |  | 0 | K26 | Total Investment Cost | 17.29%
Option 2 |  |  |  | 0 | K27
Option 2 |  |  |  | 0 | K28
Option 2 |  |  |  | 0 | K29
Option 2 |  |  |  | 0 | K30
Option 2 |  |  |  | 0 | K31
Option 2 |  |  |  | 0 | K32
Option 2 |  |  |  | 0 | K33
| Total | 12959.684 | 100%
| Option 3 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 3 | Direct Financial Risk | 215.4441 | 1.8% | 1 | K20 | Row Labels | Sum of Value in %
Option 3 | Safety & People - Worker | 5.9704 | 0.05% | 1 | K21 | Direct Financial Risk | 1.8%
Option 3 | Environment & Community - Fire Risk | 607.9623 | 5.09% | 1 | K22 | Environment & Community - Fire Risk | 5.09%
Option 3 | Safety & People - Public | 7562.0893 | 63.29% | 1 | K23 | Safety & People - Public | 63.29%
Option 3 | Terminal Value | 954.6082 | 7.99% | 1 | K24 | Safety & People - Worker | 0.05%
Option 3 | Total Investment Cost | -2602.1673 | 21.78% | 1 | K25 | Terminal Value | 7.99%
Option 3 |  |  |  | 0 | K26 | Total Investment Cost | 21.78%
Option 3 |  |  |  | 0 | K27
Option 3 |  |  |  | 0 | K28
Option 3 |  |  |  | 0 | K29
Option 3 |  |  |  | 0 | K30
Option 3 |  |  |  | 0 | K31
Option 3 |  |  |  | 0 | K32
Option 3 |  |  |  | 0 | K33
| Total | 6743.907 | 100%
| Option 4 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 4 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 4 |  |  |  | 0 | K21 |  | 0%
Option 4 |  |  |  | 0 | K22
Option 4 |  |  |  | 0 | K23
Option 4 |  |  |  | 0 | K24
Option 4 |  |  |  | 0 | K25
Option 4 |  |  |  | 0 | K26
Option 4 |  |  |  | 0 | K27
Option 4 |  |  |  | 0 | K28
Option 4 |  |  |  | 0 | K29
Option 4 |  |  |  | 0 | K30
Option 4 |  |  |  | 0 | K31
Option 4 |  |  |  | 0 | K32
Option 4 |  |  |  | 0 | K33
| Total | 0 | 0%
| Option 5 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 5 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 5 |  |  |  | 0 | K21 |  | 0%
Option 5 |  |  |  | 0 | K22
Option 5 |  |  |  | 0 | K23
Option 5 |  |  |  | 0 | K24
Option 5 |  |  |  | 0 | K25
Option 5 |  |  |  | 0 | K26
Option 5 |  |  |  | 0 | K27
Option 5 |  |  |  | 0 | K28
Option 5 |  |  |  | 0 | K29
Option 5 |  |  |  | 0 | K30
Option 5 |  |  |  | 0 | K31
Option 5 |  |  |  | 0 | K32
Option 5 |  |  |  | 0 | K33
| Total | 0 | 0%
| Option 6 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 6 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 6 |  |  |  | 0 | K21 |  | 0%
Option 6 |  |  |  | 0 | K22
Option 6 |  |  |  | 0 | K23
Option 6 |  |  |  | 0 | K24
Option 6 |  |  |  | 0 | K25
Option 6 |  |  |  | 0 | K26
Option 6 |  |  |  | 0 | K27
Option 6 |  |  |  | 0 | K28
Option 6 |  |  |  | 0 | K29
Option 6 |  |  |  | 0 | K30
Option 6 |  |  |  | 0 | K31
Option 6 |  |  |  | 0 | K32
Option 6 |  |  |  | 0 | K33
| Total | 0 | 0%

## Summary
Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | NPV Period | Base Fiscal Year | Currency Scale
|  |  |  | PRJ000138 |  | 2025 |  | 25 | FY23 | Literal
|  |  |  | Investment Name | [5 empty] | Scenario
|  |  |  | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers | [5 empty] | Approved
Value Function |  | TasNetworks Value Function |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Investment Description
Description |  | This investment aims to improve the quality of supply to customers through the reactive capital investment on the HV and/or LV distribution network through the augmentation of LV distribution transformers. | [9 empty] | TRUE
Functional Area |  | PQTXV |  |  | Department |  |  | System Planning
Works Initiator |  |  |  |  | Portfolio |  |  | Dx - Augmentation
Investment Category |  | Standard Control - Reinforcement / Augmentation |  |  | Needs Item Reference
Investment Type |  | Network Project |  |  | Document No. |  |  | R0002292392
Investment Stage |  | Gate 2 – Investment Evaluation Summary |  |  | Project Zone Location |  |  | URL Link
PPM ID |  |  |  |  | Regulatory Test Required |  |  | No
Investment Summary
Problem Definition |  | Ongoing PQ issues are a persistent feature of distribution networks. Complex and unique localised causes, combined with relatively minor consequences, result in diffused and widespread network performance issues that are expensive to locate and correct proactively. While not as immediate as loss-of-supply issues, an inability to correct poor PQ exposes an immediate business reputation risk in TasNetworks’ perceived willingness and competence in resolving customer issues. Also, TasNetworks is legally required to maintain PQ standards by the Tasmanian Electricity Code (TEC), National Electricity Rules (NER), with thresholds set by Australian Standards . Based on previous iterations of this program, it is anticipated that systematic network problems can be expected in the next 5-10 years due to the increasing uptake of distributed generation and other emerging technologies. Though this is already a significant issue in other distribution networks, the full extent and magnitude of the impact in Tasmania is currently unknown. Ongoing studies are being carried out by TasNetworks’ with other utilities and industry partners to evaluate the impact of Distributed Energy Resources (DER) on the distribution network. This program is critical to managing ongoing PQ risks, while providing the business sufficient opportunity to understand and adapt to the conditions imposed by high PV generation. | [9 empty] | TRUE
Recommendation |  | The preferred option is an open CAPEX allowance based on historical trends, to correct network PQ issues as they are identified. Based on the conservative forecasts used, TasNetworks has identified Option 1 as the preferred option for this investment. PQ fluctuations are a persistent issue within distribution networks. Unlike other more straight forward issues (e.g. asset failure) it is non-trivial to determine when corrective action is cost-effective. Works are thus primarily expected to follow from customer complaints and PQ logging investigations. The primary objectives of network performance, regulatory requirements and provision of customer service are best weighed in terms of risk mitigation. It is recommended that the preferred option is approved and progressed as it best satisfies the customer and business needs. The preferred option does not contribute to long run marginal cost (LRMC). | [9 empty] | TRUE
Alternative Spend Profile
Name |  | Status | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV | Alternative Start Date
Option 1: Complaint driven corrective works of poor power quality (Steady Progress) |  | Recommended | 644630 | 644630 | 644630 | 644630 | 644630 | 3223150 | 3223150 | 13354406.31 | 4547400%
Option 2: Complaint driven corrective works of poor power quality (Step Change) |  | Candidate | 774630 | 774630 | 774630 | 774630 | 774630 | 3873150 | 3873150 | 12959683.98 | 4547400%
Option 3: Complaint driven corrective works of poor power quality (Reduced Scope) |  | Candidate | 301002 | 301002 | 301002 | 301002 | 301002 | 1505010 | 3157840 | 6743907.02 | 4547400%
0
0
0
Leader Endorsement
Name |  |  | Governance |  | Signature |  |  | Comments |  |  | Date
|  |  | Submission | [7 empty] | 4486100%
|  |  | Endorsement | [7 empty] | 4486100%
|  |  | Approval | [7 empty] | 4486100%
Investment Attachments
Date | Attachment Name |  | Description
4485800% | Estimate and Analysis - R0002291361 |  | Working spreadsheet for this investment
4485800% | TQR Option 1 - R0002028737 |  | Total Quantified Risk (TQR) analysis spreadsheet for Option 1 of this investment
4485800% | TQR Option 2 - R0002109591 |  | Total Quantified Risk (TQR) analysis spreadsheet for Option 2 of this investment
4485800% | TQR Option 3 - R0002291505 |  | Total Quantified Risk (TQR) analysis spreadsheet for Option 3 of this investment

## Investment Overview
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000138 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-27
Functional Area | PQTXV |  | Department |  | System Planning
Works Initiator |  |  | Portfolio |  | Dx - Augmentation
Investment Category | Standard Control - Reinforcement / Augmentation |  | Needs Item Reference
Investment Type | Network Project |  | Document No. |  | R0002292392
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location |  | URL Link
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | Power quality (PQ) describes the output of a power supply with respect to electrical tolerances (as opposed to power availability or reliability). Poor power quality may result in obvious equipment malfunction, such as, flickering lights or slow acting appliances, non-fault tripping of protection devices or more subtle equipment degradation resulting in premature appliance failure. Unlike more straight forward network issues, PQ disturbances are frequently intermittent and generally more difficult to quantify and effectively address; local correction options may resolve the immediate complaint but shift the issue to resurface later in time and/or elsewhere in the network. Local PQ issues may be symptoms of wider, systematic problems in the network area. From the perspective of a general customer, a PQ issue may not be perceived as any different from overall loss of supply. Following the identification of a local power quality issue, a number of corrective network options are available, that range from simple tweaks through to network augmentation in more complex circumstances. This program finances the full range of network corrections undertaken in response to PQ issues, primarily identified through customer complaints. It is a continuation of activities from the previous regulatory period; it represents the base cost of maintaining network performance and regulatory power quality requirements at their historic levels. It is anticipated that over the next 5-10 years, the network will see a rise in recurring PQ problems associated with the increasing penetration of distributed photovoltaic (PV) generation and the rollout of advanced meters. Approximately 36% of TasNetworks distribution transformers have embedded generation connected which equates to 13% of the connected customer population - this is expected to steadily increase over the coming years. While this program will be able to control these problems locally in the short term, it is not intended to manage the potential widespread and accumulating PQ risks. Proactive investment is required at the HV and LV network level to ensure customers are experiencing a safe and reliable supply of electricity. |  |  |  |  | TRUE
| Problem Definition |  | Ongoing PQ issues are a persistent feature of distribution networks. Complex and unique localised causes, combined with relatively minor consequences, result in diffused and widespread network performance issues that are expensive to locate and correct proactively. While not as immediate as loss-of-supply issues, an inability to correct poor PQ exposes an immediate business reputation risk in TasNetworks’ perceived willingness and competence in resolving customer issues. Also, TasNetworks is legally required to maintain PQ standards by the Tasmanian Electricity Code (TEC), National Electricity Rules (NER), with thresholds set by Australian Standards . Based on previous iterations of this program, it is anticipated that systematic network problems can be expected in the next 5-10 years due to the increasing uptake of distributed generation and other emerging technologies. Though this is already a significant issue in other distribution networks, the full extent and magnitude of the impact in Tasmania is currently unknown. Ongoing studies are being carried out by TasNetworks’ with other utilities and industry partners to evaluate the impact of Distributed Energy Resources (DER) on the distribution network. This program is critical to managing ongoing PQ risks, while providing the business sufficient opportunity to understand and adapt to the conditions imposed by high PV generation. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | At TasNetworks we value our customers and the relationships we have with them. TasNetworks continues to undertake customer engagement as part of business as usual and through the upcoming revenue proposal. Consumers have identified what’s most important to customers is a reliable and affordable electricity network, in addition to: - Investments that enable a renewable energy future through the use of innovative technologies; and - A more resilient network to combat climate change. This program specifically addresses the requirements of consumers in the areas of affordability, efficient and reliable services - specifically through maintenance of acceptable power quality. |  |  |  |  | TRUE

## Objectives and Analysis
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000138 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-27
Functional Area | PQTXV |  | Department |  | System Planning
Works Initiator |  |  | Portfolio |  | Dx - Augmentation
Investment Category | Standard Control - Reinforcement / Augmentation |  | Needs Item Reference
Investment Type | Network Project |  | Document No. |  | R0002292392
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location |  | URL Link
PPM ID |  |  | Regulatory Test Required |  | No
Objectives and Analysis
03. Business Performance Objectives | Safety and Wellbeing |  | Significant and reportable incidents will be reduced with the mitigation of poor quality of electrical supply to the customers' premises. |  |  |  |  | TRUE
| Our Customers |  | Customer net promoter score - Improved quality of supply to improve customer experience. |  |  |  |  | FALSE
| Our People | [6 empty] | FALSE
| Our Business - Sustained Cost Management |  | Targeted approach to network augmentation to ensure capital and operational costs are kept to a minimum. |  |  |  |  | FALSE
| Our Business - Network Service | [6 empty] | FALSE
04. Business Risks | Death or Injury (Employee) | [6 empty] | FALSE
| Death or Injury (Public) |  | Serious injury to members of the public may occur due to poor power quality. |  |  |  |  | FALSE
| Sustainable and Predictable Pricing | [6 empty] | FALSE
| Widespread Power Disruption | [6 empty] | FALSE
| Bushfire Start | [6 empty] | FALSE
| Loss of Major Industrial | [6 empty] | FALSE
| Customer Focus |  | Poor power quality impacts the customer’s experience and trust in the service provider. Timely handling of customer complaints and appropriate augmentation will instil trust in the customer and to align with the key business risk. |  |  |  |  | FALSE
| Business Continuity Management | [6 empty] | FALSE
| Cyber Security | [6 empty] | FALSE
| Private Assets | [6 empty] | FALSE
| Energy Policy and Regulation |  | TasNetworks are obligated to provide adequate power supply to customers under the TEC and NER. Targeted augmentation to affected connections will ensure our legislative duties are met.
Project Marinus (D&A)
| Tasmanian Power System Complexity |  | The increase in rooftop PV in Tasmania will affect the quality of supply to residential customers and ultimately the performance of the network.
| Emerging Complexity of the NEM | [6 empty] | FALSE
05. Strategic Objectives | Strategic Objectives |  | The following sections summarise the strategic objectives that will be addressed by this project. The strategic documents referenced for this investment are: #1 - Future Distribution System Vision #2 - National Electricity Rules |  |  |  |  | FALSE
| Strategic Document #1 |  | Transparently communicate our long term strategies for DER & related services - Acting on customer complaints in order to improve issues as a result of poor power quality and transparently communicating to the customer on the resolution through targeted augmentation. Best-practice information & demonstrations to help Customers deploy optimal DER - Maintaining adequate network supply with increased deployment of DER. |  |  |  |  | FALSE
| Strategic Document #2 |  | 6.5.7(a) Comply with all applicable regulatory obligations or requirements associated with the provision of standard control services - Investing in the distribution network to ensure operation of the network is efficient and effective when restoring supply to ultimately provide the end-user with adequate network reliability. |  |  |  |  | FALSE
| Strategic Document #3 | [6 empty] | FALSE
| Strategic Document #4 | [6 empty] | FALSE
| Strategic Document #5 | [6 empty] | FALSE
06. Project Objectives | Project Objectives |  | This program finances the full range of network corrections undertaken in response to PQ issues, primarily identified through customer complaints. It represents the base cost of maintaining network performance and regulatory power quality requirements at their historic levels. The program is designed to align with the following specific business requirements: - Maintaining network performance, both in controlling local issues and managing power quality overall; - Compliance with the NER, TEC and Australian standards; and - Provision of good customer service (i.e. perceived as well as actual capability to respond to complex issues). The basis of this program will include the following capital work based on the outcome of a customer complaint or reactive replacement of transformer units based on capacity constraints: - Transformer tap changes; - New transformer installations; - Existing transformer upgrades; or - Phase balance or load shifting. |  |  |  |  | FALSE
07. Options Analysis | Benchmarking |  | TasNetworks’ with other utilities and industry partners continually evaluate the impact of Distributed Energy Resources (DER) on the distribution network. An interesting report from Energy Networks Australia show the impacts of connected DER and the likely threshold of rooftop solar adoption (i.e. 40%) where reverse power flow is likely to occur at the substation level. Although for the majority of Tasmania the threshold is unlikely to be hit until 2040 and 2050, there are some areas around the populated centres of Hobart and Launceston where that threshold is likely to be hit earlier. This report emphasizes the requirement for PQ investment and monitoring to ensure customers are supplied through a reliable distribution network. https://www.energynetworks.com.au/resources/reports/electricity-network-transformation-roadmap-final-report/ Ergon Energy produced a business case submission on Power Quality back in 2019 which goes into extensive detail surrounding the issue of managing and monitoring power quality on distribution networks. Although TasNetworks DER penetration is minuscule compared to Queensland and other states, it is crucial that TasNetworks are prepared for the anticipated growth of DER, and has the ability to identify and invest in PQ issues when they arise. Whether this be through the implementation of new technologies that have been tried and tested or having the visibility of the LV network to support network modelling to enable critical areas of the network to be targeted for PQ improvement. https://www.aer.gov.au/system/files/Ergon%20Energy%20-%20Revised%20Proposal%20-%206.037%20-%20Business%20Case%20Power%20Quality%20-%20December%202019.pdf |  |  |  |  | TRUE
| Expert Findings |  | TasNetworks is in the midst of an advanced meter rollout which is expected to be complete by 2026. This meter data will give TasNetworks the visibility at an LV network level where PQ issues can be proactively resolved. Based on a small sample set in 2020 of a bit over 8,000 advanced meters, the data returned a favourable result with 98% returning a compliant voltage from the sample population. Only 154 meters displayed non-compliant voltage, with 26 requiring further capital investment to mitigate PQ issues. Although these results show a positive outcome for customers in terms of quality of supply, this sample set was less than 3% of the connected customers on the distribution network in Tasmania - it is anticipated that a full population of advanced meters will uncover further areas for investment. This reactive program is built primarily on historic learnings from previous iterations of this program, but with the added support from meter data and the PV growth expected over the next 5-10 years on the network, TasNetworks will be moving to a more combined (reactive and proactive) PQ improvement approach in the next regulatory period. |  |  |  |  | FALSE
08. Investment Timing | Investment Timing |  | Due to customer complaints being the driver, timing of investing is unclear and likely to be inconsistent. Based on the NPV, the investment should commence at the start of the next regulatory period. |  |  |  |  | TRUE
09. Expected Outcomes and Benefits | Expected Outcomes and Benefits |  | This program covers a number of expected individual network projects of varying scale, based on historic spending requirements. The full design, consultant review, construction and close out works required to address the specific PQ issue are included in the budget. The majority of jobs (>80%) are not expected to require design or engineering input. In general, projects deemed appropriate for this program are not asset defined, but address a single specific, immediate PQ concern and typically do not extend beyond an LV circuit. Examples include (in rough order of increasing complexity): - LV transformer re-tapping - LV circuit phase rebalancing or load shifting - LV transformer upgrade - LV circuit split though the introduction of a new transformer Work may extend beyond the LV however, when multiple complaints are found to be resolvable through a single upstream correction, for example by HV conductor upgrades. This program will only include augmentation at the LV transformer level and will not extend to the HV/LV conductor sections. |  |  |  |  | TRUE
10. Assumptions | Assumptions |  | As this investment is customer driven, the forecast profile is based on historical expenditure with manipulating factors applied based on expected future disruptors. The following assumptions were made in the development of the expenditure profile for each option under this investment: - A baseline forecast was developed based on historical expenditure and volumes under the relevant PQ functional areas; - Solar PV and EV growth forecast from AEMO were applied to the baseline forecast based on the respective Steady Progress and Step Change AEMO forecast; and - Other applied factors influencing the baseline forecast were customer growth numbers and the additional phase balance work expected on the HV and/or LV network. With the rollout of smart meters to be concluded in 2026, it is expected that TasNetworks will have more data available to proactively resolve PQ issues on the HV and LV network – this was not considered as a manipulator in the expenditure forecast for this regulatory period, but is expected to influence the expenditure in the regulatory period beginning in 2029. |  |  |  |  | TRUE
11. Regulatory Considerations | Regulatory Investment Test |  | Not applicable based on the capital expenditure submitted for this investment.
| Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
12. Recommendation | Recommendation |  | The preferred option is an open CAPEX allowance based on historical trends, to correct network PQ issues as they are identified. Based on the conservative forecasts used, TasNetworks has identified Option 1 as the preferred option for this investment. PQ fluctuations are a persistent issue within distribution networks. Unlike other more straight forward issues (e.g. asset failure) it is non-trivial to determine when corrective action is cost-effective. Works are thus primarily expected to follow from customer complaints and PQ logging investigations. The primary objectives of network performance, regulatory requirements and provision of customer service are best weighed in terms of risk mitigation. It is recommended that the preferred option is approved and progressed as it best satisfies the customer and business needs. The preferred option does not contribute to long run marginal cost (LRMC). |  |  |  |  | TRUE

## Economic Analysis
alternative
| Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[5 empty] | PRJ000138 |  | 2025 |  | 25 | FY23 | Literal
[5 empty] | Investment Name | [5 empty] | Scenario
[5 empty] | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers | [5 empty] | Approved
autofit | Value Function |  |  | TasNetworks Value Function | Version |  | 0.1 |  | Date |  | 2022-10-27
Economic Analysis
| Parameter |  |  |  | Value | Unit | Source of Values
75679 | NPV Period |  |  |  | 25 | Years | TasNetworks requirement
autofit | First Fiscal Year of Forecast |  |  |  | FY23 | - | TasNetworks requirement
| Weighted Average Cost of Capital (WACC) |  |  |  | 2.82 | % | 2019-24 Revenue determination and ISP 2022 draft data
| Voluntary load shedding assumed? |  |  |  | No | - | N/A
| Reduction in system losses considered? |  |  |  | No | - | N/A
| Value of Customer Reliability applied |  |  | Very large business customer - Services | 10.93 | $/kWh | AER - Values of Customer Reliability - Annual adjustment summary - December 2021
|  |  |  | Residential | 17.08 | $/kWh
|  |  |  | Very large business customer - Metals | 20.6 | $/kWh
|  |  |  | Very large business customer - Transmission | 27.43 | $/kWh
|  |  |  | Very large business customer - Mines | 36.47 | $/kWh
|  |  |  | Business customer - Agricultural | 39.28 | $/kWh
|  |  |  | Business customer - Commercial | 46.18 | $/kWh
|  |  |  | Very large business customer - Distribution | 58.8 | $/kWh
|  |  |  | Business customer - Industrial | 66.16 | $/kWh
autofit |  |  |  | Very large business customer - Industrial | 122.39 | $/kWh
Sensitivity to Project Timing
|  | 1 | Navigate to Copperleaf Portfolio and search for your Investment
|  | 2 | Navigate to the Value Comparison Page for your Investment through the breadcrumb menu
|  | 3 | Once on the Value Comparison Page, select "Value by Start Date" in the drop-down menu in the top-left corner of the page
|  | 4 | This screen will show the value change over time for each option in your investment
|  | 5 | With the snipping tool on your PC, take a screenshot of the chart and copy + paste it in this section of the report
Options Considered
| Options Summary |  |  |  | R24 Expenditure ($M) | NPV ($M) | Preferred Option | Reason for selection/rejection
| Option 1: Complaint driven corrective works of poor power quality (Steady Progress) |  |  |  | 3.2231 | 13.3544 | Yes | Addresses current risks, supports TasNetworks’ customer perception and service objectives, and positions the business to deal with future network related risks.
| Option 2: Complaint driven corrective works of poor power quality (Step Change) |  |  |  | 3.8731 | 12.9597 | No | Addresses current risks, supports TasNetworks’ customer perception and service objectives, and positions the business to deal with a step change in future network related risks at a higher CAPEX cost.
| Option 3: Complaint driven corrective works of poor power quality (Reduced Scope) |  |  |  | 1.505 | 6.7439 | No | Business constrained option to meet CAPEX limits – does not adequately address forecasts of PQ risks on the network.
0
0
0
NPV Components

## Needs Assessment (hidden)
Needs Assessment Form |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000138 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-27
Functional Area | PQTXV |  | Department |  | System Planning
Works Initiator |  |  | Portfolio |  | Dx - Augmentation
Investment Category | Standard Control - Reinforcement / Augmentation |  | Needs Item Reference
Investment Type | Network Project |  | Document No. |  | R0002292392
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | Power quality (PQ) describes the output of a power supply with respect to electrical tolerances (as opposed to power availability or reliability). Poor power quality may result in obvious equipment malfunction, such as, flickering lights or slow acting appliances, non-fault tripping of protection devices or more subtle equipment degradation resulting in premature appliance failure. Unlike more straight forward network issues, PQ disturbances are frequently intermittent and generally more difficult to quantify and effectively address; local correction options may resolve the immediate complaint but shift the issue to resurface later in time and/or elsewhere in the network. Local PQ issues may be symptoms of wider, systematic problems in the network area. From the perspective of a general customer, a PQ issue may not be perceived as any different from overall loss of supply. Following the identification of a local power quality issue, a number of corrective network options are available, that range from simple tweaks through to network augmentation in more complex circumstances. This program finances the full range of network corrections undertaken in response to PQ issues, primarily identified through customer complaints. It is a continuation of activities from the previous regulatory period; it represents the base cost of maintaining network performance and regulatory power quality requirements at their historic levels. It is anticipated that over the next 5-10 years, the network will see a rise in recurring PQ problems associated with the increasing penetration of distributed photovoltaic (PV) generation and the rollout of advanced meters. Approximately 36% of TasNetworks distribution transformers have embedded generation connected which equates to 13% of the connected customer population - this is expected to steadily increase over the coming years. While this program will be able to control these problems locally in the short term, it is not intended to manage the potential widespread and accumulating PQ risks. Proactive investment is required at the HV and LV network level to ensure customers are experiencing a safe and reliable supply of electricity. |  |  |  |  | TRUE
| Problem Definition |  | Ongoing PQ issues are a persistent feature of distribution networks. Complex and unique localised causes, combined with relatively minor consequences, result in diffused and widespread network performance issues that are expensive to locate and correct proactively. While not as immediate as loss-of-supply issues, an inability to correct poor PQ exposes an immediate business reputation risk in TasNetworks’ perceived willingness and competence in resolving customer issues. Also, TasNetworks is legally required to maintain PQ standards by the Tasmanian Electricity Code (TEC), National Electricity Rules (NER), with thresholds set by Australian Standards . Based on previous iterations of this program, it is anticipated that systematic network problems can be expected in the next 5-10 years due to the increasing uptake of distributed generation and other emerging technologies. Though this is already a significant issue in other distribution networks, the full extent and magnitude of the impact in Tasmania is currently unknown. Ongoing studies are being carried out by TasNetworks’ with other utilities and industry partners to evaluate the impact of Distributed Energy Resources (DER) on the distribution network. This program is critical to managing ongoing PQ risks, while providing the business sufficient opportunity to understand and adapt to the conditions imposed by high PV generation. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | At TasNetworks we value our customers and the relationships we have with them. TasNetworks continues to undertake customer engagement as part of business as usual and through the upcoming revenue proposal. Consumers have identified what’s most important to customers is a reliable and affordable electricity network, in addition to: - Investments that enable a renewable energy future through the use of innovative technologies; and - A more resilient network to combat climate change. This program specifically addresses the requirements of consumers in the areas of affordability, efficient and reliable services - specifically through maintenance of acceptable power quality. |  |  |  |  | TRUE
03. Business Objectives | Business Objectives
04. Project Objectives | Project Objectives |  | This program finances the full range of network corrections undertaken in response to PQ issues, primarily identified through customer complaints. It represents the base cost of maintaining network performance and regulatory power quality requirements at their historic levels. The program is designed to align with the following specific business requirements: - Maintaining network performance, both in controlling local issues and managing power quality overall; - Compliance with the NER, TEC and Australian standards; and - Provision of good customer service (i.e. perceived as well as actual capability to respond to complex issues). The basis of this program will include the following capital work based on the outcome of a customer complaint or reactive replacement of transformer units based on capacity constraints: - Transformer tap changes; - New transformer installations; - Existing transformer upgrades; or - Phase balance or load shifting. |  |  |  |  | FALSE
05. Risk Objective | Risk if not progressed | [6 empty] | TRUE
06. Investment Timing | Investment Timing |  | Due to customer complaints being the driver, timing of investing is unclear and likely to be inconsistent. Based on the NPV, the investment should commence at the start of the next regulatory period. |  |  |  |  | TRUE
07. Business Consulatation | Business Consulatation | [6 empty] | TRUE

## Option 1
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000138 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name |  | Option 1: Complaint driven corrective works of poor power quality (Steady Progress)
autofit | Description |  | Corrective PQ capital works are initiated primarily in response to investigated customer complaints. PQ issues are corrected with priority aligned to customer experience, such that unnecessary works and reputational risks are minimised. Works must be completed in a timely manner to ensure prompt resolution of customer issues. Subject to a Customer fulfilling its obligations under the Code, the tariff or an individual contract, and to clause 8.6.4(b), the Distribution Network Service Provider must maintain a voltage level at the point of supply to the Customer's electrical installation at one of the specified standard nominal voltages . PV forecasts are based on the “Steady Progress” scenario in the AEMO forecast.
autofit | Alternative Status |  | Recommended
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Addresses current risks, supports TasNetworks’ customer perception and service objectives, and positions the business to deal with future network related risks.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 1: Complaint driven corrective works of poor power quality (Steady Progress) |  | Capex |  |  | 644630 | 644630 | 644630 | 644630 | 644630 | 3223150 | 3223150 | 13354406.31
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Direct Financial Risk |  |  | 251.0133 | 1.32%
[9 empty] | Safety & People - Worker |  |  | 6.9561 | 0.04%
[9 empty] | Environment & Community - Fire Risk |  |  | 708.3349 | 3.72%
[9 empty] | Safety & People - Public |  |  | 14345.4086 | 75.29%
[9 empty] | Terminal Value |  |  | 892.2958 | 4.68%
[9 empty] | Total Investment Cost |  |  | -2849.6024 | 14.96%
[9 empty] | Total |  |  | 13354.4063
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | DFC - InvestigationCost | Direct Financial Risk |  | Baseline |  | 0 | Dollar | 17250 | 17250 | 17250 | 17250 | 17250
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | DFC - InvestigationCost | Direct Financial Risk |  | Outcome | 2024 | 180.8772 | Dollar | 14800 | 12350 | 9900 | 7450 | 5000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | DFC - Litigation Cost | Direct Financial Risk |  | Baseline |  | 0 | Dollar | 5000 | 5000 | 5000 | 5000 | 5000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | DFC - Litigation Cost | Direct Financial Risk |  | Outcome | 2024 | 70.1361 | Dollar | 4050 | 3100 | 2150 | 1200 | 250
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | Environment & Community - Fire | Environment & Community - Fire Risk |  | Baseline |  | 0 | Dollar | 50497.2 | 50497.2 | 50497.2 | 50497.2 | 50497.2
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | Environment & Community - Fire | Environment & Community - Fire Risk |  | Outcome | 2024 | 708.3349 | Dollar | 40902.732 | 31308.264 | 21713.796 | 12119.328 | 2524.86
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 644630 | 644630 | 644630 | 644630 | 644630
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -2849.6024 | Dollar | 644630 | 644630 | 644630 | 644630 | 644630
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | Safety & People - Public | Safety & People - Public |  | Baseline |  | 0 | Dollar | 1124550 | 1124550 | 1124550 | 1124550 | 1124550
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | Safety & People - Public | Safety & People - Public |  | Outcome | 2024 | 14345.4086 | Dollar | 930240 | 735930 | 541620 | 347310 | 153000
| Safety & People - Worker | Safety & People - Worker |  | Baseline |  | 0 | Dollar | 495.9 | 495.9 | 495.9 | 495.9 | 495.9
| Safety & People - Worker | Safety & People - Worker |  | Outcome | 2024 | 6.9561 | Dollar | 401.679 | 307.458 | 213.237 | 119.016 | 24.795
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 1197793.1 | 1197793.1 | 1197793.1 | 1197793.1 | 1197793.1
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 990394.411 | 782995.722 | 575597.033 | 368198.344 | 160799.655
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 2
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000138 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name |  | Option 2: Complaint driven corrective works of poor power quality (Step Change)
autofit | Description |  | Same technical details as Option 1 with an increase in capital expenditure based on the assumption of a step change in PQ requirements based on increased forecasts. This option considers an increased forecast (i.e. Step Change) and uptake of DER which increases the capital requirement to mitigating PQ issues on the distribution network.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Addresses current risks, supports TasNetworks’ customer perception and service objectives, and positions the business to deal with a step change in future network related risks at a higher CAPEX cost.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 2: Complaint driven corrective works of poor power quality (Step Change) |  | Capex |  |  | 774630 | 774630 | 774630 | 774630 | 774630 | 3873150 | 3873150 | 12959683.98
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Direct Financial Risk |  |  | 251.0133 | 1.27%
[9 empty] | Safety & People - Worker |  |  | 6.9561 | 0.04%
[9 empty] | Environment & Community - Fire Risk |  |  | 708.3349 | 3.58%
[9 empty] | Safety & People - Public |  |  | 14345.4086 | 72.42%
[9 empty] | Terminal Value |  |  | 1072.2416 | 5.41%
[9 empty] | Total Investment Cost |  |  | -3424.2705 | 17.29%
[9 empty] | Total |  |  | 12959.684
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | DFC - InvestigationCost | Direct Financial Risk |  | Baseline |  | 0 | Dollar | 17250 | 17250 | 17250 | 17250 | 17250
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | DFC - InvestigationCost | Direct Financial Risk |  | Outcome | 2024 | 180.8772 | Dollar | 14800 | 12350 | 9900 | 7450 | 5000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | DFC - Litigation Cost | Direct Financial Risk |  | Baseline |  | 0 | Dollar | 5000 | 5000 | 5000 | 5000 | 5000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | DFC - Litigation Cost | Direct Financial Risk |  | Outcome | 2024 | 70.1361 | Dollar | 4050 | 3100 | 2150 | 1200 | 250
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | Environment & Community - Fire | Environment & Community - Fire Risk |  | Baseline |  | 0 | Dollar | 50497.2 | 50497.2 | 50497.2 | 50497.2 | 50497.2
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | Environment & Community - Fire | Environment & Community - Fire Risk |  | Outcome | 2024 | 708.3349 | Dollar | 40902.732 | 31308.264 | 21713.796 | 12119.328 | 2524.86
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 774630 | 774630 | 774630 | 774630 | 774630
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -3424.2705 | Dollar | 774630 | 774630 | 774630 | 774630 | 774630
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | Safety & People - Public | Safety & People - Public |  | Baseline |  | 0 | Dollar | 1124550 | 1124550 | 1124550 | 1124550 | 1124550
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | Safety & People - Public | Safety & People - Public |  | Outcome | 2024 | 14345.4086 | Dollar | 930240 | 735930 | 541620 | 347310 | 153000
| Safety & People - Worker | Safety & People - Worker |  | Baseline |  | 0 | Dollar | 495.9 | 495.9 | 495.9 | 495.9 | 495.9
| Safety & People - Worker | Safety & People - Worker |  | Outcome | 2024 | 6.9561 | Dollar | 401.679 | 307.458 | 213.237 | 119.016 | 24.795
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 1197793.1 | 1197793.1 | 1197793.1 | 1197793.1 | 1197793.1
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 990394.411 | 782995.722 | 575597.033 | 368198.344 | 160799.655
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 3
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000138 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name |  | Option 3: Complaint driven corrective works of poor power quality (Reduced Scope)
autofit | Description |  | Same technical approach as the previous options however this option has a reduced scope driven by business CAPEX constraints. This option infers the forecast from the 2018 expenditure profile which does not meet the current risk requirements for this investment.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Business constrained option to meet CAPEX limits – does not adequately address forecasts of PQ risks on the network.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 3: Complaint driven corrective works of poor power quality (Reduced Scope) |  | Capex |  |  | 301002 | 301002 | 301002 | 301002 | 301002 | 1505010 | 3157840 | 6743907.02
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Direct Financial Risk |  |  | 215.4441 | 1.8%
[9 empty] | Safety & People - Worker |  |  | 5.9704 | 0.05%
[9 empty] | Environment & Community - Fire Risk |  |  | 607.9623 | 5.09%
[9 empty] | Safety & People - Public |  |  | 7562.0893 | 63.29%
[9 empty] | Terminal Value |  |  | 954.6082 | 7.99%
[9 empty] | Total Investment Cost |  |  | -2602.1673 | 21.78%
[9 empty] | Total |  |  | 6743.907
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | DFC - InvestigationCost | Direct Financial Risk |  | Baseline |  | 0 | Dollar | 17250 | 17250 | 17250 | 17250 | 17250
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | DFC - InvestigationCost | Direct Financial Risk |  | Outcome | 2024 | 155.2465 | Dollar | 16025 | 14800 | 13575 | 12350 | 11125
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | DFC - Litigation Cost | Direct Financial Risk |  | Baseline |  | 0 | Dollar | 5000 | 5000 | 5000 | 5000 | 5000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | DFC - Litigation Cost | Direct Financial Risk |  | Outcome | 2024 | 60.1976 | Dollar | 4525 | 4050 | 3575 | 3100 | 2625
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | Environment & Community - Fire | Environment & Community - Fire Risk |  | Baseline |  | 0 | Dollar | 50497.2 | 50497.2 | 50497.2 | 50497.2 | 50497.2
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | Environment & Community - Fire | Environment & Community - Fire Risk |  | Outcome | 2024 | 607.9623 | Dollar | 45699.966 | 40902.732 | 36105.498 | 31308.264 | 26511.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 301002 | 301002 | 301002 | 301002 | 301002
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -2602.1673 | Dollar | 301002 | 301002 | 301002 | 301002 | 301002
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | Safety & People - Public | Safety & People - Public |  | Baseline |  | 0 | Dollar | 1124550 | 1124550 | 1124550 | 1124550 | 1124550
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | Safety & People - Public | Safety & People - Public |  | Outcome | 2024 | 7562.0893 | Dollar | 1064880 | 1005210 | 945540 | 885870 | 826200
| Safety & People - Worker | Safety & People - Worker |  | Baseline |  | 0 | Dollar | 495.9 | 495.9 | 495.9 | 495.9 | 495.9
| Safety & People - Worker | Safety & People - Worker |  | Outcome | 2024 | 5.9704 | Dollar | 448.7895 | 401.679 | 354.5685 | 307.458 | 260.3475
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 1197793.1 | 1197793.1 | 1197793.1 | 1197793.1 | 1197793.1
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 1131578.7555 | 1065364.411 | 999150.0665 | 932935.722 | 866721.3775
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 4 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000138 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 5 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000138 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 6 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000138 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_PQ_PQTXV_Power_Quality_LV_Tformers | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## TextFormatting (hidden)
Index | 8
Column Width | 238
Font | Calibri
Font Size | 11
Font Colour
Text | Sheet | Group | Field | Row Height | Row Number
This investment aims to improve the quality of supply to customers through the reactive capital investment on the HV and/or LV distribution network through the augmentation of LV distribution transformers. | Investment Summary | Header | Description | 30 | 9
Power quality (PQ) describes the output of a power supply with respect to electrical tolerances (as opposed to power availability or reliability). Poor power quality may result in obvious equipment malfunction, such as, flickering lights or slow acting appliances, non-fault tripping of protection devices or more subtle equipment degradation resulting in premature appliance failure. Unlike more straight forward network issues, PQ disturbances are frequently intermittent and generally more difficult to quantify and effectively address; local correction options may resolve the immediate complaint but shift the issue to resurface later in time and/or elsewhere in the network. Local PQ issues may be symptoms of wider, systematic problems in the network area. From the perspective of a general customer, a PQ issue may not be perceived as any different from overall loss of supply. Following the identification of a local power quality issue, a number of corrective network options are available, that range from simple tweaks through to network augmentation in more complex circumstances. This program finances the full range of network corrections undertaken in response to PQ issues, primarily identified through customer complaints. It is a continuation of activities from the previous regulatory period; it represents the base cost of maintaining network performance and regulatory power quality requirements at their historic levels. It is anticipated that over the next 5-10 years, the network will see a rise in recurring PQ problems associated with the increasing penetration of distributed photovoltaic (PV) generation and the rollout of advanced meters. Approximately 36% of TasNetworks distribution transformers have embedded generation connected which equates to 13% of the connected customer population - this is expected to steadily increase over the coming years. While this program will be able to control these problems locally in the short term, it is not intended to manage the potential widespread and accumulating PQ risks. Proactive investment is required at the HV and LV network level to ensure customers are experiencing a safe and reliable supply of electricity. | Investment Summary | 0.1 Overview | Background | 315 | 16
Ongoing PQ issues are a persistent feature of distribution networks. Complex and unique localised causes, combined with relatively minor consequences, result in diffused and widespread network performance issues that are expensive to locate and correct proactively. While not as immediate as loss-of-supply issues, an inability to correct poor PQ exposes an immediate business reputation risk in TasNetworks’ perceived willingness and competence in resolving customer issues. Also, TasNetworks is legally required to maintain PQ standards by the Tasmanian Electricity Code (TEC), National Electricity Rules (NER), with thresholds set by Australian Standards . Based on previous iterations of this program, it is anticipated that systematic network problems can be expected in the next 5-10 years due to the increasing uptake of distributed generation and other emerging technologies. Though this is already a significant issue in other distribution networks, the full extent and magnitude of the impact in Tasmania is currently unknown. Ongoing studies are being carried out by TasNetworks’ with other utilities and industry partners to evaluate the impact of Distributed Energy Resources (DER) on the distribution network. This program is critical to managing ongoing PQ risks, while providing the business sufficient opportunity to understand and adapt to the conditions imposed by high PV generation. | Investment Summary | 0.1 Overview | Problem Definition | 210 | 17
At TasNetworks we value our customers and the relationships we have with them. TasNetworks continues to undertake customer engagement as part of business as usual and through the upcoming revenue proposal. Consumers have identified what’s most important to customers is a reliable and affordable electricity network, in addition to: - Investments that enable a renewable energy future through the use of innovative technologies; and - A more resilient network to combat climate change. This program specifically addresses the requirements of consumers in the areas of affordability, efficient and reliable services - specifically through maintenance of acceptable power quality. | Investment Summary | 02. Customer Needs and Impact | Customer Needs and impact | 135 | 18
Significant and reportable incidents will be reduced with the mitigation of poor quality of electrical supply to the customers' premises. | Objectives and Analysis | 03. Business Performance Objectives | Safety and Wellbeing | 30 | 17
Customer net promoter score - Improved quality of supply to improve customer experience. | Objectives and Analysis | 03. Business Performance Objectives | Our Customers | 15 | 18
| Objectives and Analysis | 03. Business Performance Objectives | Our People | 15 | 19
Targeted approach to network augmentation to ensure capital and operational costs are kept to a minimum. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Sustained Cost Management | 15 | 20
| Objectives and Analysis | 03. Business Performance Objectives | Our Business - Network Service | 15 | 21
| Objectives and Analysis | 04. Business Risks | Death or Injury (Employee) | 15 | 23
Serious injury to members of the public may occur due to poor power quality. | Objectives and Analysis | 04. Business Risks | Death or Injury (Public) | 15 | 24
| Objectives and Analysis | 04. Business Risks | Sustainable and Predictable Pricing | 15 | 25
| Objectives and Analysis | 04. Business Risks | Widespread Power Disruption | 15 | 26
| Objectives and Analysis | 04. Business Risks | Bushfire Start | 15 | 27
| Objectives and Analysis | 04. Business Risks | Loss of Major Industrial | 15 | 28
Poor power quality impacts the customer’s experience and trust in the service provider. Timely handling of customer complaints and appropriate augmentation will instil trust in the customer and to align with the key business risk. | Objectives and Analysis | 04. Business Risks | Customer Focus | 30 | 29
| Objectives and Analysis | 04. Business Risks | Business Continuity Management | 15 | 30
| Objectives and Analysis | 04. Business Risks | Cyber Security | 15 | 31
| Objectives and Analysis | 04. Business Risks | Private Assets | 15 | 32
TasNetworks are obligated to provide adequate power supply to customers under the TEC and NER. Targeted augmentation to affected connections will ensure our legislative duties are met. | Objectives and Analysis | 04. Business Risks | Energy Policy and Regulation | 30 | 33
| Objectives and Analysis | 04. Business Risks | Project Marinus (D&A) | 15 | 34
The increase in rooftop PV in Tasmania will affect the quality of supply to residential customers and ultimately the performance of the network. | Objectives and Analysis | 04. Business Risks | Tasmanian Power System Complexity | 30 | 35
| Objectives and Analysis | 04. Business Risks | Emerging Complexity of the NEM | 15 | 36
The following sections summarise the strategic objectives that will be addressed by this project. The strategic documents referenced for this investment are: #1 - Future Distribution System Vision #2 - National Electricity Rules | Objectives and Analysis | 05. Strategic Objectives | Strategic Objectives | 60 | 38
Transparently communicate our long term strategies for DER & related services - Acting on customer complaints in order to improve issues as a result of poor power quality and transparently communicating to the customer on the resolution through targeted augmentation. Best-practice information & demonstrations to help Customers deploy optimal DER - Maintaining adequate network supply with increased deployment of DER. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #1 | 90 | 39
6.5.7(a) Comply with all applicable regulatory obligations or requirements associated with the provision of standard control services - Investing in the distribution network to ensure operation of the network is efficient and effective when restoring supply to ultimately provide the end-user with adequate network reliability. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #2 | 45 | 40
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #3 | 15 | 41
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #4 | 15 | 42
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #5 | 15 | 43
This program finances the full range of network corrections undertaken in response to PQ issues, primarily identified through customer complaints. It represents the base cost of maintaining network performance and regulatory power quality requirements at their historic levels. The program is designed to align with the following specific business requirements: - Maintaining network performance, both in controlling local issues and managing power quality overall; - Compliance with the NER, TEC and Australian standards; and - Provision of good customer service (i.e. perceived as well as actual capability to respond to complex issues). The basis of this program will include the following capital work based on the outcome of a customer complaint or reactive replacement of transformer units based on capacity constraints: - Transformer tap changes; - New transformer installations; - Existing transformer upgrades; or - Phase balance or load shifting. | Objectives and Analysis | 06. Project Objectives | Project Objectives | 210 | 44
TasNetworks’ with other utilities and industry partners continually evaluate the impact of Distributed Energy Resources (DER) on the distribution network. An interesting report from Energy Networks Australia show the impacts of connected DER and the likely threshold of rooftop solar adoption (i.e. 40%) where reverse power flow is likely to occur at the substation level. Although for the majority of Tasmania the threshold is unlikely to be hit until 2040 and 2050, there are some areas around the populated centres of Hobart and Launceston where that threshold is likely to be hit earlier. This report emphasizes the requirement for PQ investment and monitoring to ensure customers are supplied through a reliable distribution network. https://www.energynetworks.com.au/resources/reports/electricity-network-transformation-roadmap-final-report/ Ergon Energy produced a business case submission on Power Quality back in 2019 which goes into extensive detail surrounding the issue of managing and monitoring power quality on distribution networks. Although TasNetworks DER penetration is minuscule compared to Queensland and other states, it is crucial that TasNetworks are prepared for the anticipated growth of DER, and has the ability to identify and invest in PQ issues when they arise. Whether this be through the implementation of new technologies that have been tried and tested or having the visibility of the LV network to support network modelling to enable critical areas of the network to be targeted for PQ improvement. https://www.aer.gov.au/system/files/Ergon%20Energy%20-%20Revised%20Proposal%20-%206.037%20-%20Business%20Case%20Power%20Quality%20-%20December%202019.pdf | Objectives and Analysis | 07. Options Analysis | Benchmarking | 255 | 45
TasNetworks is in the midst of an advanced meter rollout which is expected to be complete by 2026. This meter data will give TasNetworks the visibility at an LV network level where PQ issues can be proactively resolved. Based on a small sample set in 2020 of a bit over 8,000 advanced meters, the data returned a favourable result with 98% returning a compliant voltage from the sample population. Only 154 meters displayed non-compliant voltage, with 26 requiring further capital investment to mitigate PQ issues. Although these results show a positive outcome for customers in terms of quality of supply, this sample set was less than 3% of the connected customers on the distribution network in Tasmania - it is anticipated that a full population of advanced meters will uncover further areas for investment. This reactive program is built primarily on historic learnings from previous iterations of this program, but with the added support from meter data and the PV growth expected over the next 5-10 years on the network, TasNetworks will be moving to a more combined (reactive and proactive) PQ improvement approach in the next regulatory period. | Objectives and Analysis | 07. Options Analysis | Expert Findings | 150 | 46
Due to customer complaints being the driver, timing of investing is unclear and likely to be inconsistent. Based on the NPV, the investment should commence at the start of the next regulatory period. | Objectives and Analysis | 08. Investment Timing | Investment Timing | 30 | 47
This program covers a number of expected individual network projects of varying scale, based on historic spending requirements. The full design, consultant review, construction and close out works required to address the specific PQ issue are included in the budget. The majority of jobs (>80%) are not expected to require design or engineering input. In general, projects deemed appropriate for this program are not asset defined, but address a single specific, immediate PQ concern and typically do not extend beyond an LV circuit. Examples include (in rough order of increasing complexity): - LV transformer re-tapping - LV circuit phase rebalancing or load shifting - LV transformer upgrade - LV circuit split though the introduction of a new transformer Work may extend beyond the LV however, when multiple complaints are found to be resolvable through a single upstream correction, for example by HV conductor upgrades. This program will only include augmentation at the LV transformer level and will not extend to the HV/LV conductor sections. | Objectives and Analysis | 09. Expected Outcomes and Benefits | Expected Outcomes and Benefits | 210 | 48
As this investment is customer driven, the forecast profile is based on historical expenditure with manipulating factors applied based on expected future disruptors. The following assumptions were made in the development of the expenditure profile for each option under this investment: - A baseline forecast was developed based on historical expenditure and volumes under the relevant PQ functional areas; - Solar PV and EV growth forecast from AEMO were applied to the baseline forecast based on the respective Steady Progress and Step Change AEMO forecast; and - Other applied factors influencing the baseline forecast were customer growth numbers and the additional phase balance work expected on the HV and/or LV network. With the rollout of smart meters to be concluded in 2026, it is expected that TasNetworks will have more data available to proactively resolve PQ issues on the HV and LV network – this was not considered as a manipulator in the expenditure forecast for this regulatory period, but is expected to influence the expenditure in the regulatory period beginning in 2029. | Objectives and Analysis | 10. Assumptions | Assumptions | 165 | 49
Not applicable based on the capital expenditure submitted for this investment. | Objectives and Analysis | 11. Regulatory Considerations | Regulatory Investment Test | 15 | 50
No | Objectives and Analysis | 11. Regulatory Considerations | Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 51
Yes | Objectives and Analysis | 11. Regulatory Considerations | Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 52
No | Objectives and Analysis | 11. Regulatory Considerations | Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 53
No | Objectives and Analysis | 11. Regulatory Considerations | Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 54
No | Objectives and Analysis | 11. Regulatory Considerations | Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 55
The preferred option is an open CAPEX allowance based on historical trends, to correct network PQ issues as they are identified. Based on the conservative forecasts used, TasNetworks has identified Option 1 as the preferred option for this investment. PQ fluctuations are a persistent issue within distribution networks. Unlike other more straight forward issues (e.g. asset failure) it is non-trivial to determine when corrective action is cost-effective. Works are thus primarily expected to follow from customer complaints and PQ logging investigations. The prescribed standards have never been achieved network-wide, as strict adherence would require prohibitive expenditure, with disproportionate return in supply quality as perceived by customers. The primary objectives of network performance, regulatory requirements and provision of customer service are thus best weighed in terms of risk mitigation. It is recommended that the preferred option is approved and progressed as it best satisfies the customer and business needs. The preferred option does not contribute to long run marginal cost (LRMC). | Objectives and Analysis | 12. Recommendation | Recommendation | 165 | 56
Corrective PQ capital works are initiated primarily in response to investigated customer complaints. PQ issues are corrected with priority aligned to customer experience, such that unnecessary works and reputational risks are minimised. Works must be completed in a timely manner to ensure prompt resolution of customer issues. Subject to a Customer fulfilling its obligations under the Code, the tariff or an individual contract, and to clause 8.6.4(b), the Distribution Network Service Provider must maintain a voltage level at the point of supply to the Customer's electrical installation at one of the specified standard nominal voltages . PV forecasts are based on the “Steady Progress” scenario in the AEMO forecast. | Option 1 | Description |  | 45
Addresses current risks, supports TasNetworks’ customer perception and service objectives, and positions the business to deal with future network related risks. | Option 1 | Reason for selection/rejection |  | 15
Same technical details as Option 1 with an increase in capital expenditure based on the assumption of a step change in PQ requirements based on increased forecasts. This option considers an increased forecast (i.e. Step Change) and uptake of DER which increases the capital requirement to mitigating PQ issues on the distribution network. | Option 2 | Description |  | 30
Addresses current risks, supports TasNetworks’ customer perception and service objectives, and positions the business to deal with a step change in future network related risks at a higher CAPEX cost. | Option 2 | Reason for selection/rejection |  | 15
Same technical approach as the previous options however this option has a reduced scope driven by business CAPEX constraints. This option infers the forecast from the 2018 expenditure profile which does not meet the current risk requirements for this investment. | Option 3 | Description |  | 15
Business constrained option to meet CAPEX limits – does not adequately address forecasts of PQ risks on the network. | Option 3 | Reason for selection/rejection |  | 15
| Option 4 | Description
| Option 4 | Reason for selection/rejection
| Option 5 | Description
| Option 5 | Reason for selection/rejection
| Option 6 | Description
| Option 6 | Reason for selection/rejection