## Run Extract (hidden)
[12 empty] | 1 | 2 | 3 | 4 | 5 | 6
[12 empty] | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
[10 empty] | Address | Value Metric | Option 1 Condition based business constrained | Option 2 Condition based | Option 3 Age based | Option 4 Increased volumes for climate change/resilience
[11 empty] | UARM - Environment and Community - Fire Risk | 202524294.6977 | 371599287.1951 | 531272751.0722 | 221735240.5563
[11 empty] | UARM - Safety & People - Worker | 1670.8724 | 3065.768 | 4383.1312 | 1829.3766
Notes | [10 empty] | UARM - Network Performance Risk | 17502354.9534 | 32113987.2721 | 45913129.9607 | 19162584.3615
Need to open the .xlsm Investment Summary report from Copperleaf in the Trusted folder Save in the preferred location as an .xlsx Need to test environment - other and when two of the same value models have been selected with a different name | [10 empty] | UARM - Environment and Community - Other Risk | 0 | 0 | 0 | 0
[11 empty] | UARM - Financial Risk | 355469.0608 | 652228.1794 | 932485.8051 | 389187.981
[11 empty] | UARM - Safety & People - Public | 53222.2792 | 97654.31 | 139615.6313 | 58270.8281
[11 empty] | Terminal Value | 42966895.7592 | 85348752.5427 | 225994844.4396 | 51416492.0374
[11 empty] | Total Investment Cost | 94721347.3133 | 186720013.4824 | 492021711.8375 | 113062959.6453
Options
| Option | 2025 | 2026 | 2027 | 2028 | 2029
| Baseline | 78338039.84 | 82479932.28 | 86760280.14 | 91180268.11 | 95740971.29
| Option 1 Condition based business constrained | 77095990.54 | 79917893.74 | 82803480.78 | 85866450.43 | 89062635.36
| Option 2 Condition based | 75865439.09 | 77525016.45 | 79446415.93 | 81414674 | 83427919.41
| Option 3 Age based | 74576947.11 | 75289510.35 | 76113153.01 | 76913478.28 | 77689727.87
| Option 4 Increased volumes for climate change/resilience | 76964731.7 | 79645857.33 | 82425152.65 | 85379974.25 | 88433631.38
Option Breakdown | [7 empty] | Folder and File Paths
| Option 1 |  |  |  |  | Greater 0 | (Multiple Items)
| Recommended Option - Value | [6 empty] | This File Path | \\TNAD.tasnetworks.com.au\user$\user_folders\BahramabadiM\My Documents\Trusted\InvestmentTemplate.xlsm
| Value Function Measure | Value | Value in % | Greater 0 |  | Row Labels | Sum of Value in % | Folder Path | H:\RPSAM\SAM\R24 IES\final draft\
Option 1 | UARM - Environment and Community - Fire Risk | 202524.2947 | 56.55% | 1 | K20 | Terminal Value | 12% | File Name | InvestmentSummary_R24_D_OH_REHCO_RECONDUCTORING.xlsx
Option 1 | UARM - Safety & People - Worker | 1.6709 | 0% | 1 | K21 | Total Investment Cost | 26.45% | File Path | H:\RPSAM\SAM\R24 IES\final draft\InvestmentSummary_R24_D_OH_REHCO_RECONDUCTORING.xlsx
Option 1 | UARM - Network Performance Risk | 17502.355 | 4.89% | 1 | K22 | UARM - Environment and Community - Fire Risk | 56.55%
Option 1 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Other Risk | 0%
Option 1 | UARM - Financial Risk | 355.4691 | 0.1% | 1 | K24 | UARM - Financial Risk | 0.1%
Option 1 | UARM - Safety & People - Public | 53.2223 | 0.01% | 1 | K25 | UARM - Network Performance Risk | 4.89%
Option 1 | Terminal Value | 42966.8958 | 12% | 1 | K26 | UARM - Safety & People - Public | 0.01%
Option 1 | Total Investment Cost | -94721.3473 | 26.45% | 1 | K27 | UARM - Safety & People - Worker | 0%
Option 1 |  |  |  | 0 | K28
Option 1 |  |  |  | 0 | K29
Option 1 |  |  |  | 0 | K30 |  |  | 1 | InvestmentSummary_R24_D_ND_PRHVR_Augment_HV_Fdr_TRIP.xlsx
Option 1 |  |  |  | 0 | K31 |  |  | 2 | InvestmentSummary_R24_D_OH_REPOL_Basic Fleet Pole Replacement.xlsx
Option 1 |  |  |  | 0 | K32 |  |  | 3 | InvestmentSummary_R24_T_ND_AUGSB_W Coast Reliability Improvement.xlsx
Option 1 |  |  |  | 0 | K33 |  |  | 4 | InvestmentSummary_R24_T_ND_AUGSB_Upper Derwent 110 kV Losses.xlsx
| Total | 168682.5603 | 100% |  |  |  |  | 5 | InvestmentSummary_R24_D_OH_SIWES_Bird_Mitigation.xlsx
[8 empty] | 6 | InvestmentSummary_R24_D_SB_REGMS_GMS_Replacement of GMS.xlsx
[8 empty] | 7 | InvestmentSummary_R24_D_OH_REPOL_Complex Design.xlsx
Start | Option 1 |  |  |  |  | Greater 0 | 1 | 8 | InvestmentSummary_R24_D_PQ_PQTXV_Power_Quality_LV_Tformers.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 9 | InvestmentSummary_R24_D_ND_PQLVV_Aug_HV_LV_Conductor.xlsx
Option 1 | UARM - Environment and Community - Fire Risk | 202524.2947 | 56.55% | 1 | K20 | Row Labels | Sum of Value in % | 10 | InvestmentSummary_R24_D_CA_SOLCP_Crossover_Extension_OH.xlsx
Option 1 | UARM - Safety & People - Worker | 1.6709 | 0% | 1 | K21 | Terminal Value | 12% | 11 | InvestmentSummary_R24_D_CI_SOIRR_Irrigation_Supply.xlsx
Option 1 | UARM - Network Performance Risk | 17502.355 | 4.89% | 1 | K22 | Total Investment Cost | 26.45% | 12 | InvestmentSummary_R24_D_AMIPD_AM Improvement Program.xlsx
Option 1 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 56.55% | 13 | InvestmentSummary_R24_D_CI_SOPOR_Permanent_Residence_OH.xlsx
Option 1 | UARM - Financial Risk | 355.4691 | 0.1% | 1 | K24 | UARM - Environment and Community - Other Risk | 0% | 14 | InvestmentSummary_R24_D_CI_SUPOR_Permanent_Residence_UG.xlsx
Option 1 | UARM - Safety & People - Public | 53.2223 | 0.01% | 1 | K25 | UARM - Financial Risk | 0.1% | 15 | InvestmentSummary_R24_D_CI_SOGSI_General_Supply_OH.xlsx
Option 1 | Terminal Value | 42966.8958 | 12% | 1 | K26 | UARM - Network Performance Risk | 4.89% | 16 | InvestmentSummary_R24_D_CI_SUGSI_General_Supply_UG.xlsx
Option 1 | Total Investment Cost | -94721.3473 | 26.45% | 1 | K27 | UARM - Safety & People - Public | 0.01% | 17 | InvestmentSummary_R24_D_CI_SUSBD_Subdivision_UG.xlsx
Option 1 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0% | 18 | InvestmentSummary_R24_D_CI_SOSDI_Subdivision_OH.xlsx
Option 1 |  |  |  | 0 | K29 |  |  | 19 | InvestmentSummary_R24_D_CI_SUSUB_Augment_Dist_Substations.xlsx
Option 1 |  |  |  | 0 | K30 |  |  | 20 | InvestmentSummary_R24_T_ND_LAEMP_SELA.xlsx
Option 1 |  |  |  | 0 | K31 |  |  | 21 | InvestmentSummary_R24_D_CA_DESDB_Prelim_Drive_by_Design.xlsx
Option 1 |  |  |  | 0 | K32 |  |  | 22 | InvestmentSummary_R24_D_CI_SUMPR_Major_Commercial.xlsx
Option 1 |  |  |  | 0 | K33 |  |  | 23 | InvestmentSummary_R24_D_CI_EASEN_Easements_Non_Major_Comm.xlsx
| Total | 168682.5603 | 100% |  |  |  |  | 24 | InvestmentSummary_R24_D_ND_PRHVR_Rosebery_Supply_Improve.xlsx
[8 empty] | 25 | InvestmentSummary_R24_D_ND_CAHVF_Huonville_Supply_Improvement.xlsx
[8 empty] | 26 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Fdr_Network_Access.xlsx
[8 empty] | 27 | InvestmentSummary_R24_D_ND_PRHVR_Deloraine_Supply_Improve.xlsx
| Option 2 |  |  |  |  | Greater 0 | 1 | 28 | InvestmentSummary_R24_D_ND_CALVF_Augment_LV_Fdr_Capacity.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 29 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Trunk.xlsx
Option 2 | UARM - Environment and Community - Fire Risk | 371599.2872 | 54.93% | 1 | K20 | Row Labels | Sum of Value in % | 30 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Pole_Mtd_Regulator.xlsx
Option 2 | UARM - Safety & People - Worker | 3.0658 | 0% | 1 | K21 | Terminal Value | 12.62% | 31 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Grnd_Mtd_Regulator.xlsx
Option 2 | UARM - Network Performance Risk | 32113.9873 | 4.75% | 1 | K22 | Total Investment Cost | 27.6% | 32 | InvestmentSummary_R24_D_ND_CAHVF_22kV_Emu_Bay_Feeders.xlsx
Option 2 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 54.93% | 33 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Capacity.xlsx
Option 2 | UARM - Financial Risk | 652.2282 | 0.1% | 1 | K24 | UARM - Environment and Community - Other Risk | 0% | 34 | InvestmentSummary_R24_D_ND_CAHVF_Aug_SubStd_Cond_Capacity.xlsx
Option 2 | UARM - Safety & People - Public | 97.6543 | 0.01% | 1 | K25 | UARM - Financial Risk | 0.1% | 35 | InvestmentSummary_R24_D_ND_LANDZ_LandAcq_ZoneSubs.xlsx
Option 2 | Terminal Value | 85348.7525 | 12.62% | 1 | K26 | UARM - Network Performance Risk | 4.75% | 36 | InvestmentSummary_R24_D_ND_CATXU_Aug_Dist_Sub.xlsx
Option 2 | Total Investment Cost | -186720.0135 | 27.6% | 1 | K27 | UARM - Safety & People - Public | 0.01% | 37
Option 2 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0% | 38
Option 2 |  |  |  | 0 | K29 |  |  | 39
Option 2 |  |  |  | 0 | K30 |  |  | 40
Option 2 |  |  |  | 0 | K31 |  |  | 41
Option 2 |  |  |  | 0 | K32 |  |  | 42
Option 2 |  |  |  | 0 | K33 |  |  | 43
| Total | 303094.9618 | 100%
| Option 3 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 3 | UARM - Environment and Community - Fire Risk | 531272.7511 | 40.98% | 1 | K20 | Row Labels | Sum of Value in %
Option 3 | UARM - Safety & People - Worker | 4.3831 | 0% | 1 | K21 | Terminal Value | 17.43%
Option 3 | UARM - Network Performance Risk | 45913.13 | 3.54% | 1 | K22 | Total Investment Cost | 37.96%
Option 3 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 40.98%
Option 3 | UARM - Financial Risk | 932.4858 | 0.07% | 1 | K24 | UARM - Environment and Community - Other Risk | 0%
Option 3 | UARM - Safety & People - Public | 139.6156 | 0.01% | 1 | K25 | UARM - Financial Risk | 0.07%
Option 3 | Terminal Value | 225994.8444 | 17.43% | 1 | K26 | UARM - Network Performance Risk | 3.54%
Option 3 | Total Investment Cost | -492021.7118 | 37.96% | 1 | K27 | UARM - Safety & People - Public | 0.01%
Option 3 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0%
Option 3 |  |  |  | 0 | K29
Option 3 |  |  |  | 0 | K30
Option 3 |  |  |  | 0 | K31
Option 3 |  |  |  | 0 | K32
Option 3 |  |  |  | 0 | K33
| Total | 312235.4982 | 99.99%
| Option 4 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 4 | UARM - Environment and Community - Fire Risk | 221735.2406 | 54.64% | 1 | K20 | Row Labels | Sum of Value in %
Option 4 | UARM - Safety & People - Worker | 1.8294 | 0% | 1 | K21 | Terminal Value | 12.67%
Option 4 | UARM - Network Performance Risk | 19162.5844 | 4.72% | 1 | K22 | Total Investment Cost | 27.86%
Option 4 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 54.64%
Option 4 | UARM - Financial Risk | 389.188 | 0.1% | 1 | K24 | UARM - Environment and Community - Other Risk | 0%
Option 4 | UARM - Safety & People - Public | 58.2708 | 0.01% | 1 | K25 | UARM - Financial Risk | 0.1%
Option 4 | Terminal Value | 51416.492 | 12.67% | 1 | K26 | UARM - Network Performance Risk | 4.72%
Option 4 | Total Investment Cost | -113062.9596 | 27.86% | 1 | K27 | UARM - Safety & People - Public | 0.01%
Option 4 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0%
Option 4 |  |  |  | 0 | K29
Option 4 |  |  |  | 0 | K30
Option 4 |  |  |  | 0 | K31
Option 4 |  |  |  | 0 | K32
Option 4 |  |  |  | 0 | K33
| Total | 179700.6455 | 100%
| Option 5 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 5 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 5 |  |  |  | 0 | K21 |  | 0%
Option 5 |  |  |  | 0 | K22
Option 5 |  |  |  | 0 | K23
Option 5 |  |  |  | 0 | K24
Option 5 |  |  |  | 0 | K25
Option 5 |  |  |  | 0 | K26
Option 5 |  |  |  | 0 | K27
Option 5 |  |  |  | 0 | K28
Option 5 |  |  |  | 0 | K29
Option 5 |  |  |  | 0 | K30
Option 5 |  |  |  | 0 | K31
Option 5 |  |  |  | 0 | K32
Option 5 |  |  |  | 0 | K33
| Total | 0 | 0%
| Option 6 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 6 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 6 |  |  |  | 0 | K21 |  | 0%
Option 6 |  |  |  | 0 | K22
Option 6 |  |  |  | 0 | K23
Option 6 |  |  |  | 0 | K24
Option 6 |  |  |  | 0 | K25
Option 6 |  |  |  | 0 | K26
Option 6 |  |  |  | 0 | K27
Option 6 |  |  |  | 0 | K28
Option 6 |  |  |  | 0 | K29
Option 6 |  |  |  | 0 | K30
Option 6 |  |  |  | 0 | K31
Option 6 |  |  |  | 0 | K32
Option 6 |  |  |  | 0 | K33
| Total | 0 | 0%

## Summary
Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | NPV Period | Base Fiscal Year | Currency Scale
|  |  |  | PRJ000611 |  | 2025 |  | 25 | FY23 | Literal
|  |  |  | Investment Name | [5 empty] | Scenario
|  |  |  | R24_D_OH_REHCO_RECONDUCTORING | [5 empty] | Approved
Value Function |  | TasNetworks Value Function |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Investment Description
Description |  | Replace high voltage overhead conductor. | [9 empty] | TRUE
Functional Area |  | REHCO |  |  | Department |  |  | Asset Strategy
Works Initiator |  |  |  |  | Portfolio |  |  | Dx - Renewal
Investment Category |  | Prescribed Services - Asset Renewal |  |  | Needs Item Reference |  |  | R24_D_OH_REHCO_Replace_Conductor
Investment Type |  | Network Project |  |  | Document No. |  |  | R2009630
Investment Stage |  | Gate 2 – Investment Evaluation Summary |  |  | Project Zone Location |  |  | URL Link
PPM ID |  |  |  |  | Regulatory Test Required |  |  | No
Investment Summary
Problem Definition |  | Overhead conductor asset service age and service location (such as distance from the coast) are key factors in overall health condition. Mechanical conductor failures resulting in broken wires falling to the ground result in risks to the community and environment through bushfires and public safety from contact with live wires, as well as interruption of supply. TasNetworks has seen a number of incidents where members of the public have had machinery or plant contact conductors, resulting in a network fault which presents a health and safety risk. In some of these incidents, it has been identified that the conductor clearance is below the defined Australian Standard, to which the conductor span should be constructed. The key drivers for this program are therefore to maintain safety and network performance associated with failure and low clearance of overhead HV conductors. | [9 empty] | TRUE
Recommendation |  | Option 1 (Condition based business constrained) is recommended for approval as it best satisfies the balance of customer and business needs following portfolio optimisation. | [9 empty] | TRUE
Alternative Spend Profile
Name |  | Status | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV | Alternative Start Date
Option 1 Condition based business constrained |  | Recommended | 6520222 | 6520222 | 6520222 | 6520222 | 6520222 | 32601110 | 130404440 | 168682560.31 | 4547400%
Option 2 Condition based |  | Candidate | 12853026 | 12853026 | 12853026 | 12853026 | 12853026 | 64265130 | 257060520 | 303094961.78 | 4547400%
Option 3 Age based |  | Candidate | 33868720 | 33868720 | 33868720 | 33868720 | 33868720 | 169343600 | 677374400 | 312235498.2 | 4547400%
Option 4 Increased volumes for climate change/resilience |  | Candidate | 7782782 | 7782782 | 7782782 | 7782782 | 7782782 | 38913910 | 155655640 | 179700645.5 | 4547400%
0
0
Leader Endorsement
Name |  |  | Governance |  | Signature |  |  | Comments |  |  | Date
|  |  | Submission | [7 empty] | 4486200%
|  |  | Endorsement | [7 empty] | 4486200%
|  |  | Approval | [7 empty] | 4486200%
Investment Attachments
Date | Attachment Name |  | Description

## Investment Overview
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000611 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_OH_REHCO_RECONDUCTORING |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-28
Functional Area | REHCO |  | Department |  | Asset Strategy
Works Initiator |  |  | Portfolio |  | Dx - Renewal
Investment Category | Prescribed Services - Asset Renewal |  | Needs Item Reference |  | R24_D_OH_REHCO_Replace_Conductor
Investment Type | Network Project |  | Document No. |  | R2009630
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location |  | URL Link
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | TasNetworks has approximately 15,400km of overhead high voltage (HV) conductors installed on the distribution network consisting of bare open wire galvanised iron (GI), copper and aluminium conductors and insulated high voltage aerial bundled conductor (HV ABC). GI conductor was introduced as a standard conductor in the distribution network in the 1940s. TasNetworks ceased to install single strand No. 8 GI in the 1970s and the imperial 3/12 GI was replaced with the metric 3/2.75 GI around 1976, which is the present day TasNetworks standard for low capacity rural conductors. The majority of copper conductor in the HV network was installed prior to 1964 and is now in excess of 55 years in age with conductors ranging in size from 7/.044 to 19/.104. Aluminium conductors came in to service in the 1960s. There are three types of aluminium conductor in the system: All Aluminium Conductor (AAC) All Aluminium Alloy Conductors (AAAC) and Aluminium Conductor Steel Reinforced (ACSR), which is multi-strand conductor with a strengthening galvanized steel core. ACSR conductor is no longer installed in the network. A small amount (approximately 20km) of HV ABC has been installed to minimise vegetation clearing in areas of high aesthetic, heritage and/or endangered species impacts, resolve vegetation related bushfire and reliability issues and is expected to serve for between 30 and 50 years depending on extent of insulation exposure to UV, mechanical impacts and impacts from lightning strikes. Given the large volumes of work associated with a state-wide program and TasNetworks' ability to deliver such volumes and resource availability, works in the existing replacement program have been prioritised to ensure that the highest ranking risks are addressed first. Highest ranking risks include sites greater than forty years old, confirmed as being substandard (including low clearances) or assessed as being in poor condition, and within the high bushfire loss consequence area (HBLCA). |  |  |  |  | TRUE
| Problem Definition |  | Overhead conductor asset service age and service location (such as distance from the coast) are key factors in overall health condition. Mechanical conductor failures resulting in broken wires falling to the ground result in risks to the community and environment through bushfires and public safety from contact with live wires, as well as interruption of supply. TasNetworks has seen a number of incidents where members of the public have had machinery or plant contact conductors, resulting in a network fault which presents a health and safety risk. In some of these incidents, it has been identified that the conductor clearance is below the defined Australian Standard, to which the conductor span should be constructed. The key drivers for this program are therefore to maintain safety and network performance associated with failure and low clearance of overhead HV conductors. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. |  |  |  |  | TRUE

## Objectives and Analysis
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000611 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_OH_REHCO_RECONDUCTORING |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-28
Functional Area | REHCO |  | Department |  | Asset Strategy
Works Initiator |  |  | Portfolio |  | Dx - Renewal
Investment Category | Prescribed Services - Asset Renewal |  | Needs Item Reference |  | R24_D_OH_REHCO_Replace_Conductor
Investment Type | Network Project |  | Document No. |  | R2009630
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location |  | URL Link
PPM ID |  |  | Regulatory Test Required |  | No
Objectives and Analysis
03. Business Performance Objectives | Safety and Wellbeing |  | Proactive management of poor condition conductor will reduce likelihood of people contacting live conductors and bushfire risk associated with conductor failures. Proactive management of minimum clearances to ground or buildings will reduce likelihood of people and vehicles from contacting live overhead conductors. |  |  |  |  | TRUE
| Our Customers |  | Customer net promoter score - maintain network performance to current levels. |  |  |  |  | FALSE
| Our People |  | Employee engagement - employees will feel that our asset management practices sufficiently manage our risks and that we are empowered to have a positive effect on our risks. |  |  |  |  | FALSE
| Our Business - Sustained Cost Management |  | Capital expenditure - proactive conductor replacement reduces our operational expenditure for emergency fault response due to decreasing conductor failures. |  |  |  |  | FALSE
| Our Business - Network Service |  | Service incentive bonuses earned - proactive conductor replacement will minimize prolonged unplanned outages relating to in service conductor failures. |  |  |  |  | FALSE
04. Business Risks | Death or Injury (Employee) |  | Reduced safety risk to employees. |  |  |  |  | FALSE
| Death or Injury (Public) |  | Reduced safety risk to customers and the general public from failed or low conductors. |  |  |  |  | FALSE
| Sustainable and Predictable Pricing |  | Selected option provides a balanced approach to expenditure compared to asset and network performance risks. |  |  |  |  | FALSE
| Widespread Power Disruption |  | Reduced likelihood of widespread power disruption caused by failure of conductors. |  |  |  |  | FALSE
| Bushfire Start |  | Reduced likelihood of bushfire starts caused by failure of conductors. |  |  |  |  | FALSE
| Loss of Major Industrial | [6 empty] | FALSE
| Customer Focus | [6 empty] | FALSE
| Business Continuity Management | [6 empty] | FALSE
| Cyber Security | [6 empty] | FALSE
| Private Assets | [6 empty] | FALSE
Energy Policy and Regulation
Project Marinus (D&A)
Tasmanian Power System Complexity
| Emerging Complexity of the NEM | [6 empty] | FALSE
05. Strategic Objectives | Strategic Objectives |  | We manage our assets to deliver safe and reliable services’ while transforming our business. This investment is aimed at mitigating the risk of failed and low conductors, therefore delivering a safe and reliable service. |  |  |  |  | FALSE
| Strategic Document #1 |  | TasNetworks Business Plan |  |  |  |  | FALSE
| Strategic Document #2 |  | Towards 2030 |  |  |  |  | FALSE
| Strategic Document #3 |  | Overhead Conductor Asset Management Plan |  |  |  |  | FALSE
| Strategic Document #4 | [6 empty] | FALSE
| Strategic Document #5 | [6 empty] | FALSE
06. Project Objectives | Project Objectives |  | The objective of the program is to apply top down budget constraint As Low As Reasonably Practicable (ALARP) condition based risk mitigation by replacing deteriorated conductor or mitigating locations with sub-standard clearances (per AS7000) in a co-ordinated planned, risk based approach. This aims to reduce the: - safety risks to employees, customers and the general public; - risk of ground fire starts, which can lead to bushfires; and - reduce supply outages risks associated with failed HV conductor. |  |  |  |  | FALSE
07. Options Analysis | Benchmarking |  | TasNetworks conductor data was included in ENA industry survey of Australian Distribution Networks for developing a practical Health Index for overhead conductors. Industry benchmarking indicates both copper and aluminium conductors reach end of life at an age of approximately 60 years. Copper conductor probability of failure steeply increases between 25 and 60 years, whilst aluminium conductor enters wear out stage at 35 years to also reach end of life at age around 60. |  |  |  |  | TRUE
| Expert Findings |  | Expert analysis is used to design and assess the condition of conductors. Examples of these resources used to develop TasNetworks asset management strategies include: - Standard for Design of Overhead Lines AS/NZS 7000- 2016; - SAA HB 331:2020 Overhead Design Manual; - United Energy HV Bundled Conductor Strategic Direction Plan Document No UEPL 2053; - Conductors for the uprating of overhead lines, CIGRE 244, April 2004; - AD Stokes ,Fire Ignition by Electrically Produced Incandescent Particles, Journal of Electrical & Electronic Engineering ,10,pp175 to187, Sept 1990; - https://www.energynetworks.com.au/miscellaneous/overhead-conductor-condition-monitoring-milestone-report-3/; and - https://www.energynetworks.com.au/news/conductor-condition-monitoring-milestone-1-report/. |  |  |  |  | FALSE
08. Investment Timing | Investment Timing |  | This program is expected to be constant over the regulatory period and then continue in order to maintain conductor population condition at an acceptable level. |  |  |  |  | TRUE
09. Expected Outcomes and Benefits | Expected Outcomes and Benefits |  | The benefits to TasNetworks from implementation of the recommended option will be: - decrease in risk to public, property, reliability and fire starts; - improved bushfire resilience; - decreased number of customer outages and their duration; and - reduced conductor failures and resulting fault emergency costs. |  |  |  |  | TRUE
10. Assumptions | Assumptions | [6 empty] | TRUE
11. Regulatory Considerations | Regulatory Investment Test |  | A RIT-D is not required because this is a high volume, low cost, program with separate sites that have failed serviceability test identified via condition assessment.
| Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
12. Recommendation | Recommendation |  | Option 1 (Condition based business constrained) is recommended for approval as it best satisfies the balance of customer and business needs following portfolio optimisation. |  |  |  |  | TRUE

## Economic Analysis
alternative
| Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[5 empty] | PRJ000611 |  | 2025 |  | 25 | FY23 | Literal
[5 empty] | Investment Name | [5 empty] | Scenario
[5 empty] | R24_D_OH_REHCO_RECONDUCTORING | [5 empty] | Approved
autofit | Value Function |  |  | TasNetworks Value Function | Version |  | 0.1 |  | Date |  | 2022-10-28
Economic Analysis
| Parameter |  |  |  | Value | Unit | Source of Values
75679 | NPV Period |  |  |  | 25 | Years | TasNetworks requirement
autofit | First Fiscal Year of Forecast |  |  |  | FY23 | - | TasNetworks requirement
| Weighted Average Cost of Capital (WACC) |  |  |  | 2.82 | % | 2019-24 Revenue determination and ISP 2022 draft data
| Voluntary load shedding assumed? |  |  |  | No | - | N/A
| Reduction in system losses considered? |  |  |  | No | - | N/A
| Value of Customer Reliability applied |  |  | Very large business customer - Services | 10.93 | $/kWh | AER - Values of Customer Reliability - Annual adjustment summary - December 2021
|  |  |  | Residential | 17.08 | $/kWh
|  |  |  | Very large business customer - Metals | 20.6 | $/kWh
|  |  |  | Very large business customer - Transmission | 27.43 | $/kWh
|  |  |  | Very large business customer - Mines | 36.47 | $/kWh
|  |  |  | Business customer - Agricultural | 39.28 | $/kWh
|  |  |  | Business customer - Commercial | 46.18 | $/kWh
|  |  |  | Very large business customer - Distribution | 58.8 | $/kWh
|  |  |  | Business customer - Industrial | 66.16 | $/kWh
autofit |  |  |  | Very large business customer - Industrial | 122.39 | $/kWh
Sensitivity to Project Timing
|  | 1 | Navigate to Copperleaf Portfolio and search for your Investment
|  | 2 | Navigate to the Value Comparison Page for your Investment through the breadcrumb menu
|  | 3 | Once on the Value Comparison Page, select "Value by Start Date" in the drop-down menu in the top-left corner of the page
|  | 4 | This screen will show the value change over time for each option in your investment
|  | 5 | With the snipping tool on your PC, take a screenshot of the chart and copy + paste it in this section of the report
Options Considered
| Options Summary |  |  |  | R24 Expenditure ($M) | NPV ($M) | Preferred Option | Reason for selection/rejection
| Option 1 Condition based business constrained |  |  |  | 32.6011 | 168.6826 | Yes | This option has been selected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option manages asset risk and network performance within an acceptable range compared to other asset portfolios.
| Option 2 Condition based |  |  |  | 64.2651 | 303.095 | No | Whilst this option has a more positive NPV outcome compared to the selected option and would normally be the selected option, it has been rejected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option has a lower ratio of managed risk to capital expenditure compared to the selected option due to significantly higher capital expenditure.
| Option 3 Age based |  |  |  | 169.3436 | 312.2355 | No | This option has the most positive NPV outcome compared to the selected option however, it has been rejected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option has significantly higher capital expenditure that would impact negatively on customer pricing and TasNetworks would be unable to secure resources to deliver the program.
| Option 4 Increased volumes for climate change/resilience |  |  |  | 38.9139 | 179.7006 | No | Whilst this option has a more positive NPV outcome compared to the selected option, it has been rejected following portfolio optimisation to assess risk and expenditure across the whole asset fleet.
0
0
NPV Components

## Needs Assessment (hidden)
Needs Assessment Form |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000611 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_OH_REHCO_RECONDUCTORING |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-28
Functional Area | REHCO |  | Department |  | Asset Strategy
Works Initiator |  |  | Portfolio |  | Dx - Renewal
Investment Category | Prescribed Services - Asset Renewal |  | Needs Item Reference |  | R24_D_OH_REHCO_Replace_Conductor
Investment Type | Network Project |  | Document No. |  | R2009630
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | TasNetworks has approximately 15,400km of overhead high voltage (HV) conductors installed on the distribution network consisting of bare open wire galvanised iron (GI), copper and aluminium conductors and insulated high voltage aerial bundled conductor (HV ABC). GI conductor was introduced as a standard conductor in the distribution network in the 1940s. TasNetworks ceased to install single strand No. 8 GI in the 1970s and the imperial 3/12 GI was replaced with the metric 3/2.75 GI around 1976, which is the present day TasNetworks standard for low capacity rural conductors. The majority of copper conductor in the HV network was installed prior to 1964 and is now in excess of 55 years in age with conductors ranging in size from 7/.044 to 19/.104. Aluminium conductors came in to service in the 1960s. There are three types of aluminium conductor in the system: All Aluminium Conductor (AAC) All Aluminium Alloy Conductors (AAAC) and Aluminium Conductor Steel Reinforced (ACSR), which is multi-strand conductor with a strengthening galvanized steel core. ACSR conductor is no longer installed in the network. A small amount (approximately 20km) of HV ABC has been installed to minimise vegetation clearing in areas of high aesthetic, heritage and/or endangered species impacts, resolve vegetation related bushfire and reliability issues and is expected to serve for between 30 and 50 years depending on extent of insulation exposure to UV, mechanical impacts and impacts from lightning strikes. Given the large volumes of work associated with a state-wide program and TasNetworks' ability to deliver such volumes and resource availability, works in the existing replacement program have been prioritised to ensure that the highest ranking risks are addressed first. Highest ranking risks include sites greater than forty years old, confirmed as being substandard (including low clearances) or assessed as being in poor condition, and within the high bushfire loss consequence area (HBLCA). |  |  |  |  | TRUE
| Problem Definition |  | Overhead conductor asset service age and service location (such as distance from the coast) are key factors in overall health condition. Mechanical conductor failures resulting in broken wires falling to the ground result in risks to the community and environment through bushfires and public safety from contact with live wires, as well as interruption of supply. TasNetworks has seen a number of incidents where members of the public have had machinery or plant contact conductors, resulting in a network fault which presents a health and safety risk. In some of these incidents, it has been identified that the conductor clearance is below the defined Australian Standard, to which the conductor span should be constructed. The key drivers for this program are therefore to maintain safety and network performance associated with failure and low clearance of overhead HV conductors. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. |  |  |  |  | TRUE
03. Business Objectives | Business Objectives
04. Project Objectives | Project Objectives |  | The objective of the program is to apply top down budget constraint As Low As Reasonably Practicable (ALARP) condition based risk mitigation by replacing deteriorated conductor or mitigating locations with sub-standard clearances (per AS7000) in a co-ordinated planned, risk based approach. This aims to reduce the: - safety risks to employees, customers and the general public; - risk of ground fire starts, which can lead to bushfires; and - reduce supply outages risks associated with failed HV conductor. |  |  |  |  | FALSE
05. Risk Objective | Risk if not progressed | [6 empty] | TRUE
06. Investment Timing | Investment Timing |  | This program is expected to be constant over the regulatory period and then continue in order to maintain conductor population condition at an acceptable level. |  |  |  |  | TRUE
07. Business Consulatation | Business Consulatation | [6 empty] | TRUE

## Option 1
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000611 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_REHCO_RECONDUCTORING | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 1 Condition based business constrained
autofit | Description |  | Proactive asset renewal program to replace HV conductor based on condition and limited by a top down expenditure constraint.
autofit | Alternative Status |  | Recommended
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | This option has been selected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option manages asset risk and network performance within an acceptable range compared to other asset portfolios.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 1 Condition based business constrained |  | Capex |  |  | 6420222 | 6420222 | 6420222 | 6420222 | 6420222 | 32101110 | 130404440 | 168682560.31
|  |  | Opex |  |  | 100000 | 100000 | 100000 | 100000 | 100000 | 500000
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 202524.2947 | 56.55%
[9 empty] | UARM - Safety & People - Worker |  |  | 1.6709 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 17502.355 | 4.89%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 355.4691 | 0.1%
[9 empty] | UARM - Safety & People - Public |  |  | 53.2223 | 0.01%
[9 empty] | Terminal Value |  |  | 42966.8958 | 12%
[9 empty] | Total Investment Cost |  |  | -94721.3473 | 26.45%
[9 empty] | Total |  |  | 168682.5603
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 6420222 | 6420222 | 6420222 | 6420222 | 6420222
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | OPEX Cost |  | Outcome | 2024 | 0 | Dollar | 100000 | 100000 | 100000 | 100000 | 100000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -94721.3473 | Dollar | 6520222 | 6520222 | 6520222 | 6520222 | 6520222
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 42966.8958 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 71972288.72 | 75777610.89 | 79710137.57 | 83770957.21 | 87961057.52
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 202524.2947 | Dollar | 70831168.38 | 73423763.66 | 76074867.82 | 78888940.47 | 81825403.34
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 593.79 | 625.18 | 657.63 | 691.13 | 725.7
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 1.6709 | Dollar | 584.37 | 605.76 | 627.64 | 650.85 | 675.08
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 6219918.19 | 6548777.99 | 6888630.93 | 7239571.08 | 7601683.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 17502.355 | Dollar | 6121301.41 | 6345356.12 | 6574467.23 | 6817662.25 | 7071434.35
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 126325.2 | 133004.27 | 139906.61 | 147034.13 | 154388.57
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 355.4691 | Dollar | 124322.32 | 128872.82 | 133526.02 | 138465.26 | 143619.31
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 18913.94 | 19913.95 | 20947.4 | 22014.56 | 23115.7
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 53.2223 | Dollar | 18614.06 | 19295.38 | 19992.07 | 20731.6 | 21503.28
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 78338039.84 | 82479932.28 | 86760280.14 | 91180268.11 | 95740971.29
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 77095990.54 | 79917893.74 | 82803480.78 | 85866450.43 | 89062635.36
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 2
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000611 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_REHCO_RECONDUCTORING | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 2 Condition based
autofit | Description |  | Proactive asset renewal program to replace HV conductor based on condition.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Whilst this option has a more positive NPV outcome compared to the selected option and would normally be the selected option, it has been rejected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option has a lower ratio of managed risk to capital expenditure compared to the selected option due to significantly higher capital expenditure.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 2 Condition based |  | Capex |  |  | 12753026 | 12753026 | 12753026 | 12753026 | 12753026 | 63765130 | 257060520 | 303094961.78
|  |  | Opex |  |  | 100000 | 100000 | 100000 | 100000 | 100000 | 500000
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 371599.2872 | 54.93%
[9 empty] | UARM - Safety & People - Worker |  |  | 3.0658 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 32113.9873 | 4.75%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 652.2282 | 0.1%
[9 empty] | UARM - Safety & People - Public |  |  | 97.6543 | 0.01%
[9 empty] | Terminal Value |  |  | 85348.7525 | 12.62%
[9 empty] | Total Investment Cost |  |  | -186720.0135 | 27.6%
[9 empty] | Total |  |  | 303094.9618
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 12753026 | 12753026 | 12753026 | 12753026 | 12753026
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | OPEX Cost |  | Outcome | 2024 | 0 | Dollar | 100000 | 100000 | 100000 | 100000 | 100000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -186720.0135 | Dollar | 12853026 | 12853026 | 12853026 | 12853026 | 12853026
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 85348.7525 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 71972288.72 | 75777610.89 | 79710137.57 | 83770957.21 | 87961057.52
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 371599.2872 | Dollar | 69700611.58 | 71225331.63 | 72990598.15 | 74798915.51 | 76648564.54
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 593.79 | 625.18 | 657.63 | 691.13 | 725.7
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 3.0658 | Dollar | 575.05 | 587.63 | 602.19 | 617.11 | 632.37
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 6219918.19 | 6548777.99 | 6888630.93 | 7239571.08 | 7601683.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 32113.9873 | Dollar | 6023597.54 | 6155365.4 | 6307921.52 | 6464198.14 | 6624046.69
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 126325.2 | 133004.27 | 139906.61 | 147034.13 | 154388.57
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 652.2282 | Dollar | 122337.97 | 125014.15 | 128112.53 | 131286.48 | 134532.97
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 18913.94 | 19913.95 | 20947.4 | 22014.56 | 23115.7
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 97.6543 | Dollar | 18316.95 | 18717.64 | 19181.54 | 19656.76 | 20142.84
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 78338039.84 | 82479932.28 | 86760280.14 | 91180268.11 | 95740971.29
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 75865439.09 | 77525016.45 | 79446415.93 | 81414674 | 83427919.41
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 3
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000611 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_REHCO_RECONDUCTORING | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 3 Age based
autofit | Description |  | Proactive asset renewal program to replace HV conductor based on age.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | This option has the most positive NPV outcome compared to the selected option however, it has been rejected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option has significantly higher capital expenditure that would impact negatively on customer pricing and TasNetworks would be unable to secure resources to deliver the program.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 3 Age based |  | Capex |  |  | 33768720 | 33768720 | 33768720 | 33768720 | 33768720 | 168843600 | 677374400 | 312235498.2
|  |  | Opex |  |  | 100000 | 100000 | 100000 | 100000 | 100000 | 500000
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 531272.7511 | 40.98%
[9 empty] | UARM - Safety & People - Worker |  |  | 4.3831 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 45913.13 | 3.54%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 932.4858 | 0.07%
[9 empty] | UARM - Safety & People - Public |  |  | 139.6156 | 0.01%
[9 empty] | Terminal Value |  |  | 225994.8444 | 17.43%
[9 empty] | Total Investment Cost |  |  | -492021.7118 | 37.96%
[9 empty] | Total |  |  | 312235.4982
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 33768720 | 33768720 | 33768720 | 33768720 | 33768720
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | OPEX Cost |  | Outcome | 2024 | 0 | Dollar | 100000 | 100000 | 100000 | 100000 | 100000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -492021.7118 | Dollar | 33868720 | 33868720 | 33868720 | 33868720 | 33868720
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 225994.8444 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 71972288.72 | 75777610.89 | 79710137.57 | 83770957.21 | 87961057.52
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 531272.7511 | Dollar | 68516822.48 | 69171482.82 | 69928196.26 | 70663487.08 | 71376658.6
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 593.79 | 625.18 | 657.63 | 691.13 | 725.7
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 4.3831 | Dollar | 565.28 | 570.68 | 576.92 | 582.99 | 588.87
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 6219918.19 | 6548777.99 | 6888630.93 | 7239571.08 | 7601683.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 45913.13 | Dollar | 5921293.29 | 5977869.7 | 6043265.64 | 6106810.22 | 6168443.23
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 126325.2 | 133004.27 | 139906.61 | 147034.13 | 154388.57
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 932.4858 | Dollar | 120260.2 | 121409.25 | 122737.43 | 124028 | 125279.76
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 18913.94 | 19913.95 | 20947.4 | 22014.56 | 23115.7
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 139.6156 | Dollar | 18005.86 | 18177.9 | 18376.76 | 18569.99 | 18757.41
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 78338039.84 | 82479932.28 | 86760280.14 | 91180268.11 | 95740971.29
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 74576947.11 | 75289510.35 | 76113153.01 | 76913478.28 | 77689727.87
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 4
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000611 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_REHCO_RECONDUCTORING | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 4 Increased volumes for climate change/resilience
autofit | Description |  | Proactive asset renewal program to replace HV conductor based on condition and limited by a top down expenditure constraint with allowance for climate change and increased network resilience to bushfire.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Whilst this option has a more positive NPV outcome compared to the selected option, it has been rejected following portfolio optimisation to assess risk and expenditure across the whole asset fleet.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 4 Increased volumes for climate change/resilience |  | Capex |  |  | 7682782 | 7682782 | 7682782 | 7682782 | 7682782 | 38413910 | 155655640 | 179700645.5
|  |  | Opex |  |  | 100000 | 100000 | 100000 | 100000 | 100000 | 500000
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 221735.2406 | 54.64%
[9 empty] | UARM - Safety & People - Worker |  |  | 1.8294 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 19162.5844 | 4.72%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 389.188 | 0.1%
[9 empty] | UARM - Safety & People - Public |  |  | 58.2708 | 0.01%
[9 empty] | Terminal Value |  |  | 51416.492 | 12.67%
[9 empty] | Total Investment Cost |  |  | -113062.9596 | 27.86%
[9 empty] | Total |  |  | 179700.6455
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 7682782 | 7682782 | 7682782 | 7682782 | 7682782
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | OPEX Cost |  | Outcome | 2024 | 0 | Dollar | 100000 | 100000 | 100000 | 100000 | 100000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -113062.9596 | Dollar | 7782782 | 7782782 | 7782782 | 7782782 | 7782782
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 51416.492 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 71972288.72 | 75777610.89 | 79710137.57 | 83770957.21 | 87961057.52
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 221735.2406 | Dollar | 70710575.65 | 73173832.93 | 75727282.64 | 78441995.37 | 81247512.24
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 593.79 | 625.18 | 657.63 | 691.13 | 725.7
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 1.8294 | Dollar | 583.38 | 603.7 | 624.77 | 647.16 | 670.31
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 6219918.19 | 6548777.99 | 6888630.93 | 7239571.08 | 7601683.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 19162.5844 | Dollar | 6110879.66 | 6323756.86 | 6544428.57 | 6779036.8 | 7021492.41
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 126325.2 | 133004.27 | 139906.61 | 147034.13 | 154388.57
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 389.188 | Dollar | 124110.65 | 128434.14 | 132915.94 | 137680.78 | 142605
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 18913.94 | 19913.95 | 20947.4 | 22014.56 | 23115.7
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 58.2708 | Dollar | 18582.36 | 19229.7 | 19900.73 | 20614.14 | 21351.42
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 78338039.84 | 82479932.28 | 86760280.14 | 91180268.11 | 95740971.29
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 76964731.7 | 79645857.33 | 82425152.65 | 85379974.25 | 88433631.38
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 5 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000611 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_REHCO_RECONDUCTORING | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 6 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000611 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_REHCO_RECONDUCTORING | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## TextFormatting (hidden)
Index | 8
Column Width | 238
Font | Calibri
Font Size | 11
Font Colour
Text | Sheet | Group | Field | Row Height | Row Number
Replace high voltage overhead conductor. | Investment Summary | Header | Description | 15 | 9
TasNetworks has approximately 15,400km of overhead high voltage (HV) conductors installed on the distribution network consisting of bare open wire galvanised iron (GI), copper and aluminium conductors and insulated high voltage aerial bundled conductor (HV ABC). GI conductor was introduced as a standard conductor in the distribution network in the 1940s. TasNetworks ceased to install single strand No. 8 GI in the 1970s and the imperial 3/12 GI was replaced with the metric 3/2.75 GI around 1976, which is the present day TasNetworks standard for low capacity rural conductors. The majority of copper conductor in the HV network was installed prior to 1964 and is now in excess of 55 years in age with conductors ranging in size from 7/.044 to 19/.104. Aluminium conductors came in to service in the 1960s. There are three types of aluminium conductor in the system: All Aluminium Conductor (AAC) All Aluminium Alloy Conductors (AAAC) and Aluminium Conductor Steel Reinforced (ACSR), which is multi-strand conductor with a strengthening galvanized steel core. ACSR conductor is no longer installed in the network. A small amount (approximately 20km) of HV ABC has been installed to minimise vegetation clearing in areas of high aesthetic, heritage and/or endangered species impacts, resolve vegetation related bushfire and reliability issues and is expected to serve for between 30 and 50 years depending on extent of insulation exposure to UV, mechanical impacts and impacts from lightning strikes. Given the large volumes of work associated with a state-wide program and TasNetworks' ability to deliver such volumes and resource availability, works in the existing replacement program have been prioritised to ensure that the highest ranking risks are addressed first. Highest ranking risks include sites greater than forty years old, confirmed as being substandard (including low clearances) or assessed as being in poor condition, and within the high bushfire loss consequence area (HBLCA). | Investment Summary | 0.1 Overview | Background | 315 | 16
Overhead conductor asset service age and service location (such as distance from the coast) are key factors in overall health condition. Mechanical conductor failures resulting in broken wires falling to the ground result in risks to the community and environment through bushfires and public safety from contact with live wires, as well as interruption of supply. TasNetworks has seen a number of incidents where members of the public have had machinery or plant contact conductors, resulting in a network fault which presents a health and safety risk. In some of these incidents, it has been identified that the conductor clearance is below the defined Australian Standard, to which the conductor span should be constructed. The key drivers for this program are therefore to maintain safety and network performance associated with failure and low clearance of overhead HV conductors. | Investment Summary | 0.1 Overview | Problem Definition | 135 | 17
TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. | Investment Summary | 02. Customer Needs and Impact | Customer Needs and impact | 135 | 18
Proactive management of poor condition conductor will reduce likelihood of people contacting live conductors and bushfire risk associated with conductor failures. Proactive management of minimum clearances to ground or buildings will reduce likelihood of people and vehicles from contacting live overhead conductors. | Objectives and Analysis | 03. Business Performance Objectives | Safety and Wellbeing | 75 | 17
Customer net promoter score - maintain network performance to current levels. | Objectives and Analysis | 03. Business Performance Objectives | Our Customers | 15 | 18
Employee engagement - employees will feel that our asset management practices sufficiently manage our risks and that we are empowered to have a positive effect on our risks. | Objectives and Analysis | 03. Business Performance Objectives | Our People | 30 | 19
Capital expenditure - proactive conductor replacement reduces our operational expenditure for emergency fault response due to decreasing conductor failures. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Sustained Cost Management | 30 | 20
Service incentive bonuses earned - proactive conductor replacement will minimize prolonged unplanned outages relating to in service conductor failures. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Network Service | 30 | 21
Reduced safety risk to employees. | Objectives and Analysis | 04. Business Risks | Death or Injury (Employee) | 15 | 23
Reduced safety risk to customers and the general public from failed or low conductors. | Objectives and Analysis | 04. Business Risks | Death or Injury (Public) | 15 | 24
Selected option provides a balanced approach to expenditure compared to asset and network performance risks. | Objectives and Analysis | 04. Business Risks | Sustainable and Predictable Pricing | 15 | 25
Reduced likelihood of widespread power disruption caused by failure of conductors. | Objectives and Analysis | 04. Business Risks | Widespread Power Disruption | 15 | 26
Reduced likelihood of bushfire starts caused by failure of conductors. | Objectives and Analysis | 04. Business Risks | Bushfire Start | 15 | 27
| Objectives and Analysis | 04. Business Risks | Loss of Major Industrial | 15 | 28
| Objectives and Analysis | 04. Business Risks | Customer Focus | 15 | 29
| Objectives and Analysis | 04. Business Risks | Business Continuity Management | 15 | 30
| Objectives and Analysis | 04. Business Risks | Cyber Security | 15 | 31
| Objectives and Analysis | 04. Business Risks | Private Assets | 15 | 32
| Objectives and Analysis | 04. Business Risks | Energy Policy and Regulation | 15 | 33
| Objectives and Analysis | 04. Business Risks | Project Marinus (D&A) | 15 | 34
| Objectives and Analysis | 04. Business Risks | Tasmanian Power System Complexity | 15 | 35
| Objectives and Analysis | 04. Business Risks | Emerging Complexity of the NEM | 15 | 36
We manage our assets to deliver safe and reliable services’ while transforming our business. This investment is aimed at mitigating the risk of failed and low conductors, therefore delivering a safe and reliable service. | Objectives and Analysis | 05. Strategic Objectives | Strategic Objectives | 30 | 38
TasNetworks Business Plan | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #1 | 15 | 39
Towards 2030 | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #2 | 15 | 40
Overhead Conductor Asset Management Plan | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #3 | 15 | 41
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #4 | 15 | 42
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #5 | 15 | 43
The objective of the program is to apply top down budget constraint As Low As Reasonably Practicable (ALARP) condition based risk mitigation by replacing deteriorated conductor or mitigating locations with sub-standard clearances (per AS7000) in a co-ordinated planned, risk based approach. This aims to reduce the: - safety risks to employees, customers and the general public; - risk of ground fire starts, which can lead to bushfires; and - reduce supply outages risks associated with failed HV conductor. | Objectives and Analysis | 06. Project Objectives | Project Objectives | 90 | 44
TasNetworks conductor data was included in ENA industry survey of Australian Distribution Networks for developing a practical Health Index for overhead conductors. Industry benchmarking indicates both copper and aluminium conductors reach end of life at an age of approximately 60 years. Copper conductor probability of failure steeply increases between 25 and 60 years, whilst aluminium conductor enters wear out stage at 35 years to also reach end of life at age around 60. | Objectives and Analysis | 07. Options Analysis | Benchmarking | 60 | 45
Expert analysis is used to design and assess the condition of conductors. Examples of these resources used to develop TasNetworks asset management strategies include: - Standard for Design of Overhead Lines AS/NZS 7000- 2016; - SAA HB 331:2020 Overhead Design Manual; - United Energy HV Bundled Conductor Strategic Direction Plan Document No UEPL 2053; - Conductors for the uprating of overhead lines, CIGRE 244, April 2004; - AD Stokes ,Fire Ignition by Electrically Produced Incandescent Particles, Journal of Electrical & Electronic Engineering ,10,pp175 to187, Sept 1990; - https://www.energynetworks.com.au/miscellaneous/overhead-conductor-condition-monitoring-milestone-report-3/; and - https://www.energynetworks.com.au/news/conductor-condition-monitoring-milestone-1-report/. | Objectives and Analysis | 07. Options Analysis | Expert Findings | 165 | 46
This program is expected to be constant over the regulatory period and then continue in order to maintain conductor population condition at an acceptable level. | Objectives and Analysis | 08. Investment Timing | Investment Timing | 30 | 47
The benefits to TasNetworks from implementation of the recommended option will be: - decrease in risk to public, property, reliability and fire starts; - improved bushfire resilience; - decreased number of customer outages and their duration; and - reduced conductor failures and resulting fault emergency costs. | Objectives and Analysis | 09. Expected Outcomes and Benefits | Expected Outcomes and Benefits | 75 | 48
| Objectives and Analysis | 10. Assumptions | Assumptions | 15 | 49
A RIT-D is not required because this is a high volume, low cost, program with separate sites that have failed serviceability test identified via condition assessment. | Objectives and Analysis | 11. Regulatory Considerations | Regulatory Investment Test | 30 | 50
No | Objectives and Analysis | 11. Regulatory Considerations | Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 51
Yes | Objectives and Analysis | 11. Regulatory Considerations | Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 52
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 53
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 54
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 55
Option 1 (Condition based business constrained) is recommended for approval as it best satisfies the balance of customer and business needs following portfolio optimisation. | Objectives and Analysis | 12. Recommendation | Recommendation | 30 | 56
Proactive asset renewal program to replace HV conductor based on condition and limited by a top down expenditure constraint. | Option 1 | Description |  | 15
This option has been selected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option manages asset risk and network performance within an acceptable range compared to other asset portfolios. | Option 1 | Reason for selection/rejection |  | 15
Proactive asset renewal program to replace HV conductor based on condition. | Option 2 | Description |  | 15
Whilst this option has a more positive NPV outcome compared to the selected option and would normally be the selected option, it has been rejected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option has a lower ratio of managed risk to capital expenditure compared to the selected option due to significantly higher capital expenditure. | Option 2 | Reason for selection/rejection |  | 30
Proactive asset renewal program to replace HV conductor based on age. | Option 3 | Description |  | 15
This option has the most positive NPV outcome compared to the selected option however, it has been rejected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option has significantly higher capital expenditure that would impact negatively on customer pricing and TasNetworks would be unable to secure resources to deliver the program. | Option 3 | Reason for selection/rejection |  | 30
Proactive asset renewal program to replace HV conductor based on condition and limited by a top down expenditure constraint with allowance for climate change and increased network resilience to bushfire. | Option 4 | Description |  | 15
Whilst this option has a more positive NPV outcome compared to the selected option, it has been rejected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. | Option 4 | Reason for selection/rejection |  | 15
| Option 5 | Description
| Option 5 | Reason for selection/rejection
| Option 6 | Description
| Option 6 | Reason for selection/rejection