## Run Extract (hidden)
[12 empty] | 1 | 2 | 3 | 4 | 5 | 6
[12 empty] | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
[10 empty] | Address | Value Metric | Option 1 - Proactively replace T1 and T2 in R24 | Option 2 - Proactively replace T1 and T2 in R29 | Option 8 - Proactively replace T1 and T2 in R24 with like for like modern equivalent transformers | Option 9 - Proactively replace T1 and T2 with Transformers with a 22 kV third winding
[11 empty] | UARM - Environment and Community - Fire Risk | 0 | 0 | 0 | 0
[11 empty] | UARM - Safety & People - Worker | 164.8155 | 101.5422 | 164.8155 | 164.8155
Notes | [10 empty] | UARM - Network Performance Risk | 193363450.469 | 119129862.6307 | 193363450.469 | 193363450.469
Need to open the .xlsm Investment Summary report from Copperleaf in the Trusted folder Save in the preferred location as an .xlsx Need to test environment - other and when two of the same value models have been selected with a different name | [10 empty] | UARM - Environment and Community - Other Risk | 0 | 0 | 0 | 0
[11 empty] | UARM - Financial Risk | 3708633.9844 | 2284863.3291 | 3708633.9844 | 3708633.9844
[11 empty] | UARM - Safety & People - Public | 164.8155 | 101.5422 | 164.8155 | 164.8155
[11 empty] | Terminal Value | 2870331.6761 | 3225058.5567 | 2746159.2748 | 2894858.5778
[11 empty] | Total Investment Cost | 7313061.0837 | 6363722.0605 | 6996693.3409 | 7375550.9811
Options
| Option | 2025 | 2026 | 2027 | 2028 | 2029
| Baseline | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 20361606.44
| Option 1 - Proactively replace T1 and T2 in R24 | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42
| Option 2 - Proactively replace T1 and T2 in R29 | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 20361606.44
| Option 8 - Proactively replace T1 and T2 in R24 with like for like modern equivalent transformers | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42
| Option 9 - Proactively replace T1 and T2 with Transformers with a 22 kV third winding | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42
Option Breakdown | [7 empty] | Folder and File Paths
| Option 3 |  |  |  |  | Greater 0 | (Multiple Items)
| Recommended Option - Value | [6 empty] | This File Path | \\TNAD.tasnetworks.com.au\user$\user_folders\BahramabadiM\My Documents\Trusted\InvestmentTemplate.xlsm
| Value Function Measure | Value | Value in % | Greater 0 |  | Row Labels | Sum of Value in % | Folder Path | H:\RPSAM\SAM\R24 IES\final draft\
Option 3 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K20 | Terminal Value | 1.33% | File Name | InvestmentSummary_R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2.xlsx
Option 3 | UARM - Safety & People - Worker | 0.16482 | 0% | 1 | K21 | Total Investment Cost | 3.38% | File Path | H:\RPSAM\SAM\R24 IES\final draft\InvestmentSummary_R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2.xlsx
Option 3 | UARM - Network Performance Risk | 193363.4505 | 93.5% | 1 | K22 | UARM - Environment and Community - Fire Risk | 0%
Option 3 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Other Risk | 0%
Option 3 | UARM - Financial Risk | 3708.634 | 1.79% | 1 | K24 | UARM - Financial Risk | 1.79%
Option 3 | UARM - Safety & People - Public | 0.16482 | 0% | 1 | K25 | UARM - Network Performance Risk | 93.5%
Option 3 | Terminal Value | 2746.1593 | 1.33% | 1 | K26 | UARM - Safety & People - Public | 0%
Option 3 | Total Investment Cost | -6996.6933 | 3.38% | 1 | K27 | UARM - Safety & People - Worker | 0%
Option 3 |  |  |  | 0 | K28
Option 3 |  |  |  | 0 | K29
Option 3 |  |  |  | 0 | K30 |  |  | 1 | InvestmentSummary_R24_D_ND_PRHVR_Augment_HV_Fdr_TRIP.xlsx
Option 3 |  |  |  | 0 | K31 |  |  | 2 | InvestmentSummary_R24_D_OH_REPOL_Basic Fleet Pole Replacement.xlsx
Option 3 |  |  |  | 0 | K32 |  |  | 3 | InvestmentSummary_R24_T_ND_AUGSB_W Coast Reliability Improvement.xlsx
Option 3 |  |  |  | 0 | K33 |  |  | 4 | InvestmentSummary_R24_T_ND_AUGSB_Upper Derwent 110 kV Losses.xlsx
| Total | 192821.88 | 100% |  |  |  |  | 5 | InvestmentSummary_R24_D_OH_SIWES_Bird_Mitigation.xlsx
[8 empty] | 6 | InvestmentSummary_R24_D_SB_REGMS_GMS_Replacement of GMS.xlsx
[8 empty] | 7 | InvestmentSummary_R24_D_OH_REPOL_Complex Design.xlsx
Start | Option 1 |  |  |  |  | Greater 0 | 1 | 8 | InvestmentSummary_R24_D_PQ_PQTXV_Power_Quality_LV_Tformers.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 9 | InvestmentSummary_R24_D_ND_PQLVV_Aug_HV_LV_Conductor.xlsx
Option 1 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K20 | Row Labels | Sum of Value in % | 10 | InvestmentSummary_R24_D_CA_SOLCP_Crossover_Extension_OH.xlsx
Option 1 | UARM - Safety & People - Worker | 0.16482 | 0% | 1 | K21 | Terminal Value | 1.38% | 11 | InvestmentSummary_R24_D_CI_SOIRR_Irrigation_Supply.xlsx
Option 1 | UARM - Network Performance Risk | 193363.4505 | 93.3% | 1 | K22 | Total Investment Cost | 3.53% | 12 | InvestmentSummary_R24_D_AMIPD_AM Improvement Program.xlsx
Option 1 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0% | 13 | InvestmentSummary_R24_D_CI_SOPOR_Permanent_Residence_OH.xlsx
Option 1 | UARM - Financial Risk | 3708.634 | 1.79% | 1 | K24 | UARM - Environment and Community - Other Risk | 0% | 14 | InvestmentSummary_R24_D_CI_SUPOR_Permanent_Residence_UG.xlsx
Option 1 | UARM - Safety & People - Public | 0.16482 | 0% | 1 | K25 | UARM - Financial Risk | 1.79% | 15 | InvestmentSummary_R24_D_CI_SOGSI_General_Supply_OH.xlsx
Option 1 | Terminal Value | 2870.3317 | 1.38% | 1 | K26 | UARM - Network Performance Risk | 93.3% | 16 | InvestmentSummary_R24_D_CI_SUGSI_General_Supply_UG.xlsx
Option 1 | Total Investment Cost | -7313.0611 | 3.53% | 1 | K27 | UARM - Safety & People - Public | 0% | 17 | InvestmentSummary_R24_D_CI_SUSBD_Subdivision_UG.xlsx
Option 1 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0% | 18 | InvestmentSummary_R24_D_CI_SOSDI_Subdivision_OH.xlsx
Option 1 |  |  |  | 0 | K29 |  |  | 19 | InvestmentSummary_R24_D_CI_SUSUB_Augment_Dist_Substations.xlsx
Option 1 |  |  |  | 0 | K30 |  |  | 20 | InvestmentSummary_R24_T_ND_LAEMP_SELA.xlsx
Option 1 |  |  |  | 0 | K31 |  |  | 21 | InvestmentSummary_R24_D_CA_DESDB_Prelim_Drive_by_Design.xlsx
Option 1 |  |  |  | 0 | K32 |  |  | 22 | InvestmentSummary_R24_D_CI_SUMPR_Major_Commercial.xlsx
Option 1 |  |  |  | 0 | K33 |  |  | 23 | InvestmentSummary_R24_D_CI_EASEN_Easements_Non_Major_Comm.xlsx
| Total | 192629.6847 | 100% |  |  |  |  | 24 | InvestmentSummary_R24_D_ND_PRHVR_Rosebery_Supply_Improve.xlsx
[8 empty] | 25 | InvestmentSummary_R24_D_ND_CAHVF_Huonville_Supply_Improvement.xlsx
[8 empty] | 26 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Fdr_Network_Access.xlsx
[8 empty] | 27 | InvestmentSummary_R24_D_ND_PRHVR_Deloraine_Supply_Improve.xlsx
| Option 2 |  |  |  |  | Greater 0 | 1 | 28 | InvestmentSummary_R24_D_ND_CALVF_Augment_LV_Fdr_Capacity.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 29 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Trunk.xlsx
Option 2 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K20 | Row Labels | Sum of Value in % | 30 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Pole_Mtd_Regulator.xlsx
Option 2 | UARM - Safety & People - Worker | 0.10154 | 0% | 1 | K21 | Terminal Value | 2.46% | 31 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Grnd_Mtd_Regulator.xlsx
Option 2 | UARM - Network Performance Risk | 119129.8626 | 90.94% | 1 | K22 | Total Investment Cost | 4.86% | 32 | InvestmentSummary_R24_D_ND_CAHVF_22kV_Emu_Bay_Feeders.xlsx
Option 2 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0% | 33 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Capacity.xlsx
Option 2 | UARM - Financial Risk | 2284.8633 | 1.74% | 1 | K24 | UARM - Environment and Community - Other Risk | 0% | 34 | InvestmentSummary_R24_D_ND_CAHVF_Aug_SubStd_Cond_Capacity.xlsx
Option 2 | UARM - Safety & People - Public | 0.10154 | 0% | 1 | K25 | UARM - Financial Risk | 1.74% | 35 | InvestmentSummary_R24_D_ND_LANDZ_LandAcq_ZoneSubs.xlsx
Option 2 | Terminal Value | 3225.0586 | 2.46% | 1 | K26 | UARM - Network Performance Risk | 90.94% | 36 | InvestmentSummary_R24_D_ND_CATXU_Aug_Dist_Sub.xlsx
Option 2 | Total Investment Cost | -6363.7221 | 4.86% | 1 | K27 | UARM - Safety & People - Public | 0% | 37
Option 2 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0% | 38
Option 2 |  |  |  | 0 | K29 |  |  | 39
Option 2 |  |  |  | 0 | K30 |  |  | 40
Option 2 |  |  |  | 0 | K31 |  |  | 41
Option 2 |  |  |  | 0 | K32 |  |  | 42
Option 2 |  |  |  | 0 | K33 |  |  | 43
| Total | 118276.2655 | 100%
| Option 3 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 3 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K20 | Row Labels | Sum of Value in %
Option 3 | UARM - Safety & People - Worker | 0.16482 | 0% | 1 | K21 | Terminal Value | 1.33%
Option 3 | UARM - Network Performance Risk | 193363.4505 | 93.5% | 1 | K22 | Total Investment Cost | 3.38%
Option 3 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0%
Option 3 | UARM - Financial Risk | 3708.634 | 1.79% | 1 | K24 | UARM - Environment and Community - Other Risk | 0%
Option 3 | UARM - Safety & People - Public | 0.16482 | 0% | 1 | K25 | UARM - Financial Risk | 1.79%
Option 3 | Terminal Value | 2746.1593 | 1.33% | 1 | K26 | UARM - Network Performance Risk | 93.5%
Option 3 | Total Investment Cost | -6996.6933 | 3.38% | 1 | K27 | UARM - Safety & People - Public | 0%
Option 3 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0%
Option 3 |  |  |  | 0 | K29
Option 3 |  |  |  | 0 | K30
Option 3 |  |  |  | 0 | K31
Option 3 |  |  |  | 0 | K32
Option 3 |  |  |  | 0 | K33
| Total | 192821.88 | 100%
| Option 4 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 4 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K20 | Row Labels | Sum of Value in %
Option 4 | UARM - Safety & People - Worker | 0.16482 | 0% | 1 | K21 | Terminal Value | 1.4%
Option 4 | UARM - Network Performance Risk | 193363.4505 | 93.26% | 1 | K22 | Total Investment Cost | 3.56%
Option 4 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0%
Option 4 | UARM - Financial Risk | 3708.634 | 1.79% | 1 | K24 | UARM - Environment and Community - Other Risk | 0%
Option 4 | UARM - Safety & People - Public | 0.16482 | 0% | 1 | K25 | UARM - Financial Risk | 1.79%
Option 4 | Terminal Value | 2894.8586 | 1.4% | 1 | K26 | UARM - Network Performance Risk | 93.26%
Option 4 | Total Investment Cost | -7375.551 | 3.56% | 1 | K27 | UARM - Safety & People - Public | 0%
Option 4 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0%
Option 4 |  |  |  | 0 | K29
Option 4 |  |  |  | 0 | K30
Option 4 |  |  |  | 0 | K31
Option 4 |  |  |  | 0 | K32
Option 4 |  |  |  | 0 | K33
| Total | 192591.7217 | 100%
| Option 5 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 5 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 5 |  |  |  | 0 | K21 |  | 0%
Option 5 |  |  |  | 0 | K22
Option 5 |  |  |  | 0 | K23
Option 5 |  |  |  | 0 | K24
Option 5 |  |  |  | 0 | K25
Option 5 |  |  |  | 0 | K26
Option 5 |  |  |  | 0 | K27
Option 5 |  |  |  | 0 | K28
Option 5 |  |  |  | 0 | K29
Option 5 |  |  |  | 0 | K30
Option 5 |  |  |  | 0 | K31
Option 5 |  |  |  | 0 | K32
Option 5 |  |  |  | 0 | K33
| Total | 0 | 0%
| Option 6 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 6 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 6 |  |  |  | 0 | K21 |  | 0%
Option 6 |  |  |  | 0 | K22
Option 6 |  |  |  | 0 | K23
Option 6 |  |  |  | 0 | K24
Option 6 |  |  |  | 0 | K25
Option 6 |  |  |  | 0 | K26
Option 6 |  |  |  | 0 | K27
Option 6 |  |  |  | 0 | K28
Option 6 |  |  |  | 0 | K29
Option 6 |  |  |  | 0 | K30
Option 6 |  |  |  | 0 | K31
Option 6 |  |  |  | 0 | K32
Option 6 |  |  |  | 0 | K33
| Total | 0 | 0%

## Summary
Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | NPV Period | Base Fiscal Year | Currency Scale
|  |  |  | PRJ000861 |  | 2025 |  | 25 | FY23 | Literal
|  |  |  | Investment Name | [5 empty] | Scenario
|  |  |  | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 | [5 empty] | Approved
Value Function |  | TasNetworks Value Function |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Investment Description
Description |  | Rosebery Transformers T1 &T2 Replacement | [9 empty] | TRUE
Functional Area |  | RENTF |  |  | Department |  |  | Network Operations
Works Initiator |  |  |  |  | Portfolio |  |  | Tx - Renewal
Investment Category |  | Standard Control - Reliability & Quality Maintained |  |  | Needs Item Reference |  |  | na
Investment Type |  | Network Project |  |  | Document No.
Investment Stage |  | Gate 2 – Investment Evaluation Summary |  |  | Project Zone Location
PPM ID |  |  |  |  | Regulatory Test Required |  |  | No
Investment Summary
Problem Definition |  | Previously refurbished Transformers T1 and T2 at Rosebery Substation exhibit a number of high risk characteristics that must be managed through risk mitigation to ensure that the risks remain within TasNetworks risk appetite. The risks are associated with degradation of the transformer physically and electrically, design deficiencies, no spares being available and the transformer bundling installation. A number of risk mitigation investment options are assessed to identify the preferred option for mitigation of the risks. | [9 empty] | TRUE
Recommendation |  | It is recommended that option 8 (proactively replace T1 and T2 in R24 with like for like modern equivalent transformers) is approved and progressed as it best satisfies the customer and business needs. | [9 empty] | TRUE
Alternative Spend Profile
Name |  | Status | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV | Alternative Start Date
Option 1 - Proactively replace T1 and T2 in R24 |  | Candidate | 0 | 0 | 0 | 0 | 8751580 | 8751580 | 8751580 | 192629684.68 | 4547400%
Option 2 - Proactively replace T1 and T2 in R29 |  | Candidate | 0 | 0 | 0 | 0 | 0 | 0 | 8751580 | 118276265.54 | 4547400%
Option 8 - Proactively replace T1 and T2 in R24 with like for like modern equivalent transformers |  | Recommended | 0 | 0 | 0 | 0 | 8372981 | 8372981 | 8372981 | 192821880.02 | 4547400%
Option 9 - Proactively replace T1 and T2 with Transformers with a 22 kV third winding |  | Candidate | 0 | 0 | 0 | 0 | 8826362 | 8826362 | 8826362 | 192591721.68 | 4547400%
0
0
Leader Endorsement
Name |  |  | Governance |  | Signature |  |  | Comments |  |  | Date
|  |  | Submission | [7 empty] | 4486200%
|  |  | Endorsement | [7 empty] | 4486200%
|  |  | Approval | [7 empty] | 4486200%
Investment Attachments
Date | Attachment Name |  | Description

## Investment Overview
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000861 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-28
Functional Area | RENTF |  | Department |  | Network Operations
Works Initiator |  |  | Portfolio |  | Tx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference |  | na
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | Rosebery Substation is located in the North West of Tasmania. The substation supplies power to the local community and businesses in the surrounding region. Power is supplied to Rosebery Substation via the Farrell–Rosebery–Newton–Queenstown and Farrell–Rosebery 110 kV transmission circuits. The Rosebery substation supplies the Trial Harbour Zone substation, Bluestone (Renison) Mine, Rosebery MMG and retail customers including the township of Tullah. The substation is located inside the boundaries of the Rosebery MMG mine site. Over time the substation has become very crowded, as additional assets have been installed within the substation, the footprint has not been able to expand as it is constrained by the existing mine infrastructure external to the substation. T1 and T2 are rated at 36 MVA each, T3 is rated at 30 MVA, therefore the current firm rating for Rosebery is 66 MVA. The historical recent maximum demand recorded was 48 MVA, the current maximum demand is forecast to continue into the future. T1 and T2 are 110/44-22 kV transformers and were manufactured by Tyree in 1969. These units were commissioned at Rosebery Substation the same year. In 1994, transformer T2 underwent a full refurbishment in the ABB factory, including redesign and replacement of core and coil assembly, replacement of winding and insulating oil and replacement of radiators cooling system. In 2000, transformer T1 underwent mid-life refurbishment, which included the installation of new radiators, bushings and LV conductor terminations, and the replacement of transformer oil. The SKM assessment of proposed regulatory asset lives, August 2013, is the point of reference for asset life and references 45 to 60 years for power transformers. The life of power transformers as defined by the AER is 45 years. By the end of the next regulatory period (FY29), both transformers will be 60 years old. The condition and age of the transformers points to an increased risk of failure. The advanced age and associated degradation of the assets is evident in the condition assessment report, which has identified that both transformers will be running toward end of life at the proposed time of replacement. Assessment of the electrical condition of supply transformers has identified the condition of the transformers is trending down and several key parameters have been classified as either marginal or poor. The transformers have inherent design deficiencies i.e. bolted lids on the transformer tank. Leak repairs have been undertaken in previous years. However, there are numerous persisting minor oil leaks through the lower flanges on main tank and radiators, 44 kV bushing turrets, pumps, area around the pressure relief device, main tank oil level sight glass and Buchholz for both T1 and T2. Australian Standard AS2067 specifies that transformers are either separated by a minimum distance or that they are separated by firewalls between adjacent transformers. At Rosebery the transformers are separated by firewalls but the firewalls do not extend the full length of the oil containment bund. This could lead to a fire in one of the transformers causing either fire damage or a fire in another transformer, which would lead to extended customer outages. T1, T2 and T3 transformers at Rosebery are the only transformers TasNetworks have with a 110/44 kV voltage ratio, currently no system spare transformer exists in the event of a failure. |  |  |  |  | TRUE
| Problem Definition |  | Previously refurbished Transformers T1 and T2 at Rosebery Substation exhibit a number of high risk characteristics that must be managed through risk mitigation to ensure that the risks remain within TasNetworks risk appetite. The risks are associated with degradation of the transformer physically and electrically, design deficiencies, no spares being available and the transformer bundling installation. A number of risk mitigation investment options are assessed to identify the preferred option for mitigation of the risks. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; and - supply reliability and safety of the current network; Consumers have also identified safety, restoration of faults/emergencies and supply reliability as the highest performing services offered by TasNetworks. The correct operation of transformers is critical to enable TasNetworks to offer services that meet these top priorities. This project was also the topic of deep dive sessions with the Regulatory Advisory Committee (RAC), who provided feedback on the initial options analysis. This analysis was then adjusted to take on board the RAC feedback and presented back to the RAC. |  |  |  |  | TRUE

## Objectives and Analysis
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000861 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-28
Functional Area | RENTF |  | Department |  | Network Operations
Works Initiator |  |  | Portfolio |  | Tx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference |  | na
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Objectives and Analysis
03. Business Performance Objectives | Safety and Wellbeing |  | Significant incidents/ Reportable incidents: Proactive and preventative intervention eliminates the risks associated with catastrophic failure of assets. |  |  |  |  | TRUE
| Our Customers |  | Customer net promoter score: Maintaining uninterrupted, secure supply to customers through commercially sensitive risk reduction. |  |  |  |  | FALSE
| Our People |  | Employee engagement: Maintain our vision of ‘powering a bright future.’ |  |  |  |  | FALSE
| Our Business - Sustained Cost Management |  | Capital expenditure: Ensure risk based approach to financial commitments through the use of specialized tools such as the Total Qualified Risk (TQR) and Net Present Value (NPV) system / tools. Operating expenditure: Maintaining network assets to sustain a balanced approach to expenditure. |  |  |  |  | FALSE
| Our Business - Network Service |  | Service incentive targets achieved - transmission and distribution: Providing a reliable platform from which the business can achieve service performance targets |  |  |  |  | FALSE
04. Business Risks | Death or Injury (Employee) |  | Failed transformer resulting in a fire that results in an employee experiencing smoke inhalation. |  |  |  |  | FALSE
| Death or Injury (Public) |  | Failed transformer resulting in a fire that results in a member of public experiencing smoke inhalation. |  |  |  |  | FALSE
| Sustainable and Predictable Pricing | [6 empty] | FALSE
| Widespread Power Disruption |  | In the event of transformer fire/failure the existing arrangement could lead to customer outages. This includes the Trial Harbour Zone, retail customers including the township of Tullah substation and major industrial customers Bluestone (Renison) Mine and MMG. |  |  |  |  | FALSE
| Bushfire Start | [6 empty] | FALSE
| Loss of Major Industrial |  | Failed transformer and subsequent loss or limit of supply to a major industrial. |  |  |  |  | FALSE
| Customer Focus |  | Customers have an expectation of consistent and reliable power supply which these assets provide. Proactive replacement of the asset will ensure the reliability of customer supply is maintained. |  |  |  |  | FALSE
| Business Continuity Management | [6 empty] | FALSE
| Cyber Security | [6 empty] | FALSE
| Private Assets | [6 empty] | FALSE
Energy Policy and Regulation
Project Marinus (D&A)
Tasmanian Power System Complexity
| Emerging Complexity of the NEM | [6 empty] | FALSE
05. Strategic Objectives | Strategic Objectives |  | The strategic objective is to manage the risk to customers by developing a risk based strategic plan. This includes a condition/risk-based approach to manage the assets to maintain reliability and security of the network and effectively manage the safety risk associated with maintaining Transformers T1 and T2 at the Rosebery Substation |  |  |  |  | FALSE
| Strategic Document #1 |  | Towards 2030 We continually assess what value means to our customers to better serve all our stakeholders: The forward demand in this area has been reviewed with Network Planning and the most appropriate customer centric option selected. Ensuring our electricity network remains resilient and fit-for-purpose by proactively maintaining assets, designing out risks, and making prudent investments of long-term value: The long-term impact of asset maintenance and renewal has been reviewed out to 2050. The analysis clearly demonstrates work should be done to mitigate risks to customers now and into the future. To ensure our capital is used wisely, we will streamline our investment planning to achieve optimised investment strategies and have the best delivery model: Investment planning has been developed to align all asset categories. The plan has been developed out to 2050 to ensure the long-term objectives of optimising investment strategies is achieved. |  |  |  |  | FALSE
| Strategic Document #2 |  | Network Drivers Ensuring our future roadmap specific drivers of change are achieved, including items most likely to affect customers: This work will be achieved in alignment with the relevant Transmission Network Drivers. Including customer needs, cybersecurity & digital trust, environment, social & governance and resilience. |  |  |  |  | FALSE
| Strategic Document #3 |  | TasNetworks Business Plan 2020-21 Our services reflect our customers’ needs and expectations: There is a significant community in and surrounding the Rosebery substation that rely on it for continuous supply. Define and efficiently deliver our work: This work supports a long-term program which aims to support deliverability. We operate our business to be sustainable: The proposed plan is designed to build in sustainability in supply and deliverability. |  |  |  |  | FALSE
| Strategic Document #4 |  | National Energy Regulator (NER) 6A.6.7 (Transmission) Meet of manage the expected demand for prescribed services: The proposal considers the demand from prescribed services and meets this expectation. Comply with all applicable regulatory obligations associated with the provision of prescribed services: This proposal complies with all applicable regulatory obligations associated with the provision of prescribed services. Maintain the quality, reliability and security of supply of prescribed services: The proposal considers the quality, reliability and security of prescribed services and meets this expectation. |  |  |  |  | FALSE
| Strategic Document #5 | [6 empty] | FALSE
06. Project Objectives | Project Objectives |  | The objective is to ensure TasNetworks' Rosebery Substation transformers T1 and T2 that currently exhibit a combination of: - significant electrical and physical condition deterioration; - are not adequately rated for future network load forecasts; - have design and operational issues; and - spare parts are obsolete, will be appropriately managed to ensure that the risk is mitigated within an acceptable level. |  |  |  |  | FALSE
07. Options Analysis | Benchmarking |  | TasNetworks participates in various formal benchmarking forums to benchmark asset management practiced against international and national transmission companies. Key Benchmarking forums include: - International Transmission Operations and Maintenance Study (ITOMS); - Australian and New Zealand Chief Executive Officers Benchmarking forum, Energy Supply Association of Australia (ESAA), and - Regulatory Information Notices (RINs), Australian Energy Regulator. Additionally, there were several other options considered during the development of this IES that did not proceed to economic analysis. They included: Option 3 Description - Refurbish both transformers with the aim to try to extend the life of the units. Reason for Rejection - Not assessed as a viable option. The units have already been refurbished, due to this and the age and condition of the units this option has not been considered. It also does not mitigate the existing AS2067 fire or common mode failure or fire risk present at the site. Option 4 Description - Refurbish one transformer and replace one with a new transformer. Reason for Rejection - Not assessed as a viable option. The units have already been refurbished, due to this and the age and condition of the units this option has not been considered. It also does not mitigate the existing AS2067 fire or common mode failure or fire risk present at the site. Option 5 Description - Replace one transformer and run the other to failure. Reason for Rejection - Not assessed as a viable option. This option has not been considered as in the long term only having one of T1 or T2 does not provide sufficient power supply security. Option 6 Description - Replace both transformers with one transformer. Reason for Rejection - Not assessed as a viable option. This option has not been considered as in the long term only having one of T1 or T2 does not provide sufficient power supply security. Option 7 Description - Replace the existing transformers with power transformers already in the network. Reason for Rejection - Not assessed as a viable option. This option has not been considered as no suitable units exist within the network. |  |  |  |  | TRUE
| Expert Findings |  | TasNetworks have engaged a Specialist Substation Design Engineer has perform a review of the fire compliance of the current site to Australian Standard AS2067. This review has deemed the current site does not comply with AS2067, the preferred option has been developed to enable fire separation compliance to AS2067. TasNetworks Engineers and field inspectors routinely perform condition assessments of the Transformers. This is performed via field inspections, oil dissolved gas analysis and various other methods to determine the condition of the assets. The output of these inspections is a transformer condition assessment report which has identified the Transformers will be approaching end of life at proposed replacement date. |  |  |  |  | FALSE
08. Investment Timing | Investment Timing |  | The project is due to be implemented and practically complete in 2028. The capital cost investment here is spread over a three-year period to accommodate the likely delivery strategy to implement the mitigation options. It is anticipated that similar programs of work will continue into future regulatory periods due to the size of the fleet and ongoing investment requirements to adequately manage the risk. |  |  |  |  | TRUE
09. Expected Outcomes and Benefits | Expected Outcomes and Benefits |  | The benefits to TasNetworks from implementation of the preferred option will be: - the NPV analysis clearly provides a good financial return for the business, whilst addressing the risk to the business; - provides a reliable service to customers; - meets NER objectives; - transformer capacity suitable for the application; - risk of asset failure addressed; - firm capacity on line faults addressed; - addresses AS2067 fire risk; - common mode failure addressed. |  |  |  |  | TRUE
10. Assumptions | Assumptions |  | It is assumed that the master data is correct. It is assumed that all the maintenance had been done on time and to the required standard. It was assumed that the transformers had not experienced any single over loading event that would significantly affect the life of the asset. Risk Basis of Preparation: Safety & People (Public) - Estimated on consequence being conceivable but highly unlikely. A person may experience smoke inhalation. Safety & People (Worker) - Estimated based on an employee being ten times more likely to be injured than a member of the public. A person may experience smoke inhalation. Investigation Costs - Estimated based on number of failures per annum as all failures would be investigated. Network Performance (Outage Duration) - Estimate two weeks to replace transformer. Network Performance (Load Impacted) - Major Industrial business customer - Mines |  |  |  |  | TRUE
11. Regulatory Considerations | Regulatory Investment Test |  | na
| Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes - Prescribed Services (Transmission).
| Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes - Prescribed Services (Transmission).
| Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes - Prescribed Services (Transmission).
| Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
12. Recommendation | Recommendation |  | It is recommended that option 8 (proactively replace T1 and T2 in R24 with like for like modern equivalent transformers) is approved and progressed as it best satisfies the customer and business needs. |  |  |  |  | TRUE

## Economic Analysis
alternative
| Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[5 empty] | PRJ000861 |  | 2025 |  | 25 | FY23 | Literal
[5 empty] | Investment Name | [5 empty] | Scenario
[5 empty] | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 | [5 empty] | Approved
autofit | Value Function |  |  | TasNetworks Value Function | Version |  | 0.1 |  | Date |  | 2022-10-28
Economic Analysis
| Parameter |  |  |  | Value | Unit | Source of Values
75679 | NPV Period |  |  |  | 25 | Years | TasNetworks requirement
autofit | First Fiscal Year of Forecast |  |  |  | FY23 | - | TasNetworks requirement
| Weighted Average Cost of Capital (WACC) |  |  |  | 2.82 | % | 2019-24 Revenue determination and ISP 2022 draft data
| Voluntary load shedding assumed? |  |  |  | No | - | N/A
| Reduction in system losses considered? |  |  |  | No | - | N/A
| Value of Customer Reliability applied |  |  | Very large business customer - Services | 10.93 | $/kWh | AER - Values of Customer Reliability - Annual adjustment summary - December 2021
|  |  |  | Residential | 17.08 | $/kWh
|  |  |  | Very large business customer - Metals | 20.6 | $/kWh
|  |  |  | Very large business customer - Transmission | 27.43 | $/kWh
|  |  |  | Very large business customer - Mines | 36.47 | $/kWh
|  |  |  | Business customer - Agricultural | 39.28 | $/kWh
|  |  |  | Business customer - Commercial | 46.18 | $/kWh
|  |  |  | Very large business customer - Distribution | 58.8 | $/kWh
|  |  |  | Business customer - Industrial | 66.16 | $/kWh
autofit |  |  |  | Very large business customer - Industrial | 122.39 | $/kWh
Sensitivity to Project Timing
|  | 1 | Navigate to Copperleaf Portfolio and search for your Investment
|  | 2 | Navigate to the Value Comparison Page for your Investment through the breadcrumb menu
|  | 3 | Once on the Value Comparison Page, select "Value by Start Date" in the drop-down menu in the top-left corner of the page
|  | 4 | This screen will show the value change over time for each option in your investment
|  | 5 | With the snipping tool on your PC, take a screenshot of the chart and copy + paste it in this section of the report
Options Considered
| Options Summary |  |  |  | R24 Expenditure ($M) | NPV ($M) | Preferred Option | Reason for selection/rejection
| Option 1 - Proactively replace T1 and T2 in R24 |  |  |  | 8.7516 | 192.6297 | No | Rejected: Does not address inherent fire risk at the site. Is not the best option from a technical perspective. Does not add value to the customer.
| Option 2 - Proactively replace T1 and T2 in R29 |  |  |  | 0 | 118.2763 | No | Rejected: Does not address inherent fire risk at the site. Increased likelihood of loss of customer supply occurring. Potential safety risk from transformer failure. Does not add value to the customers.
| Option 8 - Proactively replace T1 and T2 in R24 with like for like modern equivalent transformers |  |  |  | 8.373 | 192.8219 | Yes | This option is the recommended option. It provides good financial return, whilst meeting customer need, addressing identified risks and incorporating future planning.
| Option 9 - Proactively replace T1 and T2 with Transformers with a 22 kV third winding |  |  |  | 8.8264 | 192.5917 | No | Rejected: The option of a third winding is an additional cost for no measurable value to customers.
0
0
NPV Components

## Needs Assessment (hidden)
Needs Assessment Form |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000861 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-28
Functional Area | RENTF |  | Department |  | Network Operations
Works Initiator |  |  | Portfolio |  | Tx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference |  | na
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | Rosebery Substation is located in the North West of Tasmania. The substation supplies power to the local community and businesses in the surrounding region. Power is supplied to Rosebery Substation via the Farrell–Rosebery–Newton–Queenstown and Farrell–Rosebery 110 kV transmission circuits. The Rosebery substation supplies the Trial Harbour Zone substation, Bluestone (Renison) Mine, Rosebery MMG and retail customers including the township of Tullah. The substation is located inside the boundaries of the Rosebery MMG mine site. Over time the substation has become very crowded, as additional assets have been installed within the substation, the footprint has not been able to expand as it is constrained by the existing mine infrastructure external to the substation. T1 and T2 are rated at 36 MVA each, T3 is rated at 30 MVA, therefore the current firm rating for Rosebery is 66 MVA. The historical recent maximum demand recorded was 48 MVA, the current maximum demand is forecast to continue into the future. T1 and T2 are 110/44-22 kV transformers and were manufactured by Tyree in 1969. These units were commissioned at Rosebery Substation the same year. In 1994, transformer T2 underwent a full refurbishment in the ABB factory, including redesign and replacement of core and coil assembly, replacement of winding and insulating oil and replacement of radiators cooling system. In 2000, transformer T1 underwent mid-life refurbishment, which included the installation of new radiators, bushings and LV conductor terminations, and the replacement of transformer oil. The SKM assessment of proposed regulatory asset lives, August 2013, is the point of reference for asset life and references 45 to 60 years for power transformers. The life of power transformers as defined by the AER is 45 years. By the end of the next regulatory period (FY29), both transformers will be 60 years old. The condition and age of the transformers points to an increased risk of failure. The advanced age and associated degradation of the assets is evident in the condition assessment report, which has identified that both transformers will be running toward end of life at the proposed time of replacement. Assessment of the electrical condition of supply transformers has identified the condition of the transformers is trending down and several key parameters have been classified as either marginal or poor. The transformers have inherent design deficiencies i.e. bolted lids on the transformer tank. Leak repairs have been undertaken in previous years. However, there are numerous persisting minor oil leaks through the lower flanges on main tank and radiators, 44 kV bushing turrets, pumps, area around the pressure relief device, main tank oil level sight glass and Buchholz for both T1 and T2. Australian Standard AS2067 specifies that transformers are either separated by a minimum distance or that they are separated by firewalls between adjacent transformers. At Rosebery the transformers are separated by firewalls but the firewalls do not extend the full length of the oil containment bund. This could lead to a fire in one of the transformers causing either fire damage or a fire in another transformer, which would lead to extended customer outages. T1, T2 and T3 transformers at Rosebery are the only transformers TasNetworks have with a 110/44 kV voltage ratio, currently no system spare transformer exists in the event of a failure. |  |  |  |  | TRUE
| Problem Definition |  | Previously refurbished Transformers T1 and T2 at Rosebery Substation exhibit a number of high risk characteristics that must be managed through risk mitigation to ensure that the risks remain within TasNetworks risk appetite. The risks are associated with degradation of the transformer physically and electrically, design deficiencies, no spares being available and the transformer bundling installation. A number of risk mitigation investment options are assessed to identify the preferred option for mitigation of the risks. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; and - supply reliability and safety of the current network; Consumers have also identified safety, restoration of faults/emergencies and supply reliability as the highest performing services offered by TasNetworks. The correct operation of transformers is critical to enable TasNetworks to offer services that meet these top priorities. This project was also the topic of deep dive sessions with the Regulatory Advisory Committee (RAC), who provided feedback on the initial options analysis. This analysis was then adjusted to take on board the RAC feedback and presented back to the RAC. |  |  |  |  | TRUE
03. Business Objectives | Business Objectives
04. Project Objectives | Project Objectives |  | The objective is to ensure TasNetworks' Rosebery Substation transformers T1 and T2 that currently exhibit a combination of: - significant electrical and physical condition deterioration; - are not adequately rated for future network load forecasts; - have design and operational issues; and - spare parts are obsolete, will be appropriately managed to ensure that the risk is mitigated within an acceptable level. |  |  |  |  | FALSE
05. Risk Objective | Risk if not progressed | [6 empty] | TRUE
06. Investment Timing | Investment Timing |  | The project is due to be implemented and practically complete in 2028. The capital cost investment here is spread over a three-year period to accommodate the likely delivery strategy to implement the mitigation options. It is anticipated that similar programs of work will continue into future regulatory periods due to the size of the fleet and ongoing investment requirements to adequately manage the risk. |  |  |  |  | TRUE
07. Business Consulatation | Business Consulatation | [6 empty] | TRUE

## Option 1
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000861 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 1 - Proactively replace T1 and T2 in R24
autofit | Description |  | Proactively replace T1 and T2 in R24 with 60 MVA Transformers
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected: Does not address inherent fire risk at the site. Is not the best option from a technical perspective. Does not add value to the customer.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 1 - Proactively replace T1 and T2 in R24 |  | Capex |  |  | 0 | 0 | 0 | 0 | 8751580 | 8751580 | 8751580 | 192629684.68
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 0.16482 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 193363.4505 | 93.3%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 3708.634 | 1.79%
[9 empty] | UARM - Safety & People - Public |  |  | 0.16482 | 0%
[9 empty] | Terminal Value |  |  | 2870.3317 | 1.38%
[9 empty] | Total Investment Cost |  |  | -7313.0611 | 3.53%
[9 empty] | Total |  |  | 192629.6847
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2028 | 0 | Dollar | 0 | 0 | 0 | 0 | 8751580
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2028 | -7313.0611 | Dollar | 0 | 0 | 0 | 0 | 8751580
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 2870.3317 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0.16482 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 20142384.77 | 20158840.83 | 20136607.04 | 20076213.42 | 19978394.72
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 193363.4505 | Dollar | 20142384.77 | 20158840.83 | 20136607.04 | 20076213.42 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 386322.92 | 386638.54 | 386212.11 | 385053.78 | 383177.66
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 3708.634 | Dollar | 386322.92 | 386638.54 | 386212.11 | 385053.78 | 0
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0.16482 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 20361606.44
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 2
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000861 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 2 - Proactively replace T1 and T2 in R29
autofit | Description |  | Proactively replace T1 and T2 in R29 with 60 MVA Transformers
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected: Does not address inherent fire risk at the site. Increased likelihood of loss of customer supply occurring. Potential safety risk from transformer failure. Does not add value to the customers.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 2 - Proactively replace T1 and T2 in R29 |  | Capex |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 8751580 | 118276265.54
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 0.10154 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 119129.8626 | 90.94%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 2284.8633 | 1.74%
[9 empty] | UARM - Safety & People - Public |  |  | 0.10154 | 0%
[9 empty] | Terminal Value |  |  | 3225.0586 | 2.46%
[9 empty] | Total Investment Cost |  |  | -6363.7221 | 4.86%
[9 empty] | Total |  |  | 118276.2655
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2033 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2033 | -6363.7221 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 3225.0586 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0.10154 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 20142384.77 | 20158840.83 | 20136607.04 | 20076213.42 | 19978394.72
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 119129.8626 | Dollar | 20142384.77 | 20158840.83 | 20136607.04 | 20076213.42 | 19978394.72
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 386322.92 | 386638.54 | 386212.11 | 385053.78 | 383177.66
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 2284.8633 | Dollar | 386322.92 | 386638.54 | 386212.11 | 385053.78 | 383177.66
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0.10154 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 20361606.44
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 20361606.44
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 3
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000861 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 8 - Proactively replace T1 and T2 in R24 with like for like modern equivalent transformers
autofit | Description |  | Proactively replace T1 and T2 in R24 with like for like modern equivalent transformers
autofit | Alternative Status |  | Recommended
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | This option is the recommended option. It provides good financial return, whilst meeting customer need, addressing identified risks and incorporating future planning.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 8 - Proactively replace T1 and T2 in R24 with like for like modern equivalent transformers |  | Capex |  |  | 0 | 0 | 0 | 0 | 8372981 | 8372981 | 8372981 | 192821880.02
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 0.16482 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 193363.4505 | 93.5%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 3708.634 | 1.79%
[9 empty] | UARM - Safety & People - Public |  |  | 0.16482 | 0%
[9 empty] | Terminal Value |  |  | 2746.1593 | 1.33%
[9 empty] | Total Investment Cost |  |  | -6996.6933 | 3.38%
[9 empty] | Total |  |  | 192821.88
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2028 | 0 | Dollar | 0 | 0 | 0 | 0 | 8372981
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2028 | -6996.6933 | Dollar | 0 | 0 | 0 | 0 | 8372981
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 2746.1593 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0.16482 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 20142384.77 | 20158840.83 | 20136607.04 | 20076213.42 | 19978394.72
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 193363.4505 | Dollar | 20142384.77 | 20158840.83 | 20136607.04 | 20076213.42 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 386322.92 | 386638.54 | 386212.11 | 385053.78 | 383177.66
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 3708.634 | Dollar | 386322.92 | 386638.54 | 386212.11 | 385053.78 | 0
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0.16482 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 20361606.44
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 4
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000861 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 9 - Proactively replace T1 and T2 with Transformers with a 22 kV third winding
autofit | Description |  | Proactively replace T1 and T2 in alignment with 60 MVA Transformers with a 22 kV third winding.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected: The option of a third winding is an additional cost for no measurable value to customers.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 9 - Proactively replace T1 and T2 with Transformers with a 22 kV third winding |  | Capex |  |  | 0 | 0 | 0 | 0 | 8826362 | 8826362 | 8826362 | 192591721.68
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 0.16482 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 193363.4505 | 93.26%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 3708.634 | 1.79%
[9 empty] | UARM - Safety & People - Public |  |  | 0.16482 | 0%
[9 empty] | Terminal Value |  |  | 2894.8586 | 1.4%
[9 empty] | Total Investment Cost |  |  | -7375.551 | 3.56%
[9 empty] | Total |  |  | 192591.7217
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2028 | 0 | Dollar | 0 | 0 | 0 | 0 | 8826362
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2028 | -7375.551 | Dollar | 0 | 0 | 0 | 0 | 8826362
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 2894.8586 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0.16482 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 20142384.77 | 20158840.83 | 20136607.04 | 20076213.42 | 19978394.72
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 193363.4505 | Dollar | 20142384.77 | 20158840.83 | 20136607.04 | 20076213.42 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 386322.92 | 386638.54 | 386212.11 | 385053.78 | 383177.66
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 3708.634 | Dollar | 386322.92 | 386638.54 | 386212.11 | 385053.78 | 0
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 17.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0.16482 | Dollar | 17.17 | 17.18 | 17.16 | 17.11 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 20361606.44
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 20528742.03 | 20545513.73 | 20522853.47 | 20461301.42 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 5 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000861 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 6 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000861 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENTF_TF_POWER TRANSFORMER ROSEBERYT1 T2 | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## TextFormatting (hidden)
Index | 8
Column Width | 238
Font | Calibri
Font Size | 11
Font Colour
Text | Sheet | Group | Field | Row Height | Row Number
Rosebery Transformers T1 &T2 Replacement | Investment Summary | Header | Description | 15 | 9
Rosebery Substation is located in the North West of Tasmania. The substation supplies power to the local community and businesses in the surrounding region. Power is supplied to Rosebery Substation via the Farrell–Rosebery–Newton–Queenstown and Farrell–Rosebery 110 kV transmission circuits. The Rosebery substation supplies the Trial Harbour Zone substation, Bluestone (Renison) Mine, Rosebery MMG and retail customers including the township of Tullah. The substation is located inside the boundaries of the Rosebery MMG mine site. Over time the substation has become very crowded, as additional assets have been installed within the substation, the footprint has not been able to expand as it is constrained by the existing mine infrastructure external to the substation. T1 and T2 are rated at 36 MVA each, T3 is rated at 30 MVA, thereforeand therefore the current firm rating for Rosebery is 66 MVA. The historical recent maximum demand recorded was 48 MVA, the current maximum demand is forecast to continue into the future. T1 and T2 are 110/44-22 kV transformers and were manufactured by Tyree in 1969. These units were commissioned at Rosebery Substation the same year. In 1994, transformer T2 underwent a full refurbishment in the ABB factory, including redesign and replacement of core and coil assembly, replacement of winding and insulating oil and replacement of radiators cooling system. In 2000, transformer T1 underwent mid-life refurbishment, which included the installation of new radiators, bushings and LV conductor terminations, and the replacement of transformer oil. The SKM assessment of proposed regulatory asset lives, August 2013, is the point of reference for asset life and references 45 to 60 years for power transformers. The life of power transformers as defined by the AER is 45 years. By the end of the next regulatory period (FY29), both transformers will be 60 years old. The condition and age of the transformers points to an increased risk of failure. The advanced age and associated degradation of the assets is evident in the condition assessment report, which has identified that both transformers will be running toward end of life at the proposed time of replacement. Assessment of the electrical condition of supply transformers has identified the condition of the transformers is trending down and several key parameters have been classified as either marginal or poor. The transformers have inherent design deficiencies i.e. bolted lids on the transformer tank. Leak repairs have been undertaken in previous years. However, there are numerous persisting minor oil leaks through the lower flanges on main tank and radiators, 44 kV bushing turrets, pumps, area around the pressure relief device, main tank oil level sight glass and Buchholz for both T1 and T2. Australian Standard AS2067 specifies that transformers are either separated by a minimum distance or that they are separated by firewalls between adjacent transformers. At Rosebery the transformers are separated by firewalls but the firewalls do not extend the full length of the oil containment bund. This could lead to a fire in one of the transformers causing either fire damage or a fire in another transformer, which would lead to extended customer outages. T1, T2 and T3 transformers at Rosebery are the only transformers TasNetworks have with a 110/44 kV voltage ratio, currently no system spare transformer exists in the event of a failure. | Investment Summary | 0.1 Overview | Background | 409.5 | 16
Previously refurbished Transformers T1 and T2 at Rosebery Substation exhibit a number of high risk characteristics that must be managed through risk mitigation to ensure that the risks remain within TasNetworks risk appetite. The risks are associated with degradation of the transformer physically and electrically, design deficiencies, no spares being available and the transformer bundling installation. A number of risk mitigation investment options are assessed to identify the preferred option for mitigation of the risks. | Investment Summary | 0.1 Overview | Problem Definition | 90 | 17
TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; and - supply reliability and safety of the current network; Consumers have also identified safety, restoration of faults/emergencies and supply reliability as the highest performing services offered by TasNetworks. The correct operation of transformers is critical to enable TasNetworks to offer services that meet these top priorities. This project was also the topic of deep dive sessions with the Regulatory Advisory Committee (RAC), who provided feedback on the initial options analysis. This analysis was then adjusted to take on board the RAC feedback and presented back to the RAC. | Investment Summary | 02. Customer Needs and Impact | Customer Needs and impact | 210 | 18
Significant incidents/ Reportable incidents: Proactive and preventative intervention eliminates the risks associated with catastrophic failure of assets. | Objectives and Analysis | 03. Business Performance Objectives | Safety and Wellbeing | 45 | 17
Customer net promoter score: Maintaining uninterrupted, secure supply to customers through commercially sensitive risk reduction. | Objectives and Analysis | 03. Business Performance Objectives | Our Customers | 45 | 18
Employee engagement: Maintain our vision of ‘powering a bright future.’ | Objectives and Analysis | 03. Business Performance Objectives | Our People | 45 | 19
Capital expenditure: Ensure risk based approach to financial commitments through the use of specialized tools such as the Total Qualified Risk (TQR) and Net Present Value (NPV) system / tools. Operating expenditure: Maintaining network assets to sustain a balanced approach to expenditure. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Sustained Cost Management | 120 | 20
Service incentive targets achieved - transmission and distribution: Providing a reliable platform from which the business can achieve service performance targets | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Network Service | 60 | 21
Failed transformer resulting in a fire that results in an employee experiencing smoke inhalation. | Objectives and Analysis | 04. Business Risks | Death or Injury (Employee) | 15 | 23
Failed transformer resulting in a fire that results in a member of public experiencing smoke inhalation. | Objectives and Analysis | 04. Business Risks | Death or Injury (Public) | 30 | 24
| Objectives and Analysis | 04. Business Risks | Sustainable and Predictable Pricing | 15 | 25
In the event of transformer fire/failure the existing arrangement could lead to customer outages. This includes the Trial Harbour Zone, retail customers including the township of Tullah substation and major industrial customers Bluestone (Renison) Mine and MMG. | Objectives and Analysis | 04. Business Risks | Widespread Power Disruption | 45 | 26
| Objectives and Analysis | 04. Business Risks | Bushfire Start | 15 | 27
Failed transformer and subsequent loss or limit of supply to a major industrial. | Objectives and Analysis | 04. Business Risks | Loss of Major Industrial | 15 | 28
Customers have an expectation of consistent and reliable power supply which these assets provide. Proactive replacement of the asset will ensure the reliability of customer supply is maintained. | Objectives and Analysis | 04. Business Risks | Customer Focus | 30 | 29
| Objectives and Analysis | 04. Business Risks | Business Continuity Management | 15 | 30
| Objectives and Analysis | 04. Business Risks | Cyber Security | 15 | 31
| Objectives and Analysis | 04. Business Risks | Private Assets | 15 | 32
| Objectives and Analysis | 04. Business Risks | Energy Policy and Regulation | 15 | 33
| Objectives and Analysis | 04. Business Risks | Project Marinus (D&A) | 15 | 34
| Objectives and Analysis | 04. Business Risks | Tasmanian Power System Complexity | 15 | 35
| Objectives and Analysis | 04. Business Risks | Emerging Complexity of the NEM | 15 | 36
The strategic objective is to manage the risk to customers by developing a risk based strategic plan. This includes a condition/risk-based approach to manage the assets to maintain reliability and security of the network and effectively manage the safety risk associated with maintaining Transformers T1 and T2 at the Rosebery Substation | Objectives and Analysis | 05. Strategic Objectives | Strategic Objectives | 45 | 38
Towards 2030 We continually assess what value means to our customers to better serve all our stakeholders: The forward demand in this area has been reviewed with Network Planning and the most appropriate customer centric option selected. Ensuring our electricity network remains resilient and fit-for-purpose by proactively maintaining assets, designing out risks, and making prudent investments of long-term value: The long-term impact of asset maintenance and renewal has been reviewed out to 2050. The analysis clearly demonstrates work should be done to mitigate risks to customers now and into the future. To ensure our capital is used wisely, we will streamline our investment planning to achieve optimised investment strategies and have the best delivery model: Investment planning has been developed to align all asset categories. The plan has been developed out to 2050 to ensure the long-term objectives of optimising investment strategies is achieved. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #1 | 225 | 39
Network Drivers Ensuring our future roadmap specific drivers of change are achieved, including items most likely to affect customers: This work will be achieved in alignment with the relevant Transmission Network Drivers. Including customer needs, cybersecurity & digital trust, environment, social & governance and resilience. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #2 | 75 | 40
TasNetworks Business Plan 2020-21 Our services reflect our customers’ needs and expectations: There is a significant community in and surrounding the Rosebery substation that rely on it for continuous supply. Define and efficiently deliver our work: This work supports a long-term program which aims to support deliverability. We operate our business to be sustainable: The proposed plan is designed to build in sustainability in supply and deliverability. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #3 | 150 | 41
National Energy Regulator (NER) 6A.6.7 (Transmission) Meet of manage the expected demand for prescribed services: The proposal considers the demand from prescribed services and meets this expectation. Comply with all applicable regulatory obligations associated with the provision of prescribed services: This proposal complies with all applicable regulatory obligations associated with the provision of prescribed services. Maintain the quality, reliability and security of supply of prescribed services: The proposal considers the quality, reliability and security of prescribed services and meets this expectation. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #4 | 150 | 42
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #5 | 15 | 43
The objective is to ensure TasNetworks' Rosebery Substation transformers T1 and T2 that currently exhibit a combination of: - significant electrical and physical condition deterioration; - are not adequately rated for future network load forecasts; - have design and operational issues; and - spare parts are obsolete, will be appropriately managed to ensure that the risk is mitigated within an acceptable level. | Objectives and Analysis | 06. Project Objectives | Project Objectives | 120 | 44
TasNetworks participates in various formal benchmarking forums to benchmark asset management practiced against international and national transmission companies. Key Benchmarking forums include: - International Transmission Operations and Maintenance Study (ITOMS); - Australian and New Zealand Chief Executive Officers Benchmarking forum, Energy Supply Association of Australia (ESAA), and - Regulatory Information Notices (RINs), Australian Energy Regulator. Additionally, there were several other options considered during the development of this IES that did not proceed to economic analysis. They included: Option 3 Description - Refurbish both transformers with the aim to try to extend the life of the units. Reason for Rejection - Not assessed as a viable option. The units have already been refurbished, due to this and the age and condition of the units this option has not been considered. It also does not mitigate the existing AS2067 fire or common mode failure or fire risk present at the site. Option 4 Description - Refurbish one transformer and replace one with a new transformer. Reason for Rejection - Not assessed as a viable option. The units have already been refurbished, due to this and the age and condition of the units this option has not been considered. It also does not mitigate the existing AS2067 fire or common mode failure or fire risk present at the site. Option 5 Description - Replace one transformer and run the other to failure. Reason for Rejection - Not assessed as a viable option. This option has not been considered as in the long term only having one of T1 or T2 does not provide sufficient power supply security. Option 6 Description - Replace both transformers with one transformer. Reason for Rejection - Not assessed as a viable option. This option has not been considered as in the long term only having one of T1 or T2 does not provide sufficient power supply security. Option 7 Description - Replace the existing transformers with power transformers already in the network. Reason for Rejection - Not assessed as a viable option. This option has not been considered as no suitable units exist within the network. | Objectives and Analysis | 07. Options Analysis | Benchmarking | 409.5 | 45
TasNetworks have engaged a Specialist Substation Design Engineer has perform a review of the fire compliance of the current site to Australian Standard AS2067. This review has deemed the current site does not comply with AS2067, the preferred option has been developed to enable fire separation compliance to AS2067. TasNetworks Engineers and field inspectors routinely perform condition assessments of the Transformers. This is performed via field inspections, oil dissolved gas analysis and various other methods to determine the condition of the assets. The output of these inspections is a transformer condition assessment report which has identified the Transformers will be approaching end of life at proposed replacement date. | Objectives and Analysis | 07. Options Analysis | Expert Findings | 120 | 46
The project is due to be implemented and practically complete in 2028. The capital cost investment here is spread over a three-year period to accommodate the likely delivery strategy to implement the mitigation options. It is anticipated that similar programs of work will continue into future regulatory periods due to the size of the fleet and ongoing investment requirements to adequately manage the risk. | Objectives and Analysis | 08. Investment Timing | Investment Timing | 75 | 47
The benefits to TasNetworks from implementation of the preferred option will be: - the NPV analysis clearly provides a good financial return for the business, whilst addressing the risk to the business; - provides a reliable service to customers; - meets NER objectives; - transformer capacity suitable for the application; - risk of asset failure addressed; - firm capacity on line faults addressed; - addresses AS2067 fire risk; - common mode failure addressed. | Objectives and Analysis | 09. Expected Outcomes and Benefits | Expected Outcomes and Benefits | 135 | 48
It is assumed that the master data is correct. It is assumed that all the maintenance had been done on time and to the required standard. It was assumed that the transformers had not experienced any single over loading event that would significantly affect the life of the asset. Risk Basis of Preparation: Safety & People (Public) - Estimated on consequence being conceivable but highly unlikely. A person may experience smoke inhalation. Safety & People (Worker) - Estimated based on an employee being ten times more likely to be injured than a member of the public. A person may experience smoke inhalation. Investigation Costs - Estimated based on number of failures per annum as all failures would be investigated. Network Performance (Outage Duration) - Estimate two weeks to replace transformer. Network Performance (Load Impacted) - Major Industrial business customer - Mines | Objectives and Analysis | 10. Assumptions | Assumptions | 180 | 49
na | Objectives and Analysis | 11. Regulatory Considerations | Regulatory Investment Test | 15 | 50
Yes - Prescribed Services (Transmission). | Objectives and Analysis | 11. Regulatory Considerations | Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 51
Yes - Prescribed Services (Transmission). | Objectives and Analysis | 11. Regulatory Considerations | Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 52
Yes - Prescribed Services (Transmission). | Objectives and Analysis | 11. Regulatory Considerations | Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 53
No | Objectives and Analysis | 11. Regulatory Considerations | Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 54
No | Objectives and Analysis | 11. Regulatory Considerations | Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 55
It is recommended that option 8 (proactively replace T1 and T2 in R24 with like for like modern equivalent transformers) is approved and progressed as it best satisfies the customer and business needs. | Objectives and Analysis | 12. Recommendation | Recommendation | 30 | 56
Proactively replace T1 and T2 in R24 with 60 MVA Transformers | Option 1 | Description |  | 15
Rejected: Does not address inherent fire risk at the site. Is not the best option from a technical perspective. Does not add value to the customer. | Option 1 | Reason for selection/rejection |  | 60
Proactively replace T1 and T2 in R29 with 60 MVA Transformers | Option 2 | Description |  | 15
Rejected: Does not address inherent fire risk at the site. Increased likelihood of loss of customer supply occurring. Potential safety risk from transformer failure. Does not add value to the customers. | Option 2 | Reason for selection/rejection |  | 75
Proactively replace T1 and T2 in R24 with like for like modern equivalent transformers | Option 3 | Description |  | 15
This option is the recommended option. It provides good financial return, whilst meeting customer need, addressing identified risks and incorporating future planning. | Option 3 | Reason for selection/rejection |  | 15
Proactively replace T1 and T2 in alignment with 60 MVA Transformers with a 22 kV third winding. | Option 4 | Description |  | 15
Rejected: The option of a third winding is an additional cost for no measurable value to customers. | Option 4 | Reason for selection/rejection |  | 15
| Option 5 | Description
| Option 5 | Reason for selection/rejection
| Option 6 | Description
| Option 6 | Reason for selection/rejection