## Cover
Jemena Electricity Networks (Vic) Ltd
2021-26 Electricity Distribution Price Review Revised Proposal
Attachment 04-06
Kalkallo Bushfire Mitigation Obligation Compliance Works cost estimate
2020-12-03
Public
Project name | KLO bushfire mitigation compliance works
Dollar basis | Direct unescalated capex (Real 2018 - Mid Period)

## KLO
ITEM | Qty | Unit |  | Unit Labour (hr) | Unit Labour $/hr) | Total Labour (hr) | Total Labour ($) | Contract | Unit | Total | Unit | Total | Unit
REFCL
Remote REFCL | 1 | ea | [7 empty] | 5100000 | ea | 5100000
Subtotals - REFCL Works | [11 empty] | 5100000
Civil & structural
Site preparation & subsurface works | 0 | site | [8 empty] | site | 0
Humeceptor | 0 | ea | [8 empty] | site | 0
Access Road | 0 | site | [8 empty] | site | 0
Switchroom/Control Building | 0 | site | [8 empty] | site | 0
Earth Grid trenching | 0 | site | [8 empty] | site | 0
Transformer foundations & enclosure | 0 | site | [8 empty] | site | 0
Other Foundations | 0 | Bus | [8 empty] | site | 0
Conduits & pits | 0 | site | [8 empty] | site | 0
Security Fence | 0 | site | [8 empty] | site | 0
Yard surfacing | 0 | site | [8 empty] | site | 0
Subtotal - Civils & Structural | [11 empty] | 0
Primary & Secondary
Transformer 20/33MVA | 0 | ea | 850000 | [8 empty] | 0
66kV CB | 0 | ea | 80000 | [8 empty] | 0
66kV VT (with structures) | 0 | ea | 35000 | [8 empty] | 0
66kV Disconnectors (with structures) | 0 | ea | 30000 | [8 empty] | 0
66kV bus (with structures) | 0 | bus | 50000 | [8 empty] | 0
66kV Surge Diverters | 0 | ea | 1500 | [8 empty] | 0
22kV switchboard | 0 | ea | 450000 | [8 empty] | 0
Transformer cables | 0 | lot | 86500 | [8 empty] | 0
Feeder cables | 0 | lot | 15000 | [8 empty] | 0
22kV CHP | 0 | ea | 20000 | [8 empty] | 0
Station Services Transformer | 0 | ea | 20000 | [8 empty] | 0
NER | 0 | ea | 50000 | [8 empty] | 0
NER cables | 0 | lot | 10000 | [8 empty] | 0
Earthgrid | 0 | lot | 80000 | [8 empty] | 0
Miscellaneous Primary | 0 | site | 30000 | [8 empty] | 0
Protection Panels & Relays | 0 | panels | 50000 | [8 empty] | 0
Comms/SCADA | 0 | site | 50000 | [8 empty] | 0
FOC connections | 0 | km | [5 empty] | 80000 |  |  |  | 0
Battery systems | 0 | ea | 200000 | [8 empty] | 0
AC distribution system | 0 | site | 50000 | [8 empty] | 0
Secondary cables, tray's, ducts etc. | 0 | bus | 60000 | [8 empty] | 0
Miscellaneous secondary | 0 | site | 30000 | [8 empty] | 0
Installation Labour | 0 | site |  | 0 | 120 | 0 | 0 |  |  |  |  | 0
Network Operator | 0 |  |  |  | 120 | 0 | 0 |  |  |  |  | 0
Commissioning | 0 |  |  |  | 140 | 0 | 0 |  |  |  |  | 0
Subtotal - Primary & Secondary | [5 empty] | 0 | 0 |  |  |  |  | 0
ZSS Design & PM
Project management team | 1 |  |  | 1200 | hrs | 160 | 192000 |  |  |  |  | 192000
Asset Management & Design | 1 | [6 empty] | 140000 |  |  |  | 140000
Subtotals - Design & PM | [11 empty] | 332000
Other items
Land Procurement | 1 | [6 empty] | 300000 |  | 300000 | site | 300000
Site Investigations & assessment (eg geotech) | 0 | [6 empty] | 100000 | ea |  |  | 0
Plant Hire | 0 | [6 empty] | 100000 | ea |  |  | 0
Site Facilities | 0 | [6 empty] | 100000 | ea |  |  | 0
Subtotals - Other items | [11 empty] | 300000
Distribution works
KLO13 Works | 1 | Lot | 275000 | [8 empty] | 275000
KLO22 Works | 1 | Lot | 3300000 | [8 empty] | 3300000
Hardening & Balancing | 1 | lot | 250000 | [6 empty] | 250000 |  | 250000
Subtotals - 22kV & 66kV Feeder Works | [11 empty] | 3825000
Risk
Allow 10% on KLO22 Works | 10% |  | 3300000 | [8 empty] | 330000
Subtotal - Risk | [11 empty] | 330000
Total | [11 empty] | 9887000