## AER Input table
$/MWh | CBD | Urban | Short rural | Long rural
VCR (Source: AER, December 2019,Table 1.3 and Table 5.22) | 44520 | 41210 | 41210 | 41210
VCR Escalated to September 2020 | 45218.0488 | 41856.1498 | 41856.1498 | 41856.1498
Index Numbers All groups CPI
2019-06-20 | 114.8
2020-03-01 | 116.6 | AER VCR was published in December 2019, nine months CPI escalation is adopted for draft decision.
CPI | 1.568%
Source: ABS
Smoothed MAR ($m 2020-10) | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | Average MAR
Source: PTRM 2021-26 | 249.4137 | 243.303 | 237.3421 | 231.5272 | 225.8548 | 237.4882
To be updated with AER Draft Decision PTRM in September 2020
Forecast energy consumptions by Feeder Type (Gwh) | CBD | Urban | Short rural | Long rural | Total | check
Average2021/22 - 2025/26, from Reset RIN 3.4.1 |  | 4122.7124 | 474.9442 |  | 4597.6566 | TRUE
| CBD | Urban | Short rural | Long rural | Total
Ave Customers (#) |  | 338225.4 | 38964.2 |  | 377189.6
2019 Annual RIN 6.2.4
3.4.1 - ENERGY DELIVERY
Standard control services
Forecast
| Units | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
Total energy delivered | GWh
3.4.1.1 - Energy grouping - delivery by chargeable quantity
Energy Delivery where time of use is not a determinant | GWh | 1412.0977 | 1423.0469 | 1433.8842 | 1440.9451 | 1447.4168 | 1455.618 | 1466.6531
Energy Delivery at On-peak times | GWh | 1670.4232 | 1674.2402 | 1716.1598 | 1750.5136 | 1762.9483 | 1774.7422 | 1787.3146
Energy Delivery at Shoulder times | GWh | 2.6649 | 2.6753 | 2.6869 | 2.6984 | 2.7136 | 2.7332 | 2.7589
Energy Delivery at Off-peak times | GWh | 1273.4639 | 1268.3323 | 1279.6134 | 1308.8814 | 1317.7516 | 1326.2198 | 1333.854
Controlled load energy deliveries | GWh | 33.6491 | 33.78 | 33.9261 | 34.0719 | 34.264 | 34.5116 | 34.8356
Energy Delivery to unmetered supplies | GWh | 37.6855 | 38.906 | 39.9958 | 40.3444 | 40.2463 | 40.0928 | 39.8876 | average
|  |  | Total | 4506.2662 | 4577.4548 | 4605.3407 | 4633.9177 | 4665.3037 | 4597.6566
We have reproduced the below Table 6.2.4 to support the correct customers numbers. It is from JEN - IR002- RIN 5 - Workbook 1 - Regulatory determination - Consolidated - 20200320 - Confidential.
6.2.4 - DISTRIBUTION CUSTOMER NUMBERS | bar: Forecast 2019-20 to Forecast 2024-25
Forecast
Average customer numbers | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | average
CBD | 0 | 0 | 0 | 0 | 0 | 0 | 0
Urban | 318625 | 323709 | 328658 | 333440 | 338193 | 343009 | 347827 | 338225.4
Short rural | 36706 | 37292 | 37862 | 38413 | 38961 | 39515 | 40070 | 38964.2
Long rural | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 355331 | 361001 | 366520 | 371853 | 377154 | 382524 | 387897 | 377189.6

## AER Output table
Performance targets | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | Regulatory period starts from 2021-22 to 2025-26
SAIDI
Urban | 43.919 | 43.919 | 43.919 | 43.919 | 43.919
Short rural | 48.443 | 48.443 | 48.443 | 48.443 | 48.443
SAIFI
Urban | 0.728 | 0.728 | 0.728 | 0.728 | 0.728
Short rural | 0.743 | 0.743 | 0.743 | 0.743 | 0.743
MAIFI
Urban | 0.952 | 0.952 | 0.952 | 0.952 | 0.952
Short rural | 1.416 | 1.416 | 1.416 | 1.416 | 1.416
Telephone answering parameter (measured as a percentage in STPIS) | 73.263 | 73.263 | 73.263 | 73.263 | 73.263 | We have format the cells by removing the % to avoid confusion in the calculation of STPIS as referenced in 2016-20 Final decision Table 11.2. We have reproduced the table below.
Consistent with previous AER's calculation, we suggest all targets are rounded to 3 decimal points.
Incentive rates | Urban | Short rural
Output parmaeters
ir - SAIDI | 0.00082889 | 9.549e-05
ir - SAIFI | 0.033337 | 0.0041506
ir - MAIFI (% of SAIFI) | 0.002667 | 0.00033205
Input parameters
VCR | 41210 | 41210
CPI | 0.015679 | 0.015679 |  | It is recommended to link the cells to 'AER Input table'!B9 in case of change
w_n | 1.5 | 1.5 | as per STPIS 2.0 in 2018
C_n | 4122712.4225 | 474944.1981 |  | Urban average consumption should link to 'AER Input table'!C17 instead of 'AER Input table'!C20
R | 237488175.761 | 237488175.761
SAIDI | 43.919 | 48.443 |  | Refer to cell G16 comment
SAIFI | 0.728 | 0.743
MAIFI | 0.952 | 1.416
Output tables for draft decision
Incentive rates | Urban | Short rural
ir - SAIDI | 0.0829 | 0.0095 | We have format the cells by removing the % and rounded to four decimal points to avoid
ir - SAIFI | 3.3337 | 0.4151 | confusion in the calculation of STPIS as referenced in 2016-20 Final decision Table 11.1.
ir - MAIFI | 0.2667 | 0.0332 | It is also in consistent with all other DNSPs' format in the Draft Decision
Table 2
Performance targets | value
Urban
SAIDI | 43.919 | Refer to cell G16 comment.
SAIFI | 0.728
MAIFI | 0.952
Short rural
SAIDI | 48.443
SAIFI | 0.743
MAIFI | 1.416
Telephone answering
Percentage of calls will be answered within 30 seconds | 73.263 | Format referenced to 2016-20 Final decision Table 11.2
Table 3
VCR | Urban | Short rural
| 41210 | 41210

## Output
Jemena STPIS Target 2021/22 - 2025/26
|  | CBD | Urban | Short rural | Long rural
| SAIDI |  | 43.9185 | 48.443
| SAIFI |  | 0.72811 | 0.743
| MAIFIe |  | 0.95206 | 1.416
Network
| % Fault calls answered within 30 sec |  |  |  | 73.26%
| Reliability | FY 2016 | FY 2017 | FY 2018 | FY 2019 | FY 2020 | Target | Inserted 2019/2020 actual performance
| Urban | [6 empty] | Target recalculated by averaging 5 previous years actual financial performance based on the new definitions
| SAIDI | 38.787 | 38.736 | 50.582 | 37.325 | 54.1626 | 43.9185
| SAIFI | 0.68 | 0.651 | 0.869 | 0.564 | 0.87656 | 0.72811
| MAIFI | 0.975 | 0.675 | 1.063 | 1.126 | 0.9213 | 0.95206
Short rural
| SAIDI | 48.029 | 57.241 | 72.956 | 11.397 | 52.5939 | 48.4434
| SAIFI | 0.704 | 0.962 | 1.293 | 0.073 | 0.68402 | 0.7432
| MAIFI | 1.816 | 0.872 | 1.898 | 1.366 | 1.1263 | 1.4157
| Telephone answering | 67.33% | 68.27% | 76.03% | 79.93% | 74.75% | 73.26%
Source: Jemena Electricity Networks (Vic), 2021-26 Electricity Distribution Price Review Regulatory Proposal Attachment 07-05 Incentive mechanisms, 31 January 2020, pp . 9 and 12.