## Legend
Style legend |  |  | Menu
Style | Design | Comment
Header1 | Header1
Header 1A | Header 1A
Header2 | Header2
Header3 | Header3
Header4 | Header4
User_Input | 100 | A user driven input
User_Input_Forecast | 100 | A user driven input for forcast figures
Base_Input | 100 | A model input that should not be changed to protect the integrity of the model
Empty_Cell |  | A cell that is left intentionally blank to avoid the risk of error
InSheet_calc | 100 | A link within the worksheet or an interim calculation step
OffSheet | 100 | A link to another worksheet to minimise the number of inter-worksheet references
Line_SubTotal | 100 | The sum of elements in the table immediately above
Line_Total | 100 | The sum of elements above, including sub-totals
Unit / Info | AUD millions | Explanatory text showing helpful information or the units/dimensions of the calculations
Line_Summary | 100 | The SUM() of everything in the row
Table_Header | Qtr | Header of a table or of an off-sheet reference
Flag | 1 | Binary flag - set up as a 'Style' and updated with conditional formatting
Check_Cell | 100 | Check figures add up to the correct amount

## Menu
Powercor - Protection Replacement
Menu
| Control |  | User Inputs |  | Base Inputs
| Legend |  | Project List |  | Inflation
| Menu |  | Project List Volumes |  | Historical Expenditure
Historical Volumes
| Calculations |  | Outputs/Export
| Forecast Volumes |  | Direct Capex | OK
| Forecast Expenditure | OK | Reset RIN 2.2. Repex | OK

## Project List
Powercor - Protection Replacement | [9 empty] | Menu
Project List
Project List
$2019
| Function Code | Project Description | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021-26 Total
| 156 | ZSS battery and charger replacements | 50000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 500000
| 156 | Secondary defect design and installation | 50000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 500000
| 156 | BMH feeder protection replacement | 150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | NKA feeder protection replacement | 200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | SHP feeder protection replacement | 85000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | LVN feeder protection replacement | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | ECA feeder protection replacement | 175000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | WBE feeder protection replacement | 70000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | COB feeder protection replacement | 70000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | DLF X feeder protection replacement | 150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | MDA Y bus protection upgrade | 125000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | BAN BATS No.1 & 2 line dir OC & BGR line Y dist replacement. | 100000 | 100000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | DDL 22kV No.1 & 2 Bus & Tx X diff prot replacement | 75000 | 75000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | FNS Tx Y Diff, 22kV Bus Prot & RTU replacement | 275000 | 275000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | LV Tx Diff prot replacement | 225000 | 225000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | LVN Tx Diff replacement | 225000 | 225000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | SHL 66kV Line prot dupl, Tx Diff & Tx Rem control | 225000 | 225000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | OYN 22kV Feeder Prot & RTU replacement | 150000 | 150000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | NHL 22kV Feeder Prot & RTU replacement | 125000 | 125000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | CDN C50 RTU replacement | 25000 | 25000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | MRO 66kV Line prot dupl | 0 | 150000 | 150000 | 0 | 0 | 0 | 0 | 150000
| 156 | MNA 66kV Line Prot dupl | 0 | 200000 | 200000 | 0 | 0 | 0 | 0 | 200000
| 156 | ART 66kV Line prot dupl, TX Diff & RTU replacement | 0 | 250000 | 250000 | 0 | 0 | 0 | 0 | 250000
| 156 | SA Tx Diff prot replacement & dupl | 0 | 300000 | 300000 | 0 | 0 | 0 | 0 | 300000
| 156 | PLD 66kV Line prot dupl & Cap Prot replacement | 0 | 200000 | 200000 | 0 | 0 | 0 | 0 | 200000
| 156 | CRO 22kV No.1 & 3 Bus & Tx Diff Prot replacement | 0 | 225000 | 225000 | 0 | 0 | 0 | 0 | 225000
| 156 | GCY 22kV Bus No.1 & 3, Tx Diff Prot & RTU replacement | 0 | 250000 | 250000 | 0 | 0 | 0 | 0 | 250000
| 156 | SHN-SHTS 66kV Line, Tx Diff Prot repl | 0 | 250000 | 250000 | 0 | 0 | 0 | 0 | 250000
| 156 | KYM Tx Diff, MEF & BUEF & RTU repl | 0 | 175000 | 175000 | 0 | 0 | 0 | 0 | 175000
| 156 | ECA C50 RTU repl | 0 | 75000 | 75000 | 0 | 0 | 0 | 0 | 75000
| 156 | STL 66kV Line Prot dupl, BUEF & TX Diff | 0 | 0 | 250000 | 250000 | 0 | 0 | 0 | 500000
| 156 | AC - ATS 66kV Line Prot repl | 0 | 0 | 175000 | 175000 | 0 | 0 | 0 | 350000
| 156 | GL 22kV & 66kV Bus Prot & Tx Diff Prot repl | 0 | 0 | 250000 | 250000 | 0 | 0 | 0 | 500000
| 156 | WIN - 66kV Line prot install & RTU repl | 0 | 0 | 300000 | 300000 | 0 | 0 | 0 | 600000
| 156 | DDL Tx Y Diff, 22kV HIBP, 22kV CB Fail Prot & C50 RTU repl | 0 | 0 | 175000 | 175000 | 0 | 0 | 0 | 350000
| 156 | KYM Tx Diff, MEF & BUEF & RTU repl | 0 | 0 | 175000 | 175000 | 0 | 0 | 0 | 350000
| 156 | STN C50 RTU repl | 0 | 0 | 75000 | 75000 | 0 | 0 | 0 | 150000
| 156 | COB Tx No.1 Diff Prot & C50 RTU repl | 0 | 0 | 75000 | 75000 | 0 | 0 | 0 | 150000
| 156 | MDA Tx Diff, 22kV Bus prot repl & RTU repl | 0 | 0 | 200000 | 200000 | 0 | 0 | 0 | 400000
| 156 | BAN Tx Y Diff & 66kV Bus prot repl | 0 | 0 | 225000 | 225000 | 0 | 0 | 0 | 450000
| 156 | HSM New Voltage Control Scheme | 0 | 0 | 100000 | 100000 | 0 | 0 | 0 | 200000
| 156 | SHP New voltage control Scheme | 0 | 0 | 100000 | 100000 | 0 | 0 | 0 | 200000
| 156 | AC - CPL 66kV Line Prot repl | 0 | 0 | 0 | 225000 | 225000 | 0 | 0 | 450000
| 156 | LV 22kV Bus No.1 & 3 Prot repl | 0 | 0 | 0 | 200000 | 200000 | 0 | 0 | 400000
| 156 | CPL - AL 66kV Line Prot repl | 0 | 0 | 0 | 250000 | 250000 | 0 | 0 | 500000
| 156 | CME Tx Diff repl & RTU repl | 0 | 0 | 0 | 125000 | 125000 | 0 | 0 | 250000
| 156 | GB Tx Y Diff, 66kV Bus prot & RTU repl | 0 | 0 | 0 | 200000 | 200000 | 0 | 0 | 400000
| 156 | WBE Tx Y Diff, 22kV Bus & 66kV CB fail Prot repl | 0 | 0 | 0 | 300000 | 300000 | 0 | 0 | 600000
| 156 | KRT 66kV Bus Prot & C50 RTU Repl | 0 | 0 | 0 | 100000 | 100000 | 0 | 0 | 200000
| 156 | HTN C50 RTU Repl | 0 | 0 | 0 | 50000 | 50000 | 0 | 0 | 100000
| 156 | BAN C50 RTU Repl | 0 | 0 | 0 | 75000 | 75000 | 0 | 0 | 150000
| 156 | SSE Tx Y Diff & 22/66kV Bus prot repl | 0 | 0 | 0 | 100000 | 100000 | 0 | 0 | 200000
| 156 | MLN 22kV No.1 & 2 Bus, Tx Y prot repl | 0 | 0 | 0 | 150000 | 150000 | 0 | 0 | 300000
| 156 | OYN Tx Diff Prot & C50 RTU repl | 0 | 0 | 0 | 75000 | 75000 | 0 | 0 | 150000
| 156 | SHL New Voltage Control Scheme | 0 | 0 | 0 | 100000 | 100000 | 0 | 0 | 200000
| 156 | NKA New Voltage Control Scheme | 0 | 0 | 0 | 100000 | 100000 | 0 | 0 | 200000
| 156 | AL - BLTS 66kV Line Prot repl | 0 | 0 | 0 | 0 | 175000 | 175000 | 0 | 350000
| 156 | BGO Tx Y Diff & 66kV Line Y Prot repl | 0 | 0 | 0 | 0 | 125000 | 125000 | 0 | 250000
| 156 | CRO Tx Y Diff & 22/66kV CB fail prot repl | 0 | 0 | 0 | 0 | 250000 | 250000 | 0 | 500000
| 156 | RVL Tx Diff & RTU repl | 0 | 0 | 0 | 0 | 75000 | 75000 | 0 | 150000
| 156 | CHA Tx Diff & RTU Repl | 0 | 0 | 0 | 0 | 75000 | 75000 | 0 | 150000
| 156 | WND TX Y Diff, 22kV Bus, Tx CB Fail Prot & RTU Repl | 0 | 0 | 0 | 0 | 150000 | 150000 | 0 | 300000
| 156 | FNS Tx Y Diff Prot & BUEF Cub repl | 0 | 0 | 0 | 0 | 200000 | 200000 | 0 | 400000
| 156 | SRC 66kV Bus, CB fail prot & C50 RTU repl | 0 | 0 | 0 | 0 | 200000 | 200000 | 0 | 400000
| 156 | SHN 22kV Bus, 22kV CB fail prot & C50 RTU repl | 0 | 0 | 0 | 0 | 200000 | 200000 | 0 | 400000
| 156 | BAN 22/66kV CB Fail prot repl | 0 | 0 | 0 | 0 | 125000 | 125000 | 0 | 250000
| 156 | WBL C50 RTU Replacement | 0 | 0 | 0 | 0 | 75000 | 75000 | 0 | 150000
| 156 | FDN 66kV CB Fail prot repl. & C50 RTU repl | 0 | 0 | 0 | 0 | 125000 | 125000 | 0 | 250000
| 156 | KYM New Voltage Control | 0 | 0 | 0 | 0 | 100000 | 100000 | 0 | 200000
| 156 | NHL New Voltage Control Scheme | 0 | 0 | 0 | 0 | 100000 | 100000 | 0 | 200000
| 156 | COB New Voltage Control Scheme | 0 | 0 | 0 | 0 | 100000 | 100000 | 0 | 200000
| 156 | HCP 66kV Line Prot, CB Fail & Tx OC Prot Repl | 0 | 0 | 0 | 0 | 0 | 125000 | 125000 | 250000
| 156 | LVN TX Parallel Control repl | 0 | 0 | 0 | 0 | 0 | 125000 | 125000 | 250000
| 156 | KRT - PLD 1&2 66kV Line Prot & TX Parallel Control repl | 0 | 0 | 0 | 0 | 0 | 175000 | 175000 | 350000
| 156 | SSE TX Parallel Control repl | 0 | 0 | 0 | 0 | 0 | 125000 | 125000 | 250000
| 156 | CDN - 66kV Line X Prot Repl & TX Parallel Control repl | 0 | 0 | 0 | 0 | 0 | 150000 | 150000 | 300000
| 156 | SU - SSE 66kV Line Y Diff & TX Parallel Control repl | 0 | 0 | 0 | 0 | 0 | 200000 | 200000 | 400000
| 156 | SHP 66kV Line Y Dist & TX Parallell Control Repl | 0 | 0 | 0 | 0 | 0 | 150000 | 150000 | 300000
| 156 | GCY 66kV Line Y Diff Prot Repl | 0 | 0 | 0 | 0 | 0 | 200000 | 200000 | 400000
| 156 | RVL - BBD & HTH 66kV Line Y Prot repl | 0 | 0 | 0 | 0 | 0 | 75000 | 75000 | 150000
| 156 | STL - HOTS & ART 66kV Line X Dist & 66kV Bus Prot Repl | 0 | 0 | 0 | 0 | 0 | 100000 | 100000 | 200000
| 156 | PLD - KRT 1&2 66kV Line X Dist & TX Parallel Control repl | 0 | 0 | 0 | 0 | 0 | 200000 | 200000 | 400000
| 156 | ECA TX Parallel Control repl | 0 | 0 | 0 | 0 | 0 | 125000 | 125000 | 250000
| 156 | NKA C50 RTU replacement | 0 | 0 | 0 | 0 | 0 | 50000 | 50000 | 100000
| 156 | SHN New Voltage Control Scheme | 0 | 0 | 0 | 0 | 0 | 100000 | 100000 | 200000
| 156 | CME New Voltage Control Scheme | 0 | 0 | 0 | 0 | 0 | 100000 | 100000 | 200000
| 156 | MDA New Voltage Control Scheme | 0 | 0 | 0 | 0 | 0 | 100000 | 100000 | 200000
| 156 | ART - STL & BGR 66kV Line X Dist & 66kV Bus Prot Repl | 0 | 0 | 0 | 0 | 0 | 0 | 125000 | 125000
| 156 | LV 66kV CB Fail prot repl | 0 | 0 | 0 | 0 | 0 | 0 | 150000 | 150000
| 156 | MBN - DTN 66kV Line, 66kV Bus Prot Repl & RTU | 0 | 0 | 0 | 0 | 0 | 0 | 175000 | 175000
| 156 | MNA 66kV Line X Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 75000 | 75000
| 156 | KYM Feeder Prot Repl | 0 | 0 | 0 | 0 | 0 | 0 | 75000 | 75000
| 156 | MLN TX No.1 & 2 Y Diff & C50 Repl | 0 | 0 | 0 | 0 | 0 | 0 | 75000 | 75000
| 156 | NHL 66kV Bus Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 75000 | 75000
| 156 | SHP 22kV Bus Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 50000 | 50000
| 156 | SSE Feeder Prot, 22kV Bus Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 112500 | 112500
| 156 | LVN Feeder Prot, 22kV Bus Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 137500 | 137500
| 156 | MDA Feeder Prot & BUEF Prot Repl | 0 | 0 | 0 | 0 | 0 | 0 | 100000 | 100000
| 156 | MLN Feeder Prot & 22kV Bus Prot Repl | 0 | 0 | 0 | 0 | 0 | 0 | 100000 | 100000
| 156 | SA Feeder Prot, 22kV Bus Prot & C50 Repl | 0 | 0 | 0 | 0 | 0 | 0 | 175000 | 175000
| 156 | WBE Feeder Prot, 22kV Bus Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 100000 | 100000
| 156 | WPD Feeder Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 150000 | 150000
| 156 | BBD Feeder Prot, 22kV Bus Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 100000 | 100000
| 156 | BLTS Feeder Prot Repl | 0 | 0 | 0 | 0 | 0 | 0 | 87500 | 87500
| 156 | CHA 66kV Bus Prot, BUEF & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 62500 | 62500
| 156 | BMH 66kV Bus Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 50000 | 50000
| 156 | DDL Feeder Prot, MEF & BUEF Repl | 0 | 0 | 0 | 0 | 0 | 0 | 100000 | 100000
|  | Totals | 2650000 | 3700000 | 4375000 | 4350000 | 4325000 | 4375000 | 4375000 | 21800000
End of Sheet

## Project List Volumes
Powercor - Protection Replacement | [9 empty] | Menu
Project List Volumes
Project List
0's
| Function Code | Project Description | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021-26 Total
| 156 | ZSS battery and charger replacements | Ongoing program | [6 empty] | 0
| 156 | Secondary defect design and installation | [7 empty] | 0
| 156 | BMH feeder protection replacement | 4 | [6 empty] | 0
| 156 | NKA feeder protection replacement | 6 | [6 empty] | 0
| 156 | SHP feeder protection replacement | 3 | [6 empty] | 0
| 156 | LVN feeder protection replacement | 4 | [6 empty] | 0
| 156 | ECA feeder protection replacement | 6 | [6 empty] | 0
| 156 | WBE feeder protection replacement | 2 | [6 empty] | 0
| 156 | COB feeder protection replacement | 2 | [6 empty] | 0
| 156 | DLF X feeder protection replacement | 5 | [6 empty] | 0
| 156 | MDA Y bus protection upgrade | 4 | [6 empty] | 0
| 156 | BAN BATS No.1 & 2 line dir OC & BGR line Y dist replacement. | 1.5 | 1.5 | [5 empty] | 0
| 156 | DDL 22kV No.1 & 2 Bus & Tx X diff prot replacement | 2 | 2 | [5 empty] | 0
| 156 | FNS Tx Y Diff, 22kV Bus Prot & RTU replacement | 4.5 | 4.5 | [5 empty] | 0
| 156 | LV Tx Diff prot replacement | 3 | 3 | [5 empty] | 0
| 156 | LVN Tx Diff replacement | 3 | 3 | [5 empty] | 0
| 156 | SHL 66kV Line prot dupl, Tx Diff & Tx Rem control | 1.5 | 1.5 | [5 empty] | 0
| 156 | OYN 22kV Feeder Prot & RTU replacement | 2 | 2 | [5 empty] | 0
| 156 | NHL 22kV Feeder Prot & RTU replacement | 1.5 | 1.5 | [5 empty] | 0
| 156 | CDN C50 RTU replacement | 0.5 | 0.5 | [5 empty] | 0
| 156 | MRO 66kV Line prot dupl |  | 1 | 1 |  |  |  |  | 1
| 156 | MNA 66kV Line Prot dupl |  | 2.5 | 2.5 |  |  |  |  | 2.5
| 156 | ART 66kV Line prot dupl, TX Diff & RTU replacement |  | 0.5 | 0.5 |  |  |  |  | 0.5
| 156 | SA Tx Diff prot replacement & dupl |  | 3 | 3 |  |  |  |  | 3
| 156 | PLD 66kV Line prot dupl & Cap Prot replacement |  | 1 | 1 |  |  |  |  | 1
| 156 | CRO 22kV No.1 & 3 Bus & Tx Diff Prot replacement |  | 3 | 3 |  |  |  |  | 3
| 156 | GCY 22kV Bus No.1 & 3, Tx Diff Prot & RTU replacement |  | 3 | 3 |  |  |  |  | 3
| 156 | SHN-SHTS 66kV Line, Tx Diff Prot repl |  | 3 | 3 |  |  |  |  | 3
| 156 | KYM Tx Diff, MEF & BUEF & RTU repl |  | 1.5 | 1.5 |  |  |  |  | 1.5
| 156 | ECA C50 RTU repl |  | 0.5 | 0.5 |  |  |  |  | 0.5
| 156 | STL 66kV Line Prot dupl, BUEF & TX Diff |  |  | 2.5 | 2.5 |  |  |  | 5
| 156 | AC - ATS 66kV Line Prot repl |  |  | 2 | 2 |  |  |  | 4
| 156 | GL 22kV & 66kV Bus Prot & Tx Diff Prot repl |  |  | 5 | 5 |  |  |  | 10
| 156 | WIN - 66kV Line prot install & RTU repl |  |  | 2 | 2 |  |  |  | 4
| 156 | DDL Tx Y Diff, 22kV HIBP, 22kV CB Fail Prot & C50 RTU repl |  |  | 4.5 | 4.5 |  |  |  | 9
| 156 | KYM Tx Diff, MEF & BUEF & RTU repl |  |  | 1.5 | 1.5 |  |  |  | 3
| 156 | STN C50 RTU repl |  |  | 0.5 | 0.5 |  |  |  | 1
| 156 | COB Tx No.1 Diff Prot & C50 RTU repl |  |  | 0.5 | 0.5 |  |  |  | 1
| 156 | MDA Tx Diff, 22kV Bus prot repl & RTU repl |  |  | 3 | 3 |  |  |  | 6
| 156 | BAN Tx Y Diff & 66kV Bus prot repl |  |  | 3.5 | 3.5 |  |  |  | 7
| 156 | HSM New Voltage Control Scheme |  |  | 0.5 | 0.5 |  |  |  | 1
| 156 | SHP New voltage control Scheme |  |  | 0.5 | 0.5 |  |  |  | 1
| 156 | AC - CPL 66kV Line Prot repl |  |  |  | 2 | 2 |  |  | 4
| 156 | LV 22kV Bus No.1 & 3 Prot repl |  |  |  | 2 | 2 |  |  | 4
| 156 | CPL - AL 66kV Line Prot repl |  |  |  | 2.5 | 2.5 |  |  | 5
| 156 | CME Tx Diff repl & RTU repl |  |  |  | 0.5 | 0.5 |  |  | 1
| 156 | GB Tx Y Diff, 66kV Bus prot & RTU repl |  |  |  | 2.5 | 2.5 |  |  | 5
| 156 | WBE Tx Y Diff, 22kV Bus & 66kV CB fail Prot repl |  |  |  | 7 | 7 |  |  | 14
| 156 | KRT 66kV Bus Prot & C50 RTU Repl |  |  |  | 0.5 | 0.5 |  |  | 1
| 156 | HTN C50 RTU Repl |  |  |  | 0.5 | 0.5 |  |  | 1
| 156 | BAN C50 RTU Repl |  |  |  | 0.5 | 0.5 |  |  | 1
| 156 | SSE Tx Y Diff & 22/66kV Bus prot repl |  |  |  | 2 | 2 |  |  | 4
| 156 | MLN 22kV No.1 & 2 Bus, Tx Y prot repl |  |  |  | 2 | 2 |  |  | 4
| 156 | OYN Tx Diff Prot & C50 RTU repl |  |  |  | 0.5 | 0.5 |  |  | 1
| 156 | SHL New Voltage Control Scheme |  |  |  | 0.5 | 0.5 |  |  | 1
| 156 | NKA New Voltage Control Scheme |  |  |  | 0.5 | 0.5 |  |  | 1
| 156 | AL - BLTS 66kV Line Prot repl |  |  |  |  | 2.5 | 2.5 |  | 5
| 156 | BGO Tx Y Diff & 66kV Line Y Prot repl |  |  |  |  | 2 | 2 |  | 4
| 156 | CRO Tx Y Diff & 22/66kV CB fail prot repl |  |  |  |  | 5.5 | 5.5 |  | 11
| 156 | RVL Tx Diff & RTU repl |  |  |  |  | 1 | 1 |  | 2
| 156 | CHA Tx Diff & RTU Repl |  |  |  |  | 1 | 1 |  | 2
| 156 | WND TX Y Diff, 22kV Bus, Tx CB Fail Prot & RTU Repl |  |  |  |  | 3 | 3 |  | 6
| 156 | FNS Tx Y Diff Prot & BUEF Cub repl |  |  |  |  | 2 | 2 |  | 4
| 156 | SRC 66kV Bus, CB fail prot & C50 RTU repl |  |  |  |  | 4 | 4 |  | 8
| 156 | SHN 22kV Bus, 22kV CB fail prot & C50 RTU repl |  |  |  |  | 4 | 4 |  | 8
| 156 | BAN 22/66kV CB Fail prot repl |  |  |  |  | 6 | 6 |  | 12
| 156 | WBL C50 RTU Replacement |  |  |  |  | 0.5 | 0.5 |  | 1
| 156 | FDN 66kV CB Fail prot repl. & C50 RTU repl |  |  |  |  | 2.5 | 2.5 |  | 5
| 156 | KYM New Voltage Control |  |  |  |  | 0.5 | 0.5 |  | 1
| 156 | NHL New Voltage Control Scheme |  |  |  |  | 0.5 | 0.5 |  | 1
| 156 | COB New Voltage Control Scheme |  |  |  |  | 0.5 | 0.5 |  | 1
| 156 | HCP 66kV Line Prot, CB Fail & Tx OC Prot Repl | [5 empty] | 3 | 3 | 6
| 156 | LVN TX Parallel Control repl | [5 empty] | 0.5 | 0.5 | 1
| 156 | KRT - PLD 1&2 66kV Line Prot & TX Parallel Control repl | [5 empty] | 1.5 | 1.5 | 3
| 156 | SSE TX Parallel Control repl | [5 empty] | 0.5 | 0.5 | 1
| 156 | CDN - 66kV Line X Prot Repl & TX Parallel Control repl | [5 empty] | 2 | 2 | 4
| 156 | SU - SSE 66kV Line Y Diff & TX Parallel Control repl | [5 empty] | 0.5 | 0.5 | 1
| 156 | SHP 66kV Line Y Dist & TX Parallell Control Repl | [5 empty] | 1.5 | 1.5 | 3
| 156 | GCY 66kV Line Y Diff Prot Repl | [5 empty] | 2 | 2 | 4
| 156 | RVL - BBD & HTH 66kV Line Y Prot repl | [5 empty] | 1 | 1 | 2
| 156 | STL - HOTS & ART 66kV Line X Dist & 66kV Bus Prot Repl | [5 empty] | 1.5 | 1.5 | 3
| 156 | PLD - KRT 1&2 66kV Line X Dist & TX Parallel Control repl | [5 empty] | 1.5 | 1.5 | 3
| 156 | ECA TX Parallel Control repl | [5 empty] | 0.5 | 0.5 | 1
| 156 | NKA C50 RTU replacement | [5 empty] | 0.5 | 0.5 | 1
| 156 | SHN New Voltage Control Scheme | [5 empty] | 0.5 | 0.5 | 1
| 156 | CME New Voltage Control Scheme | [5 empty] | 0.5 | 0.5 | 1
| 156 | MDA New Voltage Control Scheme | [5 empty] | 0.5 | 0.5 | 1
| 156 | ART - STL & BGR 66kV Line X Dist & 66kV Bus Prot Repl | [6 empty] | 2 | 2
| 156 | LV 66kV CB Fail prot repl | [6 empty] | 3.5 | 3.5
| 156 | MBN - DTN 66kV Line, 66kV Bus Prot Repl & RTU | [6 empty] | 1.5 | 1.5
| 156 | MNA 66kV Line X Prot & RTU Repl | [6 empty] | 1 | 1
| 156 | KYM Feeder Prot Repl | [6 empty] | 3 | 3
| 156 | MLN TX No.1 & 2 Y Diff & C50 Repl | [6 empty] | 1.5 | 1.5
| 156 | NHL 66kV Bus Prot & RTU Repl | [6 empty] | 1.5 | 1.5
| 156 | SHP 22kV Bus Prot & RTU Repl | [6 empty] | 1 | 1
| 156 | SSE Feeder Prot, 22kV Bus Prot & RTU Repl | [6 empty] | 3.5 | 3.5
| 156 | LVN Feeder Prot, 22kV Bus Prot & RTU Repl | [6 empty] | 5.5 | 5.5
| 156 | MDA Feeder Prot & BUEF Prot Repl | [6 empty] | 5 | 5
| 156 | MLN Feeder Prot & 22kV Bus Prot Repl | [6 empty] | 4.5 | 4.5
| 156 | SA Feeder Prot, 22kV Bus Prot & C50 Repl | [6 empty] | 7.5 | 7.5
| 156 | WBE Feeder Prot, 22kV Bus Prot & RTU Repl | [6 empty] | 3.5 | 3.5
| 156 | WPD Feeder Prot & RTU Repl | [6 empty] | 5 | 5
| 156 | BBD Feeder Prot, 22kV Bus Prot & RTU Repl | [6 empty] | 3 | 3
| 156 | BLTS Feeder Prot Repl | [6 empty] | 4.5 | 4.5
| 156 | CHA 66kV Bus Prot, BUEF & RTU Repl | [6 empty] | 1.5 | 1.5
| 156 | BMH 66kV Bus Prot & RTU Repl | [6 empty] | 0.5 | 0.5
| 156 | DDL Feeder Prot, MEF & BUEF Repl | [6 empty] | 5 | 5
|  | Totals | 55.5 | 38.5 | 45 | 49.5 | 59 | 53.5 | 82 | 289
End of Sheet

## Inflation
Powercor - Protection Replacement | [11 empty] | Menu
Inflation
| Base Year | 2021
Inflation Rates and Conversion factor to June 2021
| Financial Year | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
| Calendar Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 2.993% | 2.204% | 2.745% | 1.718% | 1.689% | 1.476% | 1.909% | 1.784% | 1.593% | 2% | 2.2%
| Converstion Factor to 2021 | 1.1991 | 1.1733 | 1.1419 | 1.1226 | 1.104 | 1.0879 | 1.0675 | 1.0488 | 1.0424 | 1.022 | 1
| Calendar Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 3.549% | 1.21% | 2.39% | 3.016% | 1.511% | 1.023% | 1.934% | 2.078% | 1.593% | 2% | 2.2%
| Converstion Factor to 2021 | 1.2064 | 1.192 | 1.1641 | 1.13 | 1.1132 | 1.102 | 1.081 | 1.059 | 1.0424 | 1.022 | 1
| Financial Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 2.993% | 2.204% | 2.745% | 1.718% | 1.689% | 1.476% | 1.909% | 1.784% | 1.615% | 2% | 2.4%
| Converstion Factor to 2021 | 1.1991 | 1.1733 | 1.1419 | 1.1226 | 1.104 | 1.0879 | 1.0675 | 1.0488 | 1.0322 | 1.0119 | 1
| Escalation Selector | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1

## Historical Expenditure
Powercor - Protection Replacement | [9 empty] | Menu
Historical Expenditure
Historical Expenditure by RIN Category (Repex Table 2.2)
$Nominal
| ASSET GROUP | ASSET CATEGORY | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: | Field Devices | 2100500 | 2008500 | 1389750 | 1667495.275 | 2136859.275 | 2174806.095 | 1687660.815 | 3005968.72
Local Network Wiring Assets
| Function | Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
|  | Totals | 2100500 | 2008500 | 1389750 | 1667495.275 | 2136859.275 | 2174806.095 | 1687660.815 | 3005968.72
End of Sheet

## Historical Volumes
Powercor - Protection Replacement | [9 empty] | Menu
Historical Volumes
Historical Volumes by RIN Category (Repex Table 2.2)
0's
| ASSET GROUP | ASSET CATEGORY | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: | Field Devices | 66.5 | 71 | 70 | 70 | 85 | 79.5 | 48 | 36.5
Local Network Wiring Assets
| Function | Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
|  | Totals | 66.5 | 71 | 70 | 70 | 85 | 79.5 | 48 | 36.5
End of Sheet

## Forecast Volumes
Powercor - Protection Replacement
Forecast Volumes
Forecast Volumes by RIN Category (Repex Table 2.2)
Source: Project List
0's
| ASSET GROUP | ASSET CATEGORY | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: | Field Devices | 66.5 | 71 | 70 | 70 | 85 | 79.5 | 48 | 36.5 | 55.5 | 38.5 | 45 | 49.5 | 59 | 53.5 | 82
Local Network Wiring Assets
| Function | Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
|  | Totals | 66.5 | 71 | 70 | 70 | 85 | 79.5 | 48 | 36.5 | 55.5 | 38.5 | 45 | 49.5 | 59 | 53.5 | 82
End of Sheet

## Forecast Expenditure
Powercor - Protection Replacement | [16 empty] | Menu
Forecast Expenditure | [15 empty] | Sheet Check | OK
Forecast Expenditure by Function Code
Source: Project List
$ 2021
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| 156 | Secondary Systems | 2518745.39 | 2356480.1637 | 1586965.6411 | 1871972.788 | 2359058.7899 | 2366028.5475 | 1801655.1948 | 3152760.1797 | 2762460.7104 | 3857020.6145 | 4560666.2671 | 4534605.317 | 4508544.3669 | 4560666.2671 | 4560666.2671
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast Expenditure by RIN Category (Repex Table 2.2)
$ 2021
| ASSET GROUP | ASSET CATEGORY | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: | Field Devices | 2518745.39 | 2356480.1637 | 1586965.6411 | 1871972.788 | 2359058.7899 | 2366028.5475 | 1801655.1948 | 3152760.1797 | 2762460.7104 | 3857020.6145 | 4560666.2671 | 4534605.317 | 4508544.3669 | 4560666.2671 | 4560666.2671
|  | Local Network Wiring Assets | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Communications Network Assets | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Master Station Assets | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
| Function | Communications Site Infrastructure | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Communications Linear Assets | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | AFLC | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Other | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Totals | 2518745.39 | 2356480.1637 | 1586965.6411 | 1871972.788 | 2359058.7899 | 2366028.5475 | 1801655.1948 | 3152760.1797 | 2762460.7104 | 3857020.6145 | 4560666.2671 | 4534605.317 | 4508544.3669 | 4560666.2671 | 4560666.2671
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## Direct Capex
Powercor - Protection Replacement | [8 empty] | Menu
Direct Capex | [7 empty] | Sheet Check | OK
Direct Capex by Function Code
|  |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function Code | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
|  |  | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| 102 | Rural Projects < 50KVA
| 103 | Urban Projects < 50KVA
| 104 | Medium Density SubDivision
| 105 | Business Supply > 50KVA < 200KVA
| 106 | Business Supply > 200KVA
| 107 | HV Connections
| 108 | Business SubDivisions
| 109 | U/G Service Pits Ex O/H Supply
| 110 | Low Density SubDivisions
| 111 | High Density Residential/Business
| 112 | New Connection Meter Acc.
| 113 | New Connection Meter IMRO
| 114 | New Conn. Service/Materials
| 115 | New Conn. Servicing Labour
| 116 | Recoverable Works
| 118 | CO Generation Projects
| 119 | Energy Efficient Public Lighting - New
| 120 | Public Lighting - New
| 121 | Docklands
| 122 | Major Generation Projects
| 123 | New Conn. Meter Install Acc.
| 124 | New Conn. Meter Install MRIM
| 125 | New Conn. Meter AMI
| 126 | New Conn. Meter Install AMI
| 130 | ACS services
| 131 | Consolidated line maintenance
| 132 | Replacement accumulation meter
| 133 | Replacement MRIM meter
| 134 | Replacement AMI meter & transformers
| 135 | Rollout AMI meter
| 136 | Rollout AMI meter install
| 137 | Replacement Meter Install AMI
| 138 | Replacement Meter & Install IMRO
| 139 | Maintenance Related Fault Capital
| 140 | Public Lighting - Replacement
| 141 | Fault Related Capital
| 142 | Conductor Clearance
| 143 | HV Switch Replacement
| 144 | Transformer Replacement
| 145 | HV Fuse Unit & Surge Divert. Repl.
| 146 | Recoverable Works - Asset Damage
| 147 | Pole Life Extension - Treatment
| 148 | Pole Replacement
| 149 | Pole Life Extension - Staking
| 150 | OH/UG Line Replacement
| 151 | Replacements Meter & Install Acc
| 152 | Neutral Screen Services
| 153 | Servicing Replacement
| 154 | Bird Cover Replacement
| 155 | Cross-arm Replacement
| 156 | ZSS - Major Plant Replacement | 2762.4607 | 3857.0206 | 4560.6663 | 4534.6053 | 4508.5444 | 4560.6663 | 4560.6663
| 157 | Zone SubStation Plant Replacement
| 158 | Safety Compliance
| 159 | TV Interference Replacement Capital
| 160 | Augmentation Lines
| 161 | Augmentation of Zone SubStation
| 162 | Network Development - Augment Dist.
| 163 | Environment Management'
| 164 | Bushfire Mitigation Augmentation
| 165 | LV Com. Multi Earth (CMEN)
| 166 | Reliability Improvement - Automation
| 167 | VBRC
| 168 | Zone SubStation Automation
| 169 | Augmentation Connection Assets
| 170 | Conductor Clearance
| 171 | SWER Augmentation
| 172 | Supply Reliability Improvement Scheme
| 174 | Pole Fire Mitigation
| 175 | Metering Communications
| 176 | Communications installation
| 177 | CBD Security Supply
| 200 | Computers
| 205 | IT Metering Data Services
| 210 | General Equipment
| 215 | General Equipment-AMI
| 220 | Office Furniture
| 225 | Office Furniture-AMI
| 230 | Property
| 235 | Property-AMI
| 240 | Motor Vehicles
| 245 | Motor Vehicles-AMI
| 260 | Intellectual Property
| 270 | Communications
| 273 | Testing & Laboratory
End of Sheet

## Reset RIN 2.2 Repex
Powercor - Protection Replacement | [9 empty] | Menu
Reset RIN 2.2 Repex | [8 empty] | Sheet Check | OK
2.2.1 - REPLACEMENT EXPENDITURE, VOLUMES AND ASSET FAILURES BY ASSET CATEGORY
| EXPENDITURE |  |  | EXPENDITURE ($0's real June 2021)
| ASSET GROUP | ASSET CATEGORY |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole
˂ = 1 kV; Wood
> 1 kV & < = 11 kV; Wood
˃ 11 kV & < = 22 kV; Wood
> 22 kV & < = 66 kV; Wood
> 66 kV & < = 132 kV; Wood
> 132 kV; Wood
˂ = 1 kV; Concrete
> 1 kV & < = 11 kV; Concrete
˃ 11 kV & < = 22 kV; Concrete
> 22 kV & < = 66 kV; Concrete
> 66 kV & < = 132 kV; Concrete
> 132 kV; Concrete
˂ = 1 kV; Steel
> 1 kV & < = 11 kV; Steel
˃ 11 kV & < = 22 kV; Steel
> 22 kV & < = 66 kV; Steel
> 66 kV & < = 132 kV; Steel
> 132 kV; Steel
Other
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV
> 1 kV & < = 11 kV
˃ 11 kV & < = 22 kV
> 22 kV & < = 66 kV
> 66 kV & < = 132 kV
> 132 kV
Other
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked
|  | > 1 kV & < = 11 kV | for year wooden pole staked
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked
|  | > 22 kV & < = 66 kV | for year wooden pole staked
|  | > 66 kV & < = 132 kV | for year wooden pole staked
|  | > 132 kV | for year wooden pole staked
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | ˃ 11 kV & < = 22 kV ; SWER | per km
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km
|  | > 22 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | > 11 kV & < = 22 kV | per km
|  | > 22 kV & < = 33 kV | per km
|  | > 33 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans
|  | > 132 kV ; Commercial & Industrial | per number of spans
|  | > 132 kV ; Subdivision | per number of spans
|  | Other | per number of spans
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA
Other
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE
˂ = 11 kV ; Switch
˂ = 11 kV ; Circuit Breaker
> 11 kV & < = 22 kV ; Switch
> 11 kV & < = 22 kV ; Circuit Breaker
> 22 kV & < = 33 kV ; Switch
> 22 kV & < = 33 kV ; Circuit Breaker
> 33 kV & < = 66 kV ; Switch
> 33 kV & < = 66 kV ; Circuit Breaker
> 66 kV & < = 132 kV ; Switch
> 66 kV & < = 132 kV ; Circuit Breaker
> 132 kV ; Switch
> 132 kV ; Circuit Breaker
Other
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices |  | 2762460.7104 | 3857020.6145 | 4560666.2671 | 4534605.317 | 4508544.3669 | 4560666.2671 | 4560666.2671
Local Network Wiring Assets
Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
OTHER BY: enter DNSP defined asset group here
| ASSET REPLACEMENTS |  |  | Volumes (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole
˂ = 1 kV; Wood
> 1 kV & < = 11 kV; Wood
˃ 11 kV & < = 22 kV; Wood
> 22 kV & < = 66 kV; Wood
> 66 kV & < = 132 kV; Wood
> 132 kV; Wood
˂ = 1 kV; Concrete
> 1 kV & < = 11 kV; Concrete
˃ 11 kV & < = 22 kV; Concrete
> 22 kV & < = 66 kV; Concrete
> 66 kV & < = 132 kV; Concrete
> 132 kV; Concrete
˂ = 1 kV; Steel
> 1 kV & < = 11 kV; Steel
˃ 11 kV & < = 22 kV; Steel
> 22 kV & < = 66 kV; Steel
> 66 kV & < = 132 kV; Steel
> 132 kV; Steel
Other
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV
> 1 kV & < = 11 kV
˃ 11 kV & < = 22 kV
> 22 kV & < = 66 kV
> 66 kV & < = 132 kV
> 132 kV
Other
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked
|  | > 1 kV & < = 11 kV | for year wooden pole staked
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked
|  | > 22 kV & < = 66 kV | for year wooden pole staked
|  | > 66 kV & < = 132 kV | for year wooden pole staked
|  | > 132 kV | for year wooden pole staked
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | ˃ 11 kV & < = 22 kV ; SWER | per km
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km
|  | > 22 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | > 11 kV & < = 22 kV | per km
|  | > 22 kV & < = 33 kV | per km
|  | > 33 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans
|  | > 132 kV ; Commercial & Industrial | per number of spans
|  | > 132 kV ; Subdivision | per number of spans
|  | Other | per number of spans
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA
Other
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE
˂ = 11 kV ; Switch
˂ = 11 kV ; Circuit Breaker
> 11 kV & < = 22 kV ; Switch
> 11 kV & < = 22 kV ; Circuit Breaker
> 22 kV & < = 33 kV ; Switch
> 22 kV & < = 33 kV ; Circuit Breaker
> 33 kV & < = 66 kV ; Switch
> 33 kV & < = 66 kV ; Circuit Breaker
> 66 kV & < = 132 kV ; Switch
> 66 kV & < = 132 kV ; Circuit Breaker
> 132 kV ; Switch
> 132 kV ; Circuit Breaker
Other
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices |  | 55.5 | 38.5 | 45 | 49.5 | 59 | 53.5 | 82
Local Network Wiring Assets
Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
OTHER BY: enter DNSP defined asset group here
| ASSET FAILURES |  |  | Volumes (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole
˂ = 1 kV; Wood
> 1 kV & < = 11 kV; Wood
˃ 11 kV & < = 22 kV; Wood
> 22 kV & < = 66 kV; Wood
> 66 kV & < = 132 kV; Wood
> 132 kV; Wood
˂ = 1 kV; Concrete
> 1 kV & < = 11 kV; Concrete
˃ 11 kV & < = 22 kV; Concrete
> 22 kV & < = 66 kV; Concrete
> 66 kV & < = 132 kV; Concrete
> 132 kV; Concrete
˂ = 1 kV; Steel
> 1 kV & < = 11 kV; Steel
˃ 11 kV & < = 22 kV; Steel
> 22 kV & < = 66 kV; Steel
> 66 kV & < = 132 kV; Steel
> 132 kV; Steel
Other
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV
> 1 kV & < = 11 kV
˃ 11 kV & < = 22 kV
> 22 kV & < = 66 kV
> 66 kV & < = 132 kV
> 132 kV
Other
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked
|  | > 1 kV & < = 11 kV | for year wooden pole staked
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked
|  | > 22 kV & < = 66 kV | for year wooden pole staked
|  | > 66 kV & < = 132 kV | for year wooden pole staked
|  | > 132 kV | for year wooden pole staked
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | ˃ 11 kV & < = 22 kV ; SWER | per km
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km
|  | > 22 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | > 11 kV & < = 22 kV | per km
|  | > 22 kV & < = 33 kV | per km
|  | > 33 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans
|  | > 132 kV ; Commercial & Industrial | per number of spans
|  | > 132 kV ; Subdivision | per number of spans
|  | Other | per number of spans
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA
Other
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE
˂ = 11 kV ; Switch
˂ = 11 kV ; Circuit Breaker
> 11 kV & < = 22 kV ; Switch
> 11 kV & < = 22 kV ; Circuit Breaker
> 22 kV & < = 33 kV ; Switch
> 22 kV & < = 33 kV ; Circuit Breaker
> 33 kV & < = 66 kV ; Switch
> 33 kV & < = 66 kV ; Circuit Breaker
> 66 kV & < = 132 kV ; Switch
> 66 kV & < = 132 kV ; Circuit Breaker
> 132 kV ; Switch
> 132 kV ; Circuit Breaker
Other
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices
Local Network Wiring Assets
Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
OTHER BY: enter DNSP defined asset group here
End of Sheet