Powercor Australia Demand Management Incentive Allowance (DMIA)

Annual Report for 2012 period

Submitted to the AER - June 2013

| WATER TREATMENT BUSINESS PROJECT |  |  |
| --- | --- | --- |
| 1. | Description of the Project | The Powercor Australia Water Treatment Business Demand Management (DM) project applies to a commercial customer at specific locations. It tests ways to reduce maximum demand (MD) on a part of the network, with a view to communicating these initiatives to customers with similar DM opportunities. The project is non-network in nature and applies to automated DM with refinement of processes, load shifting and peak curtailment. |
| 2. | Nature and Scope | The nature and scope of the project is to test industrial DM in a process environment. |
| 3. | Aims and Expectations | The aim of the project was to: - Build DM capability; - Trial and test customer responses and ability to respond in an industrial process environment; - Evaluate and analyse consumption data; and - Engage industrial process customers. |
| 4. | Selection Process including Business Case and consideration of any alternatives | This project was selected due to its practicality in terms of scope, achievability, and ability to be replicated in other settings. In addition, complexity and expenditure were also a consideration, so an option of least cost and complexity was chosen. |
| 5. | Implementation Mechanism / Plan | This project was implemented and completed during August – October 2012. |
| 6. | Any identifiable benefits that have arisen from it, including any off peak or peak demand reductions. | Benefits identified from the project include a direct saving of up to $3,000 pa, based on a reduction of MD below threshold for a Peak Demand charge. There is also a potential reduction in MD of 22kW, allowing for the Peak Demand charge to be avoided. |
| 7. | Are the associated project costs recoverable elsewhere (under EDPR, any jurisdictional incentive scheme, government scheme etc.) | The associated project costs are not recoverable elsewhere. |
| 8. | Explain any assumptions and/or estimates used in the calculation of forgone revenue, demonstrating the reasonableness of those assumptions and/or estimates in calculating forgone revenue, including the reasons for Powercor Australia’s decision to adjust or not to adjust for other factors and the basis for any such adjustments. | The foregone revenue was not calculated. |
| 9. | State the total amount of the Demand Management Incentive Allowance spent in the Relevant Regulatory Year and explain how it was calculated. | Total Cost (opex) of implementation in customer premises: $19,180 The cost was derived from third party service provider invoices over a three month period. |