## Legend
Style legend |  |  | Menu
Style | Design | Comment
Header1 | Header1
Header 1A | Header 1A
Header2 | Header2
Header3 | Header3
Header4 | Header4
User_Input_Actual | 100 | A user driven input for actual figures
User_Input_Forecast | 100 | A user driven input for forcast figures
Base_Input | 100 | A model input that should not be changed to protect the integrity of the model
Empty_Cell |  | A cell that is left intentionally blank to avoid the risk of error
InSheet_calc | 100 | A link within the worksheet or an interim calculation step
OffSheet | 100 | A link to another worksheet to minimise the number of inter-worksheet references
Line_SubTotal | 100 | The sum of elements in the table immediately above
Line_Total | 100 | The sum of elements above, including sub-totals
Unit / Info | AUD millions | Explanatory text showing helpful information or the units/dimensions of the calculations
Line_Summary | 100 | The SUM() of everything in the row
Table_Header | Qtr | Header of a table or of an off-sheet reference
Flag | 1 | Binary flag - set up as a 'Style' and updated with conditional formatting
Check_Cell | 100 | Check figures add up to the correct amount
| 100 | AER draft decision
| 100 | RRP change
| 100 | AER adjustments

## Menu
Powercor - Bushfire Safety
Menu
| Control |  | User Inputs |  | Base Inputs
| Legend |  | Project List-RRP |  | Inflation
| Menu |  |  |  | Historical Expenditure | OK
| Calculations |  | Outputs/Export |  | AER Draft decision
| Forecast Expenditure | OK | Direct Capex | OK | Project List-AER
|  |  | VBRC | OK

## Project List - AER
Powercor - Bushfire Safety | [8 empty] | Menu
Project List - AER
Project List by Bushfire Category
$2019
| Description | Bushfire category | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021-2026 total
| ARVDs | Armour rods & dampers - LBRA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SWER ACRs | SWER ACR's | 5727000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HV clearances | Multi Circuit Rebuild - LBRA | 1203726 | 601863 | 0 | 0 | 0 | 0 | 0 | 0
| SWER replacement program | Line Replacement Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Early fault detection | VBRC Other | $2019 2019/20: 255509.8766; $2019 2020/21: 511019.7532 | 0
| Replace wood crossarms in ELCA's | VBRC Other | $2019 2019/20: 302447.9872; $2019 2020/21: 604895.9745 | 0
| Replace LV fuse switch disconnectors (FSDs) in ELCAs | VBRC Other | $2019 2019/20: 0; $2019 2020/21: 355000 | 0
| Replace LV fused overhead line connector boxes (FOLCBs) in ELCAs | VBRC Other | $2019 2019/20: 0; $2019 2020/21: 477750 | 0
| Technology developments and research partnerships (annual program) | VBRC Other | $2019 2019/20: 400000; $2019 2020/21: 400000 | 0
| Mitigating REFCL reliability impacts | VBRC Other | 0 | 0 | 8365230.6958 | 4067948.8976 | 0 | 0 | 0 | 12433179.5934
| Cross arm and insulator replacement | VBRC Other | $2019 2019/20: 1233500; $2019 2020/21: 1180000 | 0
| REFCL compliance: tranche 1 and 2 | REFCL GFNs | 54405282.5254 | 24441680.3166 | 158552.1054 | 79276.0527 | 0 | 0 | 0 | 237828.1581
| REFCL compliance: tranche 3 placeholder | REFCL GFNs | 10908077.5551 | 91367946.0965 | 33544293.5659 | 504170.2286 | 0 | 0 | 0 | 34048463.7945
| REFCL compliance: CRO zone substation | REFCL GFNs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| REFCL ongoing compliance: BAW zone substation | REFCL GFNs | 0 | 0 | 974660.1739 | 12450612.6355 | 11475952.4616 | 0 | 0 | 24901225.271
| REFCL ongoing compliance: CLC new REFCL | REFCL GFNs | 0 | 125989.1303 | 1387517.4832 | 1261528.3529 | 0 | 0 | 0 | 2649045.8361
| REFCL ongoing compliance: CMN new REFCL | REFCL GFNs | 0 | 0 | 0 | 1119983.309 | 1119983.309 | 0 | 0 | 2239966.6179
| REFCL ongoing compliance: EHK new transformer and REFCL | REFCL GFNs | 0 | 0 | 0 | 0 | 3353517.6923 | 3353517.6923 | 0 | 6707035.3846
| REFCL ongoing compliance: GSB new REFCL | REFCL GFNs | 0 | 0 | 0 | 1380761.4631 | 1380761.4631 | 0 | 0 | 2761522.9262
| REFCL compliance: WPD station works | REFCL GFNs | 0 | 0 | 4807438.8503 | 4807438.8503 | 0 | 0 | 0 | 9614877.7007
| REFCL compliance: WPD (TQY GFNs) | REFCL GFNs | 0 | 0 | 4610791.5097 | 4610791.5097 | 0 | 0 | 0 | 9221583.0194
| REFCL compliance: WPD line hardening/distribution works | REFCL GFNs | 0 | 0 | 7827367.9235 | 7827367.9235 | 0 | 0 | 0 | 15654735.847
| REFCL ongoing compliance: BETS iso and feeder rearragement | REFCL GFNs | 0 | 0 | 0 | 0 | 1220763.2698 | 1220763.2698 | 0 | 2441526.5397
| REFCL ongoing compliance: BGO feeder rearrangement | REFCL GFNs | 0 | 0 | 0 | 0 | 591245.3947 | 591245.3947 | 0 | 1182490.7894
| REFCL ongoing compliance: WIN new transformer and REFCL | REFCL GFNs | 0 | 0 | 0 | 3665637.3295 | 3665637.3295 | 0 | 0 | 7331274.6589
| REFCL compliance: GHP zone substation | REFCL GFNs |  |  | 2007194.8427 | 42222905.3387 | 0 | 0 | 0 | 44230100.1815
| REFCL compliance: GHP adjustment for augex already accounted for | REFCL GFNs |  |  | -1954500 | -977250 | -293175 | -488625 | -195450 | -3909000
| REFCL compliance: removal of tranche two allowance for GL | REFCL GFNs |  |  | -18330057.8596 | 0 | 0 | 0 | 0 | -18330057.8596
|  |  | 74435543.9443 | 120066144.2711 | 43398489.291 | 83021171.891 | 22514685.92 | 4676901.3569 | -195450 | 153415798.4589
New items relevant for PAL amended REFCL forecast
End of Sheet

## Project List-RRP
Powercor - Bushfire Safety | [5 empty] | AER draft decision |  |  | Menu
Project List-RRP | [5 empty] | RRP change
Project List by Bushfire Category
$2019
| Description | Bushfire category | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021-2026 total
| ARVDs | Armour rods & dampers - LBRA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SWER ACRs | SWER ACR's | 5727000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HV clearances | Multi Circuit Rebuild - LBRA | 1203726 | 601863 | 0 | 0 | 0 | 0 | 0 | 0
| SWER replacement program | Line Replacement Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Early fault detection | VBRC Other | $2019 2019/20: 255509.8766; $2019 2020/21: 511019.7532 | 0
| Replace wood crossarms in ELCA's | VBRC Other | $2019 2019/20: 302447.9872; $2019 2020/21: 604895.9745 | 0
| Replace LV fuse switch disconnectors (FSDs) in ELCAs | VBRC Other | 0 | 355000 | 355116 | 355116 | 355116 | 355116 | 355116 | 1775580
| Replace LV fused overhead line connector boxes (FOLCBs) in ELCAs | VBRC Other | 0 | 477750 | 477757.8 | 477757.8 | 477757.8 | 477757.8 | 477757.8 | 2388789
| Technology developments and research partnerships (annual program) | VBRC Other | $2019 2019/20: 400000; $2019 2020/21: 400000
| Bushfire mitigation research and development | VBRC Other | 400000 | 400000 | 800000 | 800000 | 800000 | 800000 | 800000 | 4000000
| Mitigating REFCL reliability impacts | VBRC Other | 0 | 0 | 8365230.6958 | 4067948.8976 | 0 | 0 | 0 | 12433179.5934
| Cross arm and insulator replacement | VBRC Other | $2019 2019/20: 1233500; $2019 2020/21: 1180000 | 0
| REFCL compliance: tranche 1 and 2 | REFCL GFNs | $2019 2019/20: 54405282.5254; $2019 2020/21: 24441680.3166; $2019 2021/22: 158552.1054; $2019 2022/23: 79276.0527 | 237828.1581
| REFCL compliance: tranche 3 | REFCL GFNs | 10908077.5551 | 91367946.0965 | 33544293.5659 | 504170.2286 | 0 | 0 | 0 | 34048463.7945
| REFCL compliance: CRO zone substation | REFCL GFNs | $2019 2019/20: 0; $2019 2020/21: 0 | 0
| REFCL ongoing compliance: BAW zone substation | REFCL GFNs | [7 empty] | 0 | bar: $2019 2020/21 to $2019 2025/26
| REFCL ongoing compliance: CLC new REFCL | REFCL GFNs | 0 | 126412.5576 | 1471926.7772 | 1345514.2195 | 0 | 0 | 0 | 2817440.9967
| REFCL ongoing compliance: CMN new REFCL | REFCL GFNs | 0 | 0 | 0 | 1204571.6626 | 1204571.6626 | 0 | 0 | 2409143.3253
| REFCL ongoing compliance: EHK new transformer and REFCL | REFCL GFNs | 0 | 0 | 0 | 0 | 3571278.3461 | 3571278.3461 | 0 | 7142556.6921
| REFCL ongoing compliance: GSB new REFCL | REFCL GFNs | 0 | 0 | 0 | 1466226.2462 | 1466226.2462 | 0 | 0 | 2932452.4925
| REFCL compliance: WPD station works | REFCL GFNs | 0 | 0 | 5062834.0819 | 5062834.0819 | 0 | 0 | 0 | 10125668.1638
| REFCL compliance: WPD (TQY GFNs) | REFCL GFNs | 0 | 0 | 4785779.7523 | 4785779.7523 | 0 | 0 | 0 | 9571559.5045
| REFCL compliance: WPD line hardening/distribution works | REFCL GFNs | 0 | 0 | 0 | 10691512.1307 | 10691512.1307 | 0 | 0 | 21383024.2614
| REFCL ongoing compliance: BETS iso and feeder rearragement | REFCL GFNs | 0 | 0 | 0 | 0 | 1224866.0403 | 1224866.0403 | 0 | 2449732.0807
| REFCL ongoing compliance: BGO feeder rearrangement | REFCL GFNs | 0 | 0 | 0 | 0 | 593232.4664 | 593232.4664 | 0 | 1186464.9329
| REFCL ongoing compliance: WIN new transformer and REFCL | REFCL GFNs | 0 | 0 | 0 | 3883368.7674 | 3883368.7674 | 0 | 0 | 7766737.5348
| REFCL compliance: GHP zone substation | REFCL GFNs | 0 | 0 | 2013940.6713 | 48361298.1766 | 0 | 0 | 0 | 50375238.848
| REFCL compliance: GHP adjustment for augex already accounted for | REFCL GFNs | $2019 2021/22: -1238569.7245; $2019 2022/23: -619284.8623; $2019 2023/24: -185785.4587; $2019 2024/25: -309642.4311 | -2353282.4766
| REFCL compliance: removal of tranche two allowance for GL | REFCL GFNs | $2019 2022/23: -18287759.6407
|  |  | 74835543.9443 | 120466567.6984 | 55796861.7253 | 64178329.5131 | 24082144.0011 | 6712608.2217 | 1632873.8 | 173043859.3786
End of Sheet

## Inflation
Powercor - Bushfire Safety | [7 empty] | AER draft decision |  |  |  | Menu
Inflation | [7 empty] | RRP change
| Base Year | 2021
Inflation Rates and Conversion factor to June 2021
| Financial year | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
| Calendar year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Inflation
| Conversion Factor to 2021 | 1.211 | 1.1698 | 1.1468 | 1.1226 | 1.0973 | 1.0809 | 1.07 | 1.0497 | 1.0389 | 1.0122 | 1
End of Sheet

## Historical Expenditure
Powercor - Bushfire Safety | [9 empty] | Menu
Historical Expenditure | [8 empty] | Sheet Check | OK
Historical Expenditure by Bushfire Category
Source: Project List
$ Nominal
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| 167 | Armour rods & dampers - HBRA
| 167 | Armour rods & dampers - LBRA
| 167 | Multi Circuit Rebuild - LBRA | 0 | 8994754.4873 | 24515824.7973 | 24239198.5134 | 13387353.3084 | 8781678.0952 | 5947266.4465 | 1834813.4564
| 167 | SWER ACR's | 3799732.005 | 4074928.6594 | 275196.6544 | 607473.5616 | 2075100.5616 | 4168149.5 | 7506904.0879 | 11776302.5879
| 167 | Line Replacement Projects | 70559.26 | 39058.07 | 58813.79 | 56609.885 | 10369.94 | 525.5 | 0 | 0
| 167 | VBRC Other
| 167 | REFCL Fusesavers
| 167 | REFCL GFNs | 0 | 33696.9833 | 1223555.4833 | 1347675.5 | 8922161 | 25882768 | 51732273.8157 | 69592256.1107
| 167 | REFCL SCADA
| 167 | REFCL Protection & Control / Comms
| 167 | REFCL balancing units
| 167 | REFCL other
|  | Totals | 3870291.265 | 13142438.2 | 26073390.725 | 26250957.46 | 24394984.81 | 38833121.0952 | 65186444.3502 | 83203372.155
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast expenditure by RIN category: augex table 2.3.4
$ Nominal
| Asset Group | AUGMENTATION CAPEX (As incurred) | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations
| As incurred | Subtransmission Lines
HV Feeders
HV Feeders - Land Purchases and Easements
Distribution Substations
Distribution Substations - Land Purchases And Easements
LV Feeders
LV Feeders - Land Purchases And Easements
|  | Other Assets | 0 | 9028451.4706 | 25739380.2806 | 25586874.0134 | 22309514.3084 | 34664446.0952 | 57679540.2622 | 71427069.5671
|  | Non REFCL(AR&D and Spacer) |  | 8994754.4873 | 24515824.7973 | 24239198.5134 | 13387353.3084 | 8781678.0952 | 5947266.4465 | 1834813.4564
|  | REFCL | 0 | 33696.9833 | 1223555.4833 | 1347675.5 | 8922161 | 25882768 | 51732273.8157 | 69592256.1107
|  | Totals | 0 | 9028451.4706 | 25739380.2806 | 25586874.0134 | 22309514.3084 | 34664446.0952 | 57679540.2622 | 71427069.5671
Forecast expenditure by RIN category: repex table 2.2
$ Nominal
| ASSET GROUP | ASSET CATEGORY | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
| OTHER BY: | VBRC ACR's | 3799732.005 | 4074928.6594 | 275196.6544 | 607473.5616 | 2075100.5616 | 4168149.5 | 7506904.0879 | 11776302.5879
| DNSP defined | BUSHFIRE MITIGATION RELATED REPLACEMENT EXPENDITURE | 70559.26 | 39058.07 | 58813.79 | 56609.885 | 10369.94 | 525.5 | 0
|  | Totals | 3870291.265 | 4113986.7294 | 334010.4444 | 664083.4466 | 2085470.5016 | 4168675 | 7506904.0879 | 11776302.5879
End of Sheet

## Forecast Expenditure
Powercor - Bushfire Safety | [16 empty] | Menu
Forecast Expenditure | [15 empty] | Sheet Check | OK
Forecast expenditure
Source: Project List
$ 2021
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| 157 | Armour rods & dampers - HBRA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | Armour rods & dampers - LBRA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | Multi Circuit Rebuild - LBRA | 0 | 10522297.3009 | 28115805.2812 | 27210511.9013 | 14689428.2761 | 9492381.3457 | 6363465.5717 | 1925974.0165 | 1250606.6598 | 625303.3299 | 0 | 0 | 0 | 0 | 0
| 157 | SWER ACR's | 4601485.9206 | 4766957.3299 | 315607.3929 | 681939.4861 | 2276928.095 | 4505478.8084 | 8032249.1254 | 12361394.4058 | 5950045.3931 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | Line Replacement Projects | 85447.4581 | 45691.1442 | 67450.1911 | 63549.2939 | 11378.5366 | 568.0288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | VBRC Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2692385.5289 | 4081672.6757 | 10387493.5559 | 5922848.5819 | 1696468.1738 | 1696468.1738 | 1696468.1738
| 157 | REFCL Fusesavers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | REFCL GFNs | 0 | 39419.6058 | 1403226.202 | 1512877.5901 | 9789944.3645 | 27977466.4335 | 55352580.2706 | 73049865.9446 | 67857073.0318 | 120451317.3684 | 47582448.8321 | 60754988.6549 | 23323585.9504 | 5277571.2229 | 0
| 157 | REFCL SCADA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | REFCL Protection & Control / Comms | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | REFCL balancing units | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | REFCL other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Totals | 4686933.3787 | 15374365.3809 | 29902089.0671 | 29468878.2713 | 26767679.2722 | 41975894.6164 | 69748294.9677 | 87337234.3669 | 77750110.6135 | 125158293.374 | 57969942.3881 | 66677837.2367 | 25020054.1242 | 6974039.3967 | 1696468.1738
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast expenditure by RIN category: augex table 2.3.4
$ 2021
| Asset Group | AUGMENTATION CAPEX (As incurred) | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| As incurred | Subtransmission Lines | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | HV Feeders | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | HV Feeders - Land Purchases and Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Distribution Substations | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Distribution Substations - Land Purchases And Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LV Feeders | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LV Feeders - Land Purchases And Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other Assets | 0 | 10561716.9067 | 29519031.4832 | 28723389.4913 | 24479372.6406 | 37469847.7791 | 61716045.8423 | 74975839.9611 | 69107679.6916 | 121076620.6983 | 47582448.8321 | 60754988.6549 | 23323585.9504 | 5277571.2229 | 0
|  | Non REFCL(AR&D and Spacer) | 0 | 10522297.3009 | 28115805.2812 | 27210511.9013 | 14689428.2761 | 9492381.3457 | 6363465.5717 | 1925974.0165 | 1250606.6598 | 625303.3299 | 0 | 0 | 0 | 0 | 0
|  | REFCL | 0 | 39419.6058 | 1403226.202 | 1512877.5901 | 9789944.3645 | 27977466.4335 | 55352580.2706 | 73049865.9446 | 67857073.0318 | 120451317.3684 | 47582448.8321 | 60754988.6549 | 23323585.9504 | 5277571.2229 | 0
|  | Totals | 0 | 10561716.9067 | 29519031.4832 | 28723389.4913 | 24479372.6406 | 37469847.7791 | 61716045.8423 | 74975839.9611 | 69107679.6916 | 121076620.6983 | 47582448.8321 | 60754988.6549 | 23323585.9504 | 5277571.2229 | 0
Forecast expenditure by RIN category: repex table 2.2
$ 2021
| ASSET GROUP | ASSET CATEGORY | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| OTHER BY: | VBRC ACR's | 4601485.9206 | 4766957.3299 | 315607.3929 | 681939.4861 | 2276928.095 | 4505478.8084 | 8032249.1254 | 12361394.4058 | 5950045.3931 | 0 | 0 | 0 | 0 | 0 | 0
| DNSP defined | BUSHFIRE MITIGATION RELATED REPLACEMENT EXPENDITURE | 85447.4581 | 45691.1442 | 67450.1911 | 63549.2939 | 11378.5366 | 568.0288 | 0 | 0 | 2692385.5289 | 4081672.6757 | 10387493.5559 | 5922848.5819 | 1696468.1738 | 1696468.1738 | 1696468.1738
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Totals | 4686933.3787 | 4812648.4741 | 383057.584 | 745488.78 | 2288306.6316 | 4506046.8372 | 8032249.1254 | 12361394.4058 | 8642430.922 | 4081672.6757 | 10387493.5559 | 5922848.5819 | 1696468.1738 | 1696468.1738 | 1696468.1738
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## Direct Capex
Powercor - Bushfire Safety | [8 empty] | Menu
Direct Capex | [7 empty] | Sheet Check | OK
Direct Capex by Function Code
|  |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function Code | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
|  |  | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| 102 | Rural Projects < 50KVA
| 103 | Urban Projects < 50KVA
| 104 | Medium Density SubDivision
| 105 | Business Supply > 50KVA < 200KVA
| 106 | Business Supply > 200KVA
| 107 | HV Connections
| 108 | Business SubDivisions
| 109 | U/G Service Pits Ex O/H Supply
| 110 | Low Density SubDivisions
| 111 | High Density Residential/Business
| 112 | New Connection Meter Acc.
| 113 | New Connection Meter IMRO
| 114 | New Conn. Service/Materials
| 115 | New Conn. Servicing Labour
| 116 | Recoverable Works
| 118 | CO Generation Projects
| 119 | Energy Efficient Public Lighting - New
| 120 | Public Lighting - New
| 121 | Docklands
| 122 | Major Generation Projects
| 123 | New Conn. Meter Install Acc.
| 124 | New Conn. Meter Install MRIM
| 125 | New Conn. Meter AMI
| 126 | New Conn. Meter Install AMI
| 130 | ACS services
| 131 | Consolidated line maintenance
| 132 | Replacement accumulation meter
| 133 | Replacement MRIM meter
| 134 | Replacement AMI meter & transformers
| 135 | Rollout AMI meter
| 136 | Rollout AMI meter install
| 137 | Replacement Meter Install AMI
| 138 | Replacement Meter & Install IMRO
| 139 | Maintenance Related Fault Capital
| 140 | Public Lighting - Replacement
| 141 | Fault Related Capital
| 142 | Conductor Clearance
| 143 | HV Switch Replacement
| 144 | Transformer Replacement
| 145 | HV Fuse Unit & Surge Divert. Repl.
| 146 | Recoverable Works - Asset Damage
| 147 | Pole Life Extension - Treatment
| 148 | Pole Replacement
| 149 | Pole Life Extension - Staking
| 150 | OH/UG Line Replacement
| 151 | Replacements Meter & Install Acc
| 152 | Neutral Screen Services
| 153 | Servicing Replacement
| 154 | Bird Cover Replacement
| 155 | Cross-arm Replacement
| 156 | ZSS - Major Plant Replacement
| 157 | Zone SubStation Plant Replacement
| 158 | Safety Compliance
| 159 | TV Interference Replacement Capital
| 160 | Augmentation Lines
| 161 | Augmentation of Zone SubStation
| 162 | Network Development - Augment Dist.
| 163 | Environment Management'
| 164 | Bushfire Mitigation Augmentation
| 165 | LV Com. Multi Earth (CMEN)
| 166 | Reliability Improvement - Automation
| 167 | VBRC | 77750.1106 | 125158.2934 | 57969.9424 | 66677.8372 | 25020.0541 | 6974.0394 | 1696.4682
| 168 | Zone SubStation Automation
| 169 | Augmentation Connection Assets
| 170 | Conductor Clearance
| 171 | SWER Augmentation
| 172 | Supply Reliability Improvement Scheme
| 174 | Pole Fire Mitigation
| 175 | Metering Communications
| 176 | Communications installation
| 177 | CBD Security Supply
| 200 | Computers
| 205 | IT Metering Data Services
| 210 | General Equipment
| 215 | General Equipment-AMI
| 220 | Office Furniture
| 225 | Office Furniture-AMI
| 230 | Property
| 235 | Property-AMI
| 240 | Motor Vehicles
| 245 | Motor Vehicles-AMI
| 260 | Intellectual Property
| 270 | Communications
| 273 | Testing & Laboratory
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## VBRC
Powercor - Bushfire Safety | [6 empty] | Menu
VBRC | [5 empty] | Sheet Check | OK
VBRC Augex
|  |  | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
| Code | Description | Forecast | Forecast | Forecast | Forecast | Forecast
| 167 | Armour rods, dampers & spacers | 0 | 0 | 0 | 0 | 0
| 167 | VBRC other | 0 | 0 | 0 | 0 | 0
| 167 | SWER ACRs
| 167 | Other non-REFCL VBRC
| 167 | REFCL Fusesavers | 0 | 0 | 0 | 0 | 0
| 167 | REFCL GFNs | 12731.7295 | 60231.1829 | 23323.586 | 5277.5712 | 0
| 167 | REFCL SCADA | 0 | 0 | 0 | 0 | 0
| 167 | REFCL Protection & Control / Comms | 0 | 0 | 0 | 0 | 0
| 167 | REFCL balancing units | 0 | 0 | 0 | 0 | 0
| 167 | REFCL other | 0 | 0 | 0 | 0 | 0
| 167 | REFCL Tranche 3 | 34850.7193 | 523.8058 | 0 | 0 | 0
VBRC Repex
|  |  | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
| Code | Description | Forecast | Forecast | Forecast | Forecast | Forecast
| 167 | Armour rods, dampers & spacers
| 167 | VBRC other | 10387.4936 | 5922.8486 | 1696.4682 | 1696.4682 | 1696.4682
| 167 | SWER ACRs | 0 | 0 | 0 | 0 | 0
| 167 | Other non-REFCL VBRC
| 167 | REFCL Fusesavers
| 167 | REFCL GFNs
| 167 | REFCL SCADA
| 167 | REFCL Protection & Control / Comms
| 167 | REFCL balancing units
| 167 | REFCL other
|  |  | 0 | 0 | 0 | 0 | 0
End of Sheet