## Assumptions
Risk Monetisation Model - FSD Replacements - ELCA
#VALUE!
Disproportionate Factors
Probablity Tree (ELCA)
| Category | Factor | Reference
| Catastrophic Bushfire | 6 | Industry workshop facilitated by AMCL & presented to ESV |  | FOLCB fire start (likelihood)
| Major Bushfire | 3 | Industry workshop facilitated by AMCL & presented to ESV |  | 0.00411%
| Moderate fire | 1 | Industry workshop facilitated by AMCL & presented to ESV
| Minor fire | 1 | Industry workshop facilitated by AMCL & presented to ESV
|  |  |  | Fire start on Non-TFB Day |  | Fire start on TFB Day
Consequence Costs
| Category | $m 2021 | Reference | 96.44% |  | 3.562%
| Catastrophic Bushfire | 378.4582 | DEDJTR Regulatory Impact Statement 2015
| F-Factor Penalty per site per fire start (ELCA) | 0.57038 | Powercor estimate
|  |  |  | Fire start leads to "Catastrophic Bushfire" |  | Fire start leads to "Major Fire" | Fire start leads to "Moderate Fire" | Fire start leads to "Minor Fire"
Units
| Category | Qty | Reference | 5% |  | * not modelled | * not modelled | * not modelled
| FSD units - total | 121665 | Asset data
| Total FSDs in ELCA | 2930 | PAL estimate
| No of FSDs units replaced pa in ELCA | 293 | Proactive replacements
| Risk reduction when FSD has been proactively replaced | 86% | Cause mitigation analysis
| Unit Rate | 1259.2029 | FSD unit rate $2021
| Asset life (years) | 51 | Selection of regulatory life or economic life in years
Probabilities
| Category | Metric | Reference
| No. Fires per year due to FSDs p.a | 5 | PAL: FSD fire starts data
| Annual Fire Start rate per FSD | 0.00411% | See calculation
| Fire start on Non-TFB Day | 96.44% | See calculation
| Fire start on day of Severe and above fire danger | 3.562% | PAL records (past 20 years TFB Days record. Avg.13 TFBDs pa)
| Unsupressed Fire Start causes a Catastrophic Fire | 5% | Per EDO model
| Risk reduction when a FSD has been replaced | 86% | Cause mitigation analysis
End of Sheet

## Capex Costs
Risk Monetisation Model - FSD Replacements - ELCA
#VALUE!
Project Capex
Cost $2021
| Option | Description | FY20/21 | FY21/22 | FY22/23 | FY23/24 | FY24/25 | FY25/26 | FY26/27 | FY27/28 | FY28/29 | FY29/30 | FY30/31
| 1 | FSD replacement program | Cost $2021 FY21/22: 368946.4501; Cost $2021 FY22/23: 368946.4501; Cost $2021 FY23/24: 368946.4501; Cost $2021 FY24/25: 368946.4501; Cost $2021 FY25/26: 368946.4501
2
3
4
5
6
7
8
9
10

## Inflation
Risk Monetisation Model - FSD Replacements - ELCA
#VALUE!
Inflation index
|  | Financial Year | FY09/10 | FY10/11 | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
|  | Conversion Factor to 2021 | 1.2517 | 1.2398 | 1.211 | 1.1698 | 1.1468 | 1.1226 | 1.0973 | 1.0809 | 1.07 | 1.0497 | 1.0389 | 1.0202 | 1

## Scenario Manager
Risk Monetisation Model - FSD Replacements - ELCA
#VALUE!
| Sensitivity Movements | [5 empty] | Forecast Start
| Element | Lower 2 | Lower | Central | Upper |  | 21
| PoF | -75% | -45% | 0% | 15%
| CoF | -75% | -45% | 0% | 15%
| Capex & opex | -15% | -15% | 0% | 15%
| Demand | -1.188% | -1.188% | 0% | 1.312%
| VCR | -15% | -15% | 0% | 15%
| Discount rate | 2.079% | 2.391% | 2.75% | 3.163%
| Environmental costs | -15% | -15% | 100% | 15%
Sensitivity Levels by Scenario
| Scenario | PoF | CoF | Capex | Demand | VCR | Opex | Environment | Discount rate | Notes
| Base case - Do Nothing | Central | Central | Central | Central | Central | Central | Central | Central | Do nothing flat risk cost
| A - Preferred Option | Central | Central | Central | Central | Central | Central | Central | Central | Reducing risk cost as units are replaced
| B - Sensitivity 1 | Upper | Upper | Central | Central | Central | Central | Central | Central | Upper sensitivity
| C - Sensitivity 2 | Lower | Central | Central | Central | Central | Central | Central | Central | PoF lower. CoF central
| D - Sensitivity 3 | Central | Lower | Central | Central | Central | Central | Central | Central | PoF central. CoF lower
| E - Sensitivity 4 | Lower | Lower | Central | Central | Central | Central | Central | Central | PoF lower. CoF lower
| F - Sensitivity 5 | Lower 2 | Lower 2 | Central | Central | Central | Central | Central | Central | PoF lower 2. CoF lower 2
Sensitivity Results by Scenario
| Scenario | PoF | CoF | Capex | Opex | Demand | VCR | Environment | Discount rate
| Base case - Do Nothing | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 2.75%
| A - Preferred Option | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 2.75%
| B - Sensitivity 1 | 15% | 15% | 0% | 0% | 0% | 0% | 100% | 2.75%
| C - Sensitivity 2 | -45% | 0% | 0% | 0% | 0% | 0% | 100% | 2.75%
| D - Sensitivity 3 | 0% | -45% | 0% | 0% | 0% | 0% | 100% | 2.75%
| E - Sensitivity 4 | -45% | -45% | 0% | 0% | 0% | 0% | 100% | 2.75%
| F - Sensitivity 5 | -75% | -75% | 0% | 0% | 0% | 0% | 100% | 2.75%
End of Sheet

## Base Case
Risk Monetisation Model - FSD Replacements - ELCA
#VALUE!
Total Consequence Calculation
[11 empty] | $m 2021 |  |  |  |  | $m 2021
| Failure Mode | Risk | Description | [7 empty] | Network Performance | Tangible community cost | OPEX | CAPEX | Environment | Concequence cost | DF | Total concequence cost
| 1 | Catastrophic Busfire | [13 empty] | 0 |  | 2271.3198
|  |  | Catastrophic bushfire | [8 empty] | 378.4582 |  |  |  | 378.4582 | 6
0
|  |  | F-Factor | [10 empty] | 0.57038 |  | 0.57038 | 1
0
0
0
0
| 2 | Major Fire | [13 empty] | 0 |  | 0
0
0
0
0
0
0
| 3 | Moderate Fire | [13 empty] | 0 |  | 0
0
0
| 4 | Minor Fire | [13 empty] | 0 |  | 0
0
0
| 5 | [14 empty] | 0 |  | 0
0
| Total annual risk cost | [14 empty] | 379.0286 |  | 2271.3198
Annual Probabilty of Failure per Scenario
Probability of failure x no. Units
| Base Year | 21
Probability of Failure
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| 1 | FSDs Fire start in ELCAs on Severe Fire Danger days |  | 0.02144% | 0.02144% | 0.02144% | 0.02144% | 0.02144% | 0.02144% | 0.02144% | 0.02144% | 0.02144% | 0.02144% | 0.02144%
2
3
4
5
Annual Risk Cost per Scenario
Consequence Cost per Scenario x Probability of Failure
Annual Risk Cost ($m)
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total
| 1 | Catastrophic Busfire |  | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 5.3575
| 2 | Major Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 5.3575
End of Sheet

## Scenario A
Risk Monetisation Model - FSD Replacements - ELCA
#VALUE!
Total Consequence Calculation
[11 empty] | $m 2021 |  |  |  |  | $m 2021
| Failure Mode | Risk | Description | [7 empty] | Network Performance | Tangible community cost | OPEX | CAPEX | Environment | Concequence cost | DF | Total Cosequence
| 1 | Catastrophic Fire starting in ELCA | [13 empty] | 0 |  | 2271.3198
|  |  | Catastrophic bushfire | [8 empty] | 378.4582 |  |  |  | 378.4582 | 6
0
|  |  | F-Factor | [10 empty] | 0.57038 |  | 0.57038 | 1
0
0
0
0
| 2 | Major Fire | [13 empty] | 0 |  | 0
0
0
0
0
0
0
| 3 | Moderate Fire | [13 empty] | 0 |  | 0
0
0
| 4 | Minor Fire | [13 empty] | 0 |  | 0
0
0
| 5 | [14 empty] | 0 |  | 0
0
| Total annual risk cost | [14 empty] | 379.0286 |  | 2271.3198
Annual reduction in number of FSD units
| BAU Replacements (cumulative) |  |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Amount |  |  |  | 0% | 293 | 586 | 879 | 1172 | 1465 | 1758 | 2051 | 2344 | 2637
Annual Probabilty of Failure per Scenario
| Base Year | 21
Probability of Failure
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| 1 | FSDs Fire start in ELCAs on Severe Fire Danger days |  | 0.02144% | 0.02144% | 0.0196% | 0.01776% | 0.01591% | 0.01407% | 0.01222% | 0.01038% | 0.008534% | 0.00669% | 0.004846%
2
3
4
5
Annual Risk Cost per Scenario
Consequence Cost per Scenario x Probability of Failure
Annual Risk Cost ($m)
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total
| 1 | Catastrophic Busfire |  | 0.48705 | 0.48705 | 0.44516 | 0.40327 | 0.36139 | 0.3195 | 0.27762 | 0.23573 | 0.19384 | 0.15196 | 0.11007 | 3.4726
| 2 | Major Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  | 0.48705 | 0.48705 | 0.44516 | 0.40327 | 0.36139 | 0.3195 | 0.27762 | 0.23573 | 0.19384 | 0.15196 | 0.11007 | 3.4726
End of Sheet

## Scenario B
Risk Monetisation Model - FSD Replacements - ELCA
#VALUE!
Total Consequence Calculation
[11 empty] | $m 2021 |  |  |  |  | $m 2021
| Failure Mode | Risk | Description | [7 empty] | Network Performance | Tangible community cost | OPEX | CAPEX | Environment | Concequence cost | DF | Total Cosequence
| 1 | Catastrophic Busfire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 2271.3198
|  |  | Catastrophic bushfire | [7 empty] | 0 | 378.4582 | 0 | 0 | 0 | 378.4582 | 6
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | F-Factor | [7 empty] | 0 | 0 | 0 | 0.57038 | 0 | 0.57038 | 1
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2 | Major Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Total annual risk cost | [14 empty] | 379.0286 |  | 2271.3198
Annual Probabilty of Failure per Scenario
| Base Year | 21
Probability of Failure
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| 1 | FSDs Fire start in ELCAs on Severe Fire Danger days |  | 0.02466% | 0.02466% | 0.02254% | 0.02042% | 0.0183% | 0.01618% | 0.01406% | 0.01194% | 0.009815% | 0.007694% | 0.005573%
| 2 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 3 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 4 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 5 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
Annual Risk Cost per Scenario
Consequence Cost per Scenario x Probability of Failure
Annual Risk Cost ($m 2021)
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total
| 1 | Catastrophic Busfire |  | 0.5601 | 0.5601 | 0.51193 | 0.46377 | 0.4156 | 0.36743 | 0.31926 | 0.27109 | 0.22292 | 0.17475 | 0.12658 | 3.9935
| 2 | Major Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  | 0.5601 | 0.5601 | 0.51193 | 0.46377 | 0.4156 | 0.36743 | 0.31926 | 0.27109 | 0.22292 | 0.17475 | 0.12658 | 3.9935
End of Sheet

## Scenario C
Risk Monetisation Model - FSD Replacements - ELCA |  |  |  | Menu
#VALUE!
Total Consequence Calculation
[11 empty] | $m 2021 |  |  |  |  | $m 2021
| Failure Mode | Risk | Description | [7 empty] | Network Performance | Tangible community cost | OPEX | CAPEX | Environment | Concequence cost | DF | Total Cosequence
| 1 | Catastrophic Busfire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 2271.3198
|  |  | Catastrophic bushfire | [7 empty] | 0 | 378.4582 | 0 | 0 | 0 | 378.4582 | 6
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | F-Factor | [7 empty] | 0 | 0 | 0 | 0.57038 | 0 | 0.57038 | 1
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2 | Major Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Total annual risk cost | [14 empty] | 379.0286 |  | 2271.3198
Annual Probabilty of Failure per Scenario
| Base Year | 21
Probability of Failure
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| 1 | FSDs Fire start in ELCAs on Severe Fire Danger days |  | 0.01179% | 0.01179% | 0.01078% | 0.009765% | 0.008751% | 0.007737% | 0.006722% | 0.005708% | 0.004694% | 0.00368% | 0.002665%
| 2 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 3 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 4 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 5 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
Annual Risk Cost per Scenario
Consequence Cost per Scenario x Probability of Failure
Annual Risk Cost ($m)
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total
| 1 | Catastrophic Busfire |  | 0.26788 | 0.26788 | 0.24484 | 0.2218 | 0.19876 | 0.17573 | 0.15269 | 0.12965 | 0.10661 | 0.083577 | 0.06054 | 1.91
| 2 | Major Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  | 0.26788 | 0.26788 | 0.24484 | 0.2218 | 0.19876 | 0.17573 | 0.15269 | 0.12965 | 0.10661 | 0.083577 | 0.06054 | 1.91
End of Sheet

## Scenario D
Risk Monetisation Model - FSD Replacements - ELCA |  |  |  | Menu
#VALUE!
Total Consequence Calculation
[11 empty] | $m 2021 |  |  |  |  | $m 2021
| Failure Mode | Risk | Description | [7 empty] | Network Performance | Tangible community cost | OPEX | CAPEX | Environment | Concequence cost | DF | Total Cosequence
| 1 | Catastrophic Busfire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 2271.3198
|  |  | Catastrophic bushfire | [7 empty] | 0 | 378.4582 | 0 | 0 | 0 | 378.4582 | 6
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | F-Factor | [7 empty] | 0 | 0 | 0 | 0.57038 | 0 | 0.57038 | 1
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2 | Major Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Total annual risk cost | [14 empty] | 379.0286 |  | 2271.3198
Annual Probabilty of Failure per Scenario
| Base Year | 21
Probability of Failure
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| 1 | FSDs Fire start in ELCAs on Severe Fire Danger days |  | 0.02144% | 0.02144% | 0.0196% | 0.01776% | 0.01591% | 0.01407% | 0.01222% | 0.01038% | 0.008534% | 0.00669% | 0.004846%
| 2 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 3 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 4 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 5 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
Annual Risk Cost per Scenario
Consequence Cost per Scenario x Probability of Failure
Annual Risk Cost ($m)
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total
| 1 | Catastrophic Busfire |  | 0.48705 | 0.48705 | 0.44516 | 0.40327 | 0.36139 | 0.3195 | 0.27762 | 0.23573 | 0.19384 | 0.15196 | 0.11007 | 3.4726
| 2 | Major Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  | 0.48705 | 0.48705 | 0.44516 | 0.40327 | 0.36139 | 0.3195 | 0.27762 | 0.23573 | 0.19384 | 0.15196 | 0.11007 | 3.4726
End of Sheet

## Scenario E
Risk Monetisation Model - FSD Replacements - ELCA |  |  |  | Menu
#VALUE!
Total Consequence Calculation
[11 empty] | $m 2021 |  |  |  |  | $m 2021
| Failure Mode | Risk | Description | [7 empty] | Network Performance | Tangible community cost | OPEX | CAPEX | Environment | Concequence cost | DF | Total Cosequence
| 1 | Catastrophic Busfire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 2271.3198
|  |  | Catastrophic bushfire | [7 empty] | 0 | 378.4582 | 0 | 0 | 0 | 378.4582 | 6
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | F-Factor | [7 empty] | 0 | 0 | 0 | 0.57038 | 0 | 0.57038 | 1
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2 | Major Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Total annual risk cost | [14 empty] | 379.0286 |  | 2271.3198
Annual Probabilty of Failure per Scenario
| Base Year | 21
Probability of Failure
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| 1 | FSDs Fire start in ELCAs on Severe Fire Danger days |  | 0.01179% | 0.01179% | 0.01078% | 0.009765% | 0.008751% | 0.007737% | 0.006722% | 0.005708% | 0.004694% | 0.00368% | 0.002665%
| 2 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 3 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 4 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 5 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
Annual Risk Cost per Scenario
Consequence Cost per Scenario x Probability of Failure
Annual Risk Cost ($m)
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total
| 1 | Catastrophic Busfire |  | 0.26788 | 0.26788 | 0.24484 | 0.2218 | 0.19876 | 0.17573 | 0.15269 | 0.12965 | 0.10661 | 0.083577 | 0.06054 | 1.91
| 2 | Major Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  | 0.26788 | 0.26788 | 0.24484 | 0.2218 | 0.19876 | 0.17573 | 0.15269 | 0.12965 | 0.10661 | 0.083577 | 0.06054 | 1.91
End of Sheet

## Scenario F
Risk Monetisation Model - FSD Replacements - ELCA |  |  |  | Menu
#VALUE!
Total Consequence Calculation
[11 empty] | $m 2021 |  |  |  |  | $m 2021
| Failure Mode | Risk | Description | [7 empty] | Network Performance | Tangible community cost | OPEX | CAPEX | Environment | Concequence cost | DF | Total Cosequence
| 1 | Catastrophic Busfire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 2271.3198
|  |  | Catastrophic bushfire | [7 empty] | 0 | 378.4582 | 0 | 0 | 0 | 378.4582 | 6
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | F-Factor | [7 empty] | 0 | 0 | 0 | 0.57038 | 0 | 0.57038 | 1
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2 | Major Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Total annual risk cost | [14 empty] | 379.0286 |  | 2271.3198
Annual Probabilty of Failure per Scenario
| Base Year | 21
Probability of Failure
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| 1 | FSDs Fire start in ELCAs on Severe Fire Danger days |  | 0.005361% | 0.005361% | 0.0049% | 0.004439% | 0.003978% | 0.003517% | 0.003056% | 0.002595% | 0.002134% | 0.001673% | 0.001212%
| 2 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 3 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 4 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
| 5 | 0 | bar: Probability of Failure 21 to Probability of Failure 31
Annual Risk Cost per Scenario
Consequence Cost per Scenario x Probability of Failure
Annual Risk Cost ($m)
| Failure Mode | Risk |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total
| 1 | Catastrophic Busfire |  | 0.12176 | 0.12176 | 0.11129 | 0.10082 | 0.090347 | 0.079876 | 0.069404 | 0.058933 | 0.048461 | 0.03799 | 0.027518 | 0.86816
| 2 | Major Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | Moderate Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | Minor Fire |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  | 0.12176 | 0.12176 | 0.11129 | 0.10082 | 0.090347 | 0.079876 | 0.069404 | 0.058933 | 0.048461 | 0.03799 | 0.027518 | 0.86816
End of Sheet

## Annualised Cost
Risk Monetisation Model - FSD Replacements - ELCA | [5 empty] | Menu
#VALUE!
Opex Cost per Scenario ($2021)
| Scenario | Description | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Base | FSD replacement program | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A | x 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| B | x 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| C | x 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| D | x 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| E | x 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| F | x 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capex Cost per Scenario ($2021)
| Scenario | Description | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Base | FSD replacement program
| A | x 1 | 0 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 0 | 0 | 0 | 0 | 0
| B | x 1 | 0 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 0 | 0 | 0 | 0 | 0
| C | x 1 | 0 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 0 | 0 | 0 | 0 | 0
| D | x 1 | 0 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 0 | 0 | 0 | 0 | 0
| E | x 1 | 0 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 0 | 0 | 0 | 0 | 0
| F | x 1 | 0 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 368946.4501 | 0 | 0 | 0 | 0 | 0
| Real wacc, reverse counter |  | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Base |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A |  | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| B |  | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| C |  | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| D |  | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| E |  | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| F |  | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| Real wacc, reverse index | Discount rate | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Base | 2.75% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A | 2.75% | 0 | 1.1146 | 1.0848 | 1.0558 | 1.0275 | 1 | 0 | 0 | 0 | 0 | 0
| B | 2.75% | 0 | 1.1146 | 1.0848 | 1.0558 | 1.0275 | 1 | 0 | 0 | 0 | 0 | 0
| C | 2.75% | 0 | 1.1146 | 1.0848 | 1.0558 | 1.0275 | 1 | 0 | 0 | 0 | 0 | 0
| D | 2.75% | 0 | 1.1146 | 1.0848 | 1.0558 | 1.0275 | 1 | 0 | 0 | 0 | 0 | 0
| E | 2.75% | 0 | 1.1146 | 1.0848 | 1.0558 | 1.0275 | 1 | 0 | 0 | 0 | 0 | 0
| F | 2.75% | 0 | 1.1146 | 1.0848 | 1.0558 | 1.0275 | 1 | 0 | 0 | 0 | 0 | 0
| Annualised cost | $2021
| Base | 0
| A | 71529.349
| B | 71529.349
| C | 71529.349
| D | 71529.349
| E | 71529.349
| F | 71529.349
End of Sheet

## Summary
Risk Monetisation Model - FSD Replacements - ELCA
#VALUE!
Annual Risk Cost per Scenario
|  | $m | [11 empty] | Sensitivities
| Annual Risk Cost | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Pof | Capex | Demand | VCR | Opex | Environment | Notes
| Base case | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 | 0.48705 |  | Central | Central | Central | Central | Central | Central | Do nothing flat risk cost
| Scenario A | 0.48705 | 0.48705 | 0.44516 | 0.40327 | 0.36139 | 0.3195 | 0.27762 | 0.23573 | 0.19384 | 0.15196 | 0.11007 |  | Central | Central | Central | Central | Central | Central | Reducing risk cost as units are replaced
| Scenario B | 0.5601 | 0.5601 | 0.51193 | 0.46377 | 0.4156 | 0.36743 | 0.31926 | 0.27109 | 0.22292 | 0.17475 | 0.12658 |  | Upper | Central | Central | Central | Central | Central | Upper sensitivity
| Scenario C | 0.26788 | 0.26788 | 0.24484 | 0.2218 | 0.19876 | 0.17573 | 0.15269 | 0.12965 | 0.10661 | 0.083577 | 0.06054 |  | Lower | Central | Central | Central | Central | Central | PoF lower. CoF central
| Scenario D | 0.48705 | 0.48705 | 0.44516 | 0.40327 | 0.36139 | 0.3195 | 0.27762 | 0.23573 | 0.19384 | 0.15196 | 0.11007 |  | Central | Central | Central | Central | Central | Central | PoF central. CoF lower
| Scenario E | 0.26788 | 0.26788 | 0.24484 | 0.2218 | 0.19876 | 0.17573 | 0.15269 | 0.12965 | 0.10661 | 0.083577 | 0.06054 |  | Lower | Central | Central | Central | Central | Central | PoF lower. CoF lower
| Scenario F | 0.12176 | 0.12176 | 0.11129 | 0.10082 | 0.090347 | 0.079876 | 0.069404 | 0.058933 | 0.048461 | 0.03799 | 0.027518 |  | Lower 2 | Central | Central | Central | Central | Central | PoF lower 2. CoF lower 2
Project Cost per Scenario
$m
| Annualised Project cost | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Capex | Opex | Discount rate
| Base case | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Central | Central | Central
| Scenario A | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 |  | Central | Central | Central
| Scenario B | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 |  | Central | Central | Central
| Scenario C | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 |  | Central | Central | Central
| Scenario D | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 |  | Central | Central | Central
| Scenario E | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 |  | Central | Central | Central
| Scenario F | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 | 0.071529 |  | Central | Central | Central
Reduction in risk per Scenario
$m
| Reduction in risk | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Base case | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Scenario A | 0 | 0 | 0.041886 | 0.083772 | 0.12566 | 0.16754 | 0.20943 | 0.25132 | 0.2932 | 0.33509 | 0.2932
| Scenario B | 0 | 0 | 0.048169 | 0.096338 | 0.14451 | 0.19268 | 0.24084 | 0.28901 | 0.33718 | 0.38535 | 0.33718
| Scenario C | 0 | 0 | 0.023037 | 0.046075 | 0.069112 | 0.092149 | 0.11519 | 0.13822 | 0.16126 | 0.1843 | 0.16126
| Scenario D | 0 | 0 | 0.041886 | 0.083772 | 0.12566 | 0.16754 | 0.20943 | 0.25132 | 0.2932 | 0.33509 | 0.2932
| Scenario E | 0 | 0 | 0.023037 | 0.046075 | 0.069112 | 0.092149 | 0.11519 | 0.13822 | 0.16126 | 0.1843 | 0.16126
| Scenario F | 0 | 0 | 0.010472 | 0.020943 | 0.031415 | 0.041886 | 0.052358 | 0.062829 | 0.073301 | 0.083772 | 0.073301
Total risk vs annualised cost | [12 empty] | Reduction in risk vs annualised cost
End of Sheet