## Output
Digital Network
VPN
Output ($, 2020/21)
| Selected option: |  | Option 1
| Checks OK |  | TRUE
Forecast direct capex ($'000, 2020/21)
|  |  |  | 2021/22 | 2021/22 | 2021/22 | 2022/23 | 2022/23 | 2022/23 | 2023/24 | 2023/24 | 2023/24 | 2024/25 | 2024/25 | 2024/25 | 2025/26 | 2025/26 | 2025/26 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | Total
| Function Code | Service |  | Labour | Materials | Contracts | Labour | Materials | Contracts | Labour | Materials | Contracts | Labour | Materials | Contracts | Labour | Materials | Contracts
| 200 | Total SCS |  | 4350.7492 | 1161.4174 | 0 | 4353.0446 | 2060.1921 | 0 | 3875.9953 | 2401.204 | 0 | 582.8673 | 1166.3596 | 0 | 1022.5004 | 1306.1533 | 0 | 5512.1666 | 6413.2367 | 6277.1993 | 1749.2269 | 2328.6537 | 22280.4831

## Summary
Digital Network
VPN
Summary ($, 2020/21)
| Preferred option: |  | Option 1
| Checks OK |  | TRUE
| Option 1 | Type |  | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
|  | Labour | Option 1Labour | 4350749.2098 | 4353044.6482 | 3875995.3104 | 582867.2681 | 1022500.367
|  | Materials | Option 1Materials | 1161417.3881 | 2060192.0599 | 2401203.9739 | 1166359.5898 | 1306153.2936
|  | Contracts | Option 1Contracts | 0 | 0 | 0 | 0 | 0
|  | Total Cost ($, 2020/21) |  | 5512166.5979 | 6413236.7081 | 6277199.2843 | 1749226.8579 | 2328653.6606
|  | NPV |  | 20828361.1733

## Assumptions
Digital Network
VPN
Assumptions
Assumption Types | Assumptions | Parameters | Area Applied
Real Discount rate: | 2.75%
Cost inputs are in: | 2018 | dollars (mid year)
|  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2020/21
Dollars |  |  | Mid CY | Mid CY | Mid CY | Mid CY | Mid CY | Mid CY | End FY
CPI |  |  | Actual | Actual | Actual | Actual | Actual | Forecast | Forecast
Annual CPI - 12 months unlagged |  |  |  | 1.023% | 1.934% | 2.078% | 1.593% | 2% | 2.2%
Cumulative CPI from 2015 |  |  | 1 | 1.0102 | 1.0298 | 1.0512 | 1.0679 | 1.0893 | 1.1132
To convert from nominal: | 2018 | dollars (mid year)
To: | 2020/21 | dollars (end of FY)
Multiply by: | 1.059
Options
Option 1 | Refer to Jacobs Digital Network Model for full options analysis

## Option 1
Digital Network
VPN
Option 1 | [15 empty] | TRUE
Inputs are in $2018 unless otherwise stated
| Description | Capex/Opex | Type | Unit rate | Units | Quantity of units |  |  |  |  | Cost ($)
[6 empty] | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
0
| Real-Time Grid Analytics Platform | CapEx | Labour | 122.2 | Hours | 7182 | 5418 | 0 | 0 | 0 | 877640.4 | 662079.6 | 0 | 0 | 0
| Real-Time LV Power Flow Analysis | CapEx | Labour | 122.2 | Hours | 0 | 3465 | 2835 | 0 | 0 | 0 | 423423 | 346437 | 0 | 0
| LV Model Extension | CapEx | Labour | 122.2 | Hours | 17278.272 | 8641.728 | 0 | 0 | 0 | 2111404.8384 | 1056019.1616 | 0 | 0 | 0
| Distributed Energy Marketplace | CapEx | Labour | 122.2 | Hours | [5 empty] | 0 | 0 | 0 | 0 | 0
| Real-Time Grid Monitoring and Control | CapEx | Labour | 122.2 | Hours | 0 | 6480 | 7020 | 0 | 0 | 0 | 791856 | 857844 | 0 | 0
| LV Management Capability | CapEx | Labour | 122.2 | Hours | 0 | 0 | 2646 | 2754 | 0 | 0 | 0 | 323341.2 | 336538.8 | 0
| Dynamic Forecasting Capability | CapEx | Labour | 122.2 | Hours | 0 | 0 | 6056.1687 | 148.9222 |  | 0 | 0 | 740063.8185 | 18198.2906 | 0
| DER - Monitoring Capability | CapEx | Labour | 122.2 | Hours | 0 | 0 | 6120 | 0 | 0 | 0 | 0 | 747864 | 0 | 0
| DER - Dispatching Automation | CapEx | Labour | 122.2 | Hours | 0 | 0 | 0 | 0 | 6300 | 0 | 0 | 0 | 0 | 769860
| Real-Time Data Platform | CapEx | Labour | 122.2 | Hours | 8362.0394 | 4502.6366 | 0 | 0 | 0 | 1021841.2192 | 550222.1949 | 0 | 0 | 0
| IoT Platform for Network Sensors | CapEx | Labour | 122.2 | Hours | 796.2529 | 1600.9368 | 1600.9368 | 1600.9368 | 1600.9368 | 97302.1077 | 195634.4731 | 195634.4731 | 195634.4731 | 195634.4731
| IoT Platform Extension for Customer Sensors | CapEx | Labour | 122.2 | Hours | 0 | 3528 | 3672 | 0 | 0 | 0 | 431121.6 | 448718.4 | 0 | 0
| Real-Time Grid Analytics Platform | CapEx | Materials | 10000 | Each | 27 | 26 |  |  |  | 270000 | 260000 | 0 | 0 | 0
| Real-Time LV Power Flow Analysis | CapEx | Materials | 6000 | Each |  | 26 | 26 |  |  | 0 | 156000 | 156000 | 0 | 0
| Real-Time Grid Monitoring and Control | CapEx | Materials | 10000 | Each |  | 26 | 26 |  |  | 0 | 260000 | 260000 | 0 | 0
| LV Management Capability | CapEx | Materials | 6000 | Each |  |  | 25 | 26 |  | 0 | 0 | 150000 | 156000 | 0
| Dynamic Forecasting Capability | CapEx | Materials | 6000 | Each |  |  | 50 | 2 |  | 0 | 0 | 300000 | 12000 | 0
| DER - Monitoring Capability | CapEx | Materials | 6000 | Each |  |  | 52 |  |  | 0 | 0 | 312000 | 0 | 0
| DER - Dispatching Automation | CapEx | Materials | 300000 | Each |  |  |  |  | 1 | 0 | 0 | 0 | 0 | 300000
| Real-Time Data Platform | CapEx | Materials | 10000 | Each | 36 | 18 |  |  |  | 360000 | 180000 | 0 | 0 | 0
| IoT Platform for Network Sensors | CapEx | Materials | 466666.6667 | Each | 1 | 2 | 2 | 2 | 2 | 466666.6667 | 933333.3333 | 933333.3333 | 933333.3333 | 933333.3333
| IoT Platform Extension for Customer Sensors | CapEx | Materials | 6000 | Each |  | 26 | 26 |  |  | 0 | 156000 | 156000 | 0 | 0
[5 empty] | $ | [5 empty] | 0 | 0 | 0 | 0 | 0
[5 empty] | $ | [5 empty] | 0 | 0 | 0 | 0 | 0
[5 empty] | $ | [5 empty] | 0 | 0 | 0 | 0 | 0
[5 empty] | $ | [5 empty] | 0 | 0 | 0 | 0 | 0
Summary
| Labour | CapEx | [8 empty] | 4108188.5653 | 4110356.0296 | 3659902.8915 | 550371.5637 | 965494.4731
| Materials | CapEx | [8 empty] | 1096666.6667 | 1945333.3333 | 2267333.3333 | 1101333.3333 | 1233333.3333
| Contracts | CapEx | [8 empty] | 0 | 0 | 0 | 0 | 0
| Labour | OpEx | [8 empty] | 0 | 0 | 0 | 0 | 0
| Materials | OpEx | [8 empty] | 0 | 0 | 0 | 0 | 0
| Contracts | OpEx | [8 empty] | 0 | 0 | 0 | 0 | 0
| Total Expenditure ($ 2018) | [9 empty] | 5204855.2319 | 6055689.3629 | 5927236.2249 | 1651704.897 | 2198827.8064
| Total Expenditure ($ 2020/21) | [9 empty] | 5512166.5979 | 6413236.7081 | 6277199.2843 | 1749226.8579 | 2328653.6606
| Check | [9 empty] | 0 | 0 | 0 | 0 | 0
| NPV ($ 2020/21) | 20828361.1733