## Summary
3G replacement - Cost models
Options summary
Description | NPV
Option 1 - Do nothing | -196746774.0987
Option 2 - Move to 4G / 5G | -14884875.4622 | Recommended option
Option 3 - Move to another technology | -16107391.9857

## Option 1
Option 1 - Do nothing
Expenditure / benefits profile
Year
|  | 2021/2022 | 2022/2023 | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031
Costs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Benefits | Reliability | 0 | -6199989.3 | -20666631 | -20666631 | -20666631 | -20666631 | -20666631 | -20666631 | -20666631 | -20666631
| Protection device manual reconfig | 0 | -133027.2 | -443424 | -443424 | -443424 | -443424 | -443424 | -443424 | -443424 | -443424
| Meter reading | 0 | -2094403.2 | -6981344 | -6981344 | -6981344 | -6981344 | -6981344 | -6981344 | -6981344 | -6981344
| Total | 0 | -6333016.5 | -21110055 | -21110055 | -21110055 | -21110055 | -21110055 | -21110055 | -21110055 | -21110055
Inputs
WACC | 2.75%
3G switch off profile |  | 0% | 30% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Capital costs
No capital outlay with this options |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Benefits
Reliability costs
Value of unserved energy | 20666631
Manual reconfiguration costs
Unit | Quantity
3G devices attached to SWER ACRs | 315
3G devices attached to fuse savers | 429
Average cost of tester (p/h) | 149
Number of testers required | 2
Average hours to undertake manual reconfig (travel and adjust settings) | 1
Visits pa (supress and re-enable) | 2
Total Cost | -443424
Meter reading costs
Unit | Quantity
Meters to be read | 872668
Cost to read meters (quarterly) | 2
Total yearly cost | -6981344
Totals
Impact | Cost | Year 2021/2022: Benefit
Reliability | - | Year 2021/2022: -144745122.1898
Protection device manual reconfiguration | - | Year 2021/2022: -3105656.7015
Meter reading | - | Year 2021/2022: -48895995.2074
Capital investment | - | Year 2021/2022: 0
Net benefits |  | Year 2021/2022: -196746774.0987

## Option 2
Option 2 - Move to 4G / 5G
Expenditure / benefits profile
Year
|  | 2021/2022 | 2022/2023 | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031
Costs |  | 7750826.2884 | 7750826.2884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 7750826.2884 | 7750826.2884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Benefits |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inputs
WACC | 2.75%
Capital costs
Unit quantities
Device | Number
Number of 3G SCADA devices deployed | 2060
Number of 3G AMI access points deployed | 738
Unit costs for SCADA replacement
Item | Cost
Materials | 1970.4
Setup cost | 117.3717
Field cost | 1427.0182
Project management time | 76.6426
Total unit cost | 3591.4324
Total SCADA costs | 7398350.749
Unit costs for AMI replacement
Item | Cost
Materials | 9645.7143
Setup cost | 0
Field cost | 1257.7269
Project management time | 76.6426
Total unit cost | 10980.0838
Total unit costs for AMI replacement | 8103301.8277
Total program costs | 15501652.5768
Benefits
This option maintains current reliability level
Totals
Expenditure forecast | 2021 | Year 2021/2022: 2022; Year 2022/2023: 2023; Year 2023/2024: 2024; Year 2024/2025: 2025; Year 2025/2026: Total
Capital expenditure | 7750826.2884 | Year 2021/2022: 7750826.2884; Year 2022/2023: 0; Year 2023/2024: 0; Year 2024/2025: 0; Year 2025/2026: 15501652.5768
Impact | Cost | Year 2021/2022: Benefit
Reliability | - | bar: Year 2021/2022
Protection device manual reconfiguration | - | bar: Year 2021/2022
Meter reading | - | bar: Year 2021/2022
Capital investment | 14884875.4622 | bar: Year 2021/2022
Net benefits |  | Year 2021/2022: -14884875.4622

## Option 3
Option 3 - Move to another technology
Expenditure / benefits profile
Year
|  | 2021/2022 | 2022/2023 | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031
Costs | AMI | 4335762.0381 | 4335762.0381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Control boxes | 4051650.9139 | 4051650.9139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 8387412.9519 | 8387412.9519 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Benefits |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inputs
WACC | 2.75%
Capital costs
SCADA
Unit quantities
Device | Number
Masters | 515
Slaves (4 per master on average) | 2060
Relays | 85
Unit costs for replacement
Item | Slave | Year 2021/2022: Master; Year 2022/2023: Relays
Materials | 835.7143 | Year 2021/2022: 3098.9714
Setup time | 117.3717 | Year 2021/2022: 117.3717
On site time | 670.464 | Year 2021/2022: 670.464
Travel time | 673.1447 | Year 2021/2022: 673.1447
Project management time | 76.6426 | Year 2021/2022: 76.6426
Relay hardware |  | Year 2022/2023: 3138.5714
Contracted rate for relay install |  | Year 2022/2023: 1330.22
| 2373.3372 | Year 2021/2022: 4636.5944; Year 2022/2023: 4468.7914
Total SCADA cost
Item | Quantity | Year 2021/2022: Unit cost; Year 2022/2023: Total cost
Slaves | 2060 | Year 2021/2022: 2373.3372; Year 2022/2023: 4889074.7009
Masters | 515 | Year 2021/2022: 4636.5944; Year 2022/2023: 2387846.1038
Cellular backhaul | 515 | Year 2021/2022: 1970.4; Year 2022/2023: 1014756
Additional Relays | 85 | Year 2021/2022: 4468.7914; Year 2022/2023: 379847.2714
Total |  | Year 2022/2023: 8671524.0761
AMI
Unit quantities
Device | Number
Number of 3G AMI access points deployed | 738
Number of meters | 872668
Unit costs for AMI replacement
Item | Cost
Materials | 9645.7143
Setup time | 0
On site time | 564.5318
Travel time | 693.1951
Project management time | 76.6426
Total unit cost | 10980.0838
Total AMI program costs | 8103301.8277
Benefits
This option maintains current reliability level
Total
Item | Cost
Replacement of SCADA | 8671524.0761
Replacement of AMI communications | 8103301.8277
Total | 16774825.9039
Impact | Cost | Year 2021/2022: Benefit
Reliability | - | bar: Year 2021/2022
Protection device manual reconfiguration | - | bar: Year 2021/2022
Meter reading | - | bar: Year 2021/2022
Capital investment | 16107391.9857 | bar: Year 2021/2022
Net benefits |  | Year 2021/2022: -16107391.9857
Indicative costs of changing AMI meter communications to another technology
Unit quantities
Device | Number
Meters | 872668
Unit costs for replacement
Item | Slave
Modems | 100
Labour to install | 35
Total | 135
Total AMI cost
Item | Quantity | Year 2021/2022: Unit cost; Year 2022/2023: Total cost
Slaves | 872668 | Year 2021/2022: 135; Year 2022/2023: 117810180
Total |  | Year 2022/2023: 117810180