## Information
Calibration Quantity - Towers
Purpose
Segregate and adjust RIN reported tower replacement volumes, so that the quantities are suitable for use in prediction of future condition based replacement need.
Context
This workbook takes RIN reported tower replacement volumes, and towers that had maintenance intervention to address advanced corrosion, and calculates quantities for the calibration and forecast repex models.
The average annual tower intervention volumes for different corrosion zones, where tower condition was the driver for the project, are shown in "Reporting", cells M51 - M53, and is used in the calibration (2010) repex model.
The average annual tower replacement due to substation rebuilds is reported in cell M66. Used in the forecast (2015) repex model.
The average annual quantity of towers with maintenance intervention is reported in cell M46. Used in the forecast (2015) repex model.
Towers that were replaced in association with major substation relocation are excluded the calibration quantities.

## Reporting
Year |  |  |  | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | Average
Financial Year |  |  |  | 2011 | 2012 | 2013 | 2014 | 2015 | 2011 - 2015 | Per Year | Notes
Reported RIN Quantities
Description | Multi Circuit | Voltage (kV) | Refurb?
Towers Rebuilt - 132 kV, Single Circuit | FALSE | 132 | FALSE | 0 | 0 | 0 | 10 | 0 | 10
Towers Rebuilt - 132 kV, Multiple Circuit | TRUE | 132 | FALSE | 6 | 0 | 42 | 0 | 48 | 96
Towers Rebuilt - 275 kV, Multiple Circuit | TRUE | 275 | FALSE | 27 | 214 | 109 | 133 | 0 | 483
Towers Refurbished |  |  | TRUE | 0 | 0 | 23 | 51 | 42 | 116
705
Adjustments to RIN Quantities
Description | Multi Circuit | Voltage (kV) | Refurb
Towers Rebuilt - 132 kV, Single Circuit | TRUE | 132 | FALSE |  |  | -42 |  |  |  |  | RIN data allocated 42 towers in Woree - Kamerunga [2013] as rebuild, instead of refit.
Towers Refurbished |  |  | TRUE | 4 |  | 42 |  | -42 |  |  | RIN data inadvertantly excluded 4 towers in Woree - Cairns [2011] refit.
Two separate projects for 42 structures of Woree Kamerunga [one project for foundations; other project for hardware]. Two RIN reports [2013 and 2015]. Exclude most recent quantities to avoid double counting.
Towers Replaced or Refurbished, Adjustments Applied to RIN Data | Towers Replaced or Refit, Adjustments Applied to RIN Data
Description | Multi Circuit | Voltage (kV) | Refurb
Towers Rebuilt - 132 kV, Single Circuit | FALSE | 132 | FALSE | 0 | 0 | 0 | 10 | 0 | 10
Towers Rebuilt - 132 kV, Multiple Circuit | TRUE | 132 | FALSE | 6 | 0 | 0 | 0 | 48 | 54
Towers Rebuilt - 275 kV, Multiple Circuit | TRUE | 275 | FALSE | 27 | 214 | 109 | 133 | 0 | 483
Towers Refurbished |  |  | TRUE | 4 | 0 | 65 | 51 | 0 | 120
667
Towers Replaced or Refurbished Due to Tower Condition Only, Adjustments Applied | Towers Replaced or Refit Due to Tower Condition Only, Adjustments Applied
Description | Multi Circuit | Voltage (kV) | Refurb
Towers Rebuilt - 132 kV, Single Circuit | FALSE | 132 | FALSE | 0 | 0 | 0 | 0 | 0 | 0
Towers Rebuilt - 132 kV, Multiple Circuit | TRUE | 132 | FALSE | 0 | 0 | 0 | 0 | 36 | 36
Towers Rebuilt - 275 kV, Multiple Circuit | TRUE | 275 | FALSE | 0 | 214 | 109 | 112 | 0 | 435
Towers Refurbished |  |  | TRUE | 4 | 0 | 65 | 51 | 0 | 120
|  |  |  | 4 | 214 | 174 | 163 | 36 | 591
Towers Replaced or Refurbished Due to Tower Condition, Adjustments Applied, by Corrosion Classification
Corrosion Zone
B |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
C |  |  |  | 0 | 0 | 23 | 0 | 36 | 59
DEF |  |  |  | 4 | 214 | 151 | 163 | 0 | 532
All Zones |  |  |  | 4 | 214 | 174 | 163 | 36 | 591
Towers with Maintenance Intervention due to Corrosion, by Corrosion Classification
Corrosion Zone
B |  |  |  | 0 | 0 | 1 | 0 | 1 | 2
C |  |  |  | 3 | 3 | 2 | 11 | 37 | 56
DEF |  |  |  | 3 | 0 | 7 | 15 | 9 | 34
All Zones |  |  |  | 6 | 3 | 10 | 26 | 47 | 92 | 18.4
Tower with Corrosion Intervention (Tower Replaced, Tower Refurbished or Maintenance Intervention) - Repex Model Calibration Quantities, by Corrosion Classification
Corrosion Zone
B |  |  |  | 0 | 0 | 1 | 0 | 1 | 2 | 0.4
C |  |  |  | 3 | 3 | 25 | 11 | 73 | 115 | 23
DEF |  |  |  | 7 | 214 | 158 | 178 | 9 | 566 | 113.2
All Zones |  |  |  | 10 | 217 | 184 | 189 | 83 | 683
Towers Replaced or Refit, Not Due to Tower Condition, Adjustments Applied | Towers Replaced or Refit, Not Due to Tower Condition, Adjustments Applied
Description | Multi Circuit | Voltage (kV) | Refurb
Towers Rebuilt - 132 kV, Single Circuit | FALSE | 132 | FALSE | 0 | 0 | 0 | 10 | 0 | 10
Towers Rebuilt - 132 kV, Multiple Circuit | TRUE | 132 | FALSE | 6 | 0 | 0 | 0 | 12 | 18
Towers Rebuilt - 275 kV, Multiple Circuit | TRUE | 275 | FALSE | 27 | 0 | 0 | 21 | 0 | 48
Towers Refit |  |  | TRUE | 0 | 0 | 0 | 0 | 0 | 0
76
Towers Replaced, Due to Substation Rebuild, But Not Due to Major Substation Relocation, Adjustments Applied
All Towers |  |  |  | 6 | 0 | 0 | 5 | 12 | 23 | 4.6
Towers Replaced, Due to Major Substation Relocation, Adjustments Applied
|  |  |  | 27 | 0 | 0 | 26 | 0 | 53
Check 0
Non Tower Condition Replacements |  |  |  | 0 | 0 | 0 | 0 | 0
Check 0 - Overall
Description | Multi Circuit | Voltage (kV) | Refurb
Towers Rebuilt - 132 kV, Single Circuit | FALSE | 132 | FALSE | 0 | 0 | 0 | 0 | 0
Towers Rebuilt - 132 kV, Multiple Circuit | TRUE | 132 | FALSE | 0 | 0 | 0 | 0 | 0
Towers Rebuilt - 275 kV, Multiple Circuit | TRUE | 275 | FALSE | 0 | 0 | 0 | 0 | 0
Towers Refit |  |  | TRUE | 0 | 0 | 0 | 0 | 0