

Electricity spot prices above $5000/MWh

New South Wales & Queensland,
10 February 2017

5 May 2017

© Commonwealth of Australia 2017

This work is copyright. In addition to any use permitted under the Copyright Act 1968, all material contained within this work is provided under a Creative Commons Attributions 3.0 Australia licence, with the exception of:

* the Commonwealth Coat of Arms
* the ACCC and AER logos
* any illustration, diagram, photograph or graphic over which the Australian Competition and Consumer Commission does not hold copyright, but which may be part of or contained within this publication. The details of the relevant licence conditions are available on the Creative Commons website, as is the full legal code for the CC BY 3.0 AU licence.

Requests and inquiries concerning reproduction and rights should be addressed to the
Director, Corporate Communications,
Australian Competition and Consumer Commission,
GPO Box 4141,
CANBERRA ACT 2601
or publishing.unit@accc.gov.au.

Inquiries about this publication should be addressed to:

Australian Energy Regulator
GPO Box 520
MELBOURNE VIC 3001

Tel: (03) 9290 1444
Fax: (03) 9290 1457

Email: AERInquiry@aer.gov.au
AER Reference: 61702-D17/47586

Amendment Record

|  |  |  |
| --- | --- | --- |
| Version | Date | Pages |
| Final report | 5/5/2017 | 38 |
|  |  |  |

Contents

[1 Obligation 4](#_Toc481407043)

[2 Summary 5](#_Toc481407044)

[3 Analysis 6](#_Toc481407045)

[3.1 Overview of actual and expected conditions 6](#_Toc481407046)

[3.2 Demand and Supply 7](#_Toc481407047)

[3.2.1 Demand 8](#_Toc481407048)

[3.2.2 Supply 9](#_Toc481407049)

[3.3 Causes of 5 pm high prices 15](#_Toc481407050)

[3.4 Causes of 5.30 pm and 6 pm high prices 15](#_Toc481407051)

[3.4.1 Circumstances leading to intervention event in New South Wales 15](#_Toc481407052)

[Appendix A: Significant Rebids 17](#_Toc481407053)

[Appendix B: Price setter 21](#_Toc481407054)

[Appendix C: Closing bids 25](#_Toc481407055)

[New South Wales 25](#_Toc481407056)

[Queensland 26](#_Toc481407057)

[Appendix D: Relevant Market Notices 29](#_Toc481407058)

[Appendix E: Lack of Reserve explained 37](#_Toc481407059)

# Obligation

The Australian Energy Regulator regulates energy markets and networks under national legislation and rules in eastern and southern Australia, as well as networks in the Northern Territory. Its functions include:

* monitoring wholesale electricity and gas markets to ensure energy businesses comply with the legislation and rules, and taking enforcement action where necessary;
* setting the amount of revenue that network businesses can recover from customers for using networks (electricity poles and wires and gas pipelines) that transport energy;
* regulating retail energy markets in Queensland, New South Wales, South Australia, Tasmania (electricity only), and the ACT;
* operating the Energy Made Easy website, which provides a retail price comparator and other information for energy consumers;
* publishing information on energy markets, including the annual State of the energy market report, to assist stakeholders and the wider community.

The AER is required to publish a report whenever the electricity spot price exceeds $5000/MWh in accordance with clause 3.13.7 (d) the National Electricity Rules.

The report:

* describes the significant factors contributing to the spot price exceeding $5000/MWh, including withdrawal of generation capacity and network availability;
* assesses whether rebidding contributed to the spot price exceeding $5000/MWh;
* identifies the marginal scheduled generating units; and
* identifies all units with offers for the trading interval equal to or greater than $5000/MWh and compares these dispatch offers to relevant dispatch offers in previous trading intervals.

These reports are designed to examine market events and circumstances that contributed to wholesale market price outcomes and are not an indicator of potential enforcement action.

# Summary

At 5 pm on Friday 10 February 2017, the wholesale, or spot price for electricity reached $12 915/MWh in New South Wales and $12 221/MWh in Queensland. While the spot price fell significantly in Queensland by 5.30 pm, in New South Wales it increased, reaching $13 967/MWh at 5.30 pm and $14 000/MWh at 6 pm.

The day was characterised by high temperatures in both states, reaching a maximum of 38 degrees in Sydney and 33 degrees in Brisbane. Accordingly, as expected, demand for electricity was high in both states - prices were also expected to be high.

Prices were aligned in New South Wales and Queensland from early hours of the morning up to, and including, the 5 pm trading interval. This means that the two states were effectively operating (electrically) as a combined region.

Approaching the evening peak demand time for electricity, a number of generators in New South Wales experienced difficulties. From around 4 pm output from Delta Electricity’s Vales Point Power Station reduced and soon after Energy Australia’s Tallawarra Power Station unexpectedly stopped generating. To meet these reductions the market operator (AEMO) instructed Snowy Hydro’s Colongra Power Station to start but it was unsuccessful due to technical difficulties. Together these events reduced the available low priced supply in New South Wales by around 1200 MW and consequently the spot price exceeded $12 000/MWh in both states at 5 pm.

In response to the local loss of supply, electricity was imported into New South Wales at a higher than the safely allowable rate, resulting in the network becoming insecure. AEMO instructed TransGrid to call on the Tomago aluminium smelter in New South Wales to take one of its pot lines out of service to reduce demand in the state by 290 MW. In accordance with the Electricity Rules, the five-minute price of electricity was set at the market price cap of $14 000/MWh for the duration of the “load shedding” period in New South Wales only. As a result, the spot price in New South Wales reached $13 967/MWh at 5.30 pm and $14 000/MWh at 6 pm. The price fell to $1196/MWh in Queensland during this trading interval as exports into New South Wales decreased and lower priced generation was sufficient to meet demand in that region.

Rebidding from low to high prices did not contribute to the high price events rather the sudden loss of low priced capacity, high demand and interconnectors operating beyond their limits led to high prices and intervention by the market operator.

# Analysis

The following sections examine why the high spot prices occurred. Spot prices exceeding $5000/MWh in New South Wales and Queensland in the late afternoon on Friday 10 February 2017 can be attributed to two main factors: high priced electricity generation was required to satisfy electricity demand (5 pm in Queensland and New South Wales) and the market operator intervened to require load shedding (5.30 pm and 6.00 pm in New South Wales).

To calculate the amount of electricity that must be supplied, or generated, AEMO collects information on network capability, offers from market generators and calculates expected (forecast) demand from customers. Generator offers comprise the mega-watt (MW) capacities generators are willing to supply at a price point and the amount the generator can generate in total (generator availability). AEMO publishes regular forecasts of its assessment of the demand for electricity in each region of the market based on a range of external inputs such as temperature.

Market conditions are dynamic and to inform market participants AEMO also publishes aggregated expected and actual dispatch information, price and network loadings at five minute and 30 minute intervals throughout the day. These forecasts form the basis for AEMO’s recommendations with respect to interconnector capacity, transfers between regions, reserves and conditions that relate to power system security.

## Overview of actual and expected conditions

Table 1 and Table 2 show, for the high price trading intervals and other relevant trading intervals, actual and expected spot prices, demand for and local generator supply of electricity (availability) for New South Wales and Queensland, respectively. Demand and supply conditions are discussed in detail in section 3.2.

**New South Wales**

Table 1 shows:

* Four and 12 hours ahead of the high price events, spot prices were expected to exceed $5000/MWh for the 4 to 6.30 pm trading intervals. However, only the 5 pm, 5.30 pm and 6 pm trading intervals resulted in actual spot prices above $5000/MWh.
* For the 5 to 6 pm trading intervals, demand for electricity was up to 970 MW lower than expected, and supply of electricity from local generators (availability) was up to 500 MW lower than expected.

Table : Actual and forecast spot price, demand and available capacity for New South Wales

| **Trading interval** | **Price ($/MWh)** | **Demand (MW)** | **Generator Availability (MW)** |
| --- | --- | --- | --- |
|  | **Actual** | **4 hr forecast** | **12 hr forecast** | **Actual** | **4 hr forecast** | **12 hr forecast** | **Actual** | **4 hr forecast** | **12 hr forecast** |
| 4 pm | 2088 | 14 000 | 14 000 | 13 929 | 14 596 | 14 437 | 13 702 | 13 538 | 13 378 |
| 4.30 pm | 3747 | 14 000 | 14 000 | 13 981 | 14 734 | 14 581 | 13 537 | 13 360 | 13 325 |
| **5 pm** | **12 915** | **14 000** | **14 000** | **13 986** | **14 674** | **14 523** | **12 770** | **13 286** | **13 262** |
| **5.30 pm** | **13 967** | **14 000** | **14 000** | **13 526** | **14 493** | **14 340** | **12 815** | **13 363** | **13 192** |
| **6 pm** | **14 000** | **14 000** | **14 000** | **13 529** | **14 155** | **14 000** | **12 759** | **13 300** | **13 124** |
| 6.30 pm | 4739 | 14 000 | 14 000 | 13 388 | 13 802 | 13 663 | 12 549 | 13 227 | 13 034 |

**Queensland**

Table 2 shows:

* Four and 12 hours ahead of the high price event, spot prices were expected to exceed $5000/MWh for the 4 to 5.30 pm trading intervals. However, the actual spot price exceeded $5000/MWh for only the 5 pm trading interval.
* For the 5 pm trading interval demand for electricity and local generator availability was close to expected.

Table : Actual and forecast spot price, demand and available capacity for Queensland

| **Trading interval** | **Price ($/MWh)** | **Demand (MW)** | **Availability (MW)** |
| --- | --- | --- | --- |
|  | **Actual** | **4 hr forecast** | **12 hr forecast** | **Actual** | **4 hr forecast** | **12 hr forecast** | **Actual** | **4 hr forecast** | **12 hr forecast** |
| 4 pm | 1442 | 13 302 | 13 284 | 8580 | 8531 | 8425 | 10 905 | 10 894 | 10 974 |
| 4.30 pm | 3460 | 13 308 | 13 289 | 8609 | 8606 | 8524 | 10 904 | 10 936 | 10 966 |
| **5 pm** | **12 221** | **13 319** | **13 303** | **8753** | **8691** | **8597** | **10 895** | **10 937** | **10 972** |
| 5.30 pm | 1196 | 6667 | 13 291 | 8638 | 8611 | 8500 | 10 891 | 10 937 | 10 972 |

## Demand and Supply

Participants in the National Electricity Market (NEM) choose the amount of electricity or capacity (MW) they offer for each of their generators for dispatch into the market and the price they are prepared to accept ($/MWh) for the energy produced. Participant offers comprise 10 price and quantity (MW) pairs. AEMO aggregates all generator offers from lowest price to highest price and dispatches that generation in ascending order to meet its own forecast of the regional demand for electricity every 5 minutes of the day, taking into account the transfer capability of the network.

This section discusses changes to offered prices and capacity. It also shows how accurately AEMO predicted the demand conditions relevant to the high price periods.

### Demand

On 10February maximum temperatures in Sydney and Brisbane were 38 degrees[[1]](#footnote-1) and 33 degrees[[2]](#footnote-2) respectively. High demand for electricity was expected in both states, with New South Wales expected to be only 30 MW lower than record total demand.

On the day, demand for electricity in Queensland reached 8753 MW, close to expected but well below the record of 9508 MW. While demand for electricity in New South Wales was expected to be near the record (of 14 764 MW), at 13 986 MW it fell short by 778 MW.

In preparation for heatwave conditions driving high demand on the New South Wales network, the New South Wales Government called on the community to voluntarily reduce electricity consumption, particularly during the evening peak period from 4.30 - 6.30 pm.[[3]](#footnote-3) AGL exercised contractual options to reduce the demand from the Tomago smelter in a controlled fashion from around 3.45 pm. AEMO’s system event report for 10 February indicated that the Tomago aluminium smelter voluntarily reduced consumption by up to 290 MW from around 2.30 pm.[[4]](#footnote-4)

Figure 1 shows:

* actual demand for electricity in New South Wales (solid blue), expected demand four hours ahead (dashed blue) and record demand (dotted blue horizontal line).
* actual demand for electricity in Queensland (solid green) and expected demand four hours ahead (dashed green) and record demand (dotted green horizontal line).
* the period when the spot price exceeded $5000/MWh, indicated by the blue vertical column.

Figure : Actual and forecast total demand

Figure 1 shows that from about 2 pm, the rate at which demand for electricity was increasing fell. It also shows the 290 MW reduction in demand from around 5 pm to around 6 pm as a result of AEMO directed load shedding at the Tomago aluminium smelter. The reason for the load shedding is discussed in section 3.4.1.

### Supply

This section examines the supply side factors that had an effect on the high price outcomes; supply from generators and inflows of electricity from other states. This section also discusses the Lack of Reserve (LOR) conditions on the day.

#### Generator offers

Figure 2 and Figure 3 show the cumulative generator offers for New South Wales and Queensland respectively. Also known as closing bids, the figures show the capacity offered by generators in each state, including amendments to their offers throughout the day to match changes to their own economic and/or physical positions (known as “rebidding”). To put the figures in context, installed (summer) capacity is around 15 700 MW in New South Wales, and around 11 500 MW in Queensland.

Also shown on the figures (on a 5-minute basis) are the dispatch price (purple line) and local generation output (orange line).

Figure : Closing bids for New South Wales



Figure : Closing bids for Queensland



Spot prices were effectively the same, or aligned, between New South Wales and Queensland until 5 pm as shown by the purple lines on the figures.

Together, in the two states, there was only 280 MW of capacity priced between around $500/MWh and $12 500/MWh, almost all of it in Queensland (shown as the dark blue and lilac coloured bands in Figure 3), meaning small increases in demand resulted in significant price increases. This is shown by the orange dispatch line moving in and out of these price bands.

Figure 2 shows a significant reduction in available generation from around 4.30 pm in New South Wales to a point at around 5 pm when all available local supply was generating at its maximum and led to a lack of reserve condition. This is discussed further in the next section.

#### Unavailable generation

One of the main reasons for the high prices was the loss, or unavailability, of a significant volume of supply from New South Wales generators, for technical reasons. Given the predicted heatwave conditions in New South Wales, AEMO notified the market early in the day that there may be the potential for a shortage of supply to meet demand.

AEMO monitors the amount of electricity generation available to supply customers compared to the anticipated demand. The concept of Lack of Reserve is explained in detail in Appendix E. Simply put, reserves are the difference between the electricity available to consumers, comprising local generation supply and inflows from other states, and customer demand. Types of forecast LOR notices range, in ascending order of severity, from LOR 1 to LOR 3. Forecast LOR 3 notices are used to indicate the likelihood that customers will be required to reduce consumption (“load shedding”). AEMO issues forecast LOR notices to advise the market of forecast conditions and seek a market response to mitigate potential reserve shortfalls.

AEMO published several forecast LOR notices throughout the day, including two forecast LOR 3 notices. Forecast LOR 3 notices were issued throughout the day indicating the potential for load shedding in New South Wales from 4 to 5 pm.

Table 3 shows that around 1200 MW of local New South Wales supply became unavailable later in the afternoon. At around 4.20 pm Energy Australia’s Tallawarra power station unexpectedly stopped generating due to technical problems (or “tripped”), resulting in the loss of 410 MW of low-priced supply. In response to this significant loss of supply in New South Wales, at 4.44 pm AEMO issued Market Notice 57387 advising an actual LOR 2 had been declared in New South Wales from 4.35 pm, forecast to continue until 5.30 pm. Actual LOR notices differ from forecast LOR notices in that they indicate that minimum supply thresholds have been triggered and therefore an immediate response is required.

Table : Significant capacity changes in New South Wales

| Submit Time | Time effective | Station | MW unavailable/lost | Reason |
| --- | --- | --- | --- | --- |
| 4.26 pm | 4.35 pm | Tallawarra | 410 | Unit tripped off ‑ GT failure |
| 4.34 pm | 4.45 pm | Colongra | 177 | Plant outage – failed to start |
| 4.39 pm | 4.50 pm | Vales Point | 60 | Condenser back pressure limited |
| 4.40 pm | 4.50 pm | Colongra | 354 | Plant outage – remaining units fail to start |
| 4.42 pm | 4.50 pm | Colongra | 177 | Plant outage – remaining units fail to start |
| 4.53 pm | 5 pm | Vales Point | 60 | Outlet canal temperature approaching limit |
| **Total (MW)** |  |  | **1238** |  |

Table 3 also shows that, technical problems prevented Snowy Hydro’s Colongra power station starting from around 4.30 pm. In response, at 5.20 pm AEMO issued market notice 57396 advising that an actual LOR 3 had been declared in New South Wales from 4.50 to 6 pm, and that as a result load shedding would be required.

In a rebid submitted at 4.51 pm, Snowy Hydro made 164 MW of capacity at its Colongra power station available from 5 pm, signalling an end to the plant outage. Rebids relevant to Table 3 are at Appendix A.

Appendix B details the generators involved in setting the price during the high-price periods and when the Market Price Cap (MPC) was applied to particular dispatch intervals.

The closing bids for all participants in New South Wales and Queensland with capacity priced at or above $5000/MWh for the high-price periods are set out in Appendix C.

The significant market notices are set out in Appendix D.

Details of the actual LOR notices are contained in Table 4 and a more detailed explanation of LOR’s can be found in Appendix E.

Table : Actual LOR notices

|  |  |  |
| --- | --- | --- |
| LOR | Time | Reserve levels |
| LOR1 | 1 pm (effective 12.50 pm until 8 pm) | Contingency capacity reserve – 1345 MWMinimum LOR1 reserve available – 861 MW |
| LOR2 | 4.44 pm (effective 4.35 pm – 5.30 pm) | Contingency capacity reserve – 675 MWMinimum LOR1 reserve available – 570 MW |
| LOR3 | 5.20 pm (effective 4.50 pm until 6 pm) | Maximum load to be interrupted is 310 MW at 5.06 pm |

#### Network Availability

The NEM regions are connected via high voltage interconnectors. Electricity is transferred between regions through these interconnectors. Queensland is connected to New South Wales via two interconnectors ‑ the Queensland – New South Wales Interconnector (QNI) and Terranora. New South Wales is connected to Victoria via the Victoria – New South Wales (Vic – NSW) interconnector.

AEMO manages the network to ensure that system security is maintained, using constraints to manage network flows. Constraints are mathematical equations that determine the optimal output of generators based on their offers to manage or “limit” flows on specific transmission lines (including interconnectors) for each five minute interval.

Prices in New South Wales and Queensland were aligned from early hours of the morning up to and including the 5 pm trading interval. So, in effect the two states were behaving as one large combined region.

**New South Wales**

As New South Wales and Queensland were effectively behaving as one combined region leading up to the load shedding in New South Wales, our analysis in this section focuses on the flow of electricity into New South Wales from Victoria.

Table 5 shows actual imports (the actual “flow”) into New South Wales, across the Vic - NSW interconnector, were higher than predicted by AEMO from the 4 to 5 pm trading intervals. Importantly, Table 5 also shows that actual imports were at the import limit at 4 pm, but exceeded the import limit for the 4.30 and 5 pm trading intervals.

Actual imports exceeded import limits as a direct result of the loss of supply from the Tallawarra power station. With actual imports exceeding the import limit, constraints on the interconnector, designed to manage system security, “violated”. Effectively this means that to ensure there was sufficient supply to meet demand in New South Wales, electricity was forced from Victoria into New South Wales.

Table : Actual and forecast imports and import limit into New South Wales across the Vic –NSW interconnector

| Trading interval | Imports (MW) | Import limit (MW) |
| --- | --- | --- |
|  | Actual | 4 hr forecast | 12 hr forecast | Actual | 4 hr forecast | 12 hr forecast |
| 4 pm | 175 | 88 | 50 | 175 | 88 | 50 |
| 4.30 pm | 351 | 105 | 50 | 302 | 105 | 50 |
| **5 pm** | **471** | **156** | **50** | **307** | **156** | **50** |

To provide greater clarity, Figure 4 shows graphically, the degree of violation (indicated by the blue hashed area) across the Vic-NSW interconnector, on a five minute (or dispatch interval) basis. The interconnector violated from 4.25 pm to 5.05 pm, corresponding to the interval from the “trip” of Tallawarra power station to when load was shed at Tomago.

Figure : Import Limit, flows and degree of violation across the Vic-NSW interconnector

As a result of the “violation” the system was left in an insecure state. Under these circumstances AEMO must take all reasonable actions, including intervention if necessary, to return the power system to a secure operating state within 30 minutes. To remedy this, AEMO issued a start target to Snowy Hydro’s Colongra power station. However, as shown in Table 3, Colongra experienced technical problems which meant it could not start. Consequently, with insufficient available supply to maintain system security, AEMO reduced demand by directing TransGrid to instruct AGL Macquarie to shed load from the Tomago aluminium smelter in New South Wales by taking another one of its pot lines out of service.

**Queensland**

Table : Combined actual and forecast exports and export limit from Queensland into New South Wales

| Trading interval | Exports (MW) | Export limit (MW) |
| --- | --- | --- |
|  | Actual | 4 hr forecast | 12 hr forecast | Actual | 4 hr forecast | 12 hr forecast |
| 4 pm | 1028 | 1222 | 1223 | 1061 | 1222 | 1223 |
| 4.30 pm | 991 | 1223 | 1228 | 1018 | 1223 | 1228 |
| **5 pm** | **1200** | **1228** | **1229** | **914** | **1228** | **1229** |

Table 6 shows combined actual and forecast exports and export limits from Queensland to New South Wales across the QNI and Terranora interconnectors for the same trading intervals. Similar to Table 5, Table 6 shows the violation across the interconnectors from Queensland to New South Wales during the high price interval in Queensland (5 pm), as actual exports (1200 MW) exceeded the export limit of 914 MW.

## Causes of 5 pm high prices

The reduction of cheaper-priced supply associated with the loss of generation at Energy Australia’s Tallawarra power station in New South Wales led to the spot price reaching $12 221/MWh and $12 915/MWh at 5 pm in Queensland and New South Wales respectively.

With all other low priced capacity from Queensland and New South Wales either at full output or unable to increase output due to physical limitations, and without the ability to import more electricity from Victoria, high priced supply met the demand for electricity in Queensland and New South Wales. The price for the 5-minute interval (“dispatch interval”) ending 4.30 pm exceeded $13 000/MWh in both states. The spot price is calculated by averaging the relevant six consecutive 5-minute dispatch prices. The 5 pm trading interval is comprised of the dispatch intervals from 4.35 to 5 pm.

## Causes of 5.30 pm and 6 pm high prices

The 5.30 and 6 pm spot prices in New South Wales of $13 996/MWh and $14 000/MWh respectively were caused by special pricing arrangements which saw the 5-minute price set at the Market Price Cap (MPC) in New South Wales.

### Circumstances leading to intervention event in New South Wales

At times, AEMO may need to override the normal dispatch process to maintain system security. For example, in an effort to reduce demand for electricity, AEMO may require customers to reduce consumption (or “shed load”) if they consider forecast supply of electricity would be insufficient to meet forecast demand.

In accordance with National Electricity Rule 3.9.2(e), when load shedding occurs AEMO must set the dispatch price in that state at the market price cap (currently $14 000/MWh).

As a result of the loss of supply at the Tallawarra power station, actual imports into New South Wales exceeded import limits, causing constraints to violate and leaving the power system in New South Wales in an insecure state. Following the trip of Tallawarra, AEMO issued Snowy Hydro’s Colongra power station with a target to start generating electricity to meet the reduction in supply. However technical problems prevented Colongra power station operating at that time.

To maintain power system security, AEMO may issue directions to participants in accordance with Section 116 of the National Electricity Law and Clause 4.8.9 of the National Electricity Rules. To reduce demand in New South Wales at 4.58 pm and in accordance with jurisdictional load shedding procedures, AEMO issued a direction to the New South Wales transmission business, TransGrid, to shed Tomago aluminium smelter’s potline number 3. This became effective by 5.06 pm, reducing demand in New South Wales by 290 MW, thereby returning the power system to a secure state.

Under the Electricity Rules, AEMO has up to two dispatch intervals to commence special pricing arrangements after the instruction to shed load has occurred. In accordance with this, the dispatch price was set at the market price cap in New South Wales from 5.10 pm. At 5.20 pm AEMO published market notice 57396 advising that an actual LOR 3 applied in New South Wales and that load had been shed. Load at the Tomago smelter was restored by 6.07 pm and special pricing arrangements ceased at the end of the 6.10 pm dispatch interval.

With all load restored at Tomago and intervention pricing removed, the 5-minute price fell to around $100/MWh by 6.15 pm, close to prices in other states.[[5]](#footnote-5)

Australian Energy Regulator

May 2017

Appendix A: Significant Rebids

The rebidding tables highlight the relevant rebids submitted by generators that impacted on market outcomes during the time of high prices. It details the time the rebid was submitted and used by the dispatch process, the capacity involved, the change in the price of the capacity was being offered and the rebid reason.

Table : Significant energy rebids for 5 pm (New South Wales)

| Submit time | Time effective | Participant | Station | Capacity rebid(MW) | Price from($/MWh) | Price to ($/MWh) | Rebid reason |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3.21 pm |   | Delta Electricity | Vales Point | 80 | -1000 | 13 800 | 1520P managing cw outlet temp - sl |
| 4.09 pm |   | Delta Electricity | Vales Point | 100 | N/A | 13 800 | 1608P managing cw outlet temp - sl |
| 4.26 pm | 4.35 pm | EnergyAustralia | Tallawarra | -410 | -999 | N/A | 1620~P~adj avail unit tripped - rts unknown tba - sl~ |
| 4.34 pm | 4.45 pm | Snowy Hydro | Colongra | -177 | 14 000 | N/A | 16:34:30 P plant outage |
| 4.39 pm | 4.50 pm | Delta Electricity | Vales Point | -60 | 13 800 | N/A | 1639P condenser back pressure limit |
| 4.40 pm | 4.50 pm | Snowy Hydro | Colongra | -177 | 14 000 | N/A | 16:40:05 p update capability parameters for change to outage plan/plant conditions |
| 4.40 pm | 4.50 pm | Snowy Hydro | Colongra | -177 | 14 000 | N/A | 16:40:07 p update capability parameters for change to outage plan/plant conditions |
| 4.42 pm | 4.50 pm | Snowy Hydro | Colongra | -177 | 14 000 | N/A | 16:41:59 p update capability parameters for change to outage plan/plant conditions |
| 4.51 pm | 5.00 pm | Snowy Hydro | Colongra | 164 | N/A | 14 000 | 16:50:32 P plant outage complete |
| 4.53 pm | 5.00 pm | Delta Electricity | Vales Point | -60 | 13 800 | N/A | 1651P outlet canal temperature approaching limit |

Table 7: Significant energy rebids for 5.30 pm (New South Wales)

| Submit time | Time effective | Participant | Station | Capacity rebid(MW) | Price from($/MWh) | Price to ($/MWh) | Rebid reason |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 4.26 pm |   | EnergyAustralia | Tallawarra | -410 | -999 | N/A | 1620~P~ADJ avail unit tripped - rts unknown tba - sl~ |
| 4.39 pm |   | Delta Electricity | Vales Point | -60 | 13 800 | N/A | 1639P condenser back pressure limit |
| 4.40 pm |   | Snowy Hydro | Colongra | -708 | 14 000 | N/A | 16:40 P update capability parameters for change to outage plan/plant conditions |
| 4.53 pm |   | Delta Electricity | Vales Point | -60 | 13 800 | N/A | 1651P outlet canal temperature approaching limit |
| 4.54 pm |   | Snowy Hydro | Colongra | 492 | N/A | 14 000 | 16:54:32 P plant outage complete: gas start |
| 5.04 pm | 5.15 pm | Delta Electricity | Vales Point | -60 | <13 800 | N/A | 1702P outlet canal temperature still too close to limit |
| 5.11 pm | 5.20 pm | EnergyAustralia | Tallawarra | 190 | N/A | -999 | 1710~P~ADJ avail, roc profile unit rts sl~ |
| 5.21 pm | 5.30 pm | Snowy Hydro | Colongra | 480 | 14 000 | -1000 | 17:20:04 A nsw 5min actual price $13,822.20 higher than 30 min pd 17:25@17:02 ($14,000) |

Table 8: Significant energy rebids for 6 pm (New South Wales)

| Submit time | Time effective | Participant | Station | Capacity rebid(MW) | Price from($/MWh) | Price to ($/MWh) | Rebid reason |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3.54 pm |   | Delta Electricity | Vales Point | -120 | 13 800 | N/A | 1553P capacity limit due to very high cw outlet temp - sl |
| 4.26 pm |   | EnergyAustralia | Tallawarra | -410 | -999 | N/A | 1620~P~adj avail unit tripped - rts unknown tba - sl~ |
| 4.40 pm |   | Snowy Hydro | Colongra | -531 | 14 000 | N/A | 16:40 P update capability parameters for change to outage plan/plant conditions |
| 4.42 pm |   | Snowy Hydro | Colongra | -177 | 14 000 | N/A | 16:41:59 P update capability parameters for change to outage plan/plant conditions |
| 4.48 pm |   | Snowy Hydro | Colongra | 492 | N/A | 14 000 | 16:48 P update capability parameters for change to outage plan/plant conditions |
| 5.04 pm |   | Delta Electricity | Vales Point | -60 | <13 800 | N/A | 1702P outlet canal temperature still too close to limit |
| 5.11 pm |   | EnergyAustralia | Tallawarra | 190 | N/A | -999 | 1710~P~adj avail, roc profile unit rts sl~ |
| 5.28 pm | 5.35 pm | Snowy Hydro | Colongra | 480 | 14 000 | -1000 | 17:26:00 a nsw 5min pd price $13,892.33 higher than 30min pd 17:35@17:02 ($14,000.00) |
| 5.44 pm | 5.55 pm | EnergyAustralia | Tallawarra | -190 | -999 | N/A | 1740~P~adj avail,roc unit tripped on start sl~ |

Appendix B: Price setter

The following table identifies for the trading intervals in which the spot price exceeded $5000/MWh, each five minute dispatch interval price and the generating units involved in setting the energy price. This information is published by AEMO.[[6]](#footnote-6) The 30-minute spot price is the average of the six dispatch interval prices.

Prices in bold italics have been set at the market price cap of $14 000/MWh as they are either over the MPC, or have been set by special pricing arrangements.

Table 10: New South Wales – 5 pm

| **DI** | **Dispatch Price ($/MWh)** | **Participant** | **Unit** | **Service** | **Offer price ($/MWh)** | **Marginal change** | **Contribution** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 16:35 | ***$18 100.68*** | Braemar Power Projects | BRAEMAR1 | Energy | $13 879.99 | 1.30 | $18 043.99 |
| 16:40 | ***$17 387.36*** | Callide Power | CPP\_3 | Energy | $13 333.00 | 0.47 | $6266.51 |
|  |  | Callide Power | CPP\_4 | Energy | $13 333.00 | 0.47 | $6266.51 |
|  |  | Millmerran | MPP\_1 | Energy | $13 333.00 | 0.18 | $2399.94 |
|  |  | Millmerran | MPP\_2 | Energy | $13 333.00 | 0.18 | $2399.94 |
| 16:45 | $7487.80 | Stanwell | STAN-2 | Energy | $6666.66 | 0.11 | $733.33 |
|  |  | Stanwell | STAN-3 | Energy | $6666.66 | 0.11 | $733.33 |
|  |  | Stanwell | STAN-4 | Energy | $6666.66 | 0.11 | $733.33 |
|  |  | Stanwell | TARONG#1 | Energy | $6666.66 | 0.27 | $1800.00 |
|  |  | Stanwell | TARONG#3 | Energy | $6666.66 | 0.27 | $1800.00 |
|  |  | Stanwell | TARONG#4 | Energy | $6666.66 | 0.27 | $1800.00 |
| 16:50 | ***$16 880.58*** | Stanwell | TARONG#2 | Energy | $13 399.95 | 0.63 | $8441.97 |
|  |  | Stanwell | TARONG#3 | Energy | $13 399.95 | 0.63 | $8441.97 |
| 16:55 | ***$17 387.36*** | Callide Power | CPP\_3 | Energy | $13 333.00 | 0.47 | $6266.51 |
|  |  | Callide Power | CPP\_4 | Energy | $13 333.00 | 0.47 | $6266.51 |
|  |  | Millmerran | MPP\_1 | Energy | $13 333.00 | 0.18 | $2399.94 |
|  |  | Millmerran | MPP\_2 | Energy | $13 333.00 | 0.18 | $2399.94 |
| 17:00 | ***$17 387.36*** | Callide Power | CPP\_3 | Energy | $13 333.00 | 0.47 | $6266.51 |
|  |  | Callide Power | CPP\_4 | Energy | $13 333.00 | 0.47 | $6266.51 |
|  |  | Millmerran | MPP\_1 | Energy | $13 333.00 | 0.18 | $2399.94 |
|  |  | Millmerran | MPP\_2 | Energy | $13 333.00 | 0.18 | $2399.94 |
| **Spot Price $12 915/MWh** |

Table 11: New South Wales – 5.30 pm

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **DI** | **Dispatch Price ($/MWh)** | **Participant** | **Unit** | **Service** | **Offer price ($/MWh)** | **Marginal change** | **Contribution** |
| 17:05 | $13 800.00 | Delta Electricity | VP5 | Energy | $13 800.00 | 0.50 | $6900.00 |
|  |  | Delta Electricity | VP6 | Energy | $13 800.00 | 0.50 | $6900.00 |
| 17:10 | ***$131.25*** | AGL Hydro | MCKAY1 | Energy | $129.86 | 1.01 | $131.16 |
| 17:15 | ***$106.92*** | CS Energy | GSTONE4 | Energy | $98.66 | 0.36 | $35.52 |
|  |  | CS Energy | GSTONE5 | Energy | $98.66 | 0.36 | $35.52 |
|  |  | CS Energy | GSTONE6 | Energy | $98.66 | 0.36 | $35.52 |
| 17:20 | ***$107.43*** | Origin Energy | MSTUART2 | Energy | $98.97 | 0.57 | $56.41 |
|  |  | Origin Energy | MSTUART3 | Energy | $98.97 | 0.52 | $51.46 |
| 17:25 | ***$109.86*** | Origin Energy | MSTUART1 | Energy | $98.97 | 0.38 | $37.61 |
|  |  | Origin Energy | MSTUART2 | Energy | $98.97 | 0.38 | $37.61 |
|  |  | Origin Energy | MSTUART3 | Energy | $98.97 | 0.35 | $34.64 |
| 17:30 | ***$109.16*** | Origin Energy | MSTUART1 | Energy | $98.97 | 0.38 | $37.61 |
|  |  | Origin Energy | MSTUART2 | Energy | $98.97 | 0.38 | $37.61 |
|  |  | Origin Energy | MSTUART3 | Energy | $98.97 | 0.35 | $34.64 |
| **Spot Price $13 967/MWh (**this calculation assumes that prices in bold italics are at the MPC ($14 000/MWh)) |

Table 12: New South Wales – 6 pm

| **DI** | **Dispatch Price ($/MWh)** | **Participant** | **Unit** | **Service** | **Offer price ($/MWh)** | **Marginal change** | **Contribution** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 17:35 | ***$174.35*** | Stanwell | STAN-1 | Energy | $155.93 | 1.12 | $174.64 |
| 17:40 | ***$110.80*** | Origin Energy | MSTUART1 | Energy | $98.97 | 0.56 | $55.42 |
|  |  | Origin Energy | MSTUART2 | Energy | $98.97 | 0.56 | $55.42 |
| 17:45 | ***$220.46*** | ERMPower and Arrow | BRAEMAR5 | Energy | $198.50 | 0.37 | $73.45 |
|  |  | ERMPower and Arrow | BRAEMAR6 | Energy | $198.50 | 0.37 | $73.45 |
|  |  | ERMPower and Arrow | BRAEMAR7 | Energy | $198.50 | 0.37 | $73.45 |
| 17:50 | ***$107.00*** | Origin Energy | MSTUART3 | Energy | $98.97 | 1.08 | $106.89 |
| 17:55 | ***$107.62*** | Origin Energy | MSTUART1 | Energy | $98.97 | 0.54 | $53.44 |
|  |  | Origin Energy | MSTUART2 | Energy | $98.97 | 0.54 | $53.44 |
| 18:00 | ***$105.91*** | CS Energy | GSTONE6 | Energy | $98.66 | 1.07 | $105.57 |
| **Spot Price $14 000/MWh (**this calculation assumes that prices in bold italics are at the MPC ($14 000/MWh)) |

Table 13: Queensland – 5 pm

| DI | Dispatch Price ($/MWh) | Participant | Unit | Service | Offer price ($/MWh) | Marginal change | Contribution |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 16:35 | $13 879.99 | Braemar Power Projects | BRAEMAR1 | Energy | $13 879.99 | 1.00 | $13 879.99 |
| 16:40 | $13 333.00 | Callide Power | CPP\_3 | Energy | $13 333.00 | 0.36 | $4799.88 |
|  |  | Callide Power | CPP\_4 | Energy | $13 333.00 | 0.36 | $4799.88 |
|  |  | Millmerran | MPP\_1 | Energy | $13 333.00 | 0.14 | $1866.62 |
|  |  | Millmerran | MPP\_2 | Energy | $13 333.00 | 0.14 | $1866.62 |
| 16:45 | $6666.66 | Stanwell | STAN-2 | Energy | $6666.66 | 0.10 | $666.67 |
|  |  | Stanwell | STAN-3 | Energy | $6666.66 | 0.10 | $666.67 |
|  |  | Stanwell | STAN-4 | Energy | $6666.66 | 0.10 | $666.67 |
|  |  | Stanwell | TARONG#1 | Energy | $6666.66 | 0.24 | $1600.00 |
|  |  | Stanwell | TARONG#3 | Energy | $6666.66 | 0.24 | $1600.00 |
|  |  | Stanwell | TARONG#4 | Energy | $6666.66 | 0.24 | $1600.00 |
| 16:50 | $13 399.95 | Stanwell | TARONG#2 | Energy | $13 399.95 | 0.50 | $6699.98 |
|  |  | Stanwell | TARONG#3 | Energy | $13 399.95 | 0.50 | $6699.98 |
| 16:55 | $13 333.00 | Callide Power | CPP\_3 | Energy | $13 333.00 | 0.36 | $4799.88 |
|  |  | Callide Power | CPP\_4 | Energy | $13 333.00 | 0.36 | $4799.88 |
|  |  | Millmerran | MPP\_1 | Energy | $13 333.00 | 0.14 | $1866.62 |
|  |  | Millmerran | MPP\_2 | Energy | $13 333.00 | 0.14 | $1866.62 |
| 17:00 | $13 333.00 | Callide Power | CPP\_3 | Energy | $13 333.00 | 0.36 | $4799.88 |
|  |  | Callide Power | CPP\_4 | Energy | $13 333.00 | 0.36 | $4799.88 |
|  |  | Millmerran | MPP\_1 | Energy | $13 333.00 | 0.14 | $1866.62 |
|  |  | Millmerran | MPP\_2 | Energy | $13 333.00 | 0.14 | $1866.62 |
| **Spot Price** | **$12 221/MWh** |  |  |   |  |  |

Appendix C: Closing bids

Figures C1 to C7 highlight the half hour closing bids for participants in New South Wales and Queensland with significant capacity priced at or above $5000/MWh during the periods in which the spot price exceeded $5000/MWh. They also show generation output and the spot price.

New South Wales

Figure C1 – Delta Electricity (Vales Point) closing bid prices, dispatch and spot price



Figure C2 – Snowy Hydro (Colongra, Tumut, Upper Tumut, Guthega, Blowering) closing bid prices, dispatch and spot price



Queensland

Figure C3 – Alinta Energy (Braemar A) closing bid prices, dispatch and spot price



Figure C4 – Callide Power Trading (Callide C) closing bid prices, dispatch and spot price



Figure C5 – CS Energy (Callide B, Gladstone, Kogan Creek, Wivenhoe) closing bid prices, dispatch and spot price



Figure C6 – Millmerran Energy Trader (Millmerran) closing bid prices, dispatch and spot price



Figure C7 – Stanwell Corporation (Barron Gorge, Kareeya, Mackay, Stanwell, Tarong, Tarong North) closing bid prices, dispatch and spot price



Appendix D: Relevant Market Notices

This appendix contains relevant market notices published by AEMO.

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57355 | Reserve Notice | 10/02/2017 10:36:06 | 10/02/2017 10:36:06 |
| **External Reference** |
| Update - FORECAST LACK OF RESERVE LEVEL 1 (LOR1) in the New South Wales region -PD PASA. |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICEUpdate - FORECAST LACK OF RESERVE LEVEL 1 (LOR1) in the New South Wales region -PD PASA.Refer to AEMO Electricity Market Notice 57314, 57337AEMO declares forecast LOR1 conditions for the New South Wales region for the following periods Friday 10th February 2017 from 1200 hrs to 1430 hrs The minimum reserve available is 780 MW.Friday 10th February 2017 from 18300 hrs to 2030 hrs The minimum reserve available is 891MW. This calculation is based on a LOR1 trigger level of 1400 MW. Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57356 | Reserve Notice | 10/02/2017 10:36:37 | 10/02/2017 10:36:37 |
| **External Reference** |
| Update - FORECAST LACK OF RESERVE LEVEL 2 (LOR2) in the New South Wales region- PD PASA. |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICEUpdate - FORECAST LACK OF RESERVE LEVEL 2 (LOR2) in the New South Wales region- PD PASA.Refer to AEMO Electricity Market Notice 57315, 57338AEMO declares forecast LOR2 conditions for the NSW Region for the following period. Friday 10th February 2017 from 1430hrs to 1600 hrs The minimum reserve available is 50 MW.Friday 10th February 2017 from 1700 hrs to 1830 hrs The minimum reserve available is 338 MW. This calculation is based on a LOR2 trigger level of 700 MW. AEMO is seeking a market response.AEMO will determine the latest time at which it would need to intervene through an AEMO intervention event.Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57357 | Reserve Notice | 10/02/2017 10:36:56 | 10/02/2017 10:36:56 |
| **External Reference** |
| Update - FORECAST LACK OF RESERVE LEVEL 3 (LOR3) in the New South Wales region- PD PASA. |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICEUpdate - FORECAST LACK OF RESERVE LEVEL 3 (LOR3) in the New South Wales region- PD PASA.Refer to AEMO Electricity Market Notice 57339AEMO declares forecast LOR3 condition for the NSW Region for the following period. Friday 10th February 2017 from 1600 hrs to 1700 hrs The minimum reserve available is -77 This calculation is based on a LOR3 trigger level of 0 MW. AEMO is seeking a market response.AEMO will determine the latest time at which it would need to intervene through an AEMO intervention event.Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57359 | Reserve Notice | 10/02/2017 13:00:01 | 10/02/2017 13:00:01 |
| **External Reference** |
| Actual Lack Of Reserve Level 1 (LOR1) in the NSW Region- 10-02-2017 |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICEActual Lack Of Reserve Level 1 (LOR1) in the NSW Region- 10-02-2017An Actual LOR1 condition has been declared for the NSW Region from 1250 hrs.The Actual LOR1 condition is forecast to exist until 2000 hrsThe contingency capacity reserve required is 1345 MWThe minimum LOR1 reserve available is 861 MWManager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57360 | Reserve Notice | 10/02/2017 13:16:07 | 10/02/2017 13:16:07 |
| **External Reference** |
| Update - FORECAST LACK OF RESERVE LEVEL 2 (LOR2) in the New South Wales region- PD PASA. |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICEUpdate - FORECAST LACK OF RESERVE LEVEL 2 (LOR2) in the New South Wales region- PD PASA. 10/02/2017Refer to AEMO Electricity Market Notice 57315, 57338, 57356AEMO declares forecast LOR2 conditions for the NSW Region for the following period. Friday 10th February 2017 from 1430hrs to 1600 hrs The minimum reserve available is 42 MW.Friday 10th February 2017 from 1700 hrs to 1830 hrs The minimum reserve available is 94 MW. This calculation is based on a LOR2 trigger level of 675 MW. AEMO is seeking a market response.AEMO has determined the latest time at which it would need to intervene through an AEMO intervention event as 1430 hrs 10/02/2017.Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57361 | Reserve Notice | 10/02/2017 13:28:06 | 10/02/2017 13:28:06 |
| **External Reference** |
| Update - FORECAST LACK OF RESERVE LEVEL 3 (LOR3) in the New South Wales region- PD PASA. |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICEUpdate - FORECAST LACK OF RESERVE LEVEL 3 (LOR3) in the New South Wales region- PD PASA.Refer to AEMO Electricity Market Notice 57339, 57357AEMO declares forecast LOR3 condition for the NSW Region for the following period. Friday 10th February 2017 from 1600 hrs to 1700 hrs The minimum reserve available is -189 This calculation is based on a LOR3 trigger level of 0 MW. AEMO is seeking a market response.AEMO will intervene through an AEMO intervention event as required in the dispatch timeframe.Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57382 | Reserve Notice | 10/02/2017 16:19:49 | 10/02/2017 16:19:49 |
| **External Reference** |
| Cancellation - FORECAST LACK OF RESERVE LEVEL 3 (LOR3) in the New South Wales region- PD PASA. |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICECancellation - FORECAST LACK OF RESERVE LEVEL 3 (LOR3) in the New South Wales region- PD PASA.Refer to AEMO Electricity Market Notice 57339, 57357AEMO has cancelled the forecast LOR3 condition for the NSW Region for the following period as previously advised. Friday 10th February 2017 from 1600 hrs to 1700 hrs Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57387 | Reserve Notice | 10/02/2017 16:44:29 | 10/02/2017 16:44:29 |
| **External Reference** |
| Actual Lack Of Reserve Level 2 (LOR2) in the NSW Region - 10-02-2017 |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICEActual Lack Of Reserve Level 2 (LOR2) in the NSW Region - 10-02-2017An Actual LOR2 condition has been declared for the NSW region from 1635 hrs.The Actual LOR2 condition is forecast to exist until 1730 hrsThe contingency capacity reserve required is 675 MWThe minimum reserve available is 570 MWAEMO is seeking a market response.Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57396 | Reserve Notice | 10/02/2017 17:20:49 | 10/02/2017 17:20:49 |
| **External Reference** |
| Actual Lack Of Reserve Level 3 (LOR3) in the NSW Region- 10-02-2017 |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICEActual Lack Of Reserve Level 3 (LOR3) in the NSW Region- 10-02-2017Under the NER Cl 4.8.4(d), AEMO considers that Customer load is actually being interrupted in order to maintain or restore the security of the power system in NSW Region.An Actual LOR3 condition has been declared for the NSW region from 1650 hrs.The Actual LOR3 condition is forecast to exist until 1800 hrsThe maximum load to be interrupted is 310 MW at 1706 hrs 10/02/2017 Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57397 | Market Intervention | 10/02/2017 17:43:05 | 10/02/2017 17:43:05 |
| **External Reference** |
| AEMO Electricity Market Direction - NSW Region |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICE.In accordance with Section 116 National Electricity Law and clause 4.8.9 of the National Electricity Rules AEMO has issued a direction to a participant in the NSW region. The direction was necessary to maintain the power system in a secure operating state.The direction was issued at 1658 hrs 10/02/17 and is expected to stay in place until 1800 hrs 10/02/17.Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57399 | Market Intervention | 10/02/2017 17:43:05 | 10/02/2017 17:43:05 |
| **External Reference** |
| Cancellation - AEMO Electricity Market Direction - NSW Region |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICE.Cancellation - AEMO Electricity Market Direction - NSW RegionRefer AEMO Electricity Market Notice 57397Direction cancelled at 1801 hrs Friday, 10 February 2017Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57340 | Reserve Notice | 10/02/2017 18:26:34 | 10/02/2017 18:26:34 |
| **External Reference** |
| Cancellation - Actual Lack Of Reserve Level 3 (LOR3) in the NSW Region- 10-02-2017 |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICECancellation - Actual Lack Of Reserve Level 3 (LOR3) in the NSW Region- 10-02-2017Refer Electricity Market Notice 57396Customer load is no longer being interrupted in NSW Region.The Actual LOR3 condition has been cancelled for the NSW region from 1805 hrs.Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57402 | Reserve Notice | 10/02/2017 18:38:15 | 10/02/2017 18:38:15 |
| **External Reference** |
| Actual Lack Of Reserve Level 1 (LOR1) in the NSW Region - 10-02-2017 |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICEActual Lack Of Reserve Level 1 (LOR1 in the NSW Region - 10-02-2017An Actual LOR1 condition has been declared for the NSW region from 1830 hrs.The Actual LOR1 condition is forecast to exist until 1900 hrsThe contingency capacity reserve required is 1340 MWThe minimum reserve available is 843 MWManager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57404 | Market Intervention | 10/02/2017 19:27:16 | 10/02/2017 19:27:16 |
| **External Reference** |
| Drection - TransGrid - NSW - 10/02/2017 |
| **Reason** |
| AEMO PARTICIPANT NOTICESection 116 National Electricity Law direction - TransGrid - NSWIssue:In accordance with Section 116 National Electricity Law AEMO is issuing a direction to TransGrid to take the following action. AEMO directs TransGrid to shed one Tomago potline immediately.The Section 116 National Electricity Law direction is issued at 1658 hrs 10/02/2017. Cancellation:Direction cancelled at 1801 hrs 10/02/2017.Permission to restore Tomago potline to full load.Manager NEM Real Time Operations |

|  |  |  |  |
| --- | --- | --- | --- |
| Market Notice | Type | Date of issue | Last Changed |
| 57406 | Reserve Notice | 10/02/2017 19:44:57 | 10/02/2017 19:44:57 |
| **External Reference** |
| Cancellation - Actual Lack Of Reserve Level 1 (LOR1) in the NSW Region - 10-02-2017 |
| **Reason** |
| AEMO ELECTRICITY MARKET NOTICECancellation - Actual Lack Of Reserve Level 1 (LOR1 in the NSW Region - 10-02-2017Refer Electricity Market Notice 57402The Actual LOR1 declared for the NSW region is cancelled from 1930 hrs.Manager NEM Real Time Operations |

Appendix E: Lack of Reserve explained

AEMO constantly monitors the level of reserves, or spare capacity, within each state. Reserves are defined as the difference between the volume of electricity that can be made available to consumers, either by local generation or through the network via interconnectors with other states, and the regional customer demand at that time.

Reserves are effectively an indicator of the supply demand balance and an important tool to communicate with the market potential and actual shortfalls. This is achieved through the release of LOR notices by AEMO. Forecast LOR notices are designed to elicit a response from generators to increase their declared available capacity which may then remove the forecast reserve shortfall. Actual LOR notices are issued when the thresholds are actually triggered.

There are three Reserve thresholds which relate to managing power system security following a defined number of unplanned failures of either transmission or generating equipment (credible contingencies). An example of a credible contingency would be the failure of a large thermal generator or the failure of a transmission line that would reduce interconnector capacity.

The three LOR levels are categorised as follows:

* An LOR1 is declared when AEMO considers load shedding would occur after two single credible contingencies.
* An LOR2 is declared when AEMO considers load shedding would occur after a single credible contingency.
* An LOR3 is declared when customer(s) load would be, or is shed, in order to maintain the stability of the power system.

Figure 5 shows the decrease in spare capacity and the lack of reserve thresholds.

Figure : Spare capacity and lack of reserve



As the spare capacity drops below a reserve trigger level (represented as a horizontal line on the chart) either by a reduction in available spare capacity or an increase in demand, a new LOR reserve notice is issued to participants. If the region is left with insufficient reserve capacity to supply customer demand, an LOR3 is issued and load shedding occurs as happened on this day in New South Wales.

1. <http://www.bom.gov.au/jsp/ncc/cdio/weatherData/av?p_nccObsCode=122&p_display_type=dailyDataFile&p_startYear=&p_c=&p_stn_num=066062> [↑](#footnote-ref-1)
2. <http://www.bom.gov.au/jsp/ncc/cdio/weatherData/av?p_nccObsCode=122&p_display_type=dailyDataFile&p_startYear=&p_c=&p_stn_num=040211> [↑](#footnote-ref-2)
3. <http://www.resourcesandenergy.nsw.gov.au/about-us/news/2017/what-we-can-do-to-reduce-the-load> [↑](#footnote-ref-3)
4. <http://www.aemo.com.au/-/media/Files/Electricity/NEM/Market_Notices_and_Events/Power_System_Incident_Reports/2017/Incident-report-NSW-10-February-2017.pdf> [↑](#footnote-ref-4)
5. Specific times that events occurred and details were not provided in notices to the market have been referenced from AEMO’s power system operating incident report (<http://www.aemo.com.au/-/media/Files/Electricity/NEM/Market_Notices_and_Events/Power_System_Incident_Reports/2017/Incident-report-NSW-10-February-2017.pdf>) [↑](#footnote-ref-5)
6. Details on how the price is determined can be found at [www.aemo.com.au](http://www.aemo.com.au) [↑](#footnote-ref-6)