## Assumptions
SA Power Networks - Guaranteed Service Level (GSL) Forecasting - Step Change
ESCoSA Reliability Standards Review Final Decision
ESCoSA - SA Power Networks reliability standards review, Final decision, January 2019, page 35-47
|  | Reliability - duration payments | Continue GSL payments for network reliability with improvements (ESCoSA Final decision page 36); - Duration payments account for 97% of GSL Scheme costs. - Remove duration payments in their current form will be removed from 1 July 2020. - Payments for one-off outages will be replaced with total annual duration payments, to apply at the end of each regulatory year. - Duration payments will include interruptions on MEDs.
|  | Reliability - frequency payments | Consolidate the frequency payment thresholds to one level instead of three from 1 July 2020 (page 38)
|  | Appointments (late attendance) | Remove the GSL payment for late attendance (page 42)
|  | Connection (timeliness) | Continue the GSL payment for timeliness of new connection (page 43)
|  | Street lights (reported outages) | Continue the GSL payment for repair of faulty street lights, and to further clarify when the five or ten day period begins (page 43)
Assumptions applied
Steps performed to arrive at the average annual step change value;
| [1] | Summarised current GSL scheme payment data, by individual payment obligations
Note: this information is reported to ESCoSA and is available on their website.
https://www.escosa.sa.gov.au/industry/electricity/regulatory-reporting/regulatory-performance-reports
| [2] | Reconcile ESCoSA reported scheme payments with AER RIN reported GSL expenditure total.
There are known timing variances between ESCoSA reporting and AER RIN reporting. The cause of these variances are associated with the timing of transactions and how they are reported. RIN reporting is obtained from our financial accounting system and incorporates accrual accounting. This differs from the information that is prepared for ESCoSA which is based on when payments are made (ie monthly) to customers for the specific payment schemes.
To account for the these variances the total RIN reported expenditure, by year, has been pro-rata apportioned across the individual categories included in the ESCoSA Reporting.
| [3] | Escalate to June $2020
The reporting of the 2020-2025 proposal is in June $2020, therefore to calculate and report the average GSL payment in these dollars both the RIN reported values and the ESCoSA values have been escalated from nominal to June $2020.
The rates used to escalate to $June 2020 are included in the CPI escalations worksheet.
| [4] | Recalculate the historical GSL payments under the new schemes that apply from 1 July 2020.
Reliability duration payments account for 97% of all GSL expenditure and is the largest component of the re-calculation. The customer numbers used to calculate the duration payments under the new obligations have been obtained from our pre-defined standard Outage Management System (OMS) based reliability reports. The values that have been used do not factor in the following: • any Force Majeure exclusions (mainly impacts 2016/17) • any phase operations • exclusions related to multiple NMI’s at the same supply address • payments that are currently ‘on-hold’ due to insufficient customer details (eg retailer has not provided the customer's name) to generate a cheque (mainly impacts 2016/17)
Where GSL payments will no longer apply in the upcoming regulatory period eg late attendance, the values have not be historically recast.
| [5] | Average the recalculated historical payments of the new scheme - annual GSL step change to apply.

## ESCOSA Data
ESCoSA Energy Performance Reports 2016-17 Time Series Tables
[1] Assumption step 1
https://www.escosa.sa.gov.au/industry/electricity/regulatory-reporting/regulatory-performance-reports
LINK: Energy networks performance - time series data
OP 4.1 - SA Power Networks’ Performance Against Timeliness of Appointments
Measure | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
Number of appointments | 23408 | 22972 | 26813 | 30340 | 32995 | 53338 | 84111 | 52077 | 45931 | 31973 | 30214 | 32369 | 29729
Number of appointments where SA Power Networks is more than 15 minutes late | 14 | 12 | 13 | 13 | 2 | 3 | 0 | 0 | 1 | 0 | 2 | 1 | 2
Percentage of appointments where SA Power Networks is not more than 15 minutes late | 99.9% | 99.95% | 99.95% | 99.96% | 99.99% | 99.99% | 100% | 100% | 99.99% | 100% | 99.99% | 99.99% | 99.99%
Amounts paid to customers where SA Power Networks is more than 15 minutes late | 280 | 240 | 260 | 260 | 40 | 90 | 0 | 0 | 25 | 0 | 50 | 25 | 50
OP 4.2 - SA Power Networks’ Performance Against Promptness of Connection
Measure | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
Number of new supply addresses connected | 13423 | 13052 | 13033 | 14933 | 13853 | 14187 | 11585 | 9480 | 10721 | 11901 | 11620 | 11805 | 11789
Number of new supply addresses not connected within the prescribed period | 179 | 67 | 172 | 87 | 88 | 82 | 77 | 65 | 121 | 141 | 192 | 238 | 215
Percentage of new supply addresses connected within the prescribed period | 98.67% | 99.49% | 98.68% | 99.42% | 99.36% | 99.42% | 99.34% | 99.31% | 98.87% | 98.82% | 98.35% | 97.98% | 98%
Amounts paid to customers where SA Power Networks failed to connect new supply addresses within the prescribed period | 16000 | 15150 | 41100 | 17950 | 17150 | 18480 | 19860 | 14560 | 30840 | 37620 | 52620 | 71930 | 60975
OP 4.3 - SA Power Networks’ Performance Against Timeliness of Street Light Repairs – Adelaide Business Area and Major Metropolitan Areas
Measure | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
No. street light faults reported | 29320 | 31829 | 31450 | 24268 | 31439 | 25090 | 25735 | 22669 | 25648 | 26782 | 27486 | 35181 | 26589
No. street light faults not repaired within 5 business days | 1895 | 841 | 609 | 315 | 1159 | 1763 | 1055 | 1361 | 906 | 1795 | 1126 | 3726 | 1022
% of street light faults repaired within 5 business days | 93.54% | 97.36% | 98.06% | 98.7% | 96.31% | 92.97% | 95.9% | 94% | 96.47% | 93.3% | 95.9% | 89% | 96%
Average no. business days to repair street light faults | 3.5 | 2.3 | 3 | 2 | 2.5 | 3.4 | 3.4 | 2.6 | 3.66 | 4.83 | ? | ? | ?
Customer payments where SA Power Networks failed to effect repairs within 5 business days | 142760 | 31620 | 31080 | 15420 | 28260 | 72565 | 43725 | 73830 | 71975 | 255400 | 190650 | 442600 | 154585
OP 4.4 - SA Power Networks’ Performance Against Timeliness of Street Light Repairs – Country Areas
Measure | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
No. street light faults reported | 7088 | 6220 | 5455 | 4213 | 5453 | 3947 | 3696 | 3441 | 3657 | 3867 | 4149 | 5212 | 4356
No. street light faults not repaired within 10 business days | 100 | 159 | 37 | 25 | 79 | 159 | 60 | 67 | 26 | 27 | 12 | 53 | 23
% of street light faults reported repaired within 10 business days | 98.59% | 97.44% | 99.32% | 99.41% | 98.55% | 95.97% | 98.38% | 98.05% | 99.29% | 99.3% | 99.71% | 99% | 99%
Average no. business days to repair street light faults | 4 | 4 | 3 | 3.5 | 4 | 4 | 4.5 | 3.25 | 3.1 | ? | ? | ? | ?
Customer payments where SA Power Networks failed to effect repairs within 10 business days | 2780 | 2840 | 1040 | 600 | 1460 | 2890 | 1250 | 1625 | 800 | 1575 | 425 | 2150 | 1950
OP 4.5 - GSL: Frequency of Supply Interruptions
DETAIL | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
Frequency of supply >9 and ≤12 interruptions | 3549 | 1041 | 559 | 911 | 2288 | 2653 | 1164 | 1142 | 3258 | 779 | 395 | 3194 | 525
Payment total | 283920 | 83280 | 44720 | 72880 | 183040 | 238770 | 104760 | 102780 | 293220 | 70110 | 39500 | 319400 | 52500
Frequency of supply >12 and ≤15 interruptions | 827 | 426 | 215 | 179 | 1269 | 402 | 883 | 23 | 368 | 58 | 74 | 724 | 19
Payment total | 99240 | 51120 | 25800 | 21480 | 127520 | 56280 | 123620 | 3220 | 51520 | 8120 | 11100 | 108600 | 2850
Frequency of supply >15 interruptions | 70 | 63 | 2 | 0 | 405 | 62 | 0 | 0 | 3 | 12 | 0 | 14 | 0
Payment total | 11200 | 10080 | 320 | 0 | 64240 | 11470 | 0 | 0 | 555 | 2220 | 0 | 2800 | 0
OP 4.6 - GSL: Duration of Supply Interruptions
DETAIL | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
Duration of supply interruption >12 and ≤15h | 2177 | 2269 | 1379 | 1907 | 3218 | 9980 | 2821 | 6540 | 15235 | 3477 | 2946 | 33711 | 2898
Payment total | 174160 | 181600 | 110320 | 152560 | 257440 | 888980 | 253870 | 588680 | 1371150 | 312930 | 592501 | 3371100 | 289800
Duration of supply interruption >15 and ≤18h | 1993 | 896 | 753 | 1065 | 3208 | 7274 | 2917 | 2765 | 9829 | 2870 | 3630 | 25830 | 2211
Payment total | 239160 | 107520 | 90360 | 127800 | 384960 | 1017700 | 408320 | 387100 | 1376060 | 401800 | 544500 | 3874500 | 331650
Duration of supply interruption >18 and ≤24h | 6070 | 1189 | 444 | 694 | 1932 | 8121 | 3923 | 6405 | 14457 | 3369 | 3051 | 30048 | 1117
Payment total | 971200 | 190240 | 71040 | 111040 | 309120 | 1502185 | 725705 | 1184925 | 2674545 | 623265 | 610200 | 6009600 | 223400
Duration of supply interruption >24h |  | 292 | 281 | 123 | 620 | 8803 | 2520 | 2513 | 9310 | 2793
Payment total |  | 93440 | 89920 | 39360 | 198400 | 3253510 | 932400 | 930130 | 3444700 | 1033410
Duration of supply interruption >24h and ≤48h | 2015/16: 1049; 2016/17: 23576; 2017/18: 460
Payment total | 2015/16: 424845; 2016/17: 9548280; 2017/18: 186300
Duration of supply interruption >48h | 2015/16: 52; 2016/17: 7744; 2017/18: 460
Payment total | 2015/16: 31460; 2016/17: 4685120; 2017/18: 41140
TOTAL | 1384520 | 572800 | 361640 | 430760 | 1149920 | 6662375 | 2320295 | 3090835 | 8866455 | 2371405 | 2203506 | 27488600 | 1072290
Summary - Performance against Guaranteed Service Levels (Customer Payments)
Requirement | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
Timeliness of appointments - No more than 15 minutes late | 280 | 240 | 260 | 260 | 40 | 90 | 0 | 0 | 25 | 0 | 50 | 25 | 50
Promptness of new connections - Within 6 business days | 16000 | 15150 | 41100 | 17950 | 17150 | 18480 | 19860 | 14560 | 30840 | 37620 | 52620 | 71930 | 60975
Timeliness of street light repairs - Metro/Other - Within 5 business days | 142760 | 31620 | 31080 | 15420 | 28260 | 72565 | 43725 | 73830 | 71975 | 255400 | 190650 | 442600 | 154585
Timeliness of street light repairs - Country - Within 10 business days | 2780 | 2840 | 1040 | 600 | 1460 | 2890 | 1250 | 1625 | 800 | 1575 | 425 | 2150 | 1950
Duration of supply interruption >12 and ≤15h | 174160 | 181600 | 110320 | 152560 | 257440 | 888980 | 253870 | 588680 | 1371150 | 312930 | 592501 | 3371100 | 289800
Duration of supply interruption >15 and ≤18h | 239160 | 107520 | 90360 | 127800 | 384960 | 1017700 | 408320 | 387100 | 1376060 | 401800 | 544500 | 3874500 | 331650
Duration of supply interruption >18 and ≤24h | 971200 | 190240 | 71040 | 111040 | 309120 | 1502185 | 725705 | 1184925 | 2674545 | 623265 | 610200 | 6009600 | 223400
Duration of supply interruption >24h | N/A | 93440 | 89920 | 39360 | 198400 | 3253510 | 932400 | 930130 | 3444700 | 1033410 | 456305 | 14233400 | 227440
Frequency of supply >9 and ≤12 interruptions | 283920 | 83280 | 44720 | 72880 | 183040 | 238770 | 104760 | 102780 | 293220 | 70110 | 39500 | 319400 | 52500
Frequency of supply >12 and ≤15 interruptions | 99240 | 51120 | 25800 | 21480 | 127520 | 56280 | 123620 | 3220 | 51520 | 8120 | 11100 | 108600 | 2850
Frequency of supply >15 interruptions | 11200 | 10080 | 320 | 0 | 64240 | 11470 | 0 | 0 | 555 | 2220 | 0 | 2800 | 0
| 1940700 | 767130 | 505960 | 559350 | 1571630 | 7062920 | 2613510 | 3286850 | 9315390 | 2746450 | 2497851 | 28436105 | 1345200
[9 empty] | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
Reliability - duration payments | 2013/14: 8866.455; 2014/15: 2371.405; 2015/16: 2203.506; 2016/17: 27488.6; 2017/18: 1072.29
Reliability - frequency payments | 2013/14: 345.295; 2014/15: 80.45; 2015/16: 50.6; 2016/17: 430.8; 2017/18: 55.35
Appointments (late attendance) | 2013/14: 0.025; 2014/15: 0; 2015/16: 0.05; 2016/17: 0.025; 2017/18: 0.05
Connection (delays) | 2013/14: 30.84; 2014/15: 37.62; 2015/16: 52.62; 2016/17: 71.93; 2017/18: 60.975
Street lights (reported outages) | 2013/14: 72.775; 2014/15: 256.975; 2015/16: 191.075; 2016/17: 444.75; 2017/18: 156.535
Total GSL payments | 2013/14: 9315.39; 2014/15: 2746.45; 2015/16: 2497.851; 2016/17: 28436.105; 2017/18: 1345.2

## Step Change
SA Power Networks - Guaranteed Service Level (GSL) Forecasting - Step Change
The back casting of new service standard arrangements proposed by ESCoSA have been applied by calculating the cost difference between the old and new obligations based on a 5 year average.
SAPN actual expenditure (nominal, $ million)
[2] Assumption step 2
|  | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
| EB RIN 3.2 Operating Expenditure [GSL] ($m, Nominal) | 9923.975 | 3713.691 | 3389.55 | 25515.3806 | 1867.083
ESCoSA Service Standard Framework Categories ($, nominal)
|  | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
| Reliability - duration payments | 8866.455 | 2371.405 | 2203.506 | 27488.6 | 1072.29
| Reliability - frequency payments | 345.295 | 80.45 | 50.6 | 430.8 | 55.35
| Appointments (late attendance) | 0.025 | 0 | 0.05 | 0.025 | 0.05
| Connection (delays) | 30.84 | 37.62 | 52.62 | 71.93 | 60.975
| Street lights (reported outages) | 72.775 | 256.975 | 191.075 | 444.75 | 156.535
| Total GSL payments | 9315.39 | 2746.45 | 2497.851 | 28436.105 | 1345.2
| Variance | -608.585 | -967.241 | -891.699 | 2920.7244 | -521.883 | -68.6836 | Note: overall timing variance over the 5 years is immaterial
Pro-rata apportionment
|  | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
| Reliability - duration payments | 9445.7106 | 3206.5632 | 2990.1278 | 24665.1955 | 1488.295
| Reliability - frequency payments | 367.8535 | 108.7828 | 68.6635 | 386.5517 | 76.8236
| Appointments (late attendance) | 0.026633 | 0 | 0.067849 | 0.022432 | 0.069398
| Connection (delays) | 32.8548 | 50.869 | 71.4046 | 64.5419 | 84.6308
| Street lights (reported outages) | 77.5295 | 347.4761 | 259.2862 | 399.0689 | 217.2642
| Total GSL payments | 9923.975 | 3713.691 | 3389.55 | 25515.3806 | 1867.083
| Variance | 0 | 0 | 0 | 0 | 0
SAPN actual expenditure (June 2020, $ million)
[3] Assumption step 3
|  | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
| CPI Escalator | 1.1373 | 1.104 | 1.0876 | 1.0766 | 1.0561
|  | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | AVERAGE
| EB RIN 3.2 Operating Expenditure [GSL] (June 2020, $ million) | 11286.5614 | 4099.9533 | 3686.4019 | 27468.9037 | 1971.901 | 9702.7442
ESCoSA Service Standard Framework Categories (June 2020, $ million)
|  | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | AVERAGE
| Reliability - duration payments | 10742.6301 | 3540.0789 | 3251.9989 | 26553.6263 | 1571.8478 | 9132.0364
| Reliability - frequency payments | 418.3607 | 120.0973 | 74.677 | 416.1471 | 81.1364 | 222.0837
| Appointments (late attendance) | 0.03029 | 0 | 0.073791 | 0.02415 | 0.073294 | 0.040305
| Connection (delays) | 37.3659 | 56.1599 | 77.6581 | 69.4834 | 89.382 | 66.0099
| Street lights (reported outages) | 88.1745 | 383.6172 | 281.9941 | 429.6227 | 229.4614 | 282.574
| Total GSL payments | 11286.5614 | 4099.9533 | 3686.4019 | 27468.9037 | 1971.901 | 9702.7442
| Variance | 0 | 0 | 0 | 0 | 0
[4] Assumption step 4
Re-calculation of historical GSL expenditure - applying ESCoSA's Final decision on the GSL scheme that will apply for the 2020-2025 RCP.
| No. of Customers (incl. MEDs) | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18
| 20-30 hrs | 28190 | 6724 | 8039 | 46164 | 5369
| 30-60 hrs | 16938 | 4382 | 2572 | 40445 | 2347
| > 60 hrs | 1199 | 1409 | 553 | 17720 | 188
Cost of GSL Payments (incl. MEDs)
| 100 | 2819 | 672.4 | 803.9 | 4616.4 | 536.9
| 150 | 2540.7 | 657.3 | 385.8 | 6066.75 | 352.05
| 300 | 359.7 | 422.7 | 165.9 | 5316 | 56.4
| GSL duration payment payable under the new scheme | 5719.4 | 1752.4 | 1355.6 | 15999.15 | 945.35
ESCoSA Service Standard Framework Categories (June 2020, $ million)
|  | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | AVERAGE | CHANGES APPLIED
| Reliability - duration payments | 5719.4 | 1752.4 | 1355.6 | 15999.15 | 945.35 | 5154.38 | Revised duration payment scheme, 2013/14 to 2017/18 historical outages have been recast with new obligations.
| Reliability - frequency payments | 418.3607 | 120.0973 | 74.677 | 416.1471 | 81.1364 | 222.0837
| Appointments (late attendance) | [6 empty] | ESCoSA removed payment for late attendance.
| Connection (delays) | 37.3659 | 56.1599 | 77.6581 | 69.4834 | 89.382 | 66.0099
| Street lights (reported outages) | 88.1745 | 383.6172 | 281.9941 | 429.6227 | 229.4614 | 282.574
| Other | [6 empty] | N/A
| Total GSL payments | 6263.301 | 2312.2744 | 1789.9292 | 16914.4032 | 1345.3299 | 5725.0475
| Average GSL Payments included in base year ($June 2020) | 9702.7442
| Revised GSL payments on new obligations ($June 2020) | 5725.0475
| Movement in average ($June 2020) | -3977.6967
[4] Assumption step 5
| CPI Escalator | 1.0561
| Average annual negative GSL step change to be applied ($2017/18 SEM Input) | -3766.259

## CPI Escalator
CPI All Groups, Weighted Average of Eight Capital Cities, Index Numbers(a)
|  |  |  | Quarter ending |  |  |  | Annual Change to Quarter ending: |  | A | B | C |  | D |  | E |  |  | F
[12 empty] | Reg Year Actual |  | Reg Year Actual |  |  |  |  | Allowances
Year | 2005-03-31 | 2005-06-30 | 2005-09-30 | 2005-12-31 | 2005-03-31 | 2005-06-30 | 2005-09-30 | 2005-12-31 |  | Escalation from | Escalation from | Escalation from |  | Escalation from |  | $Dec 2017 to |  |  | $June yyyy to
[10 empty] | $Reg Year Nominal | $Reg Year Nominal | $Reg Year Nominal |  | $Reg Year Nominal |  | Future Nominal |  |  | $June 2020
Old CPI Index (pre 2012): | [9 empty] | (ie December to | Dec 2019 Dollars | to $2014/15*** |  | to $2019/20*** |  | (Inverse of [A])
1994 | 110.4 | 111.2 | 111.9 | 112.8 | [5 empty] | Dec 2017 Dollars |  | June 2015 Dollars |  | June 2020 Dollars
1995 | 114.7 | 116.2 | 117.6 | 118.5 | 3.895% | 4.496% | 5.094% | 5.053%
1996 | 119 | 119.8 | 120.1 | 120.3 | 3.749% | 3.098% | 2.126% | 1.519% | Reg Year | Escalator
1997 | 120.5 | 120.2 | 119.7 | 120 | 1.261% | 0.3339% | -0.3331% | -0.2494% | 94/95 | 1.7866
1998 | 120.3 | 121 | 121.3 | 121.9 | -0.166% | 0.6656% | 1.337% | 1.583% | 95/96 | 1.7
1999 | 121.8 | 122.3 | 123.4 | 124.1 | 1.247% | 1.074% | 1.731% | 1.805% | 96/97 | 1.6646 |  |  | Reg Year
2000 | 125.2 | 126.2 | 130.9 | 131.3 | 2.791% | 3.189% | 6.078% | 5.802% | 97/98 | 1.6702 |  | 1.5758 | 97/98 | 1.7283 | [5 empty] | June xxxx
2001 | 132.7 | 133.8 | 134.2 | 135.4 | 5.99% | 6.022% | 2.521% | 3.123% | 98/99 | 1.6481 |  | 1.5784 | 98/99 | 1.7311 |  |  |  |  | 1.728 | 1999
2002 | 136.6 | 137.6 | 138.5 | 139.5 | 2.939% | 2.84% | 3.204% | 3.028% | 99/00 | 1.6201 |  | 1.559 | 99/00 | 1.7098 |  |  |  |  | 1.681 | 2000
2003 | 141.3 | 141.3 | 142.1 | 142.8 | 3.441% | 2.689% | 2.599% | 2.366% | 00/01 | 1.5273 |  | 1.5166 | 00/01 | 1.6634 |  |  |  |  | 1.586 | 2001
2004 | 144.1 | 144.8 | 145.4 | 146.5 | 1.982% | 2.477% | 2.322% | 2.591% | 01/02 | 1.4897 |  | 1.4309 | 01/02 | 1.5694 |  |  |  |  | 1.5407 | 2002
2005 | 147.5 | 148.4 | 149.8 | 150.6 | 2.359% | 2.486% | 3.026% | 2.799% | 02/03 | 1.4435 |  | 1.3901 | 02/03 | 1.5246 |  |  |  |  | 1.4895 | 2003
2006 | 151.9 | 154.3 | 155.7 | 155.5 | 2.983% | 3.976% | 3.939% | 3.254% | 03/04 | 1.4069 |  | 1.3438 | 03/04 | 1.4738 |  |  |  |  | 1.4606 | 2004
2007 | 155.6 | 157.5 | 158.6 | 160.1 | 2.436% | 2.074% | 1.863% | 2.958% | 04/05 | 1.375 |  | 1.3177 | 04/05 | 1.4452 |  |  |  |  | 1.4269 | 2005
2008 | 162.2 | 164.6 | 166.5 | 166 | 4.242% | 4.508% | 4.981% | 3.685% | 05/06 | 1.3346 |  | 1.2873 | 05/06 | 1.4119 |  |  |  |  | 1.3856 | 2006
2009 | 166.2 | 167 | 168.6 | 169.5 | 2.466% | 1.458% | 1.261% | 2.108% | 06/07 | 1.284 |  | 1.25 | 06/07 | 1.371 |  |  |  |  | 1.3526 | 2007
2010 | 171 | 172.1 | 173.3 | 174 | 2.888% | 3.054% | 2.788% | 2.655% | 07/08 | 1.2605 |  | 1.2203 | 07/08 | 1.3384 |  |  |  |  | 1.2976 | 2008
2011 | 176.7 | 178.3 | 179.4 | 179.4 | 3.333% | 3.603% | 3.52% | 3.103% | 08/09 | 1.2007 |  | 1.1707 | 08/09 | 1.2839 |  |  |  |  | 1.2663 | 2009
2012 | 179.5 | 180.4 |  |  | 1.585% | 1.178% |  |  | 09/10 | 1.1858 |  | 1.1425 | 09/10 | 1.253 |  |  |  |  | 1.2308 | 2010 | eg use for June 2010 to June 2020
New CPI Index below: | [8 empty] | 10/11 | 1.1536 |  | 1.1104 | 10/11 | 1.2179 |  |  |  |  | 1.1911 | 2011
2011 | 98.3 | 99.2 | 99.8 | 99.8 |  |  |  |  | 11/12 | 1.1144 |  | 1.0746 | 11/12 | 1.1786 |  |  |  |  | 1.1725 | 2012
2012 | 99.9 | 100.4 | 101.8 | 102 | 1.628% | 1.21% | 2.004% | 2.204% | 12/13 | 1.0925 |  | 1.0618 | 12/13 | 1.1645 |  |  |  |  | 1.1439 | 2013
2013 | 102.4 | 102.8 | 104 | 104.8 | 2.503% | 2.39% | 2.161% | 2.745% | 13/14 | 1.0694 |  | 1.037 | 13/14 | 1.1373 | use to escalate $20XX Dec to June $2020 |  |  |  | 1.1113 | 2014
2014 | 105.4 | 105.9 | 106.4 | 106.6 | 2.93% | 3.016% | 2.308% | 1.718% | 14/15 | 1.0453 | 1.091 | 1.0066 | 14/15 | 1.104 |  |  |  |  | 1.0968 | 2015 | eg use for June 2015 to June 2020 | 1.0385 | $June 2015 to $Dec 2017
2015 | 106.8 | 107.5 | 108 | 108.4 | 1.328% | 1.511% | 1.504% | 1.689% | 15/16 | 1.0298 | 1.0748 | 0.99163 | 15/16 | 1.0876 |  |  |  |  | 1.0785 | 2016
2016 | 108.2 | 108.6 | 109.4 | 110 | 1.311% | 1.023% | 1.296% | 1.476% | 16/17 | 1.0193 | 1.0639 | 0.98158 | 16/17 | 1.0766 |  |  |  |  | 1.0629 | 2017
2017 | 110.5 | 110.7 | 111.4 | 112.1 | 2.126% | 1.934% | 1.828% | 1.909% | 17/18 | 1 | 1.0437 | 0.96296 | 17/18 | 1.0561 |  | 1 |  |  | 1.043 | 2018
2018 | 112.6 | 113 |  | 114.342 | 1.9% | 2.078% |  | 2% | 18/19 | 0.97965 | 1.0225 | 0.94336 | 18/19 | 1.0346 |  | 1.0208 |  |  | 1.0225 | 2019
2019 |  | 115.5425 |  | 116.9147 |  | 2.25% |  | 2.25% | 19/20 | 0.95809 | 1 | 0.9226 | 19/20 | 1.0119 |  | 1.0437 |  |  | 1 | 2020
2020 |  | 117.9111 |  | 119.5453 | [11 empty] | 1.0698 | 2.5% | assumed future CPI
2021 | [15 empty] | 1.0966
2022 | Note - Forecast CPI shaded Orange | [7 empty] | *** Values escalated from Regulatory Year Nominal (Ie average $December expenditure) | [6 empty] | 1.124
2023 | [8 empty] | to December 2017 Dollars, using 3 or 6 month lagged CPI, as used historically by the AER | [6 empty] | 1.1521
2024 | Note - escalated from December dollars of each year up to 31 December 2013 | [14 empty] | 1.1809
2025 | Dec 2013 used as the mid point of the 2013/14 year. | [14 empty] | 1.2104
2026 | Uses 3 month lag to 2015 & 6 month lag from 2016, consistent with | [14 empty] | 1.2407
2027 | AER methodology | [14 empty] | 1.2717
2028 | [15 empty] | 1.3035
2029 | Forecast as Per RBA Stmt on Monetary Policy Nov 2017. | [14 empty] | 1.3361
2030 | [15 empty] | 1.3695
2031 | [15 empty] | 1.4037
2032 | [15 empty] | 1.4388
2033 | [15 empty] | 1.4748
2034 | [15 empty] | 1.5117
2035 | [15 empty] | 1.5494
2036 | [15 empty] | 1.5882
2037 | [15 empty] | 1.6279
2038 | [15 empty] | 1.6686
2039 | [15 empty] | 1.7103
2040 | [15 empty] | 1.7531
2041 | [15 empty] | 1.7969
2042 | [15 empty] | 1.8418
2043 | [15 empty] | 1.8878
2044 | [15 empty] | 1.935
2045 | [15 empty] | 1.9834
2046 | [15 empty] | 2.033
2047 | [15 empty] | 2.0838
2048 | [15 empty] | 2.1359
2049 | [15 empty] | 2.1893
2050
Note on L33: D.Craig: 3 month CPI lag used until 2014/15
Note on R33: D.Craig: 3 month CPI lag used until 2014/15
Note on AE33: D.Craig: Usiing AER 6 month lag, Dec 2014 to June 2017 CPI index
Note on L34: D.Craig: 6 month CPI lag used from 2015/16
Note on R34: D.Craig: 6 month CPI lag used from 2015/16
Note on E37: Craig: Forecast latest RBA Stmt on Monetary Policy - see note