## STPISP
Service Target Performance Incentive Scheme Parameters
Instructions:
TNSPs are required to list all appropriate parameters for the revenue reset period, grouped under the relevant subheading.
TNSPs must list the relevant unit for each parameter, what weighting that sub-parameters is given and the targets for the reset period.
Targets must be provided for each year of the revenue reset period. Proposed caps and collars for those targets should also be included.
These should be included in the format X / Y / Z, where X is the collar, Y is the target and Z is the cap.
Measure | Unit | Weighting Factor(%) | Proposed Targets
|  |  | Year 1 | Year 2 | Year 3
Average Circuit Outage Rate
Line outage - fault | average circuit outage rate (%) | 0.2 | 43.9 / 25.9 / 7.9 | 43.9 / 25.9 / 7.9 | 43.9 / 25.9 / 7.9
Transformer outage - fault | average circuit outage rate (%) | 0.2 | 33.1 / 16.1 / 7.6 | 33.1 / 16.1 / 7.6 | 33.1 / 16.1 / 7.6
Reactive plant - fault | average circuit outage rate (%) | 0.1 | 45.3 / 32.5 / 19.7 | 45.3 / 32.5 / 19.7 | 45.3 / 32.5 / 19.7
Line outage - forced outage | average circuit outage rate (%) | 0 | 18.3 / 14.9 / 11.5 | 18.3 / 14.9 / 11.5 | 18.3 / 14.9 / 11.5
Tranformer outage - forced outage | average circuit outage rate (%) | 0 | 18.8 / 12.0 / 5.2 | 18.8 / 12.0 / 5.2 | 18.8 / 12.0 / 5.2
Reactive plant - forced outage | average circuit outage rate (%) | 0 | 30.0 / 14.8 / 7.2 | 30.0 / 14.8 / 7.2 | 30.0 / 14.8 / 7.2
Loss of Supply Parameter
> (0.05) system minutes | number of events per annum | 0.15 | 7 / 3 / 1 | 7 / 3 / 1 | 7 / 3 / 1
> (0.30) system minutes | number of events per annum | 0.15 | 3 / 1 / 0 | 3 / 1 / 0 | 3 / 1 / 0
Average Outage Duration
Average outage duration | minutes | 0.2 | 293.9 / 98.0 / 0.0 | 293.9 / 98.0 / 0.0 | 293.9 / 98.0 / 0.0
Proper Operation of Protection and Control Equipment
Failure of protection system | number of events | 0 | n/a | n/a | n/a
Material failure of the SCADA system | number of events | 0 | 3 / 1 / 0 | 3 / 1 / 0 | 3 / 1 / 0
Incorrect operational isolattion of primary and secondary equipment | number of events | 0 | n/a | n/a | n/a

## EBSS
Efficiency Benefit Sharing Scheme Parameters
Instructions for how to fill in templates
This template allows for a carry forward of efficiency losses or gains over the regulatory period.
TNSPs must fill out the Target and Actual sections for years -6 to -1 with their unadjusted forecast (target) and historic (actual) operational expenditure amounts. If this is the first revenue reset application to which the scheme has applied, years -6 and -5 are not required.
Years -4 to 0 refer to the existing revenue cap, where years 1 to 5 refer to the period covered by the revenue reset application.
All cells other than those requiring inputs have been protected to prevent accidental deletion. If you wish to remove the protection click on Tools: Protection: Unprotect Sheet…
Except where noted, figures are real terms (in year -1 dollars). The inflation rate used to convert nominal forecasts to real terms must be the forecast inflation rate from the relevant revenue determination. The inflation rate used to convert nominal actuals to real terms must be the actual CPI inflation rate.
|  | 8/9 | 9/10 | 10/11 | 11/12 | 12/13 | 13-14
Year | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6
Forecast Inflation Rate |  | 2.59% | 2.59% | 2.59% | 2.59% | 2.59% | 2.59%
Forecast Inflation Cumulative Index |  | 0.87998 | 0.90278 | 0.92616 | 0.95015 | 0.97475 | 1
Actual CPI Inflation Rate |  | 3.685% | 2.108% | 2.655% | 3.103% | 2.2% | 2.5%
Actual CPI |  | 0.87321 | 0.90539 | 0.92448 | 0.94902 | 0.97847 | 1
Target (nominal) |  | 67563.366 | 70463.281 | 74191.881 | 76980.048 | 80465.987 | 83349.929
Target (real) |  | 76777.935 | 78051.8104 | 80107.1851 | 81019.2535 | 82550.0561 | 83349.929
Adjustments to Target*
None proposed
Adjusted Target (real) |  | 76777.935 | 78051.8104 | 80107.1851 | 81019.2535 | 82550.0561 | 83349.929
Actual (nominal) |  | 73719 | 76073 | 70208 | 68228 | 73563.1 | 74223.6955
Actual (real) |  | 84423.1277 | 84022.5368 | 75943.4344 | 71893.0199 | 75181.4882 | 74223.6955
Adjustments to Actual*
None proposed
Adjusted Actual (real) |  | 84423.1277 | 84022.5368 | 75943.4344 | 71893.0199 | 75181.4882 | 74223.6955
Incremental Gain (real) |  | -7645.1928 | 1674.4663 | 10134.4772 | 4962.4828 | -1757.6657 | 1757.6657
Carryover^
Year -5 |  |  | -7645.1928 | -7645.1928 | -7645.1928 | -7645.1928 | -7645.1928 | -7645.1928
Year -4 |  |  |  | 1674.4663 | 1674.4663 | 1674.4663 | 1674.4663 | 1674.4663 | 1674.4663
Year -3 |  |  |  |  | 10134.4772 | 10134.4772 | 10134.4772 | 10134.4772 | 10134.4772 | 10134.4772
Year -2 | [5 empty] | 4962.4828 | 4962.4828 | 4962.4828 | 4962.4828 | 9592.0964 | 4962.4828
Year -1 | [6 empty] | -1757.6657 | -1757.6657 | -1757.6657 | -4927.2077 | -1757.6657 | -1757.6657
Year -0 | [7 empty] | 1757.6657 | 1757.6657 | 6354.3703 | 1757.6657 | 1757.6657 | 1757.6657
Total Carryover Amount (real) | [7 empty] | 9126.2335 | 16771.4263 | 21153.7362
* Additional rows may be added as necessary
# Other adjustments are subject to approval by the AER. Adjustments must relate to cost categories approved by the AER to be excluded from the scheme in a relevant revenue determination. See clause 2.3 of the Efficiency Benefit Sharing Scheme guideline.
^ Raw efficiency gains are calculated as per the formulae below. For the purposes of calculating the carry-over amount, the adjusted target and adjusted actual amounts are to be used.
For the first application of the scheme, the efficiency carry forward amount for the first year of the regulatory period is expressed mathematically as:
E-4 = F-4 – A-4
where A-4 is the actual operating cost for year -4 and F-4 is the regulatory target operating cost for that year.
For subsequent applications of the scheme, the efficiency carry forward amount for the first year of the regulatory period is expressed mathematically as:
E-4 = (F-4 – A-4) – (F-5 – A-5) + (F-6 – A-6)
In this spreadsheet this formula appears in cell D38. Note that for the first application of the scheme the amounts corresponding to F-5, A-5, F-6 and A-6 in this formula will be zero.
For savings that arose in the second to fifth year of the regulatory period, the efficiency carry forward amount is calculated as:
Et = (Ft – At) – (Ft-1 – At-1)
|  |  | where: | Et is the efficiency benefit/loss in year t;
At, At-1 is the actual operating cost for the years t and t-1 respectively; and
Ft, Ft-1 is the forecast operating cost for the years t and t-1 respectively
Note on H29: Have adjusted as is consistent with the first proposed scheme
Note on H38: This value does not equal zero. This is consistent with the first proposed version of the EBSS
Note on K44: Charlotte Coster: have added the NPV of carryover that would accrue outside of the regulatory period

## Dep. Sched
Depreciation
This template may be used in revenue proposals. The asset classes are examples only.
Inputs for Post-Tax Revenue Model
Forecast Net Capex as Commissioned ($M Real 203-14)
Asset Class | Opening Asset Value as commissioned* | Ave Lives Remaining | Standard Lives | Yr1 | Yr2 | Yr3
Secondary | 144.8969 | 8.8576 | 15 | 17.2052 | 26.1303 | 29.9513
Switchgear | 498.4901 | 29.7439 | 45 | 31.5657 | 53.1551 | 52.3034
Transformers | 210.5055 | 26.3818 | 45 | 16.302 | 32.8266 | 45.6563
Reactive | 75.2956 | 17.2811 | 40 | 2.7123 | 1.3871 | 1.2973
Towers and Conductor | 1076.7386 | 26.9028 | 60 | 18.2001 | 20.3965 | 21.4584
Establishment | 147.6693 | 33.5568 | 45 | 11.746 | 15.3107 | 13.9754
Communications | 21.5787 | 11.7718 | 15 | 13.6327 | 13.1409 | 15.607
Inventory | 8.1014 | n/a | n/a | 0 | 0 | 0
IT | 75.0492 | 3.536 | 5 | 20.3489 | 14.2863 | 13.2183
Vehicles | 5.7469 | 5.8997 | 7 | 1.8407 | 1.8394 | 1.2684
Other | 19.1349 | 6.6127 | 10 | 2.9259 | 3.007 | 3.0705
Premises | 2.7265 | 6.1138 | 10 | 0.21621 | 0.21902 | 0.2214
Land | 111.0277 | n/a | n/a | 0 | 0 | 0
Easements | 127.9224 | n/a | n/a | 0 | 0 | 0
Total | 2524.8836 |  |  | 136.6957 | 181.699 | 198.0278
*Note: SP AusNet submitted its own depreciation schedule with the PTRM, rather than using PTRM approach.
Opening Asset Value as commissioned doesn't include Group 3 assets in this table
Based on these inputs, the PTRM will calculate the amount of economic depreciation annually. These amounts will then be entered into the depreciation schedule below.
Depreciation Schedule
Asset Class |  | Yr1 | Yr2 | Yr3 | Total*
Secondary |  | 16.9916 | 18.1645 | 19.9459 | 55.102
Switchgear |  | 27.3039 | 28.0213 | 29.2292 | 84.5544
Transformers |  | 18.2954 | 18.6658 | 19.4118 | 56.373
Reactive |  | 5.1634 | 5.2328 | 5.2682 | 15.6644
Towers and Conductor |  | 44.5821 | 44.8923 | 45.24 | 134.7144
Establishment |  | 5.9505 | 6.2174 | 6.5653 | 18.7332
Communications |  | 3.6403 | 4.5697 | 5.4656 | 13.6756
Inventory |  | 0 | 0 | 0 | 0
IT |  | 15.4667 | 16.2145 | 16.7569 | 48.4381
Vehicles |  | 0.97388 | 1.0169 | 1.2043 | 3.1952
Other |  | 2.4856 | 2.313 | 2.2856 | 7.0842
Premises |  | 1.101 | 1.0383 | 0.28712 | 2.4264
Land |  | 0 | 0 | 0 | 0
Easements |  | 0 | 0 | 0 | 0
Total Real Straight-Line Depreciation |  | 141.9544 | 146.3465 | 151.66 | 439.9609
*Note: Total calculated depreciation include depreciation of Group 3 assets
Real straight line depreciation, asset values in $m real 2013/14
Location of assets
- see network map and forecast capex claim of TNSP.
NER requirements
- as per cl 6A.6.3 and Schedule 6A.1.3(7) of NER.

## WACC
7.1 Weighted Average Cost of Capital
Setting the Revenue Cap Forecast - Rate of Return ("WACC")
Notes for the preparation of information on this proforma:
1. | The proforma sets out the minimum inputs required by the AER to model a TNSP's estimate of WACC.
2. | The minimum inputs set out in the proforma are averages for the five-year regulatory period.
3. | A post-tax nominal WACC framework involves the use of a cash flow modelling approach to derive the revenue requirement.
4. | A TNSP shall provide to the AER:
| (a) | an estimate of its post-tax nominal return on equity; post-tax nominal WACC; and pre-tax real WACC.
| (b) | the assumptions underlying the estimation.
| (c) | full and detailed explanations of the basis of any calculations.
| (d) | references to any sources of information or precedents.
Setting the Revenue Cap Forecast - Rate of Return ("WACC")
TNSP: |  |  | Reporting date:
Proposed value
%
|  | Nominal risk free rate | 3.14%
|  | Real risk free rate | 0.6244%
|  | Inflation Rate | 2.5%
|  | Proportion of debt funding | 60%
|  | Nominal pre-tax cost of debt | 6.42%
|  | Cost of debt margin over the risk free rate | 3.28%
|  | Market risk premium | 6.5%
|  | Corporate tax rate | 30%
|  | Effective tax rate for equity | 21.07%
|  | Proportion of franking credits attributed to shareholders | 65%
|  | Equity beta | 0.8
|  | Post-tax nominal return on equity | 8.34%
|  | Nominal vanilla WACC | 7.188%