## RIN
Qualitative reset RIN—non-network alternatives
Actual and estimated/forecast |  |  | CY | CY | CY | CY | FY | FY | FY | FY | FY | FY | FY
Year | Description / location |  | 2016 | 2017 | 2018 | 2019 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
Lower Mornington Peninsula demand management program | Non-network solution to defer augmentation in the lower Mornington Peninsula. Currently provided via contract with Greensync as described in Lower Mornington Peninsula demand management business case. | Opex | 0 | 168000 | 2368970 | 262763 | 278844 | 295909 | 1137795.2348 | 1172537.074 | 1480641.5245 | 1480641.5245 | 1480641.5245
Summer Saver Program | A voluntary demand response program where customers receive payments for reducing electricity consumption on peak days to address overloaded distribution substations and low-voltage circuits. This program has been run annually since summer 2013/14. In summer 2019/20, it is being implemented across 191 sites in the network. These sites change each year depending on network demand. | Opex | 0 | 59293.56 | 85729 | 396042.16 | 333097 | 345984.4385 | 362442.0457 | 369669.4606 | 380554.1215 | 420609.6735 | 476774.5237
|  | DMIS | 432822 | 288192 | 193118 | 151323 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cranbourne Terminal Station (CBTS) 4th Transformer | A non-network solution to defer the augmentation for the establishment of a new transformer at the Cranbourne Terminal Station to be provided via embedded generation. More detail outlined in the Cranbourne Terminal Station demand management business case | Opex | 2021/22: 368000; 2022/23: 368000; 2023/24: 368000; 2024/25: 368000
HV Feeder Demand Management Program | A program to provide demand management for defering HV feeders augmentation. This is expected to be provided across various locations as outlined in the Feeder demand management program business case. | Opex | 2020/21: 50244.1634; 2021/22: 140105.2937; 2022/23: 221082.9992; 2023/24: 286164.0875; 2024/25: 188537.1656; 2025/26: 95428.2251
Total (opex) |  |  | 0 | 227293.56 | 2454699 | 658805.16 | 611941 | 692137.6018 | 2008342.5742 | 2131289.5338 | 2515359.7335 | 2457788.3636 | 2052844.2733