## Summary
3G replacement - Cost models
Options summary
Description | NPV
Option 1 - Reference case | -55265509.1629
Option 2 - Move to 4G / 5G | -5492333.2574 | Recommended option
Option 3 - Move to another technology | -21516372.7712

## Option 1
Option 1 - Reference case
Expenditure / benefits profile
Year
|  | 2021/2022 | 2022/2023 | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031
Costs |  | 0 | 1550000 | 1550000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 0 | 1550000 | 1550000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Benefits | Reliability |  | -701109.2088 | -2337030.696 | -2337030.696 | -2337030.696 | -2337030.696 | -2337030.696 | -2337030.696 | -2337030.696 | -2337030.696
| Protection device manual reconfig |  | -177000 | -590000 | -590000 | -590000 | -590000 | -590000 | -590000 | -590000 | -590000
| Meter reading |  | -1260000 | -4200000 | -4200000 | -4200000 | -4200000 | -4200000 | -4200000 | -4200000 | -4200000
| Power quality meter reading |  | -45000 | -150000 | -150000 | -150000 | -150000 | -150000 | -150000 | -150000 | -150000
| Total |  | -2183109.2088 | -7277030.696 | -7277030.696 | -7277030.696 | -7277030.696 | -7277030.696 | -7277030.696 | -7277030.696 | -7277030.696
Inputs
WACC | 2.75%
3G switch off profile |  | 0% | 30% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Capital costs
No capital outlay with this options
Benefits
Reliability costs
Value of unserved energy | 2337030.696
Manual reconfiguration costs (opex)
Total yearly cost | -590000
Meter reading costs (opex)
Total yearly cost | -4200000
Power quality meter reading costs (opex)
Total yearly cost | -150000
Capital investment (capex)
Total capital investment | 3100000
Totals
Impact | Cost | Year 2021/2022: Benefit
Reliability | - | Year 2021/2022: -16818238.2014
Protection device manual reconfiguration | - | Year 2021/2022: -4245883.7001
Meter reading | - | Year 2021/2022: -30224934.8145
Power quality meter reading | - | Year 2021/2022: -1079461.9577
Capital investment | 2896990.4891 | bar: Year 2021/2022
Net benefits |  | Year 2021/2022: -55265509.1629

## Option 2
Option 2 - Move to 4G / 5G
Expenditure / benefits profile
Year
|  | 2021/2022 | 2022/2023 | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031
Costs | AMI comms replacement | 1707173.7571 | 1707173.7571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SCADA and PQM comms replacement | Year 2021/2022: 1152784.4; Year 2022/2023: 1152784.4
| Total | 2859958.1571 | 2859958.1571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Benefits |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inputs
WACC | 2.75%
3G switch off profile |  | 0% | 30% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Capital costs
Unit quantities
Device | Number
Number of 3G SCADA device modems deployed | 500
Number of power quality metering device modems deployed | 62
Number of 3G AMI access points deployed | 306
Number of 3G AMI micro access points deployed | 34
Unit costs for SCADA replacement
Item | Cost
Materials | 2490.4
Head end communication analyst | 200
Field time | 1507
Project management time | 65
Total unit cost | 4262.4
Total SCADA costs | 2131200
Unit costs for power quality modem replacement
Item | Cost
Materials | 1460.4
Head end communication analyst | 0
Field time | 1287
Project management time | 65
Total unit cost | 2812.4
Total SCADA costs | 174368.8
Unit costs for AMI access point replacement
Item | Cost
Materials | 9604.2857
Head end communication analyst | 523
Field time | 929
Total unit cost | 11056.2857
3383223.4286
Unit costs for AMI micro access point replacement
Item | Cost
Materials | 520.4143
Head end communication analyst | 0
Field time | 395
Total unit cost | 915.4143
31124.0857
Replacement of SCADA and power quality metering communications | 2305568.8
Replacement of AMI communications | 3414347.5143
Total program costs | 5719916.3143
Benefits
This option maintains current reliability level
Totals
Expenditure forecast | 2021 | Year 2021/2022: 2022; Year 2022/2023: 2023; Year 2023/2024: 2024; Year 2024/2025: 2025; Year 2025/2026: Total
Capital expenditure | 2859958.1571 | Year 2021/2022: 2859958.1571; Year 2022/2023: 0; Year 2023/2024: 0; Year 2024/2025: 0; Year 2025/2026: 5719916.3143
Impact | Cost | Year 2021/2022: Benefit
Reliability | 0 | Year 2021/2022: 0
Protection device manual reconfiguration | 0 | Year 2021/2022: 0
Meter reading | 0 | Year 2021/2022: 0
Capital investment | 5492333.2574 | Year 2021/2022: 0
Net benefits |  | Year 2021/2022: -5492333.2574

## Option 3
Option 3 - Move to another technology
Expenditure / benefits profile
Year
|  | 2021/2022 | 2022/2023 | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031
Costs | AMI comms replacement | 4257173.7571 | 4257173.7571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SCADA and PQM comms replacement | 5367784.4 | 5367784.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NBN opex | 0 | 129888 | 432960 | 432960 | 432960 | 432960 | 432960 | 432960 | 432960 | 432960
| Total | 9624958.1571 | 9754846.1571 | 432960 | 432960 | 432960 | 432960 | 432960 | 432960 | 432960 | 432960
Benefits |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inputs
WACC | 2.75%
3G switch off profile |  | 0% | 30% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Capital costs
Unit quantities
Device | Number
Number of 3G SCADA device modems deployed | 500
Number of power quality metering device modems deployed | 62
Number of 3G AMI access points deployed | 306
Number of 3G AMI access points deployed | 34
Unit costs for SCADA replacement
Item | Cost
Materials | 2490.4
NBN media provisioning cost | 15000
Head end communication analyst | 200
Field time | 1507
Project management time | 65
Total unit cost | 19262.4
Total SCADA costs | 9631200
Unit costs for power quality modem replacement
Item | Cost
Materials | 1460.4
NBN media provisioning cost | 15000
Head end communication analyst | 0
Field time | 1287
Project management time | 65
Total unit cost | 17812.4
Total SCADA costs | 1104368.8
Unit costs for AMI access point replacement
Item | Cost
Materials | 9604.2857
NBN media provisioning cost | 15000
Head end communication analyst | 523
Field time | 929
Total unit cost | 26056.2857
7973223.4286
Unit costs for AMI micro access point replacement
Item | Cost
Materials | 520.4143
NBN media provisioning cost | 15000
Head end communication analyst | 0
Field time | 395
Total unit cost | 15915.4143
541124.0857
Replacement of SCADA and power quality metering communications | 10735568.8
Replacement of AMI communications | 8514347.5143
Total program costs | 19249916.3143
Operational costs
NBN costs (opex)
Item | Cost
Monthly charges (in excess of what is paid for 3G/4G) | 40
Total monthly unit cost | 40
Total yearly opex cost | 432960
Benefits
This option maintains current reliability level
Total
Expenditure forecast | 2021 | Year 2021/2022: 2022; Year 2022/2023: 2023; Year 2023/2024: 2024; Year 2024/2025: 2025; Year 2025/2026: Total
Capital expenditure | 9624958.1571 | Year 2021/2022: 9754846.1571; Year 2022/2023: 432960; Year 2023/2024: 432960; Year 2024/2025: 432960; Year 2025/2026: 20678684.3143
Impact | Cost | Year 2021/2022: Benefit
Reliability | 0 | Year 2021/2022: 0
Protection device manual reconfiguration | 0 | Year 2021/2022: 0
Meter reading | 0 | Year 2021/2022: 0
Capital investment | 21516372.7712 | Year 2021/2022: 0
Net benefits |  | Year 2021/2022: -21516372.7712