## TS Energy
Terminal Station Energy
Energy GWH
| Cranbourne 66KV (CBTS) | East Rowville 66KV (ERT) | Frankston 66KV (FTS) | Heatherton 66KV (HTS) | Malvern 22KV (MT2) | Malvern 66KV (MT6) | Richmond 66KV (RT6) | Ringwood 22KV (RW2) | Ringwood 66KV (RW6) | Springvale 66KV (SVT6) | Templestowe 66KV (TST) | Tyabb 66KV (TBT) | UED Total TS
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
base scenario
2005 | 0 | 1311.9 | 166.03 | 1596.1 | 292.95 | 438.07 | 234.67 | 149.73 | 399.42 | 1738.5 | 464.76 | 1002.23 | 7794.4
2006 | 393.71 | 1371.8 | 5.03 | 1417.5 | 262.73 | 505.18 | 248.66 | 150.97 | 421.63 | 1780.4 | 480 | 1028.18 | 8065.7
2007 | 483.25 | 1408.7 | 0 | 1320.1 | 239.38 | 523.38 | 250.91 | 137.05 | 481.76 | 1791.2 | 459.38 | 1034.99 | 8130.1
2008 | 483.1 | 1479.5 | 0 | 1325.9 | 190.15 | 566.48 | 255.96 | 132.28 | 485.24 | 1910.4 | 451.82 | 1065 | 8345.8
2009 | 487.5 | 1439.9 | 0 | 1300.1 | 148.08 | 629.41 | 253.04 | 126.54 | 494.42 | 1887.7 | 468.63 | 1081.34 | 8316.7
2010 | 584.07 | 1483.1 | 0 | 1319.8 | 147.23 | 645.78 | 257.08 | 127.15 | 481.24 | 1916.6 | 479.19 | 1028.11 | 8469.3
2011 | 648.76 | 1481.5 | 0 | 1297.8 | 133.44 | 646.36 | 263.75 | 126.89 | 469.77 | 1888.3 | 466.14 | 981.93 | 8404.6
2012 | 633.46 | 1464.9 | 0 | 1270.3 | 136.57 | 642.85 | 245.48 | 125.26 | 462.05 | 1869.9 | 456.47 | 980.35 | 8287.6
2013 | 646.78 | 1496.3 | 0 | 1271.2 | 145.41 | 631.43 | 245.43 | 124.32 | 460.73 | 1790.7 | 454.63 | 966.67 | 8233.6
2014 | 629.59 | 1460.1 | 0 | 1217.9 | 138 | 597.43 | 249.15 | 120.3 | 446.84 | 1763.4 | 440.84 | 950.06 | 8013.6
2015 | 641.24 | 1435.1 | 0 | 1236.1 | 125.08 | 593.02 | 237.23 | 116.62 | 441.68 | 1718.9 | 439.98 | 936.63 | 7921.6
2016 | 647.03 | 1452.4 | 0 | 1298.7 | 130.09 | 591.71 | 239.25 | 124.63 | 439.72 | 1701 | 445.22 | 950.78 | 8020.6
2017 | 651.24 | 1403.4 | 0 | 1297 | 136.97 | 598.93 | 225.32 | 119 | 425.58 | 1677.5 | 445 | 950.45 | 7930.3
2018 | 666.31 | 1419.9 | 0 | 1303.5 | 139.73 | 603.57 | 228.52 | 120.64 | 426.37 | 1688 | 448.51 | 958.18 | 8003.3
2019 | 681.01 | 1439.1 | 0 | 1310.1 | 141.99 | 607.66 | 230.63 | 121.64 | 426.67 | 1694.8 | 449.34 | 962.49 | 8065.5
2020 | 693.17 | 1452.9 | 0 | 1312.6 | 144.23 | 609.22 | 231.9 | 122.27 | 425.74 | 1697.2 | 448.78 | 964.5 | 8102.6
2021 | 704.55 | 1466.4 | 0 | 1314.6 | 146.23 | 610.26 | 232.43 | 122.46 | 424.12 | 1696.7 | 446.47 | 964.71 | 8129
2022 | 715.81 | 1478.1 | 0 | 1315.7 | 148.68 | 611.36 | 233.64 | 123.03 | 422.41 | 1697.1 | 445.28 | 967.33 | 8158.4
2023 | 726.39 | 1486.1 | 0 | 1314.7 | 151.38 | 612.06 | 235.52 | 124.03 | 420.56 | 1698.6 | 445.61 | 972.77 | 8187.7
2024 | 739.57 | 1499.5 | 0 | 1317.9 | 154.28 | 615.3 | 238.17 | 125.3 | 419.59 | 1703.4 | 446.85 | 979.65 | 8239.5
2025 | 756.72 | 1522.7 | 0 | 1327.3 | 157.1 | 621.39 | 241.28 | 126.72 | 420.4 | 1713.3 | 448.5 | 987.09 | 8322.5
2026 | 772.26 | 1543.3 | 0 | 1335 | 159.9 | 626.73 | 244.39 | 128.03 | 420.11 | 1719.4 | 449.49 | 993.3 | 8391.9
2027 | 789.45 | 1567.6 | 0 | 1346.3 | 163.21 | 633.57 | 248.1 | 129.61 | 420.61 | 1729 | 451.28 | 1001.62 | 8480.3
2028 | 805.54 | 1589.8 | 0 | 1355.2 | 166.37 | 639.4 | 251.4 | 130.98 | 420.29 | 1735.5 | 452.13 | 1008.36 | 8555
2029 | 821.03 | 1610.6 | 0 | 1362.8 | 169.51 | 644.69 | 254.51 | 132.21 | 419.44 | 1740.2 | 452.37 | 1014.27 | 8621.6
2030 | 834.61 | 1627.5 | 0 | 1367.1 | 172.28 | 648.6 | 257.2 | 133.17 | 417.36 | 1740.3 | 451.6 | 1017.88 | 8667.6
high scenario
2019 | 696.98 | 1465.9 | 0 | 1339.1 | 145.34 | 622.43 | 237.29 | 124.52 | 431.95 | 1717.9 | 460.63 | 980.2 | 8222.3
2020 | 715.29 | 1487.1 | 0 | 1350.6 | 148.87 | 629.82 | 241.22 | 126.24 | 431.94 | 1725.6 | 464.31 | 988.1 | 8309
2021 | 733.21 | 1508 | 0 | 1360.3 | 152.19 | 636.01 | 244.38 | 127.54 | 431.52 | 1731.1 | 466.46 | 994.5 | 8385.3
2022 | 752.21 | 1531.2 | 0 | 1371.2 | 155.86 | 643.3 | 248.38 | 129.2 | 431.2 | 1737.9 | 469.39 | 1003.3 | 8473.1
2023 | 770.87 | 1552.1 | 0 | 1380.9 | 159.53 | 650.3 | 252.9 | 131.16 | 430.8 | 1745.3 | 473.29 | 1014.1 | 8561.2
2024 | 789.43 | 1571 | 0 | 1390.6 | 163.46 | 657.9 | 257.95 | 133.33 | 429.86 | 1751.3 | 477.76 | 1025 | 8647.6
2025 | 813.08 | 1603.2 | 0 | 1408.6 | 167.36 | 669.57 | 263.6 | 135.62 | 430.99 | 1763.4 | 482.42 | 1037.7 | 8775.5
2026 | 836.56 | 1634.3 | 0 | 1425.8 | 171.3 | 680.72 | 269.33 | 137.93 | 431.69 | 1773.8 | 486.87 | 1049.7 | 8898.1
2027 | 861.44 | 1667.8 | 0 | 1445.3 | 175.64 | 692.96 | 275.52 | 140.42 | 432.72 | 1785.8 | 491.73 | 1063 | 9032.4
2028 | 880.24 | 1689.3 | 0 | 1454.1 | 178.8 | 700.19 | 279.69 | 141.85 | 430.34 | 1783.9 | 492.66 | 1068.4 | 9099.3
2029 | 902.07 | 1716.3 | 0 | 1467.8 | 182.6 | 709.59 | 284.74 | 143.68 | 429.06 | 1786.8 | 494.83 | 1076.8 | 9194.3
2030 | 921.29 | 1738.2 | 0 | 1477.5 | 185.89 | 716.97 | 289.13 | 145.13 | 426.21 | 1783.6 | 495.52 | 1082 | 9261.4
low scenario
2019 | 671.92 | 1425.9 | 0 | 1292.7 | 139.11 | 596.37 | 225.29 | 119.48 | 423.39 | 1682.4 | 441.46 | 948.73 | 7966.7
2020 | 679.25 | 1432.2 | 0 | 1286.6 | 139.98 | 592.29 | 223.92 | 119.11 | 420.78 | 1679 | 437.38 | 944.38 | 7954.9
2021 | 685.9 | 1438.8 | 0 | 1280 | 140.5 | 587.62 | 221.74 | 118.26 | 417.52 | 1672.7 | 431.53 | 937.77 | 7932.4
2022 | 692.91 | 1445.1 | 0 | 1273.8 | 141.53 | 584.06 | 220.43 | 117.86 | 414.59 | 1668.9 | 427.11 | 934.41 | 7920.6
2023 | 699.16 | 1448.2 | 0 | 1266.3 | 142.78 | 580.78 | 219.77 | 117.81 | 411.4 | 1665.4 | 423.95 | 933.15 | 7908.6
2024 | 708.1 | 1456.7 | 0 | 1262.8 | 144.59 | 579.73 | 220.25 | 118.3 | 409.58 | 1667.7 | 422.68 | 935.35 | 7925.8
2025 | 720.17 | 1472.8 | 0 | 1264.3 | 146.63 | 580.45 | 221.36 | 118.94 | 408.75 | 1673 | 421.93 | 937.44 | 7965.8
2026 | 731.67 | 1488.1 | 0 | 1265.7 | 148.67 | 580.94 | 222.44 | 119.52 | 407.43 | 1676.7 | 420.87 | 938.48 | 8000.5
2027 | 743.9 | 1504.9 | 0 | 1269.5 | 151.01 | 582.36 | 223.8 | 120.24 | 406.5 | 1682.2 | 420.18 | 940.77 | 8045.3
2028 | 754.97 | 1519.4 | 0 | 1270.8 | 153.19 | 582.74 | 224.74 | 120.75 | 404.79 | 1685.1 | 418.63 | 941.56 | 8076.6
2029 | 765.6 | 1533.3 | 0 | 1270.5 | 155.39 | 582.7 | 225.55 | 121.17 | 402.75 | 1687.2 | 416.73 | 942.02 | 8102.8
2030 | 777.92 | 1550.7 | 0 | 1272.8 | 157.99 | 584 | 227.02 | 121.91 | 401.43 | 1693 | 415.88 | 944.71 | 8147.3

## Total UED MD's
Total UED Peaks |  |  |  | winter further across spreadsheet
| Maximum Summer demands | [14 empty] | winter maximum demands
| Base | 10th percentile |  | 50th percentile |  | 90th percentile |  | 10th percentile | 50th percentile | Diversity factor | [8 empty] | 10th percentile | 50th percentile | Diversity factor
| Load | Temperature sensitive load | Total UED MD | Temperature sensitive load | Total UED MD | Temperature sensitive load | Total UED MD | sum of non-coindent peaks | sum of non-coindent peaks | [7 empty] | 10th percentile | 50th percentile | sum of non-coindent peaks | sum of non-coindent peaks
base scenario | E( 9031) | E( 9081) | E( 9036) | E( 9082) | E( 9037) | E( 9083) | E( 9038) | [8 empty] | base scenario
2005 | 1019 | 552.7 | 1571.7 | 552.7 | 1571.7 | 552.66 | 1571.7 | 0 | 0 | 0 | 0 |  |  |  |  | 2005 | 1412.6 | 1412.6 | 1503.02 | 1503.02 | 1.064 | 1.064
2006 | 1038 | 611.1 | 1649.1 | 611.1 | 1649.1 | 611.11 | 1649.1 | 0 | 0 | 0 | 0 |  |  |  |  | 2006 | 1424.4 | 1424.4 | 1499.29 | 1499.29 | 1.0526 | 1.0526
2007 | 1060 | 689.7 | 1749.7 | 689.7 | 1749.7 | 689.65 | 1749.7 | 0 | 0 | 0 | 0 |  |  |  |  | 2007 | 1542.7 | 1542.7 | 1605 | 1605 | 1.0404 | 1.0404
2008 | 1078 | 839.7 | 1917.7 | 839.7 | 1917.7 | 839.65 | 1917.7 | 0 | 0 | 0 | 0 |  |  |  |  | 2008 | 1459.8 | 1459.8 | 1549.11 | 1549.11 | 1.0612 | 1.0612
2009 | 1089 | 994.8 | 2083.8 | 994.8 | 2083.8 | 994.79 | 2083.8 | 0 | 0 | 0 | 0 |  |  |  |  | 2009 | 1501.3 | 1501.3 | 1571.95 | 1571.95 | 1.0471 | 1.0471
2010 | 1065.4 | 950.6 | 2016.1 | 950.6 | 2016.1 | 950.64 | 2016.1 | 0 | 0 | 0 | 0 |  |  |  |  | 2010 | 1508 | 1508 | 1589.2 | 1589.2 | 1.0538 | 1.0538
2011 | 1062.7 | 899.6 | 1962.4 | 899.6 | 1962.4 | 899.64 | 1962.4 | 0 | 0 | 0 | 0 |  |  |  |  | 2011 | 1519.8 | 1519.8 | 1588.3 | 1588.3 | 1.0451 | 1.0451
2012 | 1053.1 | 646.6 | 1699.7 | 646.6 | 1699.7 | 646.59 | 1699.7 | 0 | 0 | 0 | 0 |  |  |  |  | 2012 | 1488.4 | 1488.4 | 1581.35 | 1581.35 | 1.0624 | 1.0624
2013 | 1038.4 | 943.6 | 1982 | 943.6 | 1982 | 943.6 | 1982 | 0 | 0 | 0 | 0 |  |  |  |  | 2013 | 1462 | 1462 | 1569.38 | 1569.38 | 1.0734 | 1.0734
2014 | 1023.9 | 1042.1 | 2066 | 1042.1 | 2066 | 1042.1 | 2066 | 0 | 0 | 0 | 0 |  |  |  |  | 2014 | 1443 | 1443 | 1550.82 | 1550.82 | 1.0747 | 1.0747
2015 | 1005.7 | 730.7 | 1736.3 | 730.7 | 1736.3 | 730.67 | 1736.3 | 0 | 0 | 0 | 0 |  |  |  |  | 2015 | 1513.7 | 1513.7 | 1574.84 | 1574.84 | 1.0404 | 1.0404
2016 | 995.8 | 967.7 | 1963.5 | 967.7 | 1963.5 | 967.71 | 1963.5 | 2008.7 | 2008.7 | 1.03 | 1.04 |  |  |  |  | 2016 | 1461.8 | 1461.8 | 1546.76 | 1546.76 | 1.0581 | 1.0581
2017 | 1010.1 | 848.4 | 1858.5 | 848.4 | 1858.5 | 848.44 | 1858.5 | 1989.65 | 1989.65 | 1.03 | 1.04 |  |  |  |  | 2017 | 1432.5 | 1432.5 | 1523.36 | 1523.36 | 1.0634 | 1.0634
2018 | 1021 | 890.3 | 1911.3 | 890.3 | 1911.3 | 890.29 | 1911.3 | 2060.15 | 2060.15 | 1.03 | 1.04 |  |  |  |  | 2018 | 1552.3 | 1523.1 | 1620.598 | 1597.719 | 1.044 | 1.049
2019 | 1037.4 | 1397.1 | 2223.5 | 1184 | 2008.8 | 1013.52 | 1821.4 | 2290.148 | 2089.21 | 1.03 | 1.04 |  |  |  |  | 2019 | 1566.4 | 1535.8 | 1635.345 | 1611.067 | 1.044 | 1.049
2020 | 1053.3 | 1426.8 | 2241.9 | 1209.3 | 2012.3 | 1035.23 | 1825 | 2309.195 | 2092.764 | 1.03 | 1.04 |  |  |  |  | 2020 | 1579.1 | 1547.1 | 1648.536 | 1622.868 | 1.044 | 1.049
2021 | 1061.4 | 1456.9 | 2248.4 | 1234.9 | 2017.9 | 1057.26 | 1829.2 | 2315.818 | 2098.65 | 1.03 | 1.04 |  |  |  |  | 2021 | 1586.6 | 1553.3 | 1656.425 | 1629.426 | 1.044 | 1.049
2022 | 1078.9 | 1487.4 | 2258.8 | 1260.9 | 2035 | 1079.64 | 1858.5 | 2326.539 | 2116.393 | 1.03 | 1.04 |  |  |  |  | 2022 | 1591.4 | 1556.9 | 1661.457 | 1633.217 | 1.044 | 1.049
2023 | 1094.5 | 0 | 2292.6 | 1287.3 | 2072.8 | 1102.4 | 1879.4 | 2361.383 | 2155.677 | 1.03 | 1.04 |  |  |  |  | 2023 | 1602.9 | 1567 | 1673.382 | 1643.731 | 1.044 | 1.049
2024 | 1114.3 | 1550.2 | 2306.6 | 1314.3 | 2090.6 | 1125.57 | 1900.4 | 2375.79 | 2174.213 | 1.03 | 1.04 |  |  |  |  | 2024 | 1622 | 1584.6 | 1693.399 | 1662.265 | 1.044 | 1.049
2025 | 1135.2 | 1582.4 | 2355.3 | 1341.7 | 2117.2 | 1149.18 | 1933.3 | 2425.934 | 2201.867 | 1.03 | 1.04 |  |  |  |  | 2025 | 1641.1 | 1602.1 | 1713.308 | 1680.623 | 1.044 | 1.049
2026 | 1155.3 | 1615.3 | 2401 | 1369.7 | 2160.1 | 1173.27 | 1980.5 | 2473.034 | 2246.53 | 1.03 | 1.04 |  |  |  |  | 2026 | 1659.4 | 1618.9 | 1732.43 | 1698.218 | 1.044 | 1.049
2027 | 1172.6 | 1648.9 | 2444.3 | 1398.3 | 2189.5 | 1197.87 | 1992.2 | 2517.625 | 2277.103 | 1.03 | 1.04 |  |  |  |  | 2027 | 1677 | 1635 | 1750.819 | 1715.062 | 1.044 | 1.049
2028 | 1186.3 | 1683.3 | 2462.2 | 1427.6 | 2210.5 | 1223.01 | 2007.3 | 2536.097 | 2298.877 | 1.03 | 1.04 |  |  |  |  | 2028 | 1694 | 1650.3 | 1768.515 | 1731.207 | 1.044 | 1.049
2029 | 1201.8 | 1718.4 | 2481.5 | 1457.5 | 2240.6 | 1248.73 | 2043 | 2555.923 | 2330.251 | 1.03 | 1.04 |  |  |  |  | 2029 | 1712.3 | 1667 | 1787.6 | 1748.721 | 1.044 | 1.049
2030 | 1217.5 | 1754.3 | 2513.3 | 1488.1 | 2253.5 | 1275.06 | 2059.7 | 2588.716 | 2343.599 | 1.03 | 1.04
[14 empty] | 1.185% | 1.12% | high
high scenario | [15 empty] | 2018 | 1580.3 | 1547.6 | 1649.78 | 1623.452 | 1.044 | 1.049
2019 | 1040.5 | 1434.8 | 2259.7 | 1218.3 | 2043 | 1045.15 | 1853.9 | 2327.5 | 2124.713 | 1.03 | 1.04 |  | 101.6% |  |  | 2019 | 1615.7 | 1581.3 | 1686.818 | 1658.785 | 1.044 | 1.049
2020 | 1059.3 | 1467 | 2285.4 | 1245.7 | 2052.2 | 1068.69 | 1862 | 2353.979 | 2134.268 | 1.03 | 1.04 |  | 101.9% |  |  | 2020 | 1648.5 | 1612.4 | 1721.072 | 1691.366 | 1.044 | 1.049
2021 | 1071.5 | 1499.5 | 2300.5 | 1273.4 | 2065.6 | 1092.51 | 1872.6 | 2369.547 | 2148.161 | 1.03 | 1.04 |  | 102.3% |  |  | 2021 | 1679.6 | 1641.6 | 1753.46 | 1722.048 | 1.044 | 1.049
2022 | 1093.4 | 1532.5 | 2321.6 | 1301.5 | 2091.6 | 1116.65 | 1910.2 | 2391.196 | 2175.289 | 1.03 | 1.04 |  | 102.8% |  |  | 2022 | 1709.7 | 1670 | 1784.877 | 1751.788 | 1.044 | 1.049
2023 | 1114.3 | 1565.9 | 2368.7 | 1329.9 | 2140.9 | 1141.14 | 1940.6 | 2439.79 | 2226.546 | 1.03 | 1.04 |  | 103.3% |  |  | 2023 | 1743.1 | 1701.5 | 1819.778 | 1784.92 | 1.044 | 1.049
2024 | 1140.9 | 1599.9 | 2394.9 | 1358.9 | 2169.8 | 1166.01 | 1971.7 | 2466.718 | 2256.57 | 1.03 | 1.04 |  | 103.8% |  |  | 2024 | 1784.1 | 1740.5 | 1862.567 | 1825.805 | 1.044 | 1.049
2025 | 1168.5 | 1634.4 | 2457.6 | 1388.3 | 2208.2 | 1191.29 | 2015.3 | 2531.315 | 2296.48 | 1.03 | 1.04 |  | 104.3% |  |  | 2025 | 1826.1 | 1780.5 | 1906.429 | 1867.725 | 1.044 | 1.049
2026 | 1196.4 | 1669.6 | 2521.2 | 1418.2 | 2266.5 | 1217.03 | 2076.7 | 2596.824 | 2357.164 | 1.03 | 1.04 |  | 105% |  |  | 2026 | 1867.5 | 1819.8 | 1949.631 | 1908.931 | 1.044 | 1.049
2027 | 1222.7 | 1705.4 | 2582.1 | 1448.7 | 2311.7 | 1243.25 | 2102.1 | 2659.585 | 2404.209 | 1.03 | 1.04 |  | 105.6% |  |  | 2027 | 1908.4 | 1858.6 | 1992.362 | 1949.654 | 1.044 | 1.049
2028 | 1245.2 | 1741.9 | 2618.3 | 1479.7 | 2349.1 | 1269.99 | 2132 | 2696.873 | 2443.025 | 1.03 | 1.04 |  | 106.3% |  |  | 2028 | 1949 | 1897.1 | 2034.767 | 1990.013 | 1.044 | 1.049
2029 | 1268.5 | 1779.2 | 2655.4 | 1511.5 | 2396.4 | 1297.28 | 2184.1 | 2735.009 | 2492.212 | 1.03 | 1.04 |  | 107% |  |  | 2029 | 1991.8 | 1937.7 | 2079.486 | 2032.608 | 1.044 | 1.049
2030 | 1292.3 | 1817.3 | 2702 | 1543.9 | 2421.1 | 1325.16 | 2211.9 | 2783.119 | 2517.923 | 1.03 | 1.04 |  | 107.5%
[12 empty] | Av | 104.3% | 1.779% | 1.638% | low
low scenario | [14 empty] | 0.5184% | 2018 | 1533.8 | 1506.9 | 1601.254 | 1580.774 | 1.044 | 1.049
2019 | 1034 | 1341.5 | 2186.6 | 1135.2 | 1974.2 | 970.14 | 1788.6 | 2252.167 | 2053.203 | 1.03 | 1.04 |  | 98.34% |  |  | 2019 | 1532.5 | 1504.7 | 1599.981 | 1578.378 | 1.044 | 1.049
2020 | 1049.8 | 1365.5 | 2200.6 | 1155.6 | 1974.8 | 987.69 | 1790.6 | 2266.636 | 2053.794 | 1.03 | 1.04 |  | 98.16% |  |  | 2020 | 1531.4 | 1502.4 | 1598.783 | 1576.062 | 1.044 | 1.049
2021 | 1052.7 | 1389.9 | 2196.6 | 1176.4 | 1971.1 | 1005.57 | 1786.8 | 2262.504 | 2049.91 | 1.03 | 1.04 |  | 97.7% |  |  | 2021 | 1525.9 | 1496 | 1593.083 | 1569.275 | 1.044 | 1.049
2022 | 1066.9 | 1414.9 | 2197.2 | 1197.6 | 1980.1 | 1023.83 | 1809 | 2263.148 | 2059.262 | 1.03 | 1.04 |  | 97.27% |  |  | 2022 | 1519 | 1488.1 | 1585.861 | 1561.021 | 1.044 | 1.049
2023 | 1078.3 | 1440.4 | 2218.4 | 1219.3 | 2007.2 | 1042.49 | 1821.2 | 2284.999 | 2087.453 | 1.03 | 1.04 |  | 96.76% |  |  | 2023 | 1515.8 | 1483.9 | 1582.519 | 1556.59 | 1.044 | 1.049
2024 | 1092.9 | 1466.4 | 2221.4 | 1241.5 | 2015.2 | 1061.58 | 1833.5 | 2288.002 | 2095.765 | 1.03 | 1.04 |  | 96.31% |  |  | 2024 | 1521.1 | 1488 | 1588.036 | 1560.902 | 1.044 | 1.049
2025 | 1108.8 | 1493.1 | 2257 | 1264.2 | 2031 | 1081.13 | 1856.8 | 2324.678 | 2112.28 | 1.03 | 1.04 |  | 95.83% |  |  | 2025 | 1527 | 1492.6 | 1594.136 | 1565.779 | 1.044 | 1.049
2026 | 1123.4 | 1520.5 | 2287.1 | 1287.5 | 2061.1 | 1101.16 | 1892.3 | 2355.742 | 2143.516 | 1.03 | 1.04 |  | 95.26% |  |  | 2026 | 1532.1 | 1496.6 | 1599.534 | 1569.928 | 1.044 | 1.049
2027 | 1134.3 | 1548.6 | 2317.7 | 1311.4 | 2079.6 | 1121.72 | 1895.5 | 2387.224 | 2162.78 | 1.03 | 1.04 |  | 94.82% |  |  | 2027 | 1536.7 | 1500 | 1604.303 | 1573.499 | 1.044 | 1.049
2028 | 1141.8 | 1577.4 | 2323.3 | 1336 | 2090.2 | 1142.83 | 1901.8 | 2392.993 | 2173.842 | 1.03 | 1.04 |  | 94.36% |  |  | 2028 | 1540.9 | 1503 | 1608.669 | 1576.592 | 1.044 | 1.049
2029 | 1151.9 | 1607 | 2331.4 | 1361.2 | 2109.9 | 1164.52 | 1927.8 | 2401.355 | 2194.285 | 1.03 | 1.04 |  | 93.95% |  |  | 2029 | 1546.3 | 1507.1 | 1614.3 | 1580.979 | 1.044 | 1.049
2030 | 1162.8 | 1637.5 | 2351.9 | 1387.1 | 2114.5 | 1186.83 | 1937.3 | 2422.423 | 2199.11 | 1.03 | 1.04 |  | 93.58%
[12 empty] | Av | 96.03% | 0.6872% | 0.6647%
-0.4553%

## Summer Non-Coin
Summer Non-Coincident MDS
| Non -Coincident - 10th Percentile | [13 empty] | Non -Coincident - 50th Percentile
| Cranbourne 66KV (CBTS) | East Rowville 66KV (ERT) | Frankston 66KV (FTS) | Heatherton 66KV (HTS) | Malvern 22KV (MT2) | Malvern 66KV (MT6) | Richmond 66KV (RT6) | Ringwood 22KV (RW2) | Ringwood 66KV (RW6) | Springvale 66KV (SVT6) | Templestowe 66KV (TST) | Tyabb 66KV (TBT) | UED Total TS |  |  | Cranbourne 66KV (CBTS) | East Rowville 66KV (ERT) | Frankston 66KV (FTS) | Heatherton 66KV (HTS) | Malvern 22KV (MT2) | Malvern 66KV (MT6) | Richmond 66KV (RT6) | Ringwood 22KV (RW2) | Ringwood 66KV (RW6) | Springvale 66KV (SVT6) | Templestowe 66KV (TST) | Tyabb 66KV (TBT) | UED Total TS
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
base scenario | E( 7101) | E( 7102) | E( 7103) | E( 7104) | E( 7105) | E( 7106) | E( 7107) | E( 7108) | E( 7109) | E( 7110) | E( 7111) | E( 7112) |  | base scenario |  | E( 7121) | E( 7122) | E( 7123) | E( 7124) | E( 7125) | E( 7126) | E( 7127) | E( 7128) | E( 7129) | E( 7130) | E( 7131) | E( 7132)
2005 | 0 | 275.89 | 38.69 | 328.32 | 61.31 | 96.57 | 45.55 | 32.57 | 75.3 | 369.93 | 110.96 | 200.12 | 1635.21 | 2005 |  | 0 | 275.89 | 38.69 | 328.32 | 61.31 | 96.57 | 45.55 | 32.57 | 75.3 | 369.93 | 110.96 | 200.12 | 1635.21
2006 | 93.14 | 270.52 | 0 | 282.18 | 57.67 | 115.9 | 50.85 | 35.97 | 81.87 | 371.33 | 123.72 | 229.78 | 1712.93 | 2006 |  | 93.14 | 270.52 | 0 | 282.18 | 57.67 | 115.9 | 50.85 | 35.97 | 81.87 | 371.33 | 123.72 | 229.78 | 1712.93
2007 | 103 | 310.71 | 0 | 292.34 | 54.23 | 127.36 | 53.93 | 33.51 | 99.37 | 396.84 | 123.81 | 235.32 | 1830.42 | 2007 |  | 103 | 310.71 | 0 | 292.34 | 54.23 | 127.36 | 53.93 | 33.51 | 99.37 | 396.84 | 123.81 | 235.32 | 1830.42
2008 | 119.69 | 318.94 | 0 | 316.37 | 53.43 | 146.92 | 57.44 | 34.31 | 110.69 | 423.94 | 129.22 | 258.71 | 1969.66 | 2008 |  | 119.69 | 318.94 | 0 | 316.37 | 53.43 | 146.92 | 57.44 | 34.31 | 110.69 | 423.94 | 129.22 | 258.71 | 1969.66
2009 | 130.44 | 337.69 | 0 | 341.04 | 40.71 | 179.08 | 66.37 | 38.79 | 114.9 | 452.35 | 152.26 | 283.31 | 2136.94 | 2009 |  | 130.44 | 337.69 | 0 | 341.04 | 40.71 | 179.08 | 66.37 | 38.79 | 114.9 | 452.35 | 152.26 | 283.31 | 2136.94
2010 | 156.02 | 327.09 | 0 | 310.08 | 40.17 | 170.28 | 64.52 | 33.71 | 108.02 | 444.16 | 142.2 | 265.75 | 2062 | 2010 |  | 156.02 | 327.09 | 0 | 310.08 | 40.17 | 170.28 | 64.52 | 33.71 | 108.02 | 444.16 | 142.2 | 265.75 | 2062
2011 | 150.1 | 339.8 | 0 | 326.5 | 33.7 | 163.5 | 61.4 | 32.7 | 99.6 | 436.1 | 127.5 | 214.3 | 1985.2 | 2011 |  | 150.1 | 339.8 | 0 | 326.5 | 33.7 | 163.5 | 61.4 | 32.7 | 99.6 | 436.1 | 127.5 | 214.3 | 1985.2
2012 | 137.1 | 294.6 | 0 | 277.8 | 34.6 | 157.4 | 53 | 27.4 | 89.1 | 371.3 | 115.9 | 268.9 | 1827.1 | 2012 |  | 137.1 | 294.6 | 0 | 277.8 | 34.6 | 157.4 | 53 | 27.4 | 89.1 | 371.3 | 115.9 | 268.9 | 1827.1
2013 | 163.72 | 328.19 | 0 | 318 | 41.76 | 177.82 | 65.92 | 32.14 | 106.95 | 409.96 | 132.67 | 269.3 | 2046.43 | 2013 |  | 163.72 | 328.19 | 0 | 318 | 41.76 | 177.82 | 65.92 | 32.14 | 106.95 | 409.96 | 132.67 | 269.3 | 2046.43
2014 | 164.01 | 339.33 | 0 | 331.83 | 42.26 | 183.17 | 69.89 | 34.83 | 112.62 | 428.6 | 143.98 | 290.02 | 2140.54 | 2014 |  | 164.01 | 339.33 | 0 | 331.83 | 42.26 | 183.17 | 69.89 | 34.83 | 112.62 | 428.6 | 143.98 | 290.02 | 2140.54
2015 | 155.56 | 295.95 | 0 | 282.63 | 36.45 | 145.38 | 52.52 | 27.7 | 94.91 | 362.91 | 115.73 | 257.77 | 1827.51 | 2015 |  | 155.56 | 295.95 | 0 | 282.63 | 36.45 | 145.38 | 52.52 | 27.7 | 94.91 | 362.91 | 115.73 | 257.77 | 1827.51
2016 | 165.51 | 303.74 | 0 | 331.67 | 40.06 | 166.69 | 63.68 | 36.69 | 101.47 | 388.53 | 129.62 | 281.04 | 2008.7 | 2016 |  | 165.51 | 303.74 | 0 | 331.67 | 40.06 | 166.69 | 63.68 | 36.69 | 101.47 | 388.53 | 129.62 | 281.04 | 2008.7
2017 | 160.2 | 322.36 | 0 | 354.01 | 38.38 | 162.19 | 56.64 | 31.28 | 93.53 | 377.74 | 123.75 | 269.57 | 1989.65 | 2017 |  | 160.2 | 322.36 | 0 | 354.01 | 38.38 | 162.19 | 56.64 | 31.28 | 93.53 | 377.74 | 123.75 | 269.57 | 1989.65
2018 | 165.37 | 317.47 | 0 | 335.11 | 39.64 | 179.49 | 62.65 | 38.07 | 99.82 | 385.15 | 134.55 | 302.83 | 2060.15 | 2018 |  | 165.37 | 317.47 | 0 | 335.11 | 39.64 | 179.49 | 62.65 | 38.07 | 99.82 | 385.15 | 134.55 | 302.83 | 2060.15
2019 | 186.19 | 350.34 | 0 | 374.01 | 44.771 | 202.49 | 70.964 | 43.053 | 112.38 | 420.1 | 147.81 | 338.04 | 2290.148 | 2019 |  | 173.45 | 330.38 | 0 | 342.95 | 40.976 | 182.35 | 63.699 | 38.695 | 100.39 | 379.1 | 127.72 | 309.5 | 2089.21
2020 | 189.43 | 354.63 | 0 | 375.42 | 45.359 | 204.16 | 71.738 | 43.248 | 113.04 | 421.97 | 147.91 | 342.29 | 2309.195 | 2020 |  | 175.34 | 332.19 | 0 | 341.93 | 41.256 | 182.62 | 63.982 | 38.616 | 100.3 | 378.32 | 126.96 | 311.25 | 2092.764
2021 | 191.68 | 357.32 | 0 | 375.11 | 45.698 | 204.81 | 72.036 | 43.154 | 113.05 | 421.34 | 146.97 | 344.65 | 2315.818 | 2021 |  | 177.47 | 334.67 | 0 | 341.59 | 41.577 | 183.19 | 64.246 | 38.527 | 100.27 | 377.73 | 126.09 | 313.29 | 2098.65
2022 | 194.2 | 360.13 | 0 | 375.14 | 46.211 | 205.78 | 72.596 | 43.212 | 113.19 | 421.52 | 146.49 | 348.07 | 2326.539 | 2022 |  | 180.54 | 338.55 | 0 | 342.86 | 42.224 | 184.74 | 65.003 | 38.726 | 100.75 | 379.32 | 126.14 | 317.54 | 2116.393
2023 | 198.62 | 365.83 | 0 | 378.53 | 47.266 | 208.79 | 74.069 | 43.818 | 114.47 | 426.32 | 147.88 | 355.79 | 2361.383 | 2023 |  | 185.32 | 345.07 | 0 | 347.1 | 43.362 | 188.08 | 66.579 | 39.416 | 102.22 | 385.03 | 127.8 | 325.7 | 2155.677
2024 | 201.48 | 368.81 | 0 | 378.77 | 47.859 | 210.12 | 74.92 | 44.011 | 114.7 | 427.23 | 147.86 | 360.03 | 2375.79 | 2024 |  | 188.49 | 348.67 | 0 | 348.11 | 44.032 | 189.74 | 67.535 | 39.696 | 102.65 | 386.83 | 128.12 | 330.34 | 2174.213
2025 | 207.73 | 378.55 | 0 | 384.96 | 49.009 | 214.63 | 76.783 | 44.762 | 116.7 | 434.39 | 149.69 | 368.73 | 2425.934 | 2025 |  | 192.75 | 354.84 | 0 | 350.84 | 44.727 | 192.22 | 68.666 | 40.044 | 103.57 | 390.11 | 128.66 | 335.44 | 2201.867
2026 | 213.63 | 387.69 | 0 | 390.75 | 50.16 | 218.99 | 78.657 | 45.487 | 118.44 | 440.65 | 151.35 | 377.23 | 2473.034 | 2026 |  | 198.43 | 363.66 | 0 | 356.36 | 45.83 | 196.3 | 70.428 | 40.732 | 105.17 | 396.07 | 130.19 | 343.36 | 2246.53
2027 | 219.34 | 396.65 | 0 | 396.23 | 51.293 | 223.09 | 80.464 | 46.148 | 120.02 | 446.43 | 152.75 | 385.21 | 2517.625 | 2027 |  | 202.88 | 370.37 | 0 | 359.74 | 46.675 | 199.11 | 71.759 | 41.149 | 106.09 | 399.52 | 130.83 | 348.98 | 2277.103
2028 | 222.81 | 401.49 | 0 | 397.56 | 51.926 | 224.93 | 81.446 | 46.335 | 120.31 | 447.42 | 152.52 | 389.35 | 2536.097 | 2028 |  | 206.58 | 375.67 | 0 | 361.69 | 47.373 | 201.2 | 72.823 | 41.411 | 106.54 | 401.28 | 130.92 | 353.39 | 2298.877
2029 | 226.44 | 406.55 | 0 | 399.05 | 52.622 | 226.93 | 82.491 | 46.55 | 120.62 | 448.52 | 152.34 | 393.81 | 2555.923 | 2029 |  | 211.2 | 382.54 | 0 | 365.11 | 48.304 | 204.17 | 74.209 | 41.848 | 107.39 | 404.57 | 131.51 | 359.4 | 2330.251
2030 | 231.22 | 413.51 | 0 | 402.54 | 53.607 | 230.2 | 84.022 | 47.027 | 121.47 | 451.64 | 152.98 | 400.5 | 2588.716 | 2030 |  | 214.19 | 386.33 | 0 | 365.67 | 48.88 | 205.66 | 75.084 | 41.985 | 107.34 | 404.5 | 131.11 | 362.85 | 2343.599
high scenario | [13 empty] | high scenario
2019 | 189.53 | 355.52 | 0 | 380.34 | 45.633 | 206.21 | 72.467 | 43.87 | 113.8 | 425.8 | 150.75 | 343.58 | 2327.5 | 2019 |  | 176.68 | 335.39 | 0 | 349 | 41.805 | 185.88 | 65.136 | 39.472 | 101.69 | 384.42 | 130.46 | 314.78 | 2124.713
2020 | 194.33 | 361.79 | 0 | 382.28 | 46.327 | 208.37 | 73.56 | 44.132 | 114.21 | 429.24 | 151.95 | 347.79 | 2353.979 | 2020 |  | 179.95 | 338.88 | 0 | 348.33 | 42.166 | 186.57 | 65.699 | 39.443 | 101.33 | 384.88 | 130.66 | 316.36 | 2134.268
2021 | 198.35 | 366.71 | 0 | 382.42 | 46.805 | 209.51 | 74.211 | 44.141 | 114.1 | 430.64 | 152.25 | 350.41 | 2369.547 | 2021 |  | 183.7 | 343.37 | 0 | 348.38 | 42.615 | 187.57 | 66.297 | 39.449 | 101.19 | 386.07 | 130.92 | 318.6 | 2148.161
2022 | 202.94 | 372.68 | 0 | 383.36 | 47.435 | 211.2 | 75.167 | 44.294 | 114.18 | 432.92 | 152.94 | 354.08 | 2391.196 | 2022 |  | 188.64 | 350.09 | 0 | 350.38 | 43.357 | 189.75 | 67.415 | 39.727 | 101.57 | 389.41 | 132 | 322.95 | 2175.289
2023 | 209.77 | 382.37 | 0 | 388.32 | 48.602 | 215.19 | 77.092 | 45.016 | 115.5 | 440.16 | 155.57 | 362.2 | 2439.79 | 2023 |  | 195.65 | 360.22 | 0 | 355.97 | 44.583 | 193.96 | 69.401 | 40.512 | 103.03 | 397.15 | 134.74 | 331.33 | 2226.546
2024 | 214.79 | 388.28 | 0 | 389.86 | 49.405 | 217.44 | 78.472 | 45.391 | 115.67 | 443.21 | 156.96 | 367.24 | 2466.718 | 2024 |  | 200.83 | 366.55 | 0 | 358.18 | 45.449 | 196.48 | 70.86 | 40.961 | 103.39 | 400.84 | 136.35 | 336.68 | 2256.57
2025 | 223.49 | 401.73 | 0 | 397.74 | 50.764 | 223.11 | 80.894 | 46.307 | 117.61 | 452.67 | 160.17 | 376.83 | 2531.315 | 2025 |  | 207.24 | 375.97 | 0 | 362.35 | 46.321 | 199.97 | 72.481 | 41.448 | 104.22 | 405.96 | 138.03 | 342.49 | 2296.48
2026 | 232.41 | 415.36 | 0 | 405.68 | 52.176 | 228.85 | 83.41 | 47.258 | 119.53 | 462.06 | 163.44 | 386.65 | 2596.824 | 2026 |  | 215.66 | 388.82 | 0 | 369.73 | 47.647 | 205.26 | 74.818 | 42.329 | 105.94 | 414.54 | 140.96 | 351.46 | 2357.164
2027 | 241.23 | 428.71 | 0 | 413.24 | 53.57 | 234.36 | 85.868 | 48.147 | 121.25 | 470.79 | 166.45 | 395.97 | 2659.585 | 2027 |  | 222.95 | 399.55 | 0 | 375.03 | 48.732 | 209.38 | 76.751 | 42.956 | 106.97 | 420.57 | 143 | 358.32 | 2404.209
2028 | 247.8 | 437.74 | 0 | 416.74 | 54.489 | 237.85 | 87.548 | 48.606 | 121.7 | 474.49 | 167.91 | 402 | 2696.873 | 2028 |  | 229.57 | 408.77 | 0 | 378.97 | 49.692 | 212.97 | 78.459 | 43.464 | 107.53 | 424.62 | 144.56 | 364.42 | 2443.025
2029 | 254.59 | 447.18 | 0 | 420.5 | 55.448 | 241.35 | 89.255 | 49.056 | 122.13 | 478.27 | 169.3 | 407.93 | 2735.009 | 2029 |  | 237.31 | 419.98 | 0 | 384.62 | 50.884 | 217.42 | 80.505 | 44.133 | 108.48 | 430.41 | 146.62 | 371.85 | 2492.212
2030 | 262.37 | 458.15 | 0 | 425.83 | 56.623 | 245.84 | 91.358 | 49.708 | 122.91 | 483.41 | 171.35 | 415.57 | 2783.119 | 2030 |  | 242.87 | 427.14 | 0 | 386.69 | 51.609 | 219.92 | 81.856 | 44.408 | 108.32 | 431.79 | 147.32 | 376 | 2517.923
low scenario | [13 empty] | low scenario
2019 | 183 | 344.83 | 0 | 367.63 | 43.905 | 198.55 | 69.466 | 42.266 | 110.79 | 414.27 | 145.11 | 332.35 | 2252.167 | 2019 |  | 170.38 | 325.06 | 0 | 336.87 | 40.147 | 178.61 | 62.274 | 37.952 | 98.92 | 373.69 | 125.22 | 304.08 | 2053.203
2020 | 185.21 | 347.55 | 0 | 369.06 | 44.414 | 199.97 | 70.004 | 42.458 | 111.66 | 414.98 | 144.45 | 336.88 | 2266.636 | 2020 |  | 171.44 | 325.64 | 0 | 336.07 | 40.375 | 178.74 | 62.361 | 37.888 | 99.07 | 372.09 | 123.84 | 306.28 | 2053.794
2021 | 185.96 | 347.86 | 0 | 367.73 | 44.531 | 199.83 | 69.856 | 42.237 | 111.58 | 412.05 | 142.36 | 338.51 | 2262.504 | 2021 |  | 172.19 | 325.95 | 0 | 334.8 | 40.489 | 178.55 | 62.201 | 37.68 | 98.97 | 369.47 | 121.94 | 307.67 | 2049.91
2022 | 186.99 | 348.46 | 0 | 366.86 | 44.813 | 200.13 | 69.973 | 42.162 | 111.67 | 410.12 | 140.74 | 341.23 | 2263.148 | 2022 |  | 173.94 | 327.94 | 0 | 335.38 | 40.934 | 179.54 | 62.559 | 37.769 | 99.45 | 369.34 | 121 | 311.41 | 2059.262
2023 | 189.62 | 351.63 | 0 | 369.09 | 45.57 | 202.37 | 70.895 | 42.564 | 112.75 | 412.11 | 140.73 | 347.67 | 2284.999 | 2023 |  | 177.14 | 332.24 | 0 | 338.7 | 41.807 | 182.23 | 63.633 | 38.283 | 100.78 | 372.67 | 121.44 | 318.53 | 2087.453
2024 | 190.76 | 352.09 | 0 | 368.12 | 45.95 | 202.85 | 71.29 | 42.612 | 112.87 | 410.83 | 139.57 | 351.06 | 2288.002 | 2024 |  | 178.71 | 333.53 | 0 | 338.63 | 42.281 | 183.12 | 64.163 | 38.431 | 101.14 | 372.56 | 120.75 | 322.45 | 2095.765
2025 | 195.01 | 358.73 | 0 | 372.82 | 46.958 | 206.25 | 72.717 | 43.223 | 114.61 | 415.31 | 140.25 | 358.8 | 2324.678 | 2025 |  | 181.25 | 337.05 | 0 | 340.14 | 42.872 | 184.67 | 64.928 | 38.67 | 101.86 | 373.66 | 120.35 | 326.83 | 2112.28
2026 | 198.77 | 364.49 | 0 | 376.79 | 47.88 | 209.22 | 74.005 | 43.737 | 116.02 | 418.57 | 140.57 | 365.69 | 2355.742 | 2026 |  | 185.05 | 342.92 | 0 | 344.19 | 43.789 | 187.55 | 66.18 | 39.187 | 103.23 | 377.17 | 120.78 | 333.47 | 2143.516
2027 | 202.55 | 370.3 | 0 | 380.98 | 48.84 | 212.23 | 75.306 | 44.248 | 117.42 | 421.89 | 140.84 | 372.62 | 2387.224 | 2027 |  | 187.79 | 346.86 | 0 | 346.46 | 44.487 | 189.4 | 67.06 | 39.473 | 103.99 | 378.58 | 120.47 | 338.21 | 2162.78
2028 | 204.14 | 372.08 | 0 | 380.98 | 49.305 | 213 | 75.8 | 44.288 | 117.52 | 420.58 | 139.58 | 375.72 | 2392.993 | 2028 |  | 189.82 | 349.45 | 0 | 347.34 | 45.048 | 190.57 | 67.688 | 39.616 | 104.33 | 378.46 | 119.68 | 341.84 | 2173.842
2029 | 205.97 | 374.3 | 0 | 381.19 | 49.853 | 214 | 76.383 | 44.379 | 117.73 | 419.76 | 138.45 | 379.34 | 2401.355 | 2029 |  | 192.69 | 353.61 | 0 | 349.51 | 45.836 | 192.56 | 68.617 | 39.932 | 105.08 | 379.99 | 119.38 | 347.08 | 2194.285
2030 | 208.92 | 378.69 | 0 | 383.32 | 50.675 | 216.06 | 77.39 | 44.698 | 118.49 | 421.3 | 138.05 | 384.83 | 2422.423 | 2030 |  | 194.21 | 355.39 | 0 | 349.11 | 46.304 | 193.11 | 69.078 | 39.958 | 105.05 | 378.96 | 118.24 | 349.7 | 2199.11

## Summer Coin
Summer Coincident MDS
| Coincident - 10th Percentile | [13 empty] | Coincident - 50th Percentile
| Cranbourne 66KV (CBTS) | East Rowville 66KV (ERT) | Frankston 66KV (FTS) | Heatherton 66KV (HTS) | Malvern 22KV (MT2) | Malvern 66KV (MT6) | Richmond 66KV (RT6) | Ringwood 22KV (RW2) | Ringwood 66KV (RW6) | Springvale 66KV (SVT6) | Templestowe 66KV (TST) | Tyabb 66KV (TBT) | UED Total TS |  | Cranbourne 66KV (CBTS) | East Rowville 66KV (ERT) | Frankston 66KV (FTS) | Heatherton 66KV (HTS) | Malvern 22KV (MT2) | Malvern 66KV (MT6) | Richmond 66KV (RT6) | Ringwood 22KV (RW2) | Ringwood 66KV (RW6) | Springvale 66KV (SVT6) | Templestowe 66KV (TST) | Tyabb 66KV (TBT) | UED Total TS
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
base scenario | E( 7181) | E( 7182) | E( 7183) | E( 7184) | E( 7185) | E( 7186) | E( 7187) | E( 7188) | E( 7189) | E( 7190) | E( 7191) | E( 7192) | E( 7200) | base scenario | E( 7201) | E( 7202) | E( 7203) | E( 7204) | E( 7205) | E( 7206) | E( 7207) | E( 7208) | E( 7209) | E( 7210) | E( 7211) | E( 7212) | E( 7220)
2005 | 0 | 275.16 | 35.69 | 328.32 | 56.48 | 95.75 | 42.76 | 31.54 | 72.62 | 369.93 | 99.3 | 164.11 | 1571.7 | 2005 | 0 | 275.16 | 35.69 | 328.32 | 56.48 | 95.75 | 42.76 | 31.54 | 72.62 | 369.93 | 99.3 | 164.11 | 1571.7
2006 | 93.14 | 258.49 | 0 | 282.18 | 56.57 | 115.68 | 48.25 | 33.87 | 78.76 | 369.14 | 117.91 | 195.12 | 1649.1 | 2006 | 93.14 | 258.49 | 0 | 282.18 | 56.57 | 115.68 | 48.25 | 33.87 | 78.76 | 369.14 | 117.91 | 195.12 | 1649.1
2007 | 101.84 | 284.36 | 0 | 287.72 | 49.9 | 119.75 | 49.06 | 32.08 | 92.03 | 396.84 | 113.24 | 222.84 | 1749.7 | 2007 | 101.84 | 284.36 | 0 | 287.72 | 49.9 | 119.75 | 49.06 | 32.08 | 92.03 | 396.84 | 113.24 | 222.84 | 1749.7
2008 | 109.65 | 311.52 | 0 | 316.37 | 51.94 | 146.92 | 55.77 | 34.22 | 104.4 | 423.94 | 125.51 | 237.41 | 1917.7 | 2008 | 109.65 | 311.52 | 0 | 316.37 | 51.94 | 146.92 | 55.77 | 34.22 | 104.4 | 423.94 | 125.51 | 237.41 | 1917.7
2009 | 122.99 | 332.68 | 0 | 341.04 | 37.98 | 173.01 | 63.62 | 37.87 | 112.09 | 452.27 | 140.18 | 270.06 | 2083.8 | 2009 | 122.99 | 332.68 | 0 | 341.04 | 37.98 | 173.01 | 63.62 | 37.87 | 112.09 | 452.27 | 140.18 | 270.06 | 2083.8
2010 | 154.62 | 289.51 | 0 | 310.08 | 39.52 | 169.21 | 61.65 | 33.71 | 108.02 | 444.16 | 139.98 | 265.6 | 2016.1 | 2010 | 154.62 | 289.51 | 0 | 310.08 | 39.52 | 169.21 | 61.65 | 33.71 | 108.02 | 444.16 | 139.98 | 265.6 | 2016.1
2011 | 150.07 | 339.81 | 0 | 326.55 | 32.13 | 161.43 | 60.65 | 32.06 | 96.81 | 434.4 | 124.83 | 203.64 | 1962.4 | 2011 | 150.07 | 339.81 | 0 | 326.55 | 32.13 | 161.43 | 60.65 | 32.06 | 96.81 | 434.4 | 124.83 | 203.64 | 1962.4
2012 | 132.24 | 275.89 | 0 | 277.82 | 32.82 | 144.87 | 47.43 | 26.48 | 80.69 | 370.95 | 108.25 | 202.24 | 1699.7 | 2012 | 132.24 | 275.89 | 0 | 277.82 | 32.82 | 144.87 | 47.43 | 26.48 | 80.69 | 370.95 | 108.25 | 202.24 | 1699.7
2013 | 158.98 | 312.61 | 0 | 318 | 41.03 | 176.52 | 63.94 | 31.84 | 106.95 | 409.96 | 129.89 | 232.27 | 1982 | 2013 | 158.98 | 312.61 | 0 | 318 | 41.03 | 176.52 | 63.94 | 31.84 | 106.95 | 409.96 | 129.89 | 232.27 | 1982
2014 | 159.84 | 296.67 | 0 | 320.8 | 39.17 | 182.37 | 69.51 | 34.33 | 110.06 | 419.7 | 143.98 | 289.59 | 2066 | 2014 | 159.84 | 296.67 | 0 | 320.8 | 39.17 | 182.37 | 69.51 | 34.33 | 110.06 | 419.7 | 143.98 | 289.59 | 2066
2015 | 141.78 | 285.46 | 0 | 282.28 | 36.45 | 142.38 | 51.46 | 27.45 | 93.69 | 360.5 | 111.23 | 203.66 | 1736.3 | 2015 | 141.78 | 285.46 | 0 | 282.28 | 36.45 | 142.38 | 51.46 | 27.45 | 93.69 | 360.5 | 111.23 | 203.66 | 1736.3
2016 | 164.76 | 284.3 | 0 | 326.81 | 38.49 | 166.12 | 60.71 | 35.95 | 101.47 | 388.53 | 129.32 | 267.04 | 1963.5 | 2016 | 164.76 | 284.3 | 0 | 326.81 | 38.49 | 166.12 | 60.71 | 35.95 | 101.47 | 388.53 | 129.32 | 267.04 | 1963.5 | 175.8563 | 180.8092 | 184.1906 | 189.5286 | 194.3739 | 202.1745 | 210.3964 | 216.4934 | 220.5498 | 229.6488 | 237.3003
2017 | 142.32 | 322.36 | 0 | 339.46 | 33.71 | 159.93 | 53.34 | 29.75 | 91.07 | 377.74 | 117.39 | 191.42 | 1858.5 | 2017 | 142.32 | 322.36 | 0 | 339.46 | 33.71 | 159.93 | 53.34 | 29.75 | 91.07 | 377.74 | 117.39 | 191.42 | 1858.5 | 322.2388 | 328.765 | 332.5429 | 340.3355 | 347.3246 | 359.8187 | 372.4767 | 380.4734 | 384.8918 | 398.6886 | 409.9269
2018 | 157.33 | 283.37 | 0 | 320.75 | 34.45 | 163.76 | 55.66 | 33.7 | 95.76 | 385.15 | 126.44 | 254.98 | 1911.4 | 2018 | 157.33 | 283.37 | 0 | 320.75 | 34.45 | 163.76 | 55.66 | 33.7 | 95.76 | 385.15 | 126.44 | 254.98 | 1911.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 177.16 | 346.19 | 0 | 377.04 | 42.541 | 201.54 | 68.966 | 42.098 | 113.5 | 434.91 | 145.67 | 273.83 | 2223.5 | 2019 | 163.49 | 323.41 | 0 | 342.49 | 38.571 | 179.79 | 61.326 | 37.483 | 100.436 | 388.8 | 124.68 | 248.36 | 2008.8 | 341.5558 | 341.5743 | 338.2159 | 338.4285 | 337.9385 | 342.2435 | 346.7831 | 347.4607 | 344.636 | 349.2033 | 351.5934
2020 | 180.28 | 350.5 | 0 | 378.54 | 43.109 | 203.23 | 69.732 | 42.297 | 114.19 | 436.94 | 145.79 | 277.32 | 2241.9 | 2020 | 165.31 | 325.24 | 0 | 341.54 | 38.841 | 180.1 | 61.61 | 37.414 | 100.366 | 388.06 | 123.97 | 249.81 | 2012.3 | 43.4839 | 43.8484 | 43.7463 | 44.0251 | 44.2853 | 45.1541 | 46.1953 | 46.8537 | 46.9795 | 47.938 | 48.6379
2021 | 182.46 | 353.23 | 0 | 378.3 | 43.439 | 203.93 | 70.035 | 42.214 | 114.22 | 436.37 | 144.89 | 279.29 | 2248.4 | 2021 | 167.35 | 327.74 | 0 | 341.26 | 39.152 | 180.69 | 61.876 | 37.334 | 100.362 | 387.53 | 123.15 | 251.5 | 2017.9 | 179.9935 | 183.5763 | 185.3674 | 189.0764 | 192.2334 | 198.1172 | 204.4346 | 208.8195 | 211.2654 | 218.2145 | 223.9689
2022 | 184.9 | 356.08 | 0 | 378.41 | 43.937 | 204.94 | 70.596 | 42.28 | 114.39 | 436.65 | 144.46 | 282.13 | 2258.8 | 2022 | 170.28 | 331.61 | 0 | 342.61 | 39.77 | 182.26 | 62.619 | 37.535 | 100.864 | 389.26 | 123.22 | 254.97 | 2035 | 64.4246 | 65.9965 | 66.9693 | 68.4092 | 69.684 | 71.8392 | 74.2906 | 76.2151 | 77.3894 | 80.0945 | 82.4151
2023 | 189.16 | 361.82 | 0 | 381.94 | 44.953 | 208 | 72.049 | 42.885 | 115.71 | 441.76 | 145.86 | 288.47 | 2292.6 | 2023 | 174.84 | 338.09 | 0 | 346.95 | 40.853 | 185.61 | 64.155 | 38.215 | 102.358 | 395.22 | 124.88 | 261.59 | 2072.8 | 35.6323 | 36.0351 | 36.0676 | 36.3476 | 36.5474 | 37.182 | 37.9522 | 38.4526 | 38.5353 | 39.3407 | 39.913
2024 | 191.93 | 364.87 | 0 | 382.27 | 45.528 | 209.38 | 72.894 | 43.084 | 115.97 | 442.81 | 145.88 | 291.98 | 2306.6 | 2024 | 177.88 | 341.71 | 0 | 348.04 | 41.495 | 187.29 | 65.093 | 38.496 | 102.816 | 397.17 | 125.23 | 265.39 | 2090.6 | 114.6438 | 116.6219 | 117.342 | 119.1926 | 120.833 | 124.1208 | 127.5747 | 129.7435 | 130.5031 | 134.0654 | 136.689
2025 | 197.91 | 374.57 | 0 | 388.59 | 46.63 | 213.91 | 74.72 | 43.827 | 118.02 | 450.31 | 147.71 | 299.09 | 2355.3 | 2025 | 181.92 | 347.81 | 0 | 350.82 | 42.157 | 189.77 | 66.194 | 38.84 | 103.753 | 400.61 | 125.77 | 269.53 | 2117.2 | 445.5999 | 450.5891 | 450.5387 | 454.2788 | 457.3345 | 466.5551 | 476.5257 | 481.9089 | 481.9169 | 491.7667 | 498.1382
2026 | 203.58 | 383.68 | 0 | 394.51 | 47.734 | 218.29 | 76.558 | 44.546 | 119.8 | 456.88 | 149.38 | 306.04 | 2401 | 2026 | 187.32 | 356.51 | 0 | 356.42 | 43.204 | 193.83 | 67.905 | 39.515 | 105.379 | 406.8 | 127.29 | 275.94 | 2160.1 | 148.3655 | 148.8816 | 147.7588 | 147.966 | 147.8657 | 149.6399 | 151.7427 | 152.5846 | 151.769 | 153.8876 | 154.9783
2027 | 209.06 | 392.62 | 0 | 400.12 | 48.821 | 222.42 | 78.331 | 45.202 | 121.42 | 462.96 | 150.78 | 312.57 | 2444.3 | 2027 | 191.55 | 363.15 | 0 | 359.86 | 44.008 | 196.64 | 69.2 | 39.926 | 106.314 | 410.42 | 127.94 | 280.51 | 2189.5 | 270.9516 | 277.8297 | 281.7074 | 287.8023 | 293.3396 | 302.614 | 313.1908 | 321.8109 | 326.9997 | 338.27 | 347.7873
2028 | 212.41 | 397.49 | 0 | 401.53 | 49.433 | 224.29 | 79.302 | 45.393 | 121.74 | 464.07 | 150.59 | 315.99 | 2462.2 | 2028 | 195.09 | 368.42 | 0 | 361.87 | 44.675 | 198.74 | 70.239 | 40.187 | 106.791 | 412.3 | 128.05 | 284.11 | 2210.5
2029 | 215.91 | 402.57 | 0 | 403.12 | 50.106 | 226.33 | 80.335 | 45.613 | 122.08 | 465.3 | 150.45 | 319.67 | 2481.5 | 2029 | 199.48 | 375.24 | 0 | 365.36 | 45.561 | 201.71 | 71.59 | 40.619 | 107.662 | 415.76 | 128.65 | 288.99 | 2240.6
2030 | 220.52 | 409.55 | 0 | 406.74 | 51.054 | 229.64 | 81.844 | 46.09 | 122.96 | 468.64 | 151.1 | 325.17 | 2513.3 | 2030 | 202.34 | 379.03 | 0 | 366.01 | 46.114 | 203.24 | 72.449 | 40.761 | 107.633 | 415.78 | 128.28 | 291.83 | 2253.5 | 2142.7893 | 2174.5602 | 2184.3966 | 2215.3612 | 2241.7018 | 2299.4328 | 2361.602 | 2400.8675 | 2415.45 | 2481.0811 | 2531.3564
[28 empty] | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
high scenario | [13 empty] | high scenario
2019 | 180.35 | 351.32 | 0 | 383.44 | 43.362 | 205.25 | 70.429 | 42.898 | 114.93 | 440.83 | 148.57 | 278.33 | 2259.7 | 2019 | 166.54 | 328.33 | 0 | 348.55 | 39.352 | 183.28 | 62.712 | 38.237 | 101.74 | 394.27 | 127.37 | 252.61 | 2043 | 160.6237 | 166.1114 | 168.2155 | 174.0687 | 179.2351 | 185.1609 | 189.6506 | 196.1429 | 203.1086 | 210.392 | 217.4948
2020 | 184.94 | 357.56 | 0 | 385.44 | 44.027 | 207.43 | 71.501 | 43.16 | 115.37 | 444.45 | 149.77 | 281.77 | 2285.4 | 2020 | 169.64 | 331.78 | 0 | 347.92 | 39.698 | 183.98 | 63.262 | 38.213 | 101.398 | 394.79 | 127.58 | 253.91 | 2052.2 | 297.9861 | 305.6285 | 307.1302 | 315.9874 | 323.5803 | 332.8134 | 338.9429 | 347.8087 | 357.4535 | 368.2186 | 378.6273
2021 | 188.79 | 362.47 | 0 | 385.63 | 44.487 | 208.59 | 72.143 | 43.175 | 115.27 | 445.96 | 150.09 | 283.93 | 2300.5 | 2021 | 173.21 | 336.23 | 0 | 348.01 | 40.125 | 185 | 63.845 | 38.224 | 101.272 | 396.05 | 127.85 | 255.74 | 2065.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 193.18 | 368.43 | 0 | 386.64 | 45.092 | 210.3 | 73.083 | 43.331 | 115.37 | 448.38 | 150.79 | 286.95 | 2321.6 | 2022 | 177.89 | 342.85 | 0 | 350.06 | 40.83 | 187.17 | 64.932 | 38.499 | 101.664 | 399.54 | 128.92 | 259.27 | 2091.6 | 304.8466 | 306.2729 | 301.121 | 302.6486 | 302.8978 | 304.4083 | 303.2441 | 304.857 | 306.8644 | 308.9772 | 310.8643
2023 | 199.73 | 378.08 | 0 | 391.71 | 46.21 | 214.31 | 74.969 | 44.045 | 116.72 | 455.97 | 153.41 | 293.58 | 2368.7 | 2023 | 184.53 | 352.84 | 0 | 355.71 | 41.991 | 191.35 | 66.856 | 39.266 | 103.143 | 407.56 | 131.63 | 266.04 | 2140.9 | 39.0881 | 39.6398 | 39.306 | 39.771 | 40.1514 | 40.6594 | 40.9427 | 41.7405 | 42.5404 | 43.178 | 43.8236
2024 | 204.54 | 383.99 | 0 | 393.34 | 46.983 | 216.6 | 76.325 | 44.421 | 116.92 | 459.22 | 154.81 | 297.73 | 2394.9 | 2024 | 189.46 | 359.1 | 0 | 357.99 | 42.815 | 193.88 | 68.275 | 39.71 | 103.524 | 411.42 | 133.22 | 270.39 | 2169.8 | 157.4504 | 161.4592 | 162.0151 | 166.1318 | 169.4418 | 173.415 | 176.0439 | 180.598 | 185.597 | 190.6549 | 195.6953
2025 | 212.85 | 397.34 | 0 | 401.34 | 48.281 | 222.27 | 78.69 | 45.323 | 118.89 | 469.07 | 157.99 | 305.54 | 2457.6 | 2025 | 195.53 | 368.37 | 0 | 362.19 | 43.641 | 197.35 | 69.844 | 40.186 | 104.371 | 416.72 | 134.87 | 275.09 | 2208.2 | 56.3704 | 58.0856 | 58.6016 | 60.1857 | 61.5157 | 62.9746 | 64.0851 | 66.0604 | 68.1629 | 70.1714 | 72.2251
2026 | 221.37 | 410.87 | 0 | 409.4 | 49.63 | 228.02 | 81.147 | 46.259 | 120.85 | 478.86 | 161.24 | 313.53 | 2521.2 | 2026 | 203.49 | 381.01 | 0 | 369.61 | 44.896 | 202.59 | 72.104 | 41.045 | 106.097 | 425.58 | 137.76 | 282.33 | 2266.5 | 30.7416 | 31.2687 | 31.1126 | 31.5152 | 31.7899 | 32.1108 | 32.2484 | 32.825 | 33.4205 | 33.931 | 34.4255
2027 | 229.8 | 424.14 | 0 | 417.08 | 50.962 | 233.54 | 83.548 | 47.135 | 122.6 | 487.97 | 164.23 | 321.13 | 2582.1 | 2027 | 210.4 | 391.56 | 0 | 374.96 | 45.924 | 206.67 | 73.975 | 41.658 | 107.148 | 431.82 | 139.77 | 287.86 | 2311.7
2028 | 236.1 | 433.13 | 0 | 420.68 | 51.845 | 237.05 | 85.197 | 47.592 | 123.07 | 491.88 | 165.7 | 326.08 | 2618.3 | 2028 | 216.68 | 400.66 | 0 | 378.95 | 46.836 | 210.26 | 75.634 | 42.157 | 107.719 | 436.04 | 141.31 | 292.81 | 2349.1
2029 | 242.61 | 442.54 | 0 | 424.53 | 52.765 | 240.57 | 86.871 | 48.039 | 123.53 | 495.87 | 167.09 | 330.93 | 2655.4 | 2029 | 224.01 | 411.71 | 0 | 384.66 | 47.966 | 214.68 | 77.617 | 42.811 | 108.693 | 442.05 | 143.34 | 298.83 | 2396.4 | 101.2159 | 103.5377 | 103.5343 | 105.7248 | 107.525 | 109.6919 | 110.9224 | 113.3003 | 115.7511 | 118.2522 | 120.5488
2030 | 250.06 | 453.46 | 0 | 429.98 | 53.892 | 245.08 | 88.932 | 48.686 | 124.34 | 501.28 | 169.14 | 337.18 | 2702 | 2030 | 229.29 | 418.8 | 0 | 386.79 | 48.657 | 217.18 | 78.932 | 43.085 | 108.545 | 443.53 | 144.06 | 302.21 | 2421.1 | 242.0236 | 249.5196 | 251.3871 | 258.1053 | 263.8454 | 270.1955 | 275.0767 | 283.923 | 293.0537 | 301.4192 | 309.8425
[28 empty] | 1914.207 | 1953.0376 | 1949.496 | 1987.3446 | 2017.3749 | 2054.6754 | 2075.9537 | 2119.7885 | 2166.2844 | 2212.7797 | 2257.4981
low scenario | [13 empty] | low scenario
2019 | 174.12 | 340.74 | 0 | 370.6 | 41.717 | 197.61 | 67.508 | 41.327 | 111.89 | 428.87 | 143 | 269.21 | 2186.6 | 2019 | 160.6 | 318.19 | 0 | 336.41 | 37.789 | 176.09 | 59.951 | 36.761 | 98.963 | 383.23 | 122.24 | 244 | 1974.2
2020 | 176.27 | 343.51 | 0 | 372.13 | 42.212 | 199.07 | 68.048 | 41.526 | 112.8 | 429.71 | 142.39 | 272.95 | 2200.6 | 2020 | 161.63 | 318.84 | 0 | 335.69 | 38.014 | 176.27 | 60.051 | 36.709 | 99.137 | 381.68 | 120.92 | 245.84 | 1974.8
2021 | 177.03 | 343.9 | 0 | 370.89 | 42.334 | 198.98 | 67.922 | 41.32 | 112.74 | 426.79 | 140.36 | 274.34 | 2196.6 | 2021 | 162.38 | 319.22 | 0 | 334.51 | 38.13 | 176.13 | 59.912 | 36.516 | 99.06 | 379.09 | 119.1 | 247.01 | 1971.1
2022 | 178.06 | 344.6 | 0 | 370.11 | 42.614 | 199.34 | 68.055 | 41.259 | 112.87 | 424.9 | 138.81 | 276.62 | 2197.2 | 2022 | 164.08 | 321.26 | 0 | 335.18 | 38.56 | 177.15 | 60.273 | 36.613 | 99.571 | 379.07 | 118.22 | 250.08 | 1980.1
2023 | 180.62 | 347.84 | 0 | 372.49 | 43.348 | 201.63 | 68.974 | 41.665 | 113.99 | 427.11 | 138.84 | 281.94 | 2218.4 | 2023 | 167.15 | 325.58 | 0 | 338.61 | 39.395 | 179.87 | 61.328 | 37.123 | 100.935 | 382.61 | 118.68 | 255.88 | 2007.2
2024 | 181.76 | 348.4 | 0 | 371.62 | 43.723 | 202.18 | 69.379 | 41.725 | 114.15 | 425.91 | 137.74 | 284.77 | 2221.4 | 2024 | 168.68 | 326.95 | 0 | 338.64 | 39.854 | 180.8 | 61.857 | 37.278 | 101.325 | 382.61 | 118.05 | 259.11 | 2015.2
2025 | 185.86 | 355.06 | 0 | 376.46 | 44.693 | 205.62 | 70.785 | 42.334 | 115.95 | 430.66 | 138.45 | 291.13 | 2257 | 2025 | 171.12 | 330.47 | 0 | 340.24 | 40.42 | 182.37 | 62.61 | 37.519 | 102.072 | 383.83 | 117.69 | 262.69 | 2031
2026 | 189.49 | 360.85 | 0 | 380.56 | 45.581 | 208.62 | 72.057 | 42.848 | 117.4 | 434.15 | 138.8 | 296.79 | 2287.1 | 2026 | 174.75 | 336.31 | 0 | 344.37 | 41.295 | 185.27 | 63.832 | 38.029 | 103.471 | 387.54 | 118.13 | 268.09 | 2061.1
2027 | 193.14 | 366.69 | 0 | 384.88 | 46.506 | 211.68 | 73.34 | 43.358 | 118.84 | 437.7 | 139.09 | 302.48 | 2317.7 | 2027 | 177.37 | 340.25 | 0 | 346.71 | 41.963 | 187.14 | 64.696 | 38.316 | 104.26 | 389.07 | 117.86 | 271.97 | 2079.6
2028 | 194.7 | 368.54 | 0 | 384.97 | 46.96 | 212.5 | 73.84 | 43.409 | 118.98 | 436.44 | 137.88 | 305.07 | 2323.3 | 2028 | 179.34 | 342.87 | 0 | 347.68 | 42.502 | 188.33 | 65.317 | 38.464 | 104.622 | 389.04 | 117.11 | 274.95 | 2090.2
2029 | 196.49 | 370.84 | 0 | 385.28 | 47.495 | 213.56 | 74.427 | 43.509 | 119.21 | 435.7 | 136.8 | 308.09 | 2331.4 | 2029 | 182.1 | 347.04 | 0 | 349.94 | 43.256 | 190.35 | 66.23 | 38.78 | 105.407 | 390.71 | 116.84 | 279.23 | 2109.9
2030 | 199.36 | 375.28 | 0 | 387.53 | 48.29 | 215.66 | 75.427 | 43.832 | 120.01 | 437.4 | 136.44 | 312.63 | 2351.9 | 2030 | 183.58 | 348.87 | 0 | 349.63 | 43.708 | 190.94 | 66.692 | 38.815 | 105.395 | 389.74 | 115.76 | 281.41 | 2114.5

## Winter Non-Coin
Winter Non-Coincident MDS
| Non -Coincident - 10th Percentile | [13 empty] | Non -Coincident - 50th Percentile
| Cranbourne 66KV (CBTS) | East Rowville 66KV (ERT) | Frankston 66KV (FTS) | Heatherton 66KV (HTS) | Malvern 22KV (MT2) | Malvern 66KV (MT6) | Richmond 66KV (RT6) | Ringwood 22KV (RW2) | Ringwood 66KV (RW6) | Springvale 66KV (SVT6) | Templestowe 66KV (TST) | Tyabb 66KV (TBT) | UED Total TS |  |  | Cranbourne 66KV (CBTS) | East Rowville 66KV (ERT) | Frankston 66KV (FTS) | Heatherton 66KV (HTS) | Malvern 22KV (MT2) | Malvern 66KV (MT6) | Richmond 66KV (RT6) | Ringwood 22KV (RW2) | Ringwood 66KV (RW6) | Springvale 66KV (SVT6) | Templestowe 66KV (TST) | Tyabb 66KV (TBT) | UED Total TS
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
base scenario | E( 7021) | E( 7022) | E( 7023) | E( 7024) | E( 7025) | E( 7026) | E( 7027) | E( 7028) | E( 7029) | E( 7030) | E( 7031) | E( 7032) |  | base scenario |  | E( 7041) | E( 7042) | E( 7043) | E( 7044) | E( 7045) | E( 7046) | E( 7047) | E( 7048) | E( 7049) | E( 7050) | E( 7051) | E( 7052)
2005 | 33.98 | 244.83 | 32.42 | 293.01 | 55.56 | 94.3 | 55.91 | 29.97 | 66.35 | 304.38 | 92.76 | 199.55 | 1503.02 | 2005 |  | 33.98 | 244.83 | 32.42 | 293.01 | 55.56 | 94.3 | 55.91 | 29.97 | 66.35 | 304.38 | 92.76 | 199.55 | 1503.02
2006 | 86.86 | 253.86 | 0 | 241.16 | 52.49 | 99.42 | 55.98 | 27.22 | 82.23 | 300.65 | 92.76 | 206.66 | 1499.29 | 2006 |  | 86.86 | 253.86 | 0 | 241.16 | 52.49 | 99.42 | 55.98 | 27.22 | 82.23 | 300.65 | 92.76 | 206.66 | 1499.29
2007 | 94.72 | 281 | 0 | 259.56 | 46.8 | 108.31 | 61.49 | 27.29 | 83.81 | 339.2 | 93.64 | 209.18 | 1605 | 2007 |  | 94.72 | 281 | 0 | 259.56 | 46.8 | 108.31 | 61.49 | 27.29 | 83.81 | 339.2 | 93.64 | 209.18 | 1605
2008 | 90.12 | 266.1 | 0 | 240.98 | 33.22 | 120.87 | 59.24 | 24.29 | 90.99 | 326.6 | 90.43 | 206.27 | 1549.11 | 2008 |  | 90.12 | 266.1 | 0 | 240.98 | 33.22 | 120.87 | 59.24 | 24.29 | 90.99 | 326.6 | 90.43 | 206.27 | 1549.11
2009 | 100.44 | 273.3 | 0 | 242.44 | 33.73 | 128.49 | 58.12 | 24.55 | 85.28 | 319 | 93.34 | 213.26 | 1571.95 | 2009 |  | 100.44 | 273.3 | 0 | 242.44 | 33.73 | 128.49 | 58.12 | 24.55 | 85.28 | 319 | 93.34 | 213.26 | 1571.95
2010 | 123.3 | 277.2 | 0 | 245.9 | 33.6 | 127.7 | 58.1 | 24.9 | 82.5 | 330.2 | 90.3 | 195.5 | 1589.2 | 2010 |  | 123.3 | 277.2 | 0 | 245.9 | 33.6 | 127.7 | 58.1 | 24.9 | 82.5 | 330.2 | 90.3 | 195.5 | 1589.2
2011 | 124.3 | 278.8 | 0 | 244.2 | 29.7 | 131.7 | 60 | 24.3 | 83.7 | 325.4 | 92.3 | 193.9 | 1588.3 | 2011 |  | 124.3 | 278.8 | 0 | 244.2 | 29.7 | 131.7 | 60 | 24.3 | 83.7 | 325.4 | 92.3 | 193.9 | 1588.3
2012 | 141.9 | 279.62 | 0 | 243.28 | 32.7 | 130.41 | 52.72 | 24.89 | 79.06 | 314.7 | 89.54 | 192.53 | 1581.35 | 2012 |  | 141.9 | 279.62 | 0 | 243.28 | 32.7 | 130.41 | 52.72 | 24.89 | 79.06 | 314.7 | 89.54 | 192.53 | 1581.35
2013 | 144.42 | 285.1 | 0 | 236.13 | 32.11 | 124.03 | 56.63 | 24.08 | 81.25 | 305.74 | 92.88 | 187.01 | 1569.38 | 2013 |  | 144.42 | 285.1 | 0 | 236.13 | 32.11 | 124.03 | 56.63 | 24.08 | 81.25 | 305.74 | 92.88 | 187.01 | 1569.38
2014 | 125.39 | 282.68 | 0 | 232.1 | 30.89 | 126.42 | 54.06 | 23.23 | 77.49 | 315.63 | 87.96 | 194.97 | 1550.82 | 2014 |  | 125.39 | 282.68 | 0 | 232.1 | 30.89 | 126.42 | 54.06 | 23.23 | 77.49 | 315.63 | 87.96 | 194.97 | 1550.82
2015 | 133.78 | 273.96 | 0 | 258.24 | 29.23 | 131.39 | 58.33 | 24.73 | 80.83 | 297.46 | 89.6 | 197.29 | 1574.84 | 2015 |  | 133.78 | 273.96 | 0 | 258.24 | 29.23 | 131.39 | 58.33 | 24.73 | 80.83 | 297.46 | 89.6 | 197.29 | 1574.84
2016 | 126.61 | 273.3 | 0 | 253.38 | 30.53 | 125.2 | 54.73 | 25.09 | 78.72 | 294.68 | 88.44 | 196.08 | 1546.76 | 2016 |  | 126.61 | 273.3 | 0 | 253.38 | 30.53 | 125.2 | 54.73 | 25.09 | 78.72 | 294.68 | 88.44 | 196.08 | 1546.76
2017 | 127.58 | 272.22 | 0 | 256.27 | 30.09 | 120.97 | 49.03 | 28.72 | 73.62 | 288.53 | 85.68 | 190.65 | 1523.36 | 2017 |  | 127.58 | 272.22 | 0 | 256.27 | 30.09 | 120.97 | 49.03 | 28.72 | 73.62 | 288.53 | 85.68 | 190.65 | 1523.36
2018 | 133.71 | 283.53 | 0 | 261.31 | 36.533 | 132.43 | 56.362 | 31.496 | 82.843 | 307.5 | 87.254 | 207.63 | 1620.598 | 2018 |  | 131.99 | 279.89 | 0 | 257.96 | 35.037 | 130.73 | 55.637 | 30.065 | 81.778 | 303.54 | 86.132 | 204.96 | 1597.719
2019 | 136.32 | 287.1 | 0 | 262.93 | 36.567 | 133.37 | 56.894 | 31.791 | 83.312 | 309.14 | 87.641 | 210.28 | 1635.345 | 2019 |  | 134.49 | 283.21 | 0 | 259.35 | 35.053 | 131.55 | 56.122 | 30.322 | 82.175 | 304.93 | 86.445 | 207.42 | 1611.067
2020 | 138.8 | 290.64 | 0 | 264.51 | 36.558 | 134.24 | 57.313 | 32.016 | 83.684 | 310.33 | 87.755 | 212.69 | 1648.536 | 2020 |  | 136.86 | 286.51 | 0 | 260.71 | 35.026 | 132.31 | 56.494 | 30.51 | 82.473 | 305.86 | 86.485 | 209.63 | 1622.868
2021 | 140.77 | 292.84 | 0 | 265.01 | 36.489 | 134.64 | 57.641 | 32.19 | 83.751 | 310.58 | 87.744 | 214.77 | 1656.425 | 2021 |  | 138.71 | 288.48 | 0 | 261 | 34.944 | 132.61 | 56.776 | 30.653 | 82.47 | 305.86 | 86.403 | 211.52 | 1629.426
2022 | 142.37 | 293.94 | 0 | 264.72 | 36.39 | 134.76 | 57.977 | 32.379 | 83.66 | 310.49 | 87.831 | 216.94 | 1661.457 | 2022 |  | 140.21 | 289.36 | 0 | 260.51 | 34.836 | 132.63 | 57.068 | 30.811 | 82.311 | 305.54 | 86.421 | 213.52 | 1633.217
2023 | 144.66 | 296.49 | 0 | 265.62 | 36.392 | 135.55 | 58.548 | 32.675 | 83.879 | 311.53 | 88.238 | 219.8 | 1673.382 | 2023 |  | 142.38 | 291.66 | 0 | 261.19 | 34.825 | 133.3 | 57.591 | 31.073 | 82.458 | 306.33 | 86.754 | 216.17 | 1643.731
2024 | 147.84 | 301.14 | 0 | 268.01 | 36.442 | 137.04 | 59.304 | 33.054 | 84.542 | 313.96 | 88.877 | 223.19 | 1693.399 | 2024 |  | 145.43 | 296.06 | 0 | 263.35 | 34.859 | 134.67 | 58.295 | 31.415 | 83.042 | 308.48 | 87.314 | 219.35 | 1662.265
2025 | 150.93 | 305.71 | 0 | 270.46 | 36.525 | 138.58 | 60.127 | 33.456 | 85.139 | 316.17 | 89.521 | 226.69 | 1713.308 | 2025 |  | 148.38 | 300.36 | 0 | 265.56 | 34.924 | 136.09 | 59.065 | 31.777 | 83.559 | 310.41 | 87.878 | 222.62 | 1680.623
2026 | 153.93 | 310.19 | 0 | 272.86 | 36.6 | 140.05 | 60.913 | 33.829 | 85.681 | 318.23 | 90.097 | 230.05 | 1732.43 | 2026 |  | 151.25 | 304.57 | 0 | 267.72 | 34.984 | 137.44 | 59.798 | 32.112 | 84.021 | 312.19 | 88.373 | 225.76 | 1698.218
2027 | 156.88 | 314.57 | 0 | 275.12 | 36.673 | 141.47 | 61.682 | 34.193 | 86.17 | 320.07 | 90.601 | 233.39 | 1750.819 | 2027 |  | 154.07 | 308.68 | 0 | 269.74 | 35.042 | 138.73 | 60.515 | 32.438 | 84.43 | 313.75 | 88.797 | 228.87 | 1715.062
2028 | 159.76 | 318.83 | 0 | 277.25 | 36.745 | 142.85 | 62.44 | 34.548 | 86.61 | 321.73 | 91.042 | 236.71 | 1768.515 | 2028 |  | 156.82 | 312.66 | 0 | 271.64 | 35.099 | 139.99 | 61.219 | 32.753 | 84.789 | 315.13 | 89.157 | 231.95 | 1731.207
2029 | 162.76 | 323.28 | 0 | 279.59 | 36.848 | 144.38 | 63.294 | 34.951 | 87.091 | 323.52 | 91.566 | 240.32 | 1787.6 | 2029 |  | 159.68 | 316.84 | 0 | 273.73 | 35.184 | 141.4 | 62.018 | 33.113 | 85.188 | 316.64 | 89.598 | 235.33 | 1748.721
high | [13 empty] | high
2018 | 136.38 | 288.23 | 0 | 266.29 | 37.268 | 135.09 | 57.627 | 32.149 | 84.015 | 312.17 | 89.181 | 211.38 | 1649.78 | 2018 |  | 134.38 | 283.99 | 0 | 262.38 | 35.683 | 133.1 | 56.78 | 30.639 | 82.78 | 307.58 | 87.87 | 208.27 | 1623.452
2019 | 141.32 | 295.78 | 0 | 271.41 | 37.784 | 138.01 | 59.155 | 32.865 | 85.273 | 317.66 | 90.941 | 216.62 | 1686.818 | 2019 |  | 139.18 | 291.24 | 0 | 267.23 | 36.168 | 135.89 | 58.249 | 31.306 | 83.952 | 312.75 | 89.54 | 213.28 | 1658.785
2020 | 146.12 | 303.11 | 0 | 276.05 | 38.222 | 140.64 | 60.52 | 33.493 | 86.408 | 322.6 | 92.389 | 221.52 | 1721.072 | 2020 |  | 143.83 | 298.28 | 0 | 271.61 | 36.577 | 138.39 | 59.555 | 31.884 | 85 | 317.38 | 90.9 | 217.96 | 1691.366
2021 | 150.78 | 310.14 | 0 | 280.25 | 38.618 | 143.13 | 61.893 | 34.102 | 87.375 | 327.03 | 93.762 | 226.38 | 1753.46 | 2021 |  | 148.35 | 305.01 | 0 | 275.54 | 36.948 | 140.75 | 60.869 | 32.447 | 85.881 | 321.49 | 92.183 | 222.58 | 1722.048
2022 | 155.3 | 316.64 | 0 | 284.08 | 38.976 | 145.49 | 63.316 | 34.741 | 88.281 | 331.37 | 95.233 | 231.45 | 1784.877 | 2022 |  | 152.72 | 311.22 | 0 | 279.12 | 37.282 | 142.97 | 62.231 | 33.039 | 86.701 | 325.52 | 93.565 | 227.42 | 1751.788
2023 | 160.13 | 323.49 | 0 | 288.5 | 39.44 | 148.24 | 64.956 | 35.484 | 89.286 | 336.17 | 96.992 | 237.09 | 1819.778 | 2023 |  | 157.4 | 317.75 | 0 | 283.27 | 37.72 | 145.59 | 63.809 | 33.732 | 87.617 | 329.99 | 95.232 | 232.81 | 1784.92
2024 | 165.89 | 332.67 | 0 | 294.43 | 39.91 | 151.74 | 66.744 | 36.272 | 90.684 | 342.18 | 98.847 | 243.2 | 1862.567 | 2024 |  | 163 | 326.6 | 0 | 288.91 | 38.16 | 148.93 | 65.53 | 34.467 | 88.92 | 335.65 | 96.988 | 238.65 | 1825.805
2025 | 171.81 | 342.05 | 0 | 300.5 | 40.408 | 155.3 | 68.613 | 37.095 | 92.108 | 348.27 | 100.765 | 249.51 | 1906.429 | 2025 |  | 168.75 | 335.64 | 0 | 294.68 | 38.629 | 152.34 | 67.329 | 35.235 | 90.247 | 341.38 | 98.805 | 244.69 | 1867.725
2026 | 177.72 | 351.35 | 0 | 306.51 | 40.896 | 158.82 | 70.467 | 37.898 | 93.466 | 354.15 | 102.614 | 255.74 | 1949.631 | 2026 |  | 174.48 | 344.58 | 0 | 300.39 | 39.088 | 155.7 | 69.112 | 35.984 | 91.506 | 346.89 | 100.551 | 250.65 | 1908.931
2027 | 183.62 | 360.6 | 0 | 312.41 | 41.387 | 162.36 | 72.371 | 38.727 | 94.769 | 359.66 | 104.368 | 262.09 | 1992.362 | 2027 |  | 180.2 | 353.47 | 0 | 305.99 | 39.547 | 159.09 | 70.945 | 36.752 | 92.709 | 352.04 | 102.201 | 256.71 | 1949.654
2028 | 189.56 | 369.87 | 0 | 318.32 | 41.862 | 165.85 | 74.247 | 39.527 | 96.024 | 365.08 | 106.067 | 268.36 | 2034.767 | 2028 |  | 185.96 | 362.38 | 0 | 311.59 | 39.993 | 162.42 | 72.747 | 37.494 | 93.863 | 357.08 | 103.796 | 262.69 | 1990.013
2029 | 195.73 | 379.56 | 0 | 324.62 | 42.371 | 169.56 | 76.266 | 40.394 | 97.348 | 370.71 | 107.877 | 275.05 | 2079.486 | 2029 |  | 191.94 | 371.69 | 0 | 317.58 | 40.47 | 165.96 | 74.691 | 38.297 | 95.083 | 362.33 | 105.497 | 269.07 | 2032.608
low | [13 empty] | low
2018 | 132.01 | 280.36 | 0 | 257.97 | 36.026 | 130.46 | 55.458 | 31.067 | 82.07 | 304.69 | 86.033 | 205.11 | 1601.254 | 2018 |  | 130.49 | 277.13 | 0 | 255 | 34.59 | 128.96 | 54.82 | 29.687 | 81.125 | 301.18 | 85.042 | 202.75 | 1580.774
2019 | 132.82 | 280.57 | 0 | 257.53 | 35.751 | 130.14 | 55.137 | 31.117 | 82.052 | 303.07 | 85.624 | 206.17 | 1599.981 | 2019 |  | 131.21 | 277.15 | 0 | 254.37 | 34.302 | 128.55 | 54.463 | 29.707 | 81.045 | 299.36 | 84.571 | 203.65 | 1578.378
2020 | 133.65 | 281.11 | 0 | 257.3 | 35.459 | 129.88 | 54.749 | 31.125 | 82.03 | 301.32 | 85.03 | 207.13 | 1598.783 | 2020 |  | 131.96 | 277.51 | 0 | 253.96 | 33.998 | 128.19 | 54.037 | 29.683 | 80.96 | 297.41 | 83.914 | 204.44 | 1576.062
2021 | 134 | 280.48 | 0 | 256.14 | 35.112 | 129.3 | 54.289 | 31.084 | 81.74 | 298.78 | 84.338 | 207.82 | 1593.083 | 2021 |  | 132.21 | 276.7 | 0 | 252.62 | 33.643 | 127.52 | 53.543 | 29.617 | 80.61 | 294.68 | 83.162 | 204.97 | 1569.275
2022 | 134.08 | 279.07 | 0 | 254.54 | 34.766 | 128.64 | 53.885 | 31.073 | 81.34 | 296.03 | 83.777 | 208.66 | 1585.861 | 2022 |  | 132.22 | 275.12 | 0 | 250.84 | 33.293 | 126.77 | 53.106 | 29.579 | 80.151 | 291.75 | 82.542 | 205.65 | 1561.021
2023 | 134.51 | 278.37 | 0 | 253.47 | 34.495 | 128.28 | 53.637 | 31.129 | 81.12 | 294.07 | 83.478 | 209.96 | 1582.519 | 2023 |  | 132.56 | 274.24 | 0 | 249.59 | 33.015 | 126.32 | 52.824 | 29.61 | 79.869 | 289.6 | 82.182 | 206.78 | 1556.59
2024 | 135.86 | 279.78 | 0 | 254.02 | 34.372 | 128.63 | 53.667 | 31.314 | 81.331 | 293.56 | 83.542 | 211.96 | 1588.036 | 2024 |  | 133.81 | 275.45 | 0 | 249.94 | 32.881 | 126.57 | 52.816 | 29.764 | 80.012 | 288.88 | 82.179 | 208.6 | 1560.902
2025 | 137.22 | 281.28 | 0 | 254.8 | 34.276 | 129.06 | 53.739 | 31.519 | 81.545 | 293.04 | 83.637 | 214.02 | 1594.136 | 2025 |  | 135.08 | 276.75 | 0 | 250.52 | 32.773 | 126.9 | 52.848 | 29.935 | 80.157 | 288.15 | 82.206 | 210.46 | 1565.779
2026 | 138.48 | 282.59 | 0 | 255.59 | 34.175 | 129.46 | 53.776 | 31.701 | 81.708 | 292.4 | 83.674 | 215.98 | 1599.534 | 2026 |  | 136.23 | 277.86 | 0 | 251.1 | 32.662 | 127.19 | 52.847 | 30.086 | 80.25 | 287.3 | 82.173 | 212.23 | 1569.928
2027 | 139.66 | 283.78 | 0 | 256.24 | 34.078 | 129.82 | 53.798 | 31.88 | 81.836 | 291.6 | 83.661 | 217.95 | 1604.303 | 2027 |  | 137.32 | 278.85 | 0 | 251.55 | 32.555 | 127.45 | 52.831 | 30.232 | 80.308 | 286.3 | 82.093 | 214.01 | 1573.499
2028 | 140.79 | 284.91 | 0 | 256.71 | 33.987 | 130.15 | 53.81 | 32.054 | 81.938 | 290.75 | 83.62 | 219.95 | 1608.669 | 2028 |  | 138.35 | 279.77 | 0 | 251.81 | 32.452 | 127.67 | 52.805 | 30.372 | 80.34 | 285.24 | 81.983 | 215.8 | 1576.592
2029 | 142.03 | 286.28 | 0 | 257.34 | 33.92 | 130.56 | 53.87 | 32.246 | 82.079 | 290.2 | 83.665 | 222.11 | 1614.3 | 2029 |  | 139.48 | 280.94 | 0 | 252.24 | 32.376 | 127.98 | 52.826 | 30.531 | 80.409 | 284.48 | 81.957 | 217.76 | 1580.979

## Winter Coin
Winter Coincident MDS
| Cranbourne 66KV (CBTS) | East Rowville 66KV (ERT) | Frankston 66KV (FTS) | Heatherton 66KV (HTS) | Malvern 22KV (MT2) | Malvern 66KV (MT6) | Richmond 66KV (RT6) | Ringwood 22KV (RW2) | Ringwood 66KV (RW6) | Springvale 66KV (SVT6) | Templestowe 66KV (TST) | Tyabb 66KV (TBT) | UED Total TS |  | Cranbourne 66KV (CBTS) | East Rowville 66KV (ERT) | Frankston 66KV (FTS) | Heatherton 66KV (HTS) | Malvern 22KV (MT2) | Malvern 66KV (MT6) | Richmond 66KV (RT6) | Ringwood 22KV (RW2) | Ringwood 66KV (RW6) | Springvale 66KV (SVT6) | Templestowe 66KV (TST) | Tyabb 66KV (TBT) | UED Total TS
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
base scenario | E( 7141) | E( 7142) | E( 7143) | E( 7144) | E( 7145) | E( 7146) | E( 7147) | E( 7148) | E( 7149) | E( 7150) | E( 7151) | E( 7152) |  | base scenario | E( 7161) | E( 7162) | E( 7163) | E( 7164) | E( 7165) | E( 7166) | E( 7167) | E( 7168) | E( 7169) | E( 7170) | E( 7171) | E( 7172) | E( 7180)
2005 | 32.96 | 205.68 | 0 | 293.01 | 54.82 | 92.27 | 52.87 | 29.97 | 66.35 | 293.84 | 91.32 | 199.55 | 1412.6 | 2005 | 32.96 | 205.68 | 0 | 293.01 | 54.82 | 92.27 | 52.87 | 29.97 | 66.35 | 293.84 | 91.32 | 199.55 | 1412.6
2006 | 82.64 | 216.36 | 0 | 241.16 | 52.37 | 97.51 | 52.68 | 26.55 | 81.19 | 292.6 | 88.61 | 192.74 | 1424.4 | 2006 | 82.64 | 216.36 | 0 | 241.16 | 52.37 | 97.51 | 52.68 | 26.55 | 81.19 | 292.6 | 88.61 | 192.74 | 1424.4
2007 | 94.51 | 243.36 | 0 | 259.56 | 45.77 | 105.52 | 56.14 | 26.89 | 83.81 | 329.15 | 91.83 | 206.14 | 1542.7 | 2007 | 94.51 | 243.36 | 0 | 259.56 | 45.77 | 105.52 | 56.14 | 26.89 | 83.81 | 329.15 | 91.83 | 206.14 | 1542.7
2008 | 86.24 | 221.51 | 0 | 236.35 | 33.22 | 116.88 | 56.32 | 24.29 | 81.13 | 308.65 | 90.43 | 204.75 | 1459.8 | 2008 | 86.24 | 221.51 | 0 | 236.35 | 33.22 | 116.88 | 56.32 | 24.29 | 81.13 | 308.65 | 90.43 | 204.75 | 1459.8
2009 | 90.82 | 228.39 | 0 | 242.35 | 33.23 | 125.3 | 52.94 | 24.14 | 85.28 | 312.49 | 93.34 | 212.99 | 1501.3 | 2009 | 90.82 | 228.39 | 0 | 242.35 | 33.23 | 125.3 | 52.94 | 24.14 | 85.28 | 312.49 | 93.34 | 212.99 | 1501.3
2010 | 119.17 | 230.96 | 0 | 240.28 | 32.17 | 123.72 | 52.23 | 24.74 | 82.46 | 316.76 | 90.28 | 195.25 | 1508 | 2010 | 119.17 | 230.96 | 0 | 240.28 | 32.17 | 123.72 | 52.23 | 24.74 | 82.46 | 316.76 | 90.28 | 195.25 | 1508
2011 | 124.31 | 228.77 | 0 | 244.16 | 29.72 | 131.52 | 58.54 | 24.15 | 82.41 | 310.7 | 91.56 | 193.94 | 1519.8 | 2011 | 124.31 | 228.77 | 0 | 244.16 | 29.72 | 131.52 | 58.54 | 24.15 | 82.41 | 310.7 | 91.56 | 193.94 | 1519.8
2012 | 122.59 | 232.64 | 0 | 243.28 | 30.76 | 125.73 | 49.65 | 23.04 | 79.06 | 304.16 | 89.21 | 188.32 | 1488.4 | 2012 | 122.59 | 232.64 | 0 | 243.28 | 30.76 | 125.73 | 49.65 | 23.04 | 79.06 | 304.16 | 89.21 | 188.32 | 1488.4
2013 | 119.7 | 239.65 | 0 | 231.6 | 32.11 | 120.83 | 52.7 | 23.58 | 81.25 | 289.87 | 92.88 | 177.82 | 1462 | 2013 | 119.7 | 239.65 | 0 | 231.6 | 32.11 | 120.83 | 52.7 | 23.58 | 81.25 | 289.87 | 92.88 | 177.82 | 1462
2014 | 122.86 | 210.87 | 0 | 225.72 | 26.26 | 126.42 | 51.27 | 22.4 | 76.86 | 297.38 | 87.96 | 194.97 | 1443 | 2014 | 122.86 | 210.87 | 0 | 225.72 | 26.26 | 126.42 | 51.27 | 22.4 | 76.86 | 297.38 | 87.96 | 194.97 | 1443
2015 | 129.72 | 231.89 | 0 | 258.24 | 27.1 | 124.51 | 54.03 | 24.73 | 80.83 | 297.46 | 89.49 | 195.74 | 1513.7 | 2015 | 129.72 | 231.89 | 0 | 258.24 | 27.1 | 124.51 | 54.03 | 24.73 | 80.83 | 297.46 | 89.49 | 195.74 | 1513.7
2016 | 123.46 | 222.47 | 0 | 248.56 | 30.38 | 120.35 | 52.38 | 22.81 | 77.28 | 283.1 | 87.56 | 193.45 | 1461.8 | 2016 | 123.46 | 222.47 | 0 | 248.56 | 30.38 | 120.35 | 52.38 | 22.81 | 77.28 | 283.1 | 87.56 | 193.45 | 1461.8
2017 | 126.87 | 218.17 | 0 | 245.73 | 27.46 | 119.06 | 46.69 | 24.96 | 73.29 | 277.98 | 85.47 | 186.83 | 1432.5 | 2017 | 126.87 | 218.17 | 0 | 245.73 | 27.46 | 119.06 | 46.69 | 24.96 | 73.29 | 277.98 | 85.47 | 186.83 | 1432.5
2018 | 132.22 | 234.84 | 0 | 258.46 | 34.842 | 128.9 | 53.769 | 29.439 | 82.979 | 302.51 | 87.666 | 206.68 | 1552.3 | 2018 | 129.9 | 230.71 | 0 | 253.91 | 33.256 | 126.63 | 52.824 | 27.967 | 81.52 | 297.19 | 86.125 | 203.04 | 1523.1
2019 | 134.81 | 237.82 | 0 | 260.08 | 34.878 | 129.82 | 54.282 | 29.717 | 83.457 | 304.15 | 88.063 | 209.33 | 1566.4 | 2019 | 132.36 | 233.48 | 0 | 255.31 | 33.274 | 127.45 | 53.29 | 28.209 | 81.924 | 298.58 | 86.446 | 205.5 | 1535.8
2020 | 137.29 | 240.78 | 0 | 261.67 | 34.874 | 130.69 | 54.688 | 29.931 | 83.839 | 305.36 | 88.187 | 211.76 | 1579.1 | 2020 | 134.71 | 236.22 | 0 | 256.68 | 33.253 | 128.2 | 53.649 | 28.387 | 82.231 | 299.53 | 86.496 | 207.72 | 1547.1
2021 | 139.24 | 242.62 | 0 | 262.19 | 34.81 | 131.09 | 55.005 | 30.096 | 83.912 | 305.63 | 88.183 | 213.84 | 1586.6 | 2021 | 136.55 | 237.87 | 0 | 256.99 | 33.177 | 128.5 | 53.921 | 28.522 | 82.234 | 299.55 | 86.42 | 209.6 | 1553.3
2022 | 140.83 | 243.54 | 0 | 261.9 | 34.716 | 131.21 | 55.327 | 30.273 | 83.823 | 305.54 | 88.272 | 216.01 | 1591.4 | 2022 | 138.02 | 238.59 | 0 | 256.5 | 33.075 | 128.51 | 54.199 | 28.67 | 82.077 | 299.23 | 86.44 | 211.58 | 1556.9
2023 | 143.1 | 245.65 | 0 | 262.8 | 34.719 | 131.98 | 55.874 | 30.551 | 84.045 | 306.58 | 88.684 | 218.87 | 1602.9 | 2023 | 140.16 | 240.5 | 0 | 257.19 | 33.066 | 129.17 | 54.698 | 28.915 | 82.226 | 300.02 | 86.777 | 214.23 | 1567
2024 | 146.25 | 249.54 | 0 | 265.2 | 34.771 | 133.45 | 56.601 | 30.909 | 84.718 | 309.01 | 89.336 | 222.27 | 1622 | 2024 | 143.18 | 244.15 | 0 | 259.34 | 33.102 | 130.52 | 55.372 | 29.236 | 82.818 | 302.16 | 87.346 | 217.39 | 1584.6
2025 | 149.32 | 253.34 | 0 | 267.64 | 34.853 | 134.96 | 57.391 | 31.288 | 85.324 | 311.21 | 89.992 | 225.77 | 1641.1 | 2025 | 146.11 | 247.72 | 0 | 261.54 | 33.167 | 131.9 | 56.109 | 29.575 | 83.341 | 304.08 | 87.918 | 220.66 | 1602.1
2026 | 152.31 | 257.09 | 0 | 270.05 | 34.928 | 136.4 | 58.148 | 31.639 | 85.876 | 313.26 | 90.579 | 229.14 | 1659.4 | 2026 | 148.95 | 251.22 | 0 | 263.7 | 33.227 | 133.22 | 56.812 | 29.89 | 83.81 | 305.85 | 88.423 | 223.79 | 1618.9
2027 | 155.24 | 260.74 | 0 | 272.31 | 35.002 | 137.79 | 58.888 | 31.983 | 86.374 | 315.11 | 91.095 | 232.49 | 1677 | 2027 | 151.73 | 254.64 | 0 | 265.71 | 33.286 | 134.49 | 57.498 | 30.196 | 84.227 | 307.42 | 88.855 | 226.9 | 1635
2028 | 158.11 | 264.29 | 0 | 274.45 | 35.074 | 139.15 | 59.617 | 32.319 | 86.824 | 316.77 | 91.548 | 235.81 | 1694 | 2028 | 154.46 | 257.95 | 0 | 267.61 | 33.343 | 135.72 | 58.173 | 30.493 | 84.593 | 308.8 | 89.225 | 229.98 | 1650.3
2029 | 161.1 | 268.01 | 0 | 276.79 | 35.175 | 140.66 | 60.438 | 32.699 | 87.315 | 318.57 | 92.082 | 239.43 | 1712.3 | 2029 | 157.29 | 261.42 | 0 | 269.7 | 33.427 | 137.1 | 58.938 | 30.832 | 85 | 310.31 | 89.675 | 233.34 | 1667
high | [13 empty] | high
2018 | 134.86 | 238.72 | 0 | 263.37 | 35.542 | 131.48 | 54.975 | 30.048 | 84.15 | 307.1 | 89.599 | 210.4 | 1580.3 | 2018 | 132.24 | 234.09 | 0 | 258.26 | 33.868 | 128.93 | 53.907 | 28.5 | 82.516 | 301.14 | 87.859 | 206.32 | 1547.6
2019 | 139.76 | 245 | 0 | 268.46 | 36.038 | 134.34 | 56.438 | 30.721 | 85.419 | 312.53 | 91.377 | 215.64 | 1615.7 | 2019 | 136.98 | 240.09 | 0 | 263.07 | 34.332 | 131.64 | 55.308 | 29.123 | 83.693 | 306.23 | 89.539 | 211.3 | 1581.3
2020 | 144.52 | 251.1 | 0 | 273.09 | 36.46 | 136.92 | 57.747 | 31.312 | 86.567 | 317.43 | 92.844 | 220.55 | 1648.5 | 2020 | 141.58 | 245.92 | 0 | 267.41 | 34.725 | 134.08 | 56.555 | 29.665 | 84.75 | 310.8 | 90.91 | 215.96 | 1612.4
2021 | 149.15 | 256.96 | 0 | 277.27 | 36.843 | 139.36 | 59.065 | 31.885 | 87.547 | 321.83 | 94.234 | 225.41 | 1679.6 | 2021 | 146.04 | 251.51 | 0 | 271.32 | 35.081 | 136.38 | 57.81 | 30.192 | 85.639 | 314.87 | 92.205 | 220.57 | 1641.6
2022 | 153.63 | 262.37 | 0 | 281.09 | 37.187 | 141.67 | 60.428 | 32.485 | 88.462 | 326.13 | 95.721 | 230.48 | 1709.7 | 2022 | 150.36 | 256.65 | 0 | 274.86 | 35.401 | 138.55 | 59.109 | 30.746 | 86.464 | 318.84 | 93.596 | 225.39 | 1670
2023 | 158.42 | 268.06 | 0 | 285.48 | 37.633 | 144.36 | 61.997 | 33.182 | 89.474 | 330.88 | 97.495 | 236.11 | 1743.1 | 2023 | 154.98 | 262.05 | 0 | 278.96 | 35.819 | 141.09 | 60.612 | 31.393 | 87.383 | 323.24 | 95.269 | 230.74 | 1701.5
2024 | 164.14 | 275.71 | 0 | 291.39 | 38.086 | 147.78 | 63.712 | 33.923 | 90.888 | 336.84 | 99.374 | 242.23 | 1784.1 | 2024 | 160.51 | 269.39 | 0 | 284.56 | 36.243 | 144.36 | 62.255 | 32.081 | 88.695 | 328.83 | 97.04 | 236.57 | 1740.5
2025 | 170.02 | 283.52 | 0 | 297.43 | 38.567 | 151.27 | 65.505 | 34.698 | 92.327 | 342.88 | 101.316 | 248.55 | 1826.1 | 2025 | 166.19 | 276.88 | 0 | 290.28 | 36.693 | 147.68 | 63.973 | 32.801 | 90.03 | 334.49 | 98.871 | 242.59 | 1780.5
2026 | 175.9 | 291.27 | 0 | 303.43 | 39.037 | 154.72 | 67.284 | 35.454 | 93.701 | 348.71 | 103.188 | 254.79 | 1867.5 | 2026 | 171.87 | 284.29 | 0 | 295.95 | 37.134 | 150.96 | 65.676 | 33.503 | 91.299 | 339.94 | 100.631 | 248.52 | 1819.8
2027 | 181.75 | 298.97 | 0 | 309.3 | 39.511 | 158.19 | 69.111 | 36.233 | 95.02 | 354.18 | 104.965 | 261.15 | 1908.4 | 2027 | 177.52 | 291.67 | 0 | 301.5 | 37.575 | 154.27 | 67.427 | 34.222 | 92.512 | 345.02 | 102.297 | 254.57 | 1858.6
2028 | 187.66 | 306.7 | 0 | 315.19 | 39.97 | 161.61 | 70.912 | 36.987 | 96.291 | 359.56 | 106.689 | 267.43 | 1949 | 2028 | 183.22 | 299.05 | 0 | 307.06 | 38.004 | 157.52 | 69.149 | 34.918 | 93.676 | 350.01 | 103.907 | 260.53 | 1897.1
2029 | 193.79 | 314.77 | 0 | 321.48 | 40.462 | 165.24 | 72.85 | 37.803 | 97.63 | 365.16 | 108.523 | 274.13 | 1991.8 | 2029 | 189.14 | 306.78 | 0 | 313.01 | 38.462 | 160.97 | 71.006 | 35.67 | 94.905 | 355.21 | 105.624 | 266.9 | 1937.7
low | [13 empty] | low
2018 | 130.54 | 232.22 | 0 | 255.16 | 34.36 | 126.99 | 52.908 | 29.038 | 82.206 | 299.75 | 86.44 | 204.17 | 1533.8 | 2018 | 128.42 | 228.45 | 0 | 251.01 | 32.832 | 124.92 | 52.048 | 27.616 | 80.87 | 294.89 | 85.036 | 200.85 | 1506.9
2019 | 131.34 | 232.39 | 0 | 254.72 | 34.098 | 126.68 | 52.603 | 29.085 | 82.19 | 298.17 | 86.032 | 205.24 | 1532.5 | 2019 | 129.13 | 228.47 | 0 | 250.4 | 32.56 | 124.53 | 51.711 | 27.635 | 80.794 | 293.11 | 84.567 | 201.75 | 1504.7
2020 | 132.17 | 232.86 | 0 | 254.52 | 33.822 | 126.43 | 52.235 | 29.095 | 82.173 | 296.46 | 85.44 | 206.2 | 1531.4 | 2020 | 129.87 | 228.78 | 0 | 250.01 | 32.273 | 124.19 | 51.31 | 27.615 | 80.714 | 291.22 | 83.915 | 202.55 | 1502.4
2021 | 132.52 | 232.34 | 0 | 253.37 | 33.491 | 125.87 | 51.798 | 29.058 | 81.884 | 293.97 | 84.747 | 206.89 | 1525.9 | 2021 | 130.13 | 228.12 | 0 | 248.7 | 31.937 | 123.54 | 50.842 | 27.553 | 80.366 | 288.55 | 83.165 | 203.07 | 1496
2022 | 132.6 | 231.17 | 0 | 251.78 | 33.161 | 125.23 | 51.411 | 29.046 | 81.481 | 291.26 | 84.18 | 207.72 | 1519 | 2022 | 130.13 | 226.81 | 0 | 246.94 | 31.603 | 122.82 | 50.426 | 27.518 | 79.906 | 285.68 | 82.543 | 203.75 | 1488.1
2023 | 133.02 | 230.58 | 0 | 250.71 | 32.901 | 124.87 | 51.174 | 29.098 | 81.258 | 289.32 | 83.878 | 209.01 | 1515.8 | 2023 | 130.46 | 226.07 | 0 | 245.7 | 31.339 | 122.37 | 50.157 | 27.546 | 79.623 | 283.57 | 82.181 | 204.86 | 1483.9
2024 | 134.36 | 231.76 | 0 | 251.27 | 32.785 | 125.21 | 51.204 | 29.272 | 81.472 | 288.83 | 83.945 | 211.01 | 1521.1 | 2024 | 131.7 | 227.08 | 0 | 246.05 | 31.213 | 122.62 | 50.151 | 27.69 | 79.768 | 282.87 | 82.18 | 206.67 | 1488
2025 | 135.71 | 233.01 | 0 | 252.05 | 32.694 | 125.64 | 51.273 | 29.464 | 81.69 | 288.33 | 84.043 | 213.06 | 1527 | 2025 | 132.95 | 228.16 | 0 | 246.63 | 31.112 | 122.94 | 50.183 | 27.85 | 79.916 | 282.16 | 82.21 | 208.52 | 1492.6
2026 | 136.95 | 234.1 | 0 | 252.83 | 32.599 | 126.02 | 51.31 | 29.635 | 81.855 | 287.7 | 84.081 | 215.02 | 1532.1 | 2026 | 134.09 | 229.08 | 0 | 247.21 | 31.007 | 123.23 | 50.184 | 27.991 | 80.011 | 281.33 | 82.18 | 210.28 | 1496.6
2027 | 138.13 | 235.09 | 0 | 253.48 | 32.507 | 126.38 | 51.332 | 29.803 | 81.985 | 286.92 | 84.071 | 216.99 | 1536.7 | 2027 | 135.17 | 229.9 | 0 | 247.66 | 30.906 | 123.48 | 50.169 | 28.127 | 80.071 | 280.36 | 82.101 | 212.05 | 1500
2028 | 139.25 | 236.03 | 0 | 253.95 | 32.421 | 126.7 | 51.345 | 29.966 | 82.089 | 286.09 | 84.032 | 218.98 | 1540.9 | 2028 | 136.18 | 230.67 | 0 | 247.93 | 30.81 | 123.7 | 50.146 | 28.259 | 80.105 | 279.33 | 81.994 | 213.83 | 1503
2029 | 140.47 | 237.17 | 0 | 254.59 | 32.358 | 127.11 | 51.403 | 30.146 | 82.232 | 285.56 | 84.079 | 221.14 | 1546.3 | 2029 | 137.3 | 231.64 | 0 | 248.35 | 30.738 | 124 | 50.168 | 28.408 | 80.176 | 278.6 | 81.971 | 215.77 | 1507.1