## Data Issues - Discussion Paper
Project title: Network information requirements review - regulatory information instrument
Workshops 7: TNSP - Service Performance and Other - Issues raised in submissions to the discussion paper
Issue | Agenda Item | Raised by | Date Raised | Segment | Workbook | RIN table | Detailed comments of issue raised | AER response
102 | 01. STPIS data reporting | Powerlink | 2022-05-11 | Transmission | Service performance | EB3.6 | Service Target Performance Incentive Scheme (STPIS) data series Powerlink appreciates the update to the consultation workbooks that allows networks to report information based on the current version of the STPIS that applies to them. We recommend the AER confirm in the next stage of consultation that the data will only be sought through the annual STPIS reports lodged by TNSPs with the AER in February. Such an approach would remove the current duplication of requirements between the annual STPIS reports and the annual Economic Benchmarking RIN returns. | AER is currently reviewing the timing of submission of service performance data.
24 | 02. Safety and Major Event | Jemena | 2022-05-20 | Both | Operational outputs | NEW | Safety and Major Event The proposed new data collections—responsive and preventative for safety and major event-related activities—have no clear definitions. Further, these concepts are very broad, particularly safety-related and preventative activities. NSPs could argue that most network activities are preventative and/or safety-related. In addition, it is not clear if these major events relate to the major event day (MED) threshold in the STPIS. Without clear definitions and further clarification, we are unable to report against this set of criteria. We request clarity from the AER on these definitions and requirements to respond to this consultation topic. | The AER has updated it requirements and definitions for reporting safety related incidents. The new workbooks are included in the material for workshop 7.
96 | 02. Safety and Major Event | CPU | 2022-05-20 | Both | Operational outputs | NEW | Safety It is unclear what response is intended here and there is not sufficient definitional clarity to meaningfully address. ‘Safety related activity’ is broad and could cross into the remit of other regulators (such as ESV in Victoria). Clarity and purpose of this proposed new section is required to comment further. | The AER has updated it requirements and definitions for reporting safety related incidents. The new workbooks are included in the material for workshop 7.
97 | 02. Safety and Major Event | CPU | 2022-05-20 | Both | Operational outputs | NEW | Major event related activity It is unclear what response is intended here and there is not sufficient definitional clarity to meaningfully address. ‘Major event related activity’ is very broad, it doesn’t align with existing understood terminology (like major event days), and it is unclear what the intended use case is. Clarity and purpose of this proposed new section is required to comment further. | The AER has decided to remove the major event related data requirements.
130 | 02. Safety and Major Event | TransGrid | 2022-05-06 | Transmission | Operational outputs | NEW | Definition - Safety and Major event We encourage the AER to provide clear definitions to ensure consistency in reporting between NSPs. We note that in relation to: • Safety and Major event related activities - given that these activities are newly requested data, further details on would be helpful to clarify the nature and scope of these activities. | The AER has updated it requirements and definitions for reporting safety related incidents. The new workbooks are included in the material for workshop 7.
139 | 02. Safety and Major Event | EQL | 2022-05-06 | Both | Operational outputs | NEW | Proposed new data collections, Safety related activity: The definition provided refers to the term ‘Safety related incident’ which could be interpreted very differently to ‘Safety related activity’. More clarity on the exact data requirements is needed given that this is a new requirement. Are responsive activities those in relation to an actual incident that has occurred? | The AER has updated it requirements and definitions for reporting safety related incidents. The new workbooks are included in the material for workshop 7.
246 269 | 02. Safety and Major Event | Power and Water Corporation | 2022-05-20 | Both | Operating expenditure | NEW | New data collection - safety related and major event related expenditure No definitions noted yet on the "Definitions" tab for this one so don't know what would be expected for this requirement. | The AER will work with DNSPs to develop information requirements relating to safety expenditure and major event expenditure in future consultation processes. The data requirement will be removed from the from the proposed information Orders.
261 | 03. DMIS | Power and Water Corporation | 2022-05-20 | Transmission | Capital expenditure | AR7.11.1 | SCS - DMIS Reasonable, in line with current RIN AR7.11.1 (currently N/A / NIL for PWC) | Noted.
292 | 03. DMIS | QUEN | 2022-05-03 | Transmission | Network metrics | AR7.11.1 AR7.11.2 | Demand management expenditure This data is critical for analysis of demand management activities and opportunities at both the transmission and distribution level. Disaggregating expenditure to report on ALL demand management projects and activities will provide greater insights than simply reporting against specific incentive schemes (DMIAM/DMIS). For businesses that do not have a demand management incentive scheme applied by the AER (Powerlink) there will be no transparency of outcomes unless explicit reporting is included in the annual reporting process | The data requirements do not include demand management expenditure and project outside of the demand management incentive scheme. The AER will work with NSPs to identify how demand management activity expenditure can be reported where it sits outside of any incentive scheme arrangement, but that information is most likely to be incorporated into future reset analysis.